## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | ug/L | 0.95485 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.571 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95485 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86204 | 0.13125 | 0.86204 | 0.18562 | 0.1376
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-04-03 | ug/L | 0.76923 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76923 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86204 | 0.13125 | 0.86204 | 0.18562 | 0.1376
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2014-03-19 | ug/L | 0.765 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.459 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.765 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.765 |  | 0.765 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-12-02 | ug/L | 1.0524 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.40383 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0524 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-01-25 | ug/L | 0.93666 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.39929 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93666 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-04-19 | ug/L | 0.82076 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.6083 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82076 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-05-16 | ug/L | 0.66761 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.64858 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66761 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-07-14 | ug/L | 0.80772 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.40979 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.331 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80772 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-09-16 | ug/L | 0.93364 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.648 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93364 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-10 | ug/L | 0.95556 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.405 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.387 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95556 | Crescent 06MM151 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-28 | ug/L | 0.81944 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.648 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.531 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81944 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-04-17 | ug/L | 0.94815 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.405 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.384 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94815 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.88244 | 0.11381 | 0.93364 | 0.1287 | 0.095407
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-10-26 | ug/L | 1.04 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.04 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95167 | 0.12492 | 0.95167 | 0.17667 | 0.13096
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-01-08 | ug/L | 0.86333 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 3 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86333 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.95167 | 0.12492 | 0.95167 | 0.17667 | 0.13096
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-08-10 | ug/L | 0.91 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.546 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91 |  | 0.91 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-01-25 | ug/L | 0.61666 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.63568 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.392 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61666 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-03-17 | ug/L | 0.74022 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.40528 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74022 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-06-07 | ug/L | 0.86059 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.40902 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86059 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-09-15 | ug/L | 0.70012 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.614 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70012 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2011-10-12 | ug/L | 0.86741 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6456 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86741 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-01-10 | ug/L | 0.79616 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.6456 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 0.514 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79616 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Estimated Values | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-03-08 | ug/L | 0.84882 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.614 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84882 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-03-20 | ug/L | 0.81289 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.328 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81289 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-04-18 | ug/L | 0.82528 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.333 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82528 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-07-12 | ug/L | 0.88724 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.358 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88724 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.79554 | 0.08563 | 0.81908 | 0.12037 | 0.089227
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-03-04 | ug/L | 0.93954 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.82 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93954 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-04-07 | ug/L | 0.57882 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 2.7297 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57882 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-07-07 | ug/L | 0.96271 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.7035 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96271 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-09-01 | ug/L | 0.78069 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.6908 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78069 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81544 | 0.17728 | 0.86012 | 0.27137 | 0.20116
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-09-18 | ug/L | 0.87625 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 1.495 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87625 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87625 |  | 0.87625 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-07-27 | ug/L | 0.84783 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 0.598 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84783 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86538 | 0.024832 | 0.86538 | 0.035117 | 0.026032
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | ug/L | 0.88294 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 2.99 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88294 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86538 | 0.024832 | 0.86538 | 0.035117 | 0.026032
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2012-12-19 | ug/L | 0.88667 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84583 | 0.057747 | 0.84583 | 0.081667 | 0.060539
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-03-06 | ug/L | 0.805 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.483 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.805 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84583 | 0.057747 | 0.84583 | 0.081667 | 0.060539
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-11-25 | ug/L | 0.89167 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.535 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89167 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77667 | 0.16263 | 0.77667 | 0.23 | 0.1705
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2014-04-15 | ug/L | 0.66167 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66167 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77667 | 0.16263 | 0.77667 | 0.23 | 0.1705
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2009-12-15 | ug/L | 0.75715 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.1396 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75715 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-05-18 | ug/L | 0.82052 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.0786 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.885 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82052 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-07-28 | ug/L | 0.82731 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.0879 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82731 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-10-21 | ug/L | 0.85989 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 2.1863 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85989 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81622 | 0.042963 | 0.82392 | 0.054767 | 0.040598
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-05-10 | ug/L | 1.0502 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 1.495 | 1,2-DIPHENYLHYDRAZINE | E | 0.3 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0502 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0502 |  | 1.0502 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-06-17 | ug/L | 1 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.5 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 1 |  | 1 | 0 | 0
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2013-09-24 | ug/L | 0.94333 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.6 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.566 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94333 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94167 | 0.002357 | 0.94167 | 0.0033333 | 0.002471
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2014-02-08 | ug/L | 0.94 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 3 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94167 | 0.002357 | 0.94167 | 0.0033333 | 0.002471
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-01-21 | ug/L | 0.768 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0599 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.814 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.768 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-05-13 | ug/L | 0.7143 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 2.128 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7143 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-07-15 | ug/L | 0.68114 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0805 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 0.736 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68114 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649
1,2-DIPHENYLHYDRAZINE | 1383 | 82626GCM55 | 2010-10-19 | ug/L | 0.94174 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.0937 | 1,2-DIPHENYLHYDRAZINE | . | 0.3 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94174 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7763 | 0.11596 | 0.74115 | 0.15715 | 0.11649