## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-08-06 | ug/L | 0.24851 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 4.024 | 2,4-DINITROPHENOL | E | 2 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24851 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 2 | 0.45974 | 0.29873 | 0.45974 | 0.42247 | 0.31317
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2014-04-15 | ug/L | 0.67097 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 4.024 | 2,4-DINITROPHENOL | E | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67097 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 2 | 0.45974 | 0.29873 | 0.45974 | 0.42247 | 0.31317
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-12-06 | ug/L | 0.43216 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 9.95 | 2,4-DINITROPHENOL | E | 2 | 4.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43216 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 1 | 0.43216 |  | 0.43216 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-04-07 | ug/L | 0.83584 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.7756 | 2,4-DINITROPHENOL | E | 1.4 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83584 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-09-01 | ug/L | 0.21731 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.5677 | 2,4-DINITROPHENOL | E | 1.4 | 0.558 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21731 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-10-27 | ug/L | 0.26286 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 4.1467 | 2,4-DINITROPHENOL | E | 1.4 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26286 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.43867 | 0.34471 | 0.26286 | 0.61853 | 0.45851
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-08-06 | ug/L | 0.53678 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 10.06 | 2,4-DINITROPHENOL | E | 2 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53678 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.52684 | 0.014058 | 0.52684 | 0.019881 | 0.014737
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2014-04-15 | ug/L | 0.5169 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 20.12 | 2,4-DINITROPHENOL | E | 2 | 10.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5169 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.52684 | 0.014058 | 0.52684 | 0.019881 | 0.014737
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-11-26 | ug/L | 0.67097 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 4.024 | 2,4-DINITROPHENOL | E | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67097 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 1 | 0.67097 |  | 0.67097 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | ug/L | 0.96667 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96667 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.8 | 0.2357 | 0.8 | 0.33333 | 0.2471
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-04-03 | ug/L | 0.63333 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63333 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 0.8 | 0.2357 | 0.8 | 0.33333 | 0.2471
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-04-28 | ug/L | 0.74092 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 4.1975 | 2,4-DINITROPHENOL | E | 1.4 | 3.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74092 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-08-25 | ug/L | 0.22512 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.6253 | 2,4-DINITROPHENOL | E | 1.4 | 0.591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22512 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2009-09-21 | ug/L | 0.34706 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.573 | 2,4-DINITROPHENOL | E | 1.4 | 0.893 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34706 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.4377 | 0.26958 | 0.34706 | 0.5158 | 0.38236
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-06-18 | ug/L | 0.45226 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45226 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.45226 |  | 0.45226 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-10-31 | ug/L | 0.40201 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40201 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 2 | 0.52764 | 0.17767 | 0.52764 | 0.25126 | 0.18625
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2014-01-30 | ug/L | 0.65327 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 2.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65327 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 2 | 0.52764 | 0.17767 | 0.52764 | 0.25126 | 0.18625
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-10-26 | ug/L | 1.08 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 7.5 | 2,4-DINITROPHENOL | E | 2 | 8.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.08 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0867 | 0.0094281 | 1.0867 | 0.013333 | 0.0098839
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-01-08 | ug/L | 1.0933 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 15 | 2,4-DINITROPHENOL | E | 2 | 16.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0933 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 2 | 1.0867 | 0.0094281 | 1.0867 | 0.013333 | 0.0098839
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-08-10 | ug/L | 0.76616 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 3.002 | 2,4-DINITROPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76616 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.76616 |  | 0.76616 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-01-25 | ug/L | 0.68305 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.24 | 2,4-DINITROPHENOL | E | 1.4 | 1.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68305 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-06-29 | ug/L | 0.73533 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.1895 | 2,4-DINITROPHENOL | E | 1.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73533 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-07-28 | ug/L | 1.0062 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 4.4427 | 2,4-DINITROPHENOL | E | 1.4 | 4.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-10-20 | ug/L | 0.51985 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.2314 | 2,4-DINITROPHENOL | E | 2 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51985 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.73609 | 0.20208 | 0.70919 | 0.26929 | 0.19962
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-08-18 | ug/L | 0.93333 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 3 | 2,4-DINITROPHENOL | E | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93333 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.93333 |  | 0.93333 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | ug/L | 0.71952 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 7.505 | 2,4-DINITROPHENOL | E | 2 | 5.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71952 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.68621 | 0.047109 | 0.68621 | 0.066622 | 0.049386
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-03-05 | ug/L | 0.6529 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 15.01 | 2,4-DINITROPHENOL | E | 2 | 9.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6529 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.68621 | 0.047109 | 0.68621 | 0.066622 | 0.049386
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-04-03 | ug/L | 0.78667 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 7.5 | 2,4-DINITROPHENOL | E | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78667 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 | Y | 1 | 0.78667 |  | 0.78667 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-12-19 | ug/L | 0.76616 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 3.002 | 2,4-DINITROPHENOL | E | 2 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76616 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.76616 |  | 0.76616 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-12-07 | ug/L | 0.66257 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.7732 | 2,4-DINITROPHENOL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66257 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-01-25 | ug/L | 0.74392 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 9.4097 | 2,4-DINITROPHENOL | E | 2 | 7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74392 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-03-17 | ug/L | 0.64288 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.3332 | 2,4-DINITROPHENOL | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64288 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-06-23 | ug/L | 0.77018 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.7654 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77018 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-07-15 | ug/L | 0.62105 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 9.5 | 2,4-DINITROPHENOL | E | 2 | 5.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62105 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-09-16 | ug/L | 0.63158 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63158 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-12-29 | ug/L | 0.50526 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50526 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-01-10 | ug/L | 0.18421 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 3.8 | 2,4-DINITROPHENOL | E | 2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.18421 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-20 | ug/L | 0.88421 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.375 | 2,4-DINITROPHENOL | E | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88421 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.62732 | 0.19773 | 0.64288 | 0.12286 | 0.091077
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-05-10 | ug/L | 0.98601 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 7.505 | 2,4-DINITROPHENOL | E | 2 | 7.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98601 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.98601 |  | 0.98601 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-06-17 | ug/L | 0.57654 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 10.06 | 2,4-DINITROPHENOL | E | 2 | 5.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57654 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.57654 |  | 0.57654 | 0 | 0
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2013-09-24 | ug/L | 0.62814 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 3.98 | 2,4-DINITROPHENOL | E | 2 | 2.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62814 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 2 | 0.68844 | 0.085279 | 0.68844 | 0.1206 | 0.089402
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2014-02-08 | ug/L | 0.74874 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 19.9 | 2,4-DINITROPHENOL | E | 2 | 14.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74874 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 | Y | 2 | 0.68844 | 0.085279 | 0.68844 | 0.1206 | 0.089402
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-03-02 | ug/L | 0.41246 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.3641 | 2,4-DINITROPHENOL | E | 1.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41246 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-09-28 | ug/L | 0.5482 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.2619 | 2,4-DINITROPHENOL | E | 1.4 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5482 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-10-26 | ug/L | 0.53825 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.366 | 2,4-DINITROPHENOL | E | 2 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53825 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.49964 | 0.075662 | 0.53825 | 0.13574 | 0.10063
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2010-12-08 | ug/L | 0.6864 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.331 | 2,4-DINITROPHENOL | E | 2 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6864 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-02-01 | ug/L | 0.7678 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 3.777 | 2,4-DINITROPHENOL | E | 2 | 2.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7678 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-05-17 | ug/L | 0.67104 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 9.5374 | 2,4-DINITROPHENOL | E | 2 | 6.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67104 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-08-11 | ug/L | 0.3367 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3367 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2011-10-05 | ug/L | 0.3367 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3367 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-01-10 | ug/L | 0.52609 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 9.504 | 2,4-DINITROPHENOL | E | 2 | 5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52609 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-14 | ug/L | 0.47348 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 3.8016 | 2,4-DINITROPHENOL | E | 2 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47348 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387
2,4-DINITROPHENOL | 1383 | 34616GCM56 | 2012-03-20 | ug/L | 0.79966 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.376 | 2,4-DINITROPHENOL | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79966 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 8 | 0.57473 | 0.18344 | 0.59857 | 0.322 | 0.2387