## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-08-06 | ug/L | 0.73578 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.5086 | 2,6-DINITROTOLUENE | . | 0.4 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73578 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78218 | 0.06562 | 0.78218 | 0.092801 | 0.068793
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2014-04-15 | ug/L | 0.82858 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.5086 | 2,6-DINITROTOLUENE | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82858 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78218 | 0.06562 | 0.78218 | 0.092801 | 0.068793
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-12-06 | ug/L | 0.86703 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.7715 | 2,6-DINITROTOLUENE | . | 0.4 | 3.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86703 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.86703 |  | 0.86703 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-04-07 | ug/L | 1.0383 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.2039 | 2,6-DINITROTOLUENE | . | 0.43 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0383 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82395 | 0.1758 | 0.82101 | 0.25213 | 0.1869
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-07-07 | ug/L | 0.61551 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.1178 | 2,6-DINITROTOLUENE | . | 0.43 | 0.688 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61551 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82395 | 0.1758 | 0.82101 | 0.25213 | 0.1869
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-09-01 | ug/L | 0.78026 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.1137 | 2,6-DINITROTOLUENE | . | 0.43 | 0.869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78026 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82395 | 0.1758 | 0.82101 | 0.25213 | 0.1869
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-10-27 | ug/L | 0.86177 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.7986 | 2,6-DINITROTOLUENE | . | 0.4 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86177 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.82395 | 0.1758 | 0.82101 | 0.25213 | 0.1869
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-12-19 | ug/L | 0.8 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.69 | 0.15556 | 0.69 | 0.22 | 0.16308
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-04-03 | ug/L | 0.58 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 0.87 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.69 | 0.15556 | 0.69 | 0.22 | 0.16308
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-03-10 | ug/L | 0.79382 | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.232 | 2,6-DINITROTOLUENE | E | 0.43 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79382 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72308 | 0.26275 | 0.81938 | 0.316 | 0.23425
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-04-28 | ug/L | 0.91723 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.8207 | 2,6-DINITROTOLUENE | . | 0.43 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91723 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72308 | 0.26275 | 0.81938 | 0.316 | 0.23425
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-08-25 | ug/L | 0.33634 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.1387 | 2,6-DINITROTOLUENE | E | 0.43 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.33634 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72308 | 0.26275 | 0.81938 | 0.316 | 0.23425
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2009-09-21 | ug/L | 0.84493 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.1161 | 2,6-DINITROTOLUENE | . | 0.43 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84493 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72308 | 0.26275 | 0.81938 | 0.316 | 0.23425
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-07-25 | ug/L | 0.88161 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.5086 | 2,6-DINITROTOLUENE | . | 0.4 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88161 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82394 | 0.081557 | 0.82394 | 0.11534 | 0.085499
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-09-10 | ug/L | 0.76627 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 3.7715 | 2,6-DINITROTOLUENE | . | 0.4 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76627 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82394 | 0.081557 | 0.82394 | 0.11534 | 0.085499
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2014-03-19 | ug/L | 0.79333 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79333 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79333 |  | 0.79333 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-10-26 | ug/L | 0.93867 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.75 | 2,6-DINITROTOLUENE | . | 0.4 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93867 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88933 | 0.069768 | 0.88933 | 0.098667 | 0.073141
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-01-08 | ug/L | 0.84 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.5 | 2,6-DINITROTOLUENE | . | 0.4 | 6.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.88933 | 0.069768 | 0.88933 | 0.098667 | 0.073141
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-08-10 | ug/L | 0.88667 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88667 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.88667 |  | 0.88667 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-01-25 | ug/L | 0.82974 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2534 | 2,6-DINITROTOLUENE | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82974 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84749 | 0.076869 | 0.83133 | 0.092909 | 0.068872
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-06-29 | ug/L | 0.95497 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2252 | 2,6-DINITROTOLUENE | . | 0.4 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95497 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84749 | 0.076869 | 0.83133 | 0.092909 | 0.068872
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-07-28 | ug/L | 0.77234 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 2.486 | 2,6-DINITROTOLUENE | . | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77234 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84749 | 0.076869 | 0.83133 | 0.092909 | 0.068872
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-10-20 | ug/L | 0.83292 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.2486 | 2,6-DINITROTOLUENE | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83292 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84749 | 0.076869 | 0.83133 | 0.092909 | 0.068872
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-08-18 | ug/L | 0.8 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8 |  | 0.8 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-12-19 | ug/L | 0.832 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 3.75 | 2,6-DINITROTOLUENE | . | 0.4 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80533 | 0.037712 | 0.80533 | 0.053333 | 0.039535
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-03-05 | ug/L | 0.77867 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 7.5 | 2,6-DINITROTOLUENE | . | 0.4 | 5.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77867 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80533 | 0.037712 | 0.80533 | 0.053333 | 0.039535
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-04-03 | ug/L | 0.61067 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 3.75 | 2,6-DINITROTOLUENE | . | 0.4 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61067 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.61067 |  | 0.61067 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-12-19 | ug/L | 0.86 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86 |  | 0.86 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2014-01-30 | ug/L | 0.87233 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 3.7715 | 2,6-DINITROTOLUENE | . | 0.4 | 3.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87233 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.87233 |  | 0.87233 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-11-25 | ug/L | 0.86667 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76333 | 0.14614 | 0.76333 | 0.20667 | 0.1532
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2014-04-15 | ug/L | 0.66 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 0.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.76333 | 0.14614 | 0.76333 | 0.20667 | 0.1532
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-12-07 | ug/L | 1.0406 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3742 | 2,6-DINITROTOLUENE | . | 0.4 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0406 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-01-25 | ug/L | 0.92498 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.4271 | 2,6-DINITROTOLUENE | . | 0.4 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92498 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-03-17 | ug/L | 0.72959 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.84979 | 2,6-DINITROTOLUENE | . | 0.4 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72959 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-06-23 | ug/L | 0.86045 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.3714 | 2,6-DINITROTOLUENE | E | 0.4 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86045 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-07-15 | ug/L | 0.85838 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 3.46 | 2,6-DINITROTOLUENE | . | 0.4 | 2.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85838 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-09-16 | ug/L | 0.91329 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | 2,6-DINITROTOLUENE | . | 0.4 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91329 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-12-29 | ug/L | 0.85549 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | 2,6-DINITROTOLUENE | . | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85549 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-01-10 | ug/L | 0.38295 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.384 | 2,6-DINITROTOLUENE | E | 0.4 | 0.53 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38295 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-03-20 | ug/L | 0.87861 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.865 | 2,6-DINITROTOLUENE | . | 0.4 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87861 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82715 | 0.18537 | 0.86045 | 0.057803 | 0.042849
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-05-10 | ug/L | 1.0187 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.75 | 2,6-DINITROTOLUENE | E | 0.4 | 3.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0187 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.0187 |  | 1.0187 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-06-17 | ug/L | 0.928 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.75 | 2,6-DINITROTOLUENE | . | 0.4 | 3.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.928 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.928 |  | 0.928 | 0 | 0
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2013-09-24 | ug/L | 0.80667 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.5 | 2,6-DINITROTOLUENE | . | 0.4 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80667 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83467 | 0.039598 | 0.83467 | 0.056 | 0.041512
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2014-02-08 | ug/L | 0.86267 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 7.5 | 2,6-DINITROTOLUENE | . | 0.4 | 6.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86267 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83467 | 0.039598 | 0.83467 | 0.056 | 0.041512
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-03-02 | ug/L | 0.88516 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.4402 | 2,6-DINITROTOLUENE | . | 0.4 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88516 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.12334 | 0.86389 | 0.15092 | 0.11187
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-06-15 | ug/L | 0.84261 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.258 | 2,6-DINITROTOLUENE | E | 0.4 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84261 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.91662 | 0.12334 | 0.86389 | 0.15092 | 0.11187
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-09-28 | ug/L | 1.099 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.2648 | 2,6-DINITROTOLUENE | . | 0.4 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.099 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.12334 | 0.86389 | 0.15092 | 0.11187
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-10-26 | ug/L | 0.83971 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 2.4413 | 2,6-DINITROTOLUENE | . | 0.4 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83971 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.91662 | 0.12334 | 0.86389 | 0.15092 | 0.11187
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2010-12-08 | ug/L | 0.8935 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.85058 | 2,6-DINITROTOLUENE | E | 0.4 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8935 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-02-01 | ug/L | 0.88519 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3782 | 2,6-DINITROTOLUENE | . | 0.4 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88519 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-05-17 | ug/L | 0.66951 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.4802 | 2,6-DINITROTOLUENE | . | 0.4 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66951 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-08-11 | ug/L | 0.74971 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.867 | 2,6-DINITROTOLUENE | . | 0.4 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74971 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2011-10-05 | ug/L | 0.79585 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.867 | 2,6-DINITROTOLUENE | . | 0.4 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79585 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-01-10 | ug/L | 0.80161 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 3.468 | 2,6-DINITROTOLUENE | . | 0.4 | 2.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80161 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-03-14 | ug/L | 0.81459 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.3872 | 2,6-DINITROTOLUENE | . | 0.4 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81459 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588
2,6-DINITROTOLUENE | 1383 | 34626GCM57 | 2012-03-20 | ug/L | 0.85352 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.867 | 2,6-DINITROTOLUENE | . | 0.4 | 0.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85352 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.80793 | 0.073825 | 0.8081 | 0.096572 | 0.071588