## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-08-06 | ug/L | 0.74747 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0074 | 2-NITROPHENOL | . | 0.4 | 0.753 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74747 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77576 | 0.040009 | 0.77576 | 0.056581 | 0.041943
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-04-15 | ug/L | 0.80405 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0074 | 2-NITROPHENOL | . | 0.4 | 0.81 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80405 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.77576 | 0.040009 | 0.77576 | 0.056581 | 0.041943
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-12-06 | ug/L | 0.61942 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61942 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.61942 |  | 0.61942 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-04-07 | ug/L | 0.84202 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.8289 | 2-NITROPHENOL | . | 0.4 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84202 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-07-07 | ug/L | 0.5471 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.698 | 2-NITROPHENOL | . | 0.4 | 0.929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5471 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-09-01 | ug/L | 0.73881 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.6919 | 2-NITROPHENOL | . | 0.4 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73881 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-10-27 | ug/L | 0.75027 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 2.7323 | 2-NITROPHENOL | . | 0.4 | 2.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75027 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71955 | 0.1239 | 0.74454 | 0.15319 | 0.11356
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-03-10 | ug/L | 0.52217 | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.8691 | 2-NITROPHENOL | . | 0.4 | 0.976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52217 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-04-28 | ug/L | 0.80732 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.7622 | 2-NITROPHENOL | . | 0.4 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80732 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-08-25 | ug/L | 0.26684 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.7276 | 2-NITROPHENOL | E | 0.4 | 0.461 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26684 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2009-09-21 | ug/L | 0.75005 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.6932 | 2-NITROPHENOL | . | 0.4 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75005 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.5866 | 0.24619 | 0.63611 | 0.38418 | 0.28479
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-07-25 | ug/L | 0.99265 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.0074 | 2-NITROPHENOL | . | 0.4 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99265 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93707 | 0.078614 | 0.93707 | 0.11118 | 0.082415
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-09-10 | ug/L | 0.88148 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88148 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.93707 | 0.078614 | 0.93707 | 0.11118 | 0.082415
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-03-19 | ug/L | 0.861 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.861 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.861 |  | 0.861 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-08-10 | ug/L | 0.82418 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2.002 | 2-NITROPHENOL | . | 0.4 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82418 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82418 |  | 0.82418 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-01-25 | ug/L | 0.83054 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.5984 | 2-NITROPHENOL | . | 0.4 | 0.497 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83054 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-06-29 | ug/L | 0.91807 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.58492 | 2-NITROPHENOL | . | 0.4 | 0.537 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91807 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-07-28 | ug/L | 0.83583 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 1.1868 | 2-NITROPHENOL | . | 0.4 | 0.992 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83583 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-10-20 | ug/L | 0.85051 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 0.59611 | 2-NITROPHENOL | . | 0.4 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85051 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85874 | 0.040447 | 0.84317 | 0.051104 | 0.037883
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-12-19 | ug/L | 0.80919 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5.005 | 2-NITROPHENOL | . | 0.4 | 4.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80919 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75475 | 0.076998 | 0.75475 | 0.10889 | 0.08072
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-03-05 | ug/L | 0.7003 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10.01 | 2-NITROPHENOL | . | 0.4 | 7.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7003 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.75475 | 0.076998 | 0.75475 | 0.10889 | 0.08072
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-12-19 | ug/L | 0.8991 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2.002 | 2-NITROPHENOL | . | 0.4 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8991 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8991 |  | 0.8991 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-01-30 | ug/L | 0.91324 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.5185 | 2-NITROPHENOL | . | 0.4 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91324 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.91324 |  | 0.91324 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-11-25 | ug/L | 0.85 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.718 | 0.18668 | 0.718 | 0.264 | 0.1957
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-04-15 | ug/L | 0.586 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.586 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.586 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.718 | 0.18668 | 0.718 | 0.264 | 0.1957
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-12-07 | ug/L | 0.9278 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0088 | 2-NITROPHENOL | . | 0.4 | 0.936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9278 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-01-25 | ug/L | 1.0374 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.5158 | 2-NITROPHENOL | . | 0.4 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0374 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-03-17 | ug/L | 0.68608 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.62383 | 2-NITROPHENOL | . | 0.4 | 0.428 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68608 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-06-23 | ug/L | 0.88007 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.0067 | 2-NITROPHENOL | E | 0.4 | 0.886 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88007 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-07-15 | ug/L | 0.9252 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.54 | 2-NITROPHENOL | . | 0.4 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9252 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-09-16 | ug/L | 0.88189 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88189 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-12-29 | ug/L | 0.74646 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.474 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74646 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-01-10 | ug/L | 0.45472 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1.016 | 2-NITROPHENOL | E | 0.4 | 0.462 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45472 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-20 | ug/L | 0.9748 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.635 | 2-NITROPHENOL | . | 0.4 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9748 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83494 | 0.17893 | 0.88189 | 0.18134 | 0.13443
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-05-10 | ug/L | 1.0629 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5.005 | 2-NITROPHENOL | . | 0.4 | 5.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0629 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.0629 |  | 1.0629 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-06-17 | ug/L | 0.812 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.5 | 2-NITROPHENOL | . | 0.4 | 2.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.812 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.812 |  | 0.812 | 0 | 0
2-NITROPHENOL | 1383 | 34591GCM56 | 2013-09-24 | ug/L | 0.79 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1 | 2-NITROPHENOL | . | 0.4 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.828 | 0.05374 | 0.828 | 0.076 | 0.056338
2-NITROPHENOL | 1383 | 34591GCM56 | 2014-02-08 | ug/L | 0.866 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 5 | 2-NITROPHENOL | . | 0.4 | 4.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.866 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.828 | 0.05374 | 0.828 | 0.076 | 0.056338
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-03-02 | ug/L | 0.77947 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.1713 | 2-NITROPHENOL | E | 0.4 | 0.913 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77947 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-06-15 | ug/L | 0.82638 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.60383 | 2-NITROPHENOL | . | 0.4 | 0.499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82638 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-09-28 | ug/L | 1.1118 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 0.6071 | 2-NITROPHENOL | . | 0.4 | 0.675 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1118 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-10-26 | ug/L | 0.8875 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 1.1718 | 2-NITROPHENOL | . | 0.4 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8875 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.9013 | 0.14717 | 0.85694 | 0.19675 | 0.14585
2-NITROPHENOL | 1383 | 34591GCM56 | 2010-12-08 | ug/L | 1.0241 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.62494 | 2-NITROPHENOL | . | 0.4 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0241 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-02-01 | ug/L | 1.0468 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0126 | 2-NITROPHENOL | . | 0.4 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0468 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-05-17 | ug/L | 0.81347 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5569 | 2-NITROPHENOL | . | 0.4 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81347 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-08-11 | ug/L | 0.8697 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.554 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8697 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2011-10-05 | ug/L | 0.97017 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.618 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97017 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-01-10 | ug/L | 0.75353 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.548 | 2-NITROPHENOL | E | 0.4 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75353 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-14 | ug/L | 0.68878 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 1.0192 | 2-NITROPHENOL | . | 0.4 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68878 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233
2-NITROPHENOL | 1383 | 34591GCM56 | 2012-03-20 | ug/L | 1.0078 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.637 | 2-NITROPHENOL | . | 0.4 | 0.642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0078 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.8968 | 0.13517 | 0.91994 | 0.23247 | 0.17233