## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-08-06 | ug/L | 0.89783 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.615 | ACENAPHTHYLENE | . | 0.3 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89783 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77709 | 0.17076 | 0.77709 | 0.24149 | 0.17901
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2014-04-15 | ug/L | 0.65635 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 3.23 | ACENAPHTHYLENE | . | 0.3 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65635 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77709 | 0.17076 | 0.77709 | 0.24149 | 0.17901
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-11-26 | ug/L | 1.0615 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.65 | ACENAPHTHYLENE | . | 0.3 | 0.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0615 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0615 |  | 1.0615 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-12-19 | ug/L | 0.73727 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.492 | ACENAPHTHYLENE | . | 0.3 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73727 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65985 | 0.10948 | 0.65985 | 0.15483 | 0.11477
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-04-03 | ug/L | 0.58244 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.492 | ACENAPHTHYLENE | . | 0.3 | 0.869 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58244 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65985 | 0.10948 | 0.65985 | 0.15483 | 0.11477
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-07-25 | ug/L | 1.0062 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.646 | ACENAPHTHYLENE | . | 0.3 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0062 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.887 | 0.16857 | 0.887 | 0.23839 | 0.17672
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-09-10 | ug/L | 0.7678 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.615 | ACENAPHTHYLENE | . | 0.3 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7678 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.887 | 0.16857 | 0.887 | 0.23839 | 0.17672
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2014-03-19 | ug/L | 0.71827 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.646 | ACENAPHTHYLENE | E | 0.3 | 0.464 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71827 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.71827 |  | 0.71827 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-12-02 | ug/L | 0.67057 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.50853 | ACENAPHTHYLENE | . | 0.3 | 0.341 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67057 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-01-25 | ug/L | 0.83531 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.50281 | ACENAPHTHYLENE | . | 0.3 | 0.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83531 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-04-19 | ug/L | 0.77523 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.0252 | ACENAPHTHYLENE | . | 0.3 | 1.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77523 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-05-16 | ug/L | 0.68688 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.81674 | ACENAPHTHYLENE | . | 0.3 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68688 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-07-14 | ug/L | 0.68987 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.51604 | ACENAPHTHYLENE | . | 0.3 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68987 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-09-16 | ug/L | 0.83333 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.816 | ACENAPHTHYLENE | . | 0.3 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-01-10 | ug/L | 0.84118 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.51 | ACENAPHTHYLENE | . | 0.3 | 0.429 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84118 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-01-28 | ug/L | 0.82598 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.816 | ACENAPHTHYLENE | . | 0.3 | 0.674 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82598 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-04-17 | ug/L | 0.78431 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.51 | ACENAPHTHYLENE | . | 0.3 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78431 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77141 | 0.070628 | 0.78431 | 0.14346 | 0.10635
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-06-18 | ug/L | 0.8065 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.646 | ACENAPHTHYLENE | . | 0.3 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8065 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8065 |  | 0.8065 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-10-31 | ug/L | 0.61538 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.65 | ACENAPHTHYLENE | . | 0.3 | 0.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61538 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.62769 | 0.017406 | 0.62769 | 0.024615 | 0.018247
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2014-01-30 | ug/L | 0.64 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.65 | ACENAPHTHYLENE | . | 0.3 | 0.416 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.62769 | 0.017406 | 0.62769 | 0.024615 | 0.018247
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-10-26 | ug/L | 0.93493 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.765 | ACENAPHTHYLENE | . | 0.3 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93493 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90837 | 0.037562 | 0.90837 | 0.053121 | 0.039378
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-01-08 | ug/L | 0.88181 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.53 | ACENAPHTHYLENE | . | 0.3 | 6.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88181 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.90837 | 0.037562 | 0.90837 | 0.053121 | 0.039378
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-08-10 | ug/L | 0.84993 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.506 | ACENAPHTHYLENE | . | 0.3 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84993 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84993 |  | 0.84993 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-01-25 | ug/L | 0.58915 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.81134 | ACENAPHTHYLENE | . | 0.3 | 0.478 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58915 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-03-17 | ug/L | 0.78875 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.51728 | ACENAPHTHYLENE | . | 0.3 | 0.408 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78875 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-06-07 | ug/L | 0.77771 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.52205 | ACENAPHTHYLENE | . | 0.3 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77771 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-09-15 | ug/L | 0.70874 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.06 | ACENAPHTHYLENE | . | 0.3 | 1.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70874 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2011-10-12 | ug/L | 0.85194 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.824 | ACENAPHTHYLENE | . | 0.3 | 0.702 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85194 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-01-10 | ug/L | 0.74515 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.824 | ACENAPHTHYLENE | . | 0.3 | 0.614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74515 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-03-08 | ug/L | 0.81068 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.06 | ACENAPHTHYLENE | . | 0.3 | 1.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81068 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-03-20 | ug/L | 0.8 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.515 | ACENAPHTHYLENE | . | 0.3 | 0.412 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-04-18 | ug/L | 0.69709 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.515 | ACENAPHTHYLENE | . | 0.3 | 0.359 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69709 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-07-12 | ug/L | 0.81942 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.515 | ACENAPHTHYLENE | . | 0.3 | 0.422 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81942 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.75886 | 0.076939 | 0.78323 | 0.10194 | 0.075568
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-03-04 | ug/L | 0.9458 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 2.5481 | ACENAPHTHYLENE | . | 0.3 | 2.41 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9458 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77434 | 0.24094 | 0.86253 | 0.32375 | 0.23999
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-04-07 | ug/L | 0.42652 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 3.8216 | ACENAPHTHYLENE | E | 0.3 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42652 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.77434 | 0.24094 | 0.86253 | 0.32375 | 0.23999
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-07-07 | ug/L | 0.92663 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 2.385 | ACENAPHTHYLENE | . | 0.3 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92663 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77434 | 0.24094 | 0.86253 | 0.32375 | 0.23999
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-09-01 | ug/L | 0.79842 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 2.3672 | ACENAPHTHYLENE | . | 0.3 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79842 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77434 | 0.24094 | 0.86253 | 0.32375 | 0.23999
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-09-18 | ug/L | 0.76407 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.73 | ACENAPHTHYLENE | . | 0.3 | 2.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76408 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76408 |  | 0.76408 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-03-13 | ug/L | 0.82397 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 2.5486 | ACENAPHTHYLENE | E | 0.3 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82397 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80435 | 0.083784 | 0.82167 | 0.10191 | 0.075546
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-08-04 | ug/L | 0.88665 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 2.4023 | ACENAPHTHYLENE | . | 0.3 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88665 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80435 | 0.083784 | 0.82167 | 0.10191 | 0.075546
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-08-25 | ug/L | 0.81938 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 3.8688 | ACENAPHTHYLENE | . | 0.3 | 3.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81938 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80435 | 0.083784 | 0.82167 | 0.10191 | 0.075546
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-09-22 | ug/L | 0.68741 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 2.444 | ACENAPHTHYLENE | . | 0.3 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68741 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80435 | 0.083784 | 0.82167 | 0.10191 | 0.075546
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-07-27 | ug/L | 0.87131 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.492 | ACENAPHTHYLENE | . | 0.3 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87131 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85523 | 0.022749 | 0.85523 | 0.032172 | 0.023848
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-12-19 | ug/L | 0.83914 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.46 | ACENAPHTHYLENE | . | 0.3 | 6.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83914 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85523 | 0.022749 | 0.85523 | 0.032172 | 0.023848
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2012-12-19 | ug/L | 0.7676 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.765 | ACENAPHTHYLENE | . | 0.3 | 2.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7676 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7324 | 0.04977 | 0.7324 | 0.070385 | 0.052176
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-03-06 | ug/L | 0.69721 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.506 | ACENAPHTHYLENE | . | 0.3 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69721 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7324 | 0.04977 | 0.7324 | 0.070385 | 0.052176
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2014-01-30 | ug/L | 0.96 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.625 | ACENAPHTHYLENE | . | 0.3 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-11-25 | ug/L | 1.0138 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.65 | ACENAPHTHYLENE | . | 0.3 | 0.659 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0138 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78692 | 0.32092 | 0.78692 | 0.45385 | 0.33643
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2014-04-15 | ug/L | 0.56 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.65 | ACENAPHTHYLENE | . | 0.3 | 0.364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78692 | 0.32092 | 0.78692 | 0.45385 | 0.33643
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2009-12-15 | ug/L | 0.76097 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.8135 | ACENAPHTHYLENE | . | 0.3 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76097 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74682 | 0.034201 | 0.75283 | 0.048335 | 0.03583
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-05-18 | ug/L | 0.78102 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.91419 | ACENAPHTHYLENE | . | 0.3 | 0.714 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78102 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74682 | 0.034201 | 0.75283 | 0.048335 | 0.03583
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-07-28 | ug/L | 0.70061 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.92205 | ACENAPHTHYLENE | . | 0.3 | 0.646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70061 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74682 | 0.034201 | 0.75283 | 0.048335 | 0.03583
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-10-21 | ug/L | 0.7447 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.8531 | ACENAPHTHYLENE | . | 0.3 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7447 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74682 | 0.034201 | 0.75283 | 0.048335 | 0.03583
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2013-05-10 | ug/L | 0.90349 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.73 | ACENAPHTHYLENE | . | 0.3 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90349 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90349 |  | 0.90349 | 0 | 0
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-01-21 | ug/L | 0.70463 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.89835 | ACENAPHTHYLENE | . | 0.3 | 0.633 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70463 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75059 | 0.12284 | 0.70161 | 0.13654 | 0.10122
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-05-13 | ug/L | 0.6986 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.8036 | ACENAPHTHYLENE | . | 0.3 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6986 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75059 | 0.12284 | 0.70161 | 0.13654 | 0.10122
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-07-15 | ug/L | 0.66605 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.91585 | ACENAPHTHYLENE | . | 0.3 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66605 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75059 | 0.12284 | 0.70161 | 0.13654 | 0.10122
ACENAPHTHYLENE | 1383 | 34200GCM57 | 2010-10-19 | ug/L | 0.9331 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.92702 | ACENAPHTHYLENE | . | 0.3 | 0.865 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9331 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75059 | 0.12284 | 0.70161 | 0.13654 | 0.10122