## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ANTHRACENE | 1383 | 34220GCM57 | 2013-08-06 | ug/L | 0.89101 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.5028 | ANTHRACENE | . | 0.38 | 0.448 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89101 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84228 | 0.068911 | 0.84228 | 0.097454 | 0.072242
ANTHRACENE | 1383 | 34220GCM57 | 2014-04-15 | ug/L | 0.79356 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.5028 | ANTHRACENE | . | 0.38 | 0.399 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79356 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84228 | 0.068911 | 0.84228 | 0.097454 | 0.072242
ANTHRACENE | 1383 | 34220GCM57 | 2013-12-06 | ug/L | 0.89897 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.257 | ANTHRACENE | . | 0.38 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89897 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.89897 |  | 0.89897 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2009-03-10 | ug/L | 0.67086 | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl | 2.3999 | ANTHRACENE | . | 0.39 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67086 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79669 | 0.093854 | 0.81066 | 0.12946 | 0.095965
ANTHRACENE | 1383 | 34220GCM57 | 2009-04-28 | ug/L | 0.82825 | 2009-03-26 07:00 | 20090860040 | Accu | B8090087 | Accu B8090087: 25 µl | 1.4247 | ANTHRACENE | . | 0.39 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82825 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79669 | 0.093854 | 0.81066 | 0.12946 | 0.095965
ANTHRACENE | 1383 | 34220GCM57 | 2009-07-14 | ug/L | 0.89458 | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl | 1.4756 | ANTHRACENE | . | 0.39 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89458 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79669 | 0.093854 | 0.81066 | 0.12946 | 0.095965
ANTHRACENE | 1383 | 34220GCM57 | 2009-09-15 | ug/L | 0.79306 | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl | 1.4375 | ANTHRACENE | . | 0.39 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79306 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79669 | 0.093854 | 0.81066 | 0.12946 | 0.095965
ANTHRACENE | 1383 | 34220GCM57 | 2012-12-19 | ug/L | 0.6962 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.002 | ANTHRACENE | . | 0.38 | 2.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6962 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6046 | 0.12955 | 0.6046 | 0.18321 | 0.13581
ANTHRACENE | 1383 | 34220GCM57 | 2013-04-03 | ug/L | 0.51299 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 3.002 | ANTHRACENE | . | 0.38 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51299 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.6046 | 0.12955 | 0.6046 | 0.18321 | 0.13581
ANTHRACENE | 1383 | 34220GCM57 | 2013-07-25 | ug/L | 0.85919 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.5028 | ANTHRACENE | . | 0.38 | 0.432 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85919 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68934 | 0.2402 | 0.68934 | 0.3397 | 0.25181
ANTHRACENE | 1383 | 34220GCM57 | 2013-09-10 | ug/L | 0.51949 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.257 | ANTHRACENE | . | 0.38 | 0.653 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51949 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.68934 | 0.2402 | 0.68934 | 0.3397 | 0.25181
ANTHRACENE | 1383 | 34220GCM57 | 2014-03-19 | ug/L | 0.546 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.5 | ANTHRACENE | . | 0.38 | 0.273 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.546 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.546 |  | 0.546 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2010-12-02 | ug/L | 0.72254 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.87746 | ANTHRACENE | . | 0.38 | 0.634 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72254 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2011-01-25 | ug/L | 0.81836 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.86759 | ANTHRACENE | . | 0.38 | 0.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81836 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2011-04-19 | ug/L | 0.76692 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.4945 | ANTHRACENE | . | 0.38 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76692 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2011-05-16 | ug/L | 0.73797 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.4093 | ANTHRACENE | . | 0.38 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73797 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2011-07-14 | ug/L | 0.69069 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.89042 | ANTHRACENE | . | 0.38 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69069 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2011-09-16 | ug/L | 0.6875 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.408 | ANTHRACENE | . | 0.38 | 0.968 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2012-01-10 | ug/L | 0.72386 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.88 | ANTHRACENE | E | 0.38 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72386 | Crescent 06MM151 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2012-01-28 | ug/L | 0.76705 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.408 | ANTHRACENE | . | 0.38 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76705 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2012-04-17 | ug/L | 0.82841 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.88 | ANTHRACENE | . | 0.38 | 0.729 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82841 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.74926 | 0.050495 | 0.73797 | 0.044502 | 0.032989
ANTHRACENE | 1383 | 34220GCM57 | 2010-01-28 | ug/L | 0.74755 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.1223 | ANTHRACENE | . | 0.39 | 0.839 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74755 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78224 | 0.15205 | 0.75353 | 0.18764 | 0.13909
ANTHRACENE | 1383 | 34220GCM57 | 2010-06-14 | ug/L | 0.75952 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.3304 | ANTHRACENE | . | 0.39 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75952 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78224 | 0.15205 | 0.75353 | 0.18764 | 0.13909
ANTHRACENE | 1383 | 34220GCM57 | 2010-09-23 | ug/L | 0.9926 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.1384 | ANTHRACENE | . | 0.39 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9926 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78224 | 0.15205 | 0.75353 | 0.18764 | 0.13909
ANTHRACENE | 1383 | 34220GCM57 | 2010-10-26 | ug/L | 0.62931 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 2.2882 | ANTHRACENE | . | 0.38 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62931 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78224 | 0.15205 | 0.75353 | 0.18764 | 0.13909
ANTHRACENE | 1383 | 34220GCM57 | 2012-10-26 | ug/L | 0.86133 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 7.5 | ANTHRACENE | . | 0.38 | 6.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86133 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.864 | 0.0037712 | 0.864 | 0.0053333 | 0.0039535
ANTHRACENE | 1383 | 34220GCM57 | 2013-01-08 | ug/L | 0.86667 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 15 | ANTHRACENE | . | 0.38 | 13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86667 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.864 | 0.0037712 | 0.864 | 0.0053333 | 0.0039535
ANTHRACENE | 1383 | 34220GCM57 | 2012-08-10 | ug/L | 0.71 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 3 | ANTHRACENE | . | 0.38 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71 |  | 0.71 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2011-01-25 | ug/L | 0.43265 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.3706 | ANTHRACENE | . | 0.38 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43265 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2011-03-17 | ug/L | 0.6191 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.87384 | ANTHRACENE | . | 0.38 | 0.541 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6191 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2011-06-07 | ug/L | 0.73137 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.88191 | ANTHRACENE | . | 0.38 | 0.645 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73137 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2011-09-15 | ug/L | 0.75 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.48 | ANTHRACENE | . | 0.38 | 2.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2011-10-12 | ug/L | 0.81897 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.392 | ANTHRACENE | . | 0.38 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81897 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2012-01-10 | ug/L | 0.69828 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.392 | ANTHRACENE | . | 0.38 | 0.972 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69828 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2012-03-08 | ug/L | 0.75287 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.48 | ANTHRACENE | . | 0.38 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75287 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2012-03-20 | ug/L | 0.6954 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.87 | ANTHRACENE | . | 0.38 | 0.605 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6954 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2012-04-18 | ug/L | 0.73218 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.87 | ANTHRACENE | . | 0.38 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73218 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2012-07-12 | ug/L | 0.53793 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.87 | ANTHRACENE | . | 0.38 | 0.468 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53793 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.67688 | 0.11568 | 0.71482 | 0.1309 | 0.097033
ANTHRACENE | 1383 | 34220GCM57 | 2010-01-26 | ug/L | 0.65349 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 2.3107 | ANTHRACENE | . | 0.39 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65349 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70751 | 0.049121 | 0.71353 | 0.083254 | 0.061715
ANTHRACENE | 1383 | 34220GCM57 | 2010-06-10 | ug/L | 0.74878 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.1352 | ANTHRACENE | . | 0.39 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74878 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70751 | 0.049121 | 0.71353 | 0.083254 | 0.061715
ANTHRACENE | 1383 | 34220GCM57 | 2010-07-15 | ug/L | 0.74949 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.1314 | ANTHRACENE | . | 0.39 | 0.848 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74949 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70751 | 0.049121 | 0.71353 | 0.083254 | 0.061715
ANTHRACENE | 1383 | 34220GCM57 | 2010-10-19 | ug/L | 0.67828 | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.147 | ANTHRACENE | . | 0.38 | 0.778 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67828 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.70751 | 0.049121 | 0.71353 | 0.083254 | 0.061715
ANTHRACENE | 1383 | 34220GCM57 | 2012-09-18 | ug/L | 0.70486 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 7.505 | ANTHRACENE | . | 0.38 | 5.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70486 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.70486 |  | 0.70486 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2012-07-27 | ug/L | 0.77282 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 3.002 | ANTHRACENE | . | 0.38 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77282 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82612 | 0.075374 | 0.82612 | 0.1066 | 0.079018
ANTHRACENE | 1383 | 34220GCM57 | 2012-12-19 | ug/L | 0.87941 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 15.01 | ANTHRACENE | . | 0.38 | 13.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87941 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82612 | 0.075374 | 0.82612 | 0.1066 | 0.079018
ANTHRACENE | 1383 | 34220GCM57 | 2012-12-19 | ug/L | 0.77333 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 7.5 | ANTHRACENE | . | 0.38 | 5.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77333 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.675 | 0.13906 | 0.675 | 0.19667 | 0.14579
ANTHRACENE | 1383 | 34220GCM57 | 2013-03-06 | ug/L | 0.57667 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 3 | ANTHRACENE | . | 0.38 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57667 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.675 | 0.13906 | 0.675 | 0.19667 | 0.14579
ANTHRACENE | 1383 | 34220GCM57 | 2014-01-30 | ug/L | 0.8751 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.257 | ANTHRACENE | . | 0.38 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8751 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8751 |  | 0.8751 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2013-11-25 | ug/L | 0.926 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | ANTHRACENE | . | 0.38 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.926 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.601 | 0.45962 | 0.601 | 0.65 | 0.48184
ANTHRACENE | 1383 | 34220GCM57 | 2014-04-15 | ug/L | 0.276 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | ANTHRACENE | . | 0.38 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.276 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.601 | 0.45962 | 0.601 | 0.65 | 0.48184
ANTHRACENE | 1383 | 34220GCM57 | 2013-05-10 | ug/L | 0.81546 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 7.505 | ANTHRACENE | . | 0.38 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81546 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81546 |  | 0.81546 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2013-06-17 | ug/L | 0.904 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.25 | ANTHRACENE | . | 0.38 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.904 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.904 |  | 0.904 | 0 | 0
ANTHRACENE | 1383 | 34220GCM57 | 2013-09-24 | ug/L | 0.818 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.5 | ANTHRACENE | . | 0.38 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.818 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.863 | 0.06364 | 0.863 | 0.09 | 0.066716
ANTHRACENE | 1383 | 34220GCM57 | 2014-02-08 | ug/L | 0.908 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 2.5 | ANTHRACENE | . | 0.38 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.908 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.863 | 0.06364 | 0.863 | 0.09 | 0.066716
ANTHRACENE | 1383 | 34220GCM57 | 2009-03-13 | ug/L | 0.60811 | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.5211 | ANTHRACENE | . | 0.39 | 0.925 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60811 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66953 | 0.056289 | 0.66468 | 0.084031 | 0.062292
ANTHRACENE | 1383 | 34220GCM57 | 2009-07-14 | ug/L | 0.74063 | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 2.2819 | ANTHRACENE | . | 0.39 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74063 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66953 | 0.056289 | 0.66468 | 0.084031 | 0.062292
ANTHRACENE | 1383 | 34220GCM57 | 2009-08-04 | ug/L | 0.68246 | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.4155 | ANTHRACENE | . | 0.39 | 0.966 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68246 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66953 | 0.056289 | 0.66468 | 0.084031 | 0.062292
ANTHRACENE | 1383 | 34220GCM57 | 2009-10-06 | ug/L | 0.64691 | 2009-08-13 06:30 | 20092260007 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.4314 | ANTHRACENE | . | 0.39 | 0.926 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64691 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.66953 | 0.056289 | 0.66468 | 0.084031 | 0.062292