## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-08-06 | ug/L | 0.78871 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.24 | BENZ[A]ANTHRACENE | . | 0.26 | 0.978 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78871 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.69879 | 0.12717 | 0.69879 | 0.17984 | 0.13331
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2014-04-15 | ug/L | 0.60887 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 2.48 | BENZ[A]ANTHRACENE | . | 0.26 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60887 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.69879 | 0.12717 | 0.69879 | 0.17984 | 0.13331
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-11-26 | ug/L | 1.114 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.5 | BENZ[A]ANTHRACENE | . | 0.26 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.114 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.114 |  | 1.114 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-07-25 | ug/L | 0.77823 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.496 | BENZ[A]ANTHRACENE | . | 0.26 | 0.386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77823 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78145 | 0.004562 | 0.78145 | 0.0064516 | 0.0047825
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-09-10 | ug/L | 0.78468 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.24 | BENZ[A]ANTHRACENE | . | 0.26 | 0.973 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78468 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.78145 | 0.004562 | 0.78145 | 0.0064516 | 0.0047825
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2014-03-19 | ug/L | 0.63306 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.496 | BENZ[A]ANTHRACENE | . | 0.26 | 0.314 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63306 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63306 |  | 0.63306 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-12-02 | ug/L | 0.86006 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.32905 | BENZ[A]ANTHRACENE | . | 0.26 | 0.283 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86006 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-01-25 | ug/L | 0.86062 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.32535 | BENZ[A]ANTHRACENE | . | 0.26 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86062 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-04-19 | ug/L | 0.82415 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.3104 | BENZ[A]ANTHRACENE | . | 0.26 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82415 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-05-16 | ug/L | 0.73608 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.52848 | BENZ[A]ANTHRACENE | . | 0.26 | 0.389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73608 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-07-14 | ug/L | 0.70379 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.33391 | BENZ[A]ANTHRACENE | . | 0.26 | 0.235 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70379 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-09-16 | ug/L | 0.81629 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.528 | BENZ[A]ANTHRACENE | . | 0.26 | 0.431 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81629 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-01-10 | ug/L | 0.87273 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.33 | BENZ[A]ANTHRACENE | . | 0.26 | 0.288 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87273 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-01-28 | ug/L | 0.74811 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.528 | BENZ[A]ANTHRACENE | . | 0.26 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74811 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-04-17 | ug/L | 0.74242 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.33 | BENZ[A]ANTHRACENE | . | 0.26 | 0.245 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74242 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79603 | 0.063864 | 0.81629 | 0.11764 | 0.087204
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-06-18 | ug/L | 0.8246 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.496 | BENZ[A]ANTHRACENE | . | 0.26 | 0.409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8246 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8246 |  | 0.8246 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-10-31 | ug/L | 0.712 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.5 | BENZ[A]ANTHRACENE | . | 0.26 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.712 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.665 | 0.066468 | 0.665 | 0.094 | 0.069681
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2014-01-30 | ug/L | 0.618 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.5 | BENZ[A]ANTHRACENE | . | 0.26 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.618 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.665 | 0.066468 | 0.665 | 0.094 | 0.069681
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-01-25 | ug/L | 0.5496 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.51674 | BENZ[A]ANTHRACENE | . | 0.26 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5496 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-03-17 | ug/L | 0.72545 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.32945 | BENZ[A]ANTHRACENE | . | 0.26 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72545 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-06-07 | ug/L | 0.75191 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.33249 | BENZ[A]ANTHRACENE | . | 0.26 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75191 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-09-15 | ug/L | 0.7622 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.312 | BENZ[A]ANTHRACENE | . | 0.26 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7622 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2011-10-12 | ug/L | 0.81936 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.5248 | BENZ[A]ANTHRACENE | . | 0.26 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81936 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-01-10 | ug/L | 0.63262 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.5248 | BENZ[A]ANTHRACENE | . | 0.26 | 0.332 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63262 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-03-08 | ug/L | 0.75838 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.312 | BENZ[A]ANTHRACENE | . | 0.26 | 0.995 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75838 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-03-20 | ug/L | 0.71037 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.328 | BENZ[A]ANTHRACENE | . | 0.26 | 0.233 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71037 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-04-18 | ug/L | 0.67378 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.328 | BENZ[A]ANTHRACENE | . | 0.26 | 0.221 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67378 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-07-12 | ug/L | 0.79573 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.328 | BENZ[A]ANTHRACENE | . | 0.26 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79573 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.71794 | 0.080806 | 0.73868 | 0.088415 | 0.065541
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-03-04 | ug/L | 0.90787 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.3768 | BENZ[A]ANTHRACENE | . | 0.26 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90787 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85662 | 0.11189 | 0.85345 | 0.1801 | 0.13351
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-04-07 | ug/L | 0.79903 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 2.065 | BENZ[A]ANTHRACENE | E | 0.26 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79903 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.85662 | 0.11189 | 0.85345 | 0.1801 | 0.13351
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-07-07 | ug/L | 0.98548 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.2887 | BENZ[A]ANTHRACENE | . | 0.26 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98548 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85662 | 0.11189 | 0.85345 | 0.1801 | 0.13351
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-09-01 | ug/L | 0.73411 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.2791 | BENZ[A]ANTHRACENE | . | 0.26 | 0.939 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73411 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85662 | 0.11189 | 0.85345 | 0.1801 | 0.13351
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-09-18 | ug/L | 0.684 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 5 | BENZ[A]ANTHRACENE | . | 0.26 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.684 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.684 |  | 0.684 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-08-18 | ug/L | 0.74 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2 | BENZ[A]ANTHRACENE | . | 0.26 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.74 |  | 0.74 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-12-19 | ug/L | 0.734 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5 | BENZ[A]ANTHRACENE | . | 0.26 | 3.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.734 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6965 | 0.053033 | 0.6965 | 0.075 | 0.055597
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-03-05 | ug/L | 0.659 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10 | BENZ[A]ANTHRACENE | . | 0.26 | 6.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.659 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.6965 | 0.053033 | 0.6965 | 0.075 | 0.055597
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-03-13 | ug/L | 0.80585 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 1.3774 | BENZ[A]ANTHRACENE | E | 0.26 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80585 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.88064 | 0.079328 | 0.87313 | 0.13282 | 0.098461
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-08-04 | ug/L | 0.97047 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 1.2983 | BENZ[A]ANTHRACENE | . | 0.26 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97047 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88064 | 0.079328 | 0.87313 | 0.13282 | 0.098461
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-08-25 | ug/L | 0.82261 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 2.0909 | BENZ[A]ANTHRACENE | . | 0.26 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82261 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88064 | 0.079328 | 0.87313 | 0.13282 | 0.098461
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-09-22 | ug/L | 0.92364 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 1.3209 | BENZ[A]ANTHRACENE | . | 0.26 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92364 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88064 | 0.079328 | 0.87313 | 0.13282 | 0.098461
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-07-24 | ug/L | 0.74 | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl | 2 | BENZ[A]ANTHRACENE | . | 0.26 | 1.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.74 |  | 0.74 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-07-27 | ug/L | 0.875 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 2 | BENZ[A]ANTHRACENE | . | 0.26 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89 | 0.021213 | 0.89 | 0.03 | 0.022239
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-12-19 | ug/L | 0.905 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 10 | BENZ[A]ANTHRACENE | . | 0.26 | 9.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.905 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.89 | 0.021213 | 0.89 | 0.03 | 0.022239
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-12-19 | ug/L | 0.784 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 5 | BENZ[A]ANTHRACENE | . | 0.26 | 3.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.784 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7645 | 0.027577 | 0.7645 | 0.039 | 0.02891
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-03-06 | ug/L | 0.745 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 2 | BENZ[A]ANTHRACENE | . | 0.26 | 1.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.745 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.7645 | 0.027577 | 0.7645 | 0.039 | 0.02891
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-04-03 | ug/L | 0.524 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 5 | BENZ[A]ANTHRACENE | . | 0.26 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.524 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.524 |  | 0.524 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2012-12-19 | ug/L | 0.865 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2 | BENZ[A]ANTHRACENE | . | 0.26 | 1.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.865 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.865 |  | 0.865 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2014-01-30 | ug/L | 0.936 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.25 | BENZ[A]ANTHRACENE | . | 0.26 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.936 |  | 0.936 | 0 | 0
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2013-11-25 | ug/L | 0.942 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | BENZ[A]ANTHRACENE | . | 0.26 | 0.471 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.942 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.737 | 0.28991 | 0.737 | 0.41 | 0.30393
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2014-04-15 | ug/L | 0.532 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | BENZ[A]ANTHRACENE | . | 0.26 | 0.266 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.532 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.737 | 0.28991 | 0.737 | 0.41 | 0.30393
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2009-12-15 | ug/L | 0.71673 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.0101 | BENZ[A]ANTHRACENE | . | 0.26 | 0.724 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71673 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75184 | 0.033251 | 0.75488 | 0.056799 | 0.042105
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-05-18 | ug/L | 0.77962 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.50922 | BENZ[A]ANTHRACENE | . | 0.26 | 0.397 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77962 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75184 | 0.033251 | 0.75488 | 0.056799 | 0.042105
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-07-28 | ug/L | 0.73014 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.5136 | BENZ[A]ANTHRACENE | . | 0.26 | 0.375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73014 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75184 | 0.033251 | 0.75488 | 0.056799 | 0.042105
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-10-21 | ug/L | 0.78085 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.0322 | BENZ[A]ANTHRACENE | . | 0.26 | 0.806 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78085 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75184 | 0.033251 | 0.75488 | 0.056799 | 0.042105
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-01-21 | ug/L | 0.6395 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.50039 | BENZ[A]ANTHRACENE | . | 0.26 | 0.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6395 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74256 | 0.11723 | 0.71026 | 0.14973 | 0.11099
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-05-13 | ug/L | 0.72463 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.0046 | BENZ[A]ANTHRACENE | . | 0.26 | 0.728 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72463 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74256 | 0.11723 | 0.71026 | 0.14973 | 0.11099
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-07-15 | ug/L | 0.69588 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.51014 | BENZ[A]ANTHRACENE | . | 0.26 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69588 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74256 | 0.11723 | 0.71026 | 0.14973 | 0.11099
BENZ[A]ANTHRACENE | 1383 | 34526GCM57 | 2010-10-19 | ug/L | 0.91021 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.51637 | BENZ[A]ANTHRACENE | . | 0.26 | 0.47 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91021 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.74256 | 0.11723 | 0.71026 | 0.14973 | 0.11099