## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-08-06 | ug/L | 0.86542 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.5246 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.454 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86542 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84541 | 0.028306 | 0.84541 | 0.04003 | 0.029674
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2014-04-15 | ug/L | 0.82539 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.5246 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.433 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82539 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84541 | 0.028306 | 0.84541 | 0.04003 | 0.029674
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-12-06 | ug/L | 0.83111 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.3115 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83111 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83111 |  | 0.83111 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-12-19 | ug/L | 0.82272 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2.042 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82272 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72478 | 0.13851 | 0.72478 | 0.19589 | 0.14521
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-04-03 | ug/L | 0.62684 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2.042 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62684 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.72478 | 0.13851 | 0.72478 | 0.19589 | 0.14521
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-07-25 | ug/L | 0.96264 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.5246 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96264 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92356 | 0.055264 | 0.92356 | 0.078155 | 0.057935
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-09-10 | ug/L | 0.88448 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.3115 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88448 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92356 | 0.055264 | 0.92356 | 0.078155 | 0.057935
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2014-03-19 | ug/L | 0.83654 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83654 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83654 |  | 0.83654 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-12-02 | ug/L | 0.88987 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.62818 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.559 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88987 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-01-25 | ug/L | 0.97888 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.62112 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.608 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97888 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-04-19 | ug/L | 0.91936 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.5017 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91936 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-05-16 | ug/L | 0.786 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.0089 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.793 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.786 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-07-14 | ug/L | 0.89418 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.63746 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89418 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-09-16 | ug/L | 1.0317 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.008 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0317 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-01-10 | ug/L | 0.94286 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.63 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94286 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-01-28 | ug/L | 0.93552 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.008 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.943 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93552 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-04-17 | ug/L | 0.9619 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.63 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9619 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.9267 | 0.068557 | 0.93552 | 0.067728 | 0.050206
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-10-26 | ug/L | 0.966 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 5 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 4.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.966 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.939 | 0.038184 | 0.939 | 0.054 | 0.04003
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-01-08 | ug/L | 0.912 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 10 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 9.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.912 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.939 | 0.038184 | 0.939 | 0.054 | 0.04003
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-08-10 | ug/L | 0.895 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.895 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.895 |  | 0.895 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-01-25 | ug/L | 0.65188 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.99252 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.647 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65188 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-03-17 | ug/L | 1.0351 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63278 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.655 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0351 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-06-07 | ug/L | 0.93326 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63862 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.596 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93326 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-09-15 | ug/L | 0.92063 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 2.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92063 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2011-10-12 | ug/L | 1.002 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.008 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-01-10 | ug/L | 0.84821 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.008 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84821 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-03-08 | ug/L | 0.97222 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 2.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97222 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-03-20 | ug/L | 1.019 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.642 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.019 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-04-18 | ug/L | 0.93175 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.587 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93175 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-07-12 | ug/L | 0.79524 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79524 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.91093 | 0.11767 | 0.9325 | 0.15377 | 0.11399
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-03-04 | ug/L | 0.96916 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.166 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96916 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.72138 | 0.48769 | 0.96916 | 0.87589 | 0.64929
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-04-07 | ug/L | 0.15955 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 1.7487 | BIS(2-CHLOROETHYL)ETHER | E | 0.3 | 0.279 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15955 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.72138 | 0.48769 | 0.96916 | 0.87589 | 0.64929
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-07-07 | ug/L | 1.0354 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.0913 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0354 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.72138 | 0.48769 | 0.96916 | 0.87589 | 0.64929
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-09-18 | ug/L | 0.80901 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 5.105 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 4.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80901 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.80901 |  | 0.80901 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-03-13 | ug/L | 0.9263 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 1.1659 | BIS(2-CHLOROETHYL)ETHER | E | 0.3 | 1.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9263 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.8668 | 0.12877 | 0.91234 | 0.15724 | 0.11656
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-08-04 | ug/L | 0.96453 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 1.099 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96453 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8668 | 0.12877 | 0.91234 | 0.15724 | 0.11656
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-08-25 | ug/L | 0.89839 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 1.7698 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89839 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8668 | 0.12877 | 0.91234 | 0.15724 | 0.11656
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-09-22 | ug/L | 0.67797 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 1.118 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.758 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67797 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8668 | 0.12877 | 0.91234 | 0.15724 | 0.11656
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-07-27 | ug/L | 0.857 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 2.042 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.857 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88394 | 0.038091 | 0.88394 | 0.053869 | 0.039932
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-12-19 | ug/L | 0.91087 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 10.21 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 9.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91087 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88394 | 0.038091 | 0.88394 | 0.053869 | 0.039932
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2012-12-19 | ug/L | 0.888 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 5 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 4.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.888 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.859 | 0.041012 | 0.859 | 0.058 | 0.042995
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-03-06 | ug/L | 0.83 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 2 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.859 | 0.041012 | 0.859 | 0.058 | 0.042995
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2014-01-30 | ug/L | 0.93786 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.3115 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93786 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93786 |  | 0.93786 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-11-25 | ug/L | 0.92308 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92308 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82885 | 0.13326 | 0.82885 | 0.18846 | 0.1397
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2014-04-15 | ug/L | 0.73462 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73462 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82885 | 0.13326 | 0.82885 | 0.18846 | 0.1397
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2009-12-15 | ug/L | 0.86436 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.6544 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86436 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89949 | 0.03564 | 0.89359 | 0.053336 | 0.039537
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-05-18 | ug/L | 0.88129 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.834 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88129 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89949 | 0.03564 | 0.89359 | 0.053336 | 0.039537
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-07-28 | ug/L | 0.90588 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.84117 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.762 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90588 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89949 | 0.03564 | 0.89359 | 0.053336 | 0.039537
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-10-21 | ug/L | 0.94644 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.6905 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94644 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89949 | 0.03564 | 0.89359 | 0.053336 | 0.039537
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-05-10 | ug/L | 0.93634 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5.105 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 4.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93634 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.93634 |  | 0.93634 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-06-17 | ug/L | 0.97692 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.3 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97692 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.97692 |  | 0.97692 | 0 | 0
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2013-09-24 | ug/L | 0.97692 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.52 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.508 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97692 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94038 | 0.051673 | 0.94038 | 0.073077 | 0.054171
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2014-02-08 | ug/L | 0.90385 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 2.6 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 2.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90385 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94038 | 0.051673 | 0.94038 | 0.073077 | 0.054171
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-01-21 | ug/L | 0.73944 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.81954 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73944 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81131 | 0.10689 | 0.77691 | 0.1531 | 0.11349
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-05-13 | ug/L | 0.81439 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.6454 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 1.34 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81439 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81131 | 0.10689 | 0.77691 | 0.1531 | 0.11349
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-07-15 | ug/L | 0.73009 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.83551 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73009 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81131 | 0.10689 | 0.77691 | 0.1531 | 0.11349
BIS(2-CHLOROETHYL)ETHER | 1383 | 34273GCM57 | 2010-10-19 | ug/L | 0.96133 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.8457 | BIS(2-CHLOROETHYL)ETHER | . | 0.3 | 0.813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96133 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81131 | 0.10689 | 0.77691 | 0.1531 | 0.11349