## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-08-06 | ug/L | 1.1224 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 0.98 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1224 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0408 | 0.11545 | 1.0408 | 0.16327 | 0.12103
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2014-04-15 | ug/L | 0.95918 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 1.96 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95918 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.0408 | 0.11545 | 1.0408 | 0.16327 | 0.12103
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-11-26 | ug/L | 1.045 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.4 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.045 |  | 1.045 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-03-10 | ug/L | 0.29535 | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl | 3.8598 | BIS(2-CHLOROISOPROPYL)_ETHER | E | 0.38 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29535 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.72977 | 0.31068 | 0.8315 | 0.44847 | 0.33244
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-04-28 | ug/L | 0.71573 | 2009-03-26 07:00 | 20090860040 | Accu | B8090087 | Accu B8090087: 25 µl | 2.2914 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71573 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72977 | 0.31068 | 0.8315 | 0.44847 | 0.33244
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-07-14 | ug/L | 0.96074 | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl | 2.3732 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 2.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96074 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72977 | 0.31068 | 0.8315 | 0.44847 | 0.33244
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-09-15 | ug/L | 0.94727 | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl | 2.3119 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94727 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.72977 | 0.31068 | 0.8315 | 0.44847 | 0.33244
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-07-25 | ug/L | 1.2143 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.392 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.476 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2143 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1633 | 0.072154 | 1.1633 | 0.10204 | 0.075642
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-09-10 | ug/L | 1.1122 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 0.98 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1122 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 1.1633 | 0.072154 | 1.1633 | 0.10204 | 0.075642
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2014-03-19 | ug/L | 0.94643 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.392 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.371 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94643 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.94643 |  | 0.94643 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-12-02 | ug/L | 0.86651 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.62319 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86651 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-01-25 | ug/L | 1.0305 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.61619 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.635 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0305 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-04-19 | ug/L | 0.98312 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.4819 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98312 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-05-16 | ug/L | 0.78729 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.0009 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.788 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78729 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-07-14 | ug/L | 0.90924 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.6324 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.575 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90924 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-09-16 | ug/L | 1.03 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.03 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-01-10 | ug/L | 0.9824 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.625 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9824 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-01-28 | ug/L | 0.945 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.945 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.945 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-04-17 | ug/L | 0.9504 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.625 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.594 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9504 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.94272 | 0.07881 | 0.9504 | 0.073889 | 0.054773
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-01-28 | ug/L | 0.85025 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.80447 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.684 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85025 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8955 | 0.18792 | 0.8382 | 0.22713 | 0.16837
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-06-14 | ug/L | 0.82615 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.6704 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82615 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8955 | 0.18792 | 0.8382 | 0.22713 | 0.16837
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-09-23 | ug/L | 1.1679 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.816 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.953 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1679 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8955 | 0.18792 | 0.8382 | 0.22713 | 0.16837
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-10-26 | ug/L | 0.73773 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.6402 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73773 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8955 | 0.18792 | 0.8382 | 0.22713 | 0.16837
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-06-18 | ug/L | 1.1633 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.392 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1633 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 1.1633 |  | 1.1633 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-10-31 | ug/L | 1.32 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.4 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.528 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.32 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1 | 0.31113 | 1.1 | 0.44 | 0.32617
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2014-01-30 | ug/L | 0.88 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.4 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.352 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 1.1 | 0.31113 | 1.1 | 0.44 | 0.32617
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-01-25 | ug/L | 0.62568 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.99252 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62568 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-03-17 | ug/L | 0.98138 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63278 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.621 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98138 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-06-07 | ug/L | 0.89725 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63862 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.573 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89725 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-09-15 | ug/L | 0.90873 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.52 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90873 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2011-10-12 | ug/L | 0.97619 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.008 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.984 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97619 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-01-10 | ug/L | 0.79365 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.008 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79365 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-03-08 | ug/L | 0.94444 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.52 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94444 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-03-20 | ug/L | 1.0492 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.661 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0492 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-04-18 | ug/L | 0.88413 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.557 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88413 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-07-12 | ug/L | 0.69683 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.63 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69683 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.87575 | 0.1329 | 0.90299 | 0.18254 | 0.13531
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-01-26 | ug/L | 0.63875 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 1.7065 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63875 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86201 | 0.16424 | 0.9086 | 0.24673 | 0.1829
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-06-10 | ug/L | 0.83855 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.83835 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83855 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86201 | 0.16424 | 0.9086 | 0.24673 | 0.1829
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-07-15 | ug/L | 0.99212 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.83558 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99212 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86201 | 0.16424 | 0.9086 | 0.24673 | 0.1829
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2010-10-19 | ug/L | 0.97864 | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.8471 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.829 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97864 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.86201 | 0.16424 | 0.9086 | 0.24673 | 0.1829
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-09-18 | ug/L | 0.832 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.75 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 3.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.832 |  | 0.832 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-08-18 | ug/L | 0.83333 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83333 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83333 |  | 0.83333 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-12-19 | ug/L | 0.848 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 3.75 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 3.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.0028284 | 0.85 | 0.004 | 0.0029652
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-03-05 | ug/L | 0.852 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 7.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 6.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.852 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.85 | 0.0028284 | 0.85 | 0.004 | 0.0029652
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-07-24 | ug/L | 0.95333 | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl | 1.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95333 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.95333 |  | 0.95333 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-07-27 | ug/L | 0.9 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91533 | 0.021685 | 0.91533 | 0.030667 | 0.022733
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-12-19 | ug/L | 0.93067 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 6.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93067 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91533 | 0.021685 | 0.91533 | 0.030667 | 0.022733
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-12-19 | ug/L | 0.79467 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.75 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79467 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78733 | 0.010371 | 0.78733 | 0.014667 | 0.010872
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-03-06 | ug/L | 0.78 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78733 | 0.010371 | 0.78733 | 0.014667 | 0.010872
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-04-03 | ug/L | 0.63467 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 3.75 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63467 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.63467 |  | 0.63467 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2012-12-19 | ug/L | 0.90667 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1.5 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90667 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90667 |  | 0.90667 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2014-01-30 | ug/L | 0.981 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.981 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.981 |  | 0.981 | 0 | 0
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2013-11-25 | ug/L | 0.9225 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.4 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.369 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9225 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80875 | 0.16087 | 0.80875 | 0.2275 | 0.16864
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2014-04-15 | ug/L | 0.695 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.4 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.695 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.80875 | 0.16087 | 0.80875 | 0.2275 | 0.16864
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-03-13 | ug/L | 0.90747 | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.4353 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 2.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90747 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85358 | 0.075749 | 0.88277 | 0.084428 | 0.062586
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-07-14 | ug/L | 0.88412 | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 3.6533 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 3.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88412 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85358 | 0.075749 | 0.88277 | 0.084428 | 0.062586
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-08-04 | ug/L | 0.74132 | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.2662 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.38 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74132 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85358 | 0.075749 | 0.88277 | 0.084428 | 0.062586
BIS(2-CHLOROISOPROPYL) ETHER | 1383 | 34283GCM57 | 2009-10-06 | ug/L | 0.88141 | 2009-08-13 06:30 | 20092260007 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 2.2918 | BIS(2-CHLOROISOPROPYL)_ETHER | . | 0.14 | 2.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88141 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.85358 | 0.075749 | 0.88277 | 0.084428 | 0.062586