## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-08-06 | ug/L | 0.76743 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 2.984 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76743 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82272 | 0.078199 | 0.82272 | 0.11059 | 0.081979
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2014-04-15 | ug/L | 0.87802 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 2.984 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87802 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.82272 | 0.078199 | 0.82272 | 0.11059 | 0.081979
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-12-06 | ug/L | 0.68591 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 7.45 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 5.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68591 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.68591 |  | 0.68591 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-08-06 | ug/L | 0.87265 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 7.46 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 6.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87265 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.7815 | 0.12891 | 0.7815 | 0.18231 | 0.13514
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2014-04-15 | ug/L | 0.69035 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 14.92 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 10.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69035 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.7815 | 0.12891 | 0.7815 | 0.18231 | 0.13514
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-11-26 | ug/L | 1.0791 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 2.984 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0791 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0791 |  | 1.0791 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-03-10 | ug/L | 1.5426 | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl | 1.2058 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.86 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5426 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-07-14 | ug/L | 1.0805 | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl | 0.74136 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.801 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0805 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-09-15 | ug/L | 1.1589 | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl | 0.72222 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.837 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1589 | Accu B8090087 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.2606 | 0.24728 | 1.1589 | 0.46212 | 0.34256
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | ug/L | 0.78922 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 2.04 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78922 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.78922 |  | 0.78922 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-06-18 | ug/L | 0.81879 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81879 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.81879 |  | 0.81879 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-10-31 | ug/L | 0.63087 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63087 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74161 | 0.15661 | 0.74161 | 0.22148 | 0.16418
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2014-01-30 | ug/L | 0.85235 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85235 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74161 | 0.15661 | 0.74161 | 0.22148 | 0.16418
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-10-26 | ug/L | 0.96471 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 5.1 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 4.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96471 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84412 | 0.17054 | 0.84412 | 0.24118 | 0.17878
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-01-08 | ug/L | 0.72353 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 10.2 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 7.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72353 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.84412 | 0.17054 | 0.84412 | 0.24118 | 0.17878
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-08-10 | ug/L | 1.018 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 2.004 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.018 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Estimated Values | Y | 2 |  | 1 | 1.018 |  | 1.018 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-01-25 | ug/L | 0.90997 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 3.0001 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90997 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-06-29 | ug/L | 1.0401 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.9325 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0401 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-07-28 | ug/L | 0.84534 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 5.9503 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 5.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84534 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-10-20 | ug/L | 0.91681 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.9886 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91681 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.92805 | 0.081325 | 0.91339 | 0.10078 | 0.074709
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-08-18 | ug/L | 0.82843 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 2.04 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82843 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82843 |  | 0.82843 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | ug/L | 0.74651 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 5.01 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74651 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.67365 | 0.10303 | 0.67365 | 0.14571 | 0.10801
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-03-05 | ug/L | 0.6008 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 10.02 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6008 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.67365 | 0.10303 | 0.67365 | 0.14571 | 0.10801
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-12-19 | ug/L | 0.92814 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 2.004 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 1.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92814 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92814 |  | 0.92814 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-12-07 | ug/L | 0.99288 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.361 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 4.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99288 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-01-25 | ug/L | 0.87903 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.8756 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 9.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87903 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-03-17 | ug/L | 0.77872 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.6967 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77872 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-06-23 | ug/L | 0.78585 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.352 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 3.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78585 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-07-15 | ug/L | 0.92896 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 10.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92896 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-09-16 | ug/L | 0.97996 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97996 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-12-29 | ug/L | 0.78689 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78689 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-01-10 | ug/L | 0.43716 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.392 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43716 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-20 | ug/L | 0.89617 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.745 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.46 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89617 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.82951 | 0.16821 | 0.87903 | 0.14311 | 0.10609
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-05-10 | ug/L | 0.94212 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 5.01 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94212 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.94212 |  | 0.94212 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-06-17 | ug/L | 0.82038 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 7.46 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82038 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.82038 |  | 0.82038 | 0 | 0
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2013-09-24 | ug/L | 0.91275 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 2.98 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91275 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93289 | 0.028474 | 0.93289 | 0.040268 | 0.029851
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2014-02-08 | ug/L | 0.95302 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 14.9 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 14.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95302 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.93289 | 0.028474 | 0.93289 | 0.040268 | 0.029851
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-03-02 | ug/L | 0.71394 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 5.8408 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71394 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-06-15 | ug/L | 0.92658 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 3.0111 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92658 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-09-28 | ug/L | 1.1627 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 3.0273 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1627 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-10-26 | ug/L | 0.81117 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 5.8434 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 4.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81117 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.90361 | 0.19338 | 0.86888 | 0.2821 | 0.20912
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2010-12-08 | ug/L | 0.88409 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.692 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 2.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88409 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-02-01 | ug/L | 0.8574 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.362 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 3.74 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8574 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-05-17 | ug/L | 0.62281 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 11.0145 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 6.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62281 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-08-11 | ug/L | 0.80904 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80904 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2011-10-05 | ug/L | 0.7981 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7981 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-01-10 | ug/L | 0.57398 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.976 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 6.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57398 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-14 | ug/L | 0.64687 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.3904 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64687 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2012-03-20 | ug/L | 0.83819 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.744 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83819 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.75381 | 0.11998 | 0.80357 | 0.21295 | 0.15786
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-03-13 | ug/L | 3.205 | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.7738 | BUTYLBENZYL_PHTHALATE | . | 1.8 | 2.48 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944 | 2
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-07-14 | ug/L | 1.0941 | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.1608 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 1.27 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0941 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944
BUTYLBENZYL PHTHALATE | 1383 | 34292GCM57 | 2009-08-04 | ug/L | 1.043 | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 0.72006 | BUTYLBENZYL_PHTHALATE | E | 1.8 | 0.751 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.043 | Ultra CE-2870 | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.379 | 0.5384 | 1.0941 | 0.95704 | 0.70944