## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CHRYSENE | 1383 | 34320GCM57 | 2013-08-06 | ug/L | 0.72311 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.502 | CHRYSENE | . | 0.32 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72311 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.71614 | 0.0098601 | 0.71614 | 0.013944 | 0.010337
CHRYSENE | 1383 | 34320GCM57 | 2014-04-15 | ug/L | 0.70916 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.502 | CHRYSENE | . | 0.32 | 0.356 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70916 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.71614 | 0.0098601 | 0.71614 | 0.013944 | 0.010337
CHRYSENE | 1383 | 34320GCM57 | 2013-12-06 | ug/L | 0.73068 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 1.255 | CHRYSENE | . | 0.32 | 0.917 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73068 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73068 |  | 0.73068 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2012-12-19 | ug/L | 0.64842 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.516 | CHRYSENE | . | 0.32 | 0.983 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64842 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.64413 | 0.0060636 | 0.64413 | 0.0085752 | 0.0063567
CHRYSENE | 1383 | 34320GCM57 | 2013-04-03 | ug/L | 0.63984 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.516 | CHRYSENE | E | 0.32 | 0.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63984 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 2 | 0.64413 | 0.0060636 | 0.64413 | 0.0085752 | 0.0063567
CHRYSENE | 1383 | 34320GCM57 | 2013-07-25 | ug/L | 0.96614 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.502 | CHRYSENE | . | 0.32 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96614 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92131 | 0.063386 | 0.92131 | 0.089641 | 0.06645
CHRYSENE | 1383 | 34320GCM57 | 2013-09-10 | ug/L | 0.87649 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.255 | CHRYSENE | . | 0.32 | 1.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87649 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.92131 | 0.063386 | 0.92131 | 0.089641 | 0.06645
CHRYSENE | 1383 | 34320GCM57 | 2014-03-19 | ug/L | 0.76 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.5 | CHRYSENE | . | 0.32 | 0.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76 |  | 0.76 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2010-12-02 | ug/L | 0.86052 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.96221 | CHRYSENE | . | 0.32 | 0.828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86052 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2011-01-25 | ug/L | 0.77675 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.95139 | CHRYSENE | . | 0.32 | 0.739 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77675 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2011-04-19 | ug/L | 0.86899 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 3.832 | CHRYSENE | . | 0.32 | 3.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86899 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2011-05-16 | ug/L | 0.60697 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.5454 | CHRYSENE | . | 0.32 | 0.938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60697 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2011-07-14 | ug/L | 0.68618 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.97642 | CHRYSENE | . | 0.32 | 0.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68618 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2011-09-16 | ug/L | 0.88083 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.544 | CHRYSENE | . | 0.32 | 1.36 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88083 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2012-01-10 | ug/L | 0.67979 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.965 | CHRYSENE | . | 0.32 | 0.656 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67979 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2012-01-28 | ug/L | 0.79663 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.544 | CHRYSENE | . | 0.32 | 1.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79663 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2012-04-17 | ug/L | 0.73057 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.965 | CHRYSENE | . | 0.32 | 0.705 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73057 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76525 | 0.096259 | 0.77675 | 0.17434 | 0.12924
CHRYSENE | 1383 | 34320GCM57 | 2010-01-28 | ug/L | 0.80649 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.4755 | CHRYSENE | . | 0.33 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80649 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78632 | 0.16134 | 0.75739 | 0.23609 | 0.17501
CHRYSENE | 1383 | 34320GCM57 | 2010-06-14 | ug/L | 0.70828 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 3.0638 | CHRYSENE | . | 0.33 | 2.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70828 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78632 | 0.16134 | 0.75739 | 0.23609 | 0.17501
CHRYSENE | 1383 | 34320GCM57 | 2010-09-23 | ug/L | 1.0022 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 1.4967 | CHRYSENE | . | 0.33 | 1.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0022 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78632 | 0.16134 | 0.75739 | 0.23609 | 0.17501
CHRYSENE | 1383 | 34320GCM57 | 2010-10-26 | ug/L | 0.62826 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 3.0083 | CHRYSENE | . | 0.32 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62826 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78632 | 0.16134 | 0.75739 | 0.23609 | 0.17501
CHRYSENE | 1383 | 34320GCM57 | 2012-10-26 | ug/L | 0.95187 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.74 | CHRYSENE | . | 0.32 | 3.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95187 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91711 | 0.049157 | 0.91711 | 0.069519 | 0.051534
CHRYSENE | 1383 | 34320GCM57 | 2013-01-08 | ug/L | 0.88235 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.48 | CHRYSENE | . | 0.32 | 6.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88235 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91711 | 0.049157 | 0.91711 | 0.069519 | 0.051534
CHRYSENE | 1383 | 34320GCM57 | 2012-08-10 | ug/L | 0.78877 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.496 | CHRYSENE | . | 0.32 | 1.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78877 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78877 |  | 0.78877 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2011-01-25 | ug/L | 0.53594 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.5282 | CHRYSENE | . | 0.32 | 0.819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53594 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2011-03-17 | ug/L | 0.88064 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.97429 | CHRYSENE | . | 0.32 | 0.858 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88064 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2011-06-07 | ug/L | 0.7353 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.98327 | CHRYSENE | . | 0.32 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7353 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2011-09-15 | ug/L | 0.82217 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.88 | CHRYSENE | . | 0.32 | 3.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82216 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2011-10-12 | ug/L | 0.74098 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.552 | CHRYSENE | . | 0.32 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74098 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2012-01-10 | ug/L | 0.50644 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.552 | CHRYSENE | . | 0.32 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50644 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2012-03-08 | ug/L | 0.77062 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 3.88 | CHRYSENE | . | 0.32 | 2.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77062 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2012-03-20 | ug/L | 0.6701 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.97 | CHRYSENE | . | 0.32 | 0.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6701 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2012-04-18 | ug/L | 0.58969 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.97 | CHRYSENE | . | 0.32 | 0.572 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58969 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2012-07-12 | ug/L | 0.77526 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.97 | CHRYSENE | . | 0.32 | 0.752 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77526 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.70271 | 0.12405 | 0.73814 | 0.18557 | 0.13756
CHRYSENE | 1383 | 34320GCM57 | 2010-01-26 | ug/L | 0.72445 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 3.0782 | CHRYSENE | . | 0.33 | 2.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72445 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81583 | 0.090762 | 0.80151 | 0.13352 | 0.098976
CHRYSENE | 1383 | 34320GCM57 | 2010-06-10 | ug/L | 0.77369 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.5122 | CHRYSENE | . | 0.33 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77369 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81583 | 0.090762 | 0.80151 | 0.13352 | 0.098976
CHRYSENE | 1383 | 34320GCM57 | 2010-07-15 | ug/L | 0.82933 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.5072 | CHRYSENE | . | 0.33 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82933 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81583 | 0.090762 | 0.80151 | 0.13352 | 0.098976
CHRYSENE | 1383 | 34320GCM57 | 2010-10-19 | ug/L | 0.93585 | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 1.528 | CHRYSENE | . | 0.32 | 1.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93585 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.81583 | 0.090762 | 0.80151 | 0.13352 | 0.098976
CHRYSENE | 1383 | 34320GCM57 | 2009-03-04 | ug/L | 0.98286 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.282 | CHRYSENE | . | 0.33 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98286 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94225 | 0.1016 | 0.95432 | 0.14844 | 0.11004
CHRYSENE | 1383 | 34320GCM57 | 2009-04-07 | ug/L | 0.92578 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 1.9227 | CHRYSENE | E | 0.33 | 1.78 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92578 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.94225 | 0.1016 | 0.95432 | 0.14844 | 0.11004
CHRYSENE | 1383 | 34320GCM57 | 2009-07-07 | ug/L | 1.0501 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.1999 | CHRYSENE | . | 0.33 | 1.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0501 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94225 | 0.1016 | 0.95432 | 0.14844 | 0.11004
CHRYSENE | 1383 | 34320GCM57 | 2009-09-01 | ug/L | 0.81027 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.191 | CHRYSENE | . | 0.33 | 0.965 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81027 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94225 | 0.1016 | 0.95432 | 0.14844 | 0.11004
CHRYSENE | 1383 | 34320GCM57 | 2012-09-18 | ug/L | 0.63325 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.79 | CHRYSENE | . | 0.32 | 2.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63325 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.63325 |  | 0.63325 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2009-03-13 | ug/L | 0.8094 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 1.2849 | CHRYSENE | E | 0.33 | 1.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8094 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.88827 | 0.067712 | 0.88892 | 0.10578 | 0.078416
CHRYSENE | 1383 | 34320GCM57 | 2009-08-04 | ug/L | 0.9165 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 1.2111 | CHRYSENE | . | 0.33 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9165 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88827 | 0.067712 | 0.88892 | 0.10578 | 0.078416
CHRYSENE | 1383 | 34320GCM57 | 2009-08-25 | ug/L | 0.86135 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 1.9504 | CHRYSENE | . | 0.33 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86135 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88827 | 0.067712 | 0.88892 | 0.10578 | 0.078416
CHRYSENE | 1383 | 34320GCM57 | 2009-09-22 | ug/L | 0.96581 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 1.2321 | CHRYSENE | . | 0.33 | 1.19 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96581 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.88827 | 0.067712 | 0.88892 | 0.10578 | 0.078416
CHRYSENE | 1383 | 34320GCM57 | 2012-07-27 | ug/L | 0.80475 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.516 | CHRYSENE | . | 0.32 | 1.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80475 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79749 | 0.010261 | 0.79749 | 0.014512 | 0.010758
CHRYSENE | 1383 | 34320GCM57 | 2012-12-19 | ug/L | 0.79024 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.58 | CHRYSENE | . | 0.32 | 5.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79024 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.79749 | 0.010261 | 0.79749 | 0.014512 | 0.010758
CHRYSENE | 1383 | 34320GCM57 | 2012-12-19 | ug/L | 0.76471 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.74 | CHRYSENE | . | 0.32 | 2.86 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76471 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78676 | 0.031196 | 0.78676 | 0.044118 | 0.032704
CHRYSENE | 1383 | 34320GCM57 | 2013-03-06 | ug/L | 0.80882 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.496 | CHRYSENE | . | 0.32 | 1.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80882 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.78676 | 0.031196 | 0.78676 | 0.044118 | 0.032704
CHRYSENE | 1383 | 34320GCM57 | 2014-01-30 | ug/L | 0.89243 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.255 | CHRYSENE | . | 0.32 | 1.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89243 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89243 |  | 0.89243 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2013-11-25 | ug/L | 0.938 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | CHRYSENE | . | 0.32 | 0.469 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.938 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.21213 | 0.788 | 0.3 | 0.22239
CHRYSENE | 1383 | 34320GCM57 | 2014-04-15 | ug/L | 0.638 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.5 | CHRYSENE | . | 0.32 | 0.319 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.638 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.788 | 0.21213 | 0.788 | 0.3 | 0.22239
CHRYSENE | 1383 | 34320GCM57 | 2013-05-10 | ug/L | 0.89446 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.79 | CHRYSENE | . | 0.32 | 3.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89446 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89446 |  | 0.89446 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2013-06-17 | ug/L | 0.7352 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 1.25 | CHRYSENE | . | 0.32 | 0.919 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7352 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.7352 |  | 0.7352 | 0 | 0
CHRYSENE | 1383 | 34320GCM57 | 2013-09-24 | ug/L | 0.766 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.5 | CHRYSENE | . | 0.32 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.766 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.799 | 0.046669 | 0.799 | 0.066 | 0.048925
CHRYSENE | 1383 | 34320GCM57 | 2014-02-08 | ug/L | 0.832 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 2.5 | CHRYSENE | . | 0.32 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.832 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.799 | 0.046669 | 0.799 | 0.066 | 0.048925