## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-08-06 | ug/L | 0.77155 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 5.962 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 4.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77155 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76317 | 0.01186 | 0.76317 | 0.016773 | 0.012434
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2014-04-15 | ug/L | 0.75478 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 5.962 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 4.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75478 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.76317 | 0.01186 | 0.76317 | 0.016773 | 0.012434
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-12-06 | ug/L | 0.64883 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 14.95 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 9.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64883 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Estimated Values | Y | 2 |  | 1 | 0.64883 |  | 0.64883 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-07-07 | ug/L | 0.53102 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.86625 | DI-N-BUTYL_PHTHALATE | E | 1 | 0.46 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.53102 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.75451 | 0.2097 | 0.78552 | 0.41596 | 0.30834
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-09-01 | ug/L | 0.78552 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 0.86313 | DI-N-BUTYL_PHTHALATE | E | 1 | 0.678 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78552 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.75451 | 0.2097 | 0.78552 | 0.41596 | 0.30834
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-10-27 | ug/L | 0.94698 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.3939 | DI-N-BUTYL_PHTHALATE | . | 2 | 1.32 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94698 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 0.75451 | 0.2097 | 0.78552 | 0.41596 | 0.30834
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-08-06 | ug/L | 0.79839 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 14.905 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 11.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79839 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.62563 | 0.24432 | 0.62563 | 0.34552 | 0.25613
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2014-04-15 | ug/L | 0.45287 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 29.81 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 13.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.45287 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.62563 | 0.24432 | 0.62563 | 0.34552 | 0.25613
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-11-26 | ug/L | 0.92251 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 5.962 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 5.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92251 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Estimated Values | Y | 2 |  | 1 | 0.92251 |  | 0.92251 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-12-19 | ug/L | 0.875 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 4 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 3.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.875 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Estimated Values | Y | 2 |  | 1 | 0.875 |  | 0.875 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-04-28 | ug/L | 0.94213 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 1.4117 | DI-N-BUTYL_PHTHALATE | . | 1 | 1.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94213 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81029 | 0.17683 | 0.87941 | 0.33279 | 0.2467
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-08-25 | ug/L | 0.60934 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.88293 | DI-N-BUTYL_PHTHALATE | E | 1 | 0.538 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.60934 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81029 | 0.17683 | 0.87941 | 0.33279 | 0.2467
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2009-09-21 | ug/L | 0.87941 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 0.86536 | DI-N-BUTYL_PHTHALATE | E | 1 | 0.761 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87941 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81029 | 0.17683 | 0.87941 | 0.33279 | 0.2467
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-06-18 | ug/L | 0.86957 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 5.98 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 5.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86957 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86957 |  | 0.86957 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-10-31 | ug/L | 0.70234 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 5.98 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 4.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70234 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74415 | 0.059123 | 0.74415 | 0.083612 | 0.061981
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2014-01-30 | ug/L | 0.78595 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 5.98 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 4.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78595 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.74415 | 0.059123 | 0.74415 | 0.083612 | 0.061981
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-10-26 | ug/L | 1.02 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 10 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 10.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.02 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91 | 0.15556 | 0.91 | 0.22 | 0.16308
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-01-08 | ug/L | 0.8 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 20 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91 | 0.15556 | 0.91 | 0.22 | 0.16308
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-08-10 | ug/L | 0.8991 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 4.004 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8991 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8991 |  | 0.8991 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-01-25 | ug/L | 0.8281 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.8114 | DI-N-BUTYL_PHTHALATE | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.8281 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.89188 | 0.12085 | 0.83316 | 0.12438 | 0.092204
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-06-29 | ug/L | 1.0731 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.7706 | DI-N-BUTYL_PHTHALATE | E | 2 | 1.9 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0731 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.89188 | 0.12085 | 0.83316 | 0.12438 | 0.092204
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-07-28 | ug/L | 0.83504 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 3.5926 | DI-N-BUTYL_PHTHALATE | . | 2 | 3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83504 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89188 | 0.12085 | 0.83316 | 0.12438 | 0.092204
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-10-20 | ug/L | 0.83128 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 1.8045 | DI-N-BUTYL_PHTHALATE | E | 2 | 1.5 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.83128 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.89188 | 0.12085 | 0.83316 | 0.12438 | 0.092204
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-08-18 | ug/L | 0.9 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 4 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 3.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.9 |  | 0.9 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-12-19 | ug/L | 0.74925 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 10.01 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 7.5 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74925 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 |  | 2 | 0.77173 | 0.031788 | 0.77173 | 0.044955 | 0.033325
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-03-05 | ug/L | 0.79421 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 20.02 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 15.9 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79421 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77173 | 0.031788 | 0.77173 | 0.044955 | 0.033325
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-12-19 | ug/L | 0.82418 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 4.004 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 3.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82418 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82418 |  | 0.82418 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-12-07 | ug/L | 0.96571 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.8994 | DI-N-BUTYL_PHTHALATE | . | 2 | 2.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96571 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-01-25 | ug/L | 0.85747 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 7.2306 | DI-N-BUTYL_PHTHALATE | . | 2 | 6.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85747 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-03-17 | ug/L | 0.6693 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.7929 | DI-N-BUTYL_PHTHALATE | . | 2 | 1.2 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.6693 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-06-23 | ug/L | 0.72579 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.8934 | DI-N-BUTYL_PHTHALATE | . | 2 | 2.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72579 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-07-15 | ug/L | 0.84932 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 7.3 | DI-N-BUTYL_PHTHALATE | . | 2 | 6.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84932 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-09-16 | ug/L | 0.87671 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.825 | DI-N-BUTYL_PHTHALATE | . | 2 | 1.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87671 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-12-29 | ug/L | 0.71233 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.825 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 1.3 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.71233 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-01-10 | ug/L | 0.41096 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 2.92 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 1.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41096 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-03-20 | ug/L | 0.93151 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 1.825 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 1.7 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.93151 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 9 | 0.77768 | 0.17085 | 0.84932 | 0.16438 | 0.12186
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-05-10 | ug/L | 0.77922 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 10.01 | DI-N-BUTYL_PHTHALATE | E | 2.8 | 7.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77922 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Estimated Values | Y | 2 |  | 1 | 0.77922 |  | 0.77922 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-06-17 | ug/L | 0.73801 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 14.905 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73801 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.73801 |  | 0.73801 | 0 | 0
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2013-09-24 | ug/L | 0.88629 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 5.98 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 5.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88629 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83445 | 0.073312 | 0.83445 | 0.10368 | 0.076856
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2014-02-08 | ug/L | 0.78261 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 29.9 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 23.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78261 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.83445 | 0.073312 | 0.83445 | 0.10368 | 0.076856
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-03-02 | ug/L | 0.76426 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 3.5328 | DI-N-BUTYL_PHTHALATE | . | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76426 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98532 | 0.19563 | 1.012 | 0.32928 | 0.24409
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-06-15 | ug/L | 1.1531 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.8212 | DI-N-BUTYL_PHTHALATE | E | 2 | 2.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1531 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.98532 | 0.19563 | 1.012 | 0.32928 | 0.24409
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-09-28 | ug/L | 1.1469 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 1.8311 | DI-N-BUTYL_PHTHALATE | . | 2 | 2.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1469 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 0.98532 | 0.19563 | 1.012 | 0.32928 | 0.24409
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-10-26 | ug/L | 0.8771 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 3.5344 | DI-N-BUTYL_PHTHALATE | . | 2 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8771 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98532 | 0.19563 | 1.012 | 0.32928 | 0.24409
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2010-12-08 | ug/L | 0.8929 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.7919 | DI-N-BUTYL_PHTHALATE | E | 2 | 1.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.8929 | Supelco LB77169 | [9 empty] | Y | Estimated Values | Y | 1 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-02-01 | ug/L | 0.9299 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 2.9035 | DI-N-BUTYL_PHTHALATE | . | 2 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9299 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-05-17 | ug/L | 0.65469 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 7.3317 | DI-N-BUTYL_PHTHALATE | . | 2 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65469 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-08-11 | ug/L | 0.76649 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.8265 | DI-N-BUTYL_PHTHALATE | . | 2 | 1.4 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.76649 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2011-10-05 | ug/L | 0.82124 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.8265 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 1.5 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82124 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-01-10 | ug/L | 0.65699 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 7.306 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 4.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65699 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-03-14 | ug/L | 0.68437 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 2.9224 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68437 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846
DI-N-BUTYL PHTHALATE | 1383 | 39110GCM57 | 2012-03-20 | ug/L | 0.87599 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 1.8265 | DI-N-BUTYL_PHTHALATE | . | 2.8 | 1.6 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87599 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 8 | 0.78532 | 0.11088 | 0.79387 | 0.21376 | 0.15846