## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-08-06 | ug/L | 0.82727 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.2088 | DIMETHYL_PHTHALATE | . | 0.36 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82727 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8314 | 0.0058497 | 0.8314 | 0.0082727 | 0.0061324
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-04-15 | ug/L | 0.83554 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.2088 | DIMETHYL_PHTHALATE | . | 0.36 | 1.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83554 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8314 | 0.0058497 | 0.8314 | 0.0082727 | 0.0061324
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-12-06 | ug/L | 0.75116 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75116 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.75116 |  | 0.75116 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-04-07 | ug/L | 1.004 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 3.0776 | DIMETHYL_PHTHALATE | . | 0.4 | 3.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-07-07 | ug/L | 0.56346 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.8574 | DIMETHYL_PHTHALATE | . | 0.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56346 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-09-01 | ug/L | 0.75868 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 2.8471 | DIMETHYL_PHTHALATE | . | 0.4 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75868 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-10-27 | ug/L | 0.84388 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 4.5978 | DIMETHYL_PHTHALATE | . | 0.36 | 3.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84388 | Abs 080508BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.79251 | 0.18347 | 0.80128 | 0.26288 | 0.19487
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | ug/L | 0.82769 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.831 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82769 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73058 | 0.13734 | 0.73058 | 0.19422 | 0.14398
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-04-03 | ug/L | 0.63347 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.636 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63347 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73058 | 0.13734 | 0.73058 | 0.19422 | 0.14398
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-03-10 | ug/L | 0.51044 | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 3.1542 | DIMETHYL_PHTHALATE | . | 0.4 | 1.61 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51044 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-04-28 | ug/L | 0.92679 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 4.6613 | DIMETHYL_PHTHALATE | . | 0.4 | 4.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92679 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-08-25 | ug/L | 0.29534 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.9153 | DIMETHYL_PHTHALATE | E | 0.4 | 0.861 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29534 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2009-09-21 | ug/L | 0.85395 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 2.8573 | DIMETHYL_PHTHALATE | . | 0.4 | 2.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85395 | ChemService 406-96B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.64663 | 0.29632 | 0.68219 | 0.48748 | 0.36136
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-07-25 | ug/L | 1.0258 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.2088 | DIMETHYL_PHTHALATE | . | 0.36 | 1.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0258 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97948 | 0.065516 | 0.97948 | 0.092654 | 0.068683
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-09-10 | ug/L | 0.93316 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93316 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97948 | 0.065516 | 0.97948 | 0.092654 | 0.068683
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-03-19 | ug/L | 0.77824 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 0.937 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77824 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.77824 |  | 0.77824 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-01-28 | ug/L | 0.73138 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.60434 | DIMETHYL_PHTHALATE | . | 0.36 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73138 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-06-14 | ug/L | 0.72201 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.2548 | DIMETHYL_PHTHALATE | . | 0.36 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72201 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-09-23 | ug/L | 1.0033 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.613 | DIMETHYL_PHTHALATE | . | 0.36 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0033 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-10-26 | ug/L | 0.629 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 1.2321 | DIMETHYL_PHTHALATE | . | 0.36 | 0.775 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.629 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77141 | 0.16133 | 0.72669 | 0.19182 | 0.1422
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-10-26 | ug/L | 1.002 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.515 | DIMETHYL_PHTHALATE | . | 0.36 | 2.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.002 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98111 | 0.029521 | 0.98111 | 0.04175 | 0.030948
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-01-08 | ug/L | 0.96024 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 5.03 | DIMETHYL_PHTHALATE | . | 0.36 | 4.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96024 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.98111 | 0.029521 | 0.98111 | 0.04175 | 0.030948
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-08-10 | ug/L | 0.9006 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.006 | DIMETHYL_PHTHALATE | . | 0.36 | 0.906 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9006 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.9006 |  | 0.9006 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-01-26 | ug/L | 0.54881 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 1.2901 | DIMETHYL_PHTHALATE | . | 0.36 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54881 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-06-10 | ug/L | 0.97353 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.63377 | DIMETHYL_PHTHALATE | . | 0.36 | 0.617 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97353 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-07-15 | ug/L | 1.0179 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.63168 | DIMETHYL_PHTHALATE | . | 0.36 | 0.643 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0179 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.84675 | 0.25898 | 0.97353 | 0.4691 | 0.34774
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-09-18 | ug/L | 0.86853 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.51 | DIMETHYL_PHTHALATE | . | 0.36 | 2.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86853 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.86853 |  | 0.86853 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-07-27 | ug/L | 0.9253 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.004 | DIMETHYL_PHTHALATE | . | 0.36 | 0.929 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9253 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88695 | 0.05423 | 0.88695 | 0.076693 | 0.056852
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | ug/L | 0.84861 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5.02 | DIMETHYL_PHTHALATE | . | 0.36 | 4.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84861 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88695 | 0.05423 | 0.88695 | 0.076693 | 0.056852
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-12-19 | ug/L | 0.84294 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.515 | DIMETHYL_PHTHALATE | . | 0.36 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84294 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80964 | 0.047094 | 0.80964 | 0.0666 | 0.04937
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-03-06 | ug/L | 0.77634 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.006 | DIMETHYL_PHTHALATE | . | 0.36 | 0.781 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77634 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80964 | 0.047094 | 0.80964 | 0.0666 | 0.04937
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-01-30 | ug/L | 0.90999 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 3.022 | DIMETHYL_PHTHALATE | . | 0.36 | 2.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90999 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90999 |  | 0.90999 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-11-25 | ug/L | 0.93854 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93854 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77243 | 0.23492 | 0.77243 | 0.33223 | 0.24628
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-04-15 | ug/L | 0.60631 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60631 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77243 | 0.23492 | 0.77243 | 0.33223 | 0.24628
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-12-07 | ug/L | 0.96782 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.99295 | DIMETHYL_PHTHALATE | . | 0.36 | 0.961 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96782 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-01-25 | ug/L | 0.91268 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.4762 | DIMETHYL_PHTHALATE | . | 0.36 | 2.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91268 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-03-17 | ug/L | 0.68077 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.61401 | DIMETHYL_PHTHALATE | . | 0.36 | 0.418 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68077 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-06-23 | ug/L | 0.73773 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 0.99088 | DIMETHYL_PHTHALATE | . | 0.36 | 0.731 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73773 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-07-15 | ug/L | 0.844 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 2.5 | DIMETHYL_PHTHALATE | . | 0.36 | 2.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.844 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-09-16 | ug/L | 0.8304 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.519 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8304 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-12-29 | ug/L | 0.7136 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.446 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7136 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-01-10 | ug/L | 0.374 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 1 | DIMETHYL_PHTHALATE | E | 0.36 | 0.374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.374 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-20 | ug/L | 0.8288 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 0.625 | DIMETHYL_PHTHALATE | . | 0.36 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8288 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.76553 | 0.17353 | 0.8288 | 0.1304 | 0.096664
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-05-10 | ug/L | 0.99203 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.51 | DIMETHYL_PHTHALATE | . | 0.36 | 2.49 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99203 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.99203 |  | 0.99203 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-06-17 | ug/L | 0.88704 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 3.01 | DIMETHYL_PHTHALATE | . | 0.36 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88704 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.88704 |  | 0.88704 | 0 | 0
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2013-09-24 | ug/L | 0.83056 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.204 | DIMETHYL_PHTHALATE | . | 0.36 | 1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83056 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85963 | 0.041111 | 0.85963 | 0.05814 | 0.043098
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2014-02-08 | ug/L | 0.8887 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 6.02 | DIMETHYL_PHTHALATE | . | 0.36 | 5.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8887 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85963 | 0.041111 | 0.85963 | 0.05814 | 0.043098
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2010-12-08 | ug/L | 0.89025 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.61218 | DIMETHYL_PHTHALATE | . | 0.36 | 0.545 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89025 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-02-01 | ug/L | 0.92746 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.99195 | DIMETHYL_PHTHALATE | . | 0.36 | 0.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92746 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-05-17 | ug/L | 0.65874 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.5048 | DIMETHYL_PHTHALATE | . | 0.36 | 1.65 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65874 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-08-11 | ug/L | 0.79327 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79327 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2011-10-05 | ug/L | 0.88141 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88141 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-01-10 | ug/L | 0.62099 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 2.496 | DIMETHYL_PHTHALATE | . | 0.36 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62099 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-14 | ug/L | 0.61599 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 0.9984 | DIMETHYL_PHTHALATE | . | 0.36 | 0.615 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61599 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233
DIMETHYL PHTHALATE | 1383 | 34341GCM57 | 2012-03-20 | ug/L | 0.87019 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 0.624 | DIMETHYL_PHTHALATE | . | 0.36 | 0.543 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87019 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 8 | 0.78229 | 0.13057 | 0.83173 | 0.24596 | 0.18233