## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
FLUORENE | 1383 | 34381GCM57 | 2013-08-06 | ug/L | 0.85454 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.8016 | FLUORENE | . | 0.34 | 0.685 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85454 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85267 | 0.0026464 | 0.85267 | 0.0037425 | 0.0027743
FLUORENE | 1383 | 34381GCM57 | 2014-04-15 | ug/L | 0.8508 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 0.8016 | FLUORENE | . | 0.34 | 0.682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8508 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85267 | 0.0026464 | 0.85267 | 0.0037425 | 0.0027743
FLUORENE | 1383 | 34381GCM57 | 2013-12-06 | ug/L | 0.8982 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.004 | FLUORENE | . | 0.34 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8982 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.8982 |  | 0.8982 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2009-03-10 | ug/L | 0.7698 | 2009-02-12 06:00 | 20090430169 | Accu | B8090087 | Accu B8090087: 40 µl | 2.0135 | FLUORENE | . | 0.33 | 1.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7698 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8576 | 0.092283 | 0.85767 | 0.15899 | 0.11786
FLUORENE | 1383 | 34381GCM57 | 2009-04-28 | ug/L | 0.78641 | 2009-03-26 07:00 | 20090860040 | Accu | B8090087 | Accu B8090087: 25 µl | 1.1953 | FLUORENE | . | 0.33 | 0.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78641 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8576 | 0.092283 | 0.85767 | 0.15899 | 0.11786
FLUORENE | 1383 | 34381GCM57 | 2009-07-14 | ug/L | 0.92893 | 2009-06-04 07:00 | 20091550182 | Accu | B8090087 | Accu B8090087: 25 µl | 1.238 | FLUORENE | . | 0.33 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92893 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8576 | 0.092283 | 0.85767 | 0.15899 | 0.11786
FLUORENE | 1383 | 34381GCM57 | 2009-09-15 | ug/L | 0.94525 | 2009-07-16 06:30 | 20091970070 | Accu | B8090087 | Accu B8090087: 25 µl | 1.206 | FLUORENE | . | 0.33 | 1.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94525 | Accu B8090087 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8576 | 0.092283 | 0.85767 | 0.15899 | 0.11786
FLUORENE | 1383 | 34381GCM57 | 2012-12-19 | ug/L | 0.77896 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.502 | FLUORENE | . | 0.34 | 1.17 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77896 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65979 | 0.16854 | 0.65979 | 0.23835 | 0.17669
FLUORENE | 1383 | 34381GCM57 | 2013-04-03 | ug/L | 0.54061 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.502 | FLUORENE | . | 0.34 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54061 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65979 | 0.16854 | 0.65979 | 0.23835 | 0.17669
FLUORENE | 1383 | 34381GCM57 | 2013-07-25 | ug/L | 1.013 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.8016 | FLUORENE | . | 0.34 | 0.812 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.013 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97804 | 0.049399 | 0.97804 | 0.06986 | 0.051787
FLUORENE | 1383 | 34381GCM57 | 2013-09-10 | ug/L | 0.94311 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.004 | FLUORENE | . | 0.34 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94311 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.97804 | 0.049399 | 0.97804 | 0.06986 | 0.051787
FLUORENE | 1383 | 34381GCM57 | 2014-03-19 | ug/L | 0.79625 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.8 | FLUORENE | . | 0.34 | 0.637 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79625 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.79625 |  | 0.79625 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2010-12-02 | ug/L | 0.93508 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.69299 | FLUORENE | . | 0.34 | 0.648 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93508 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2011-01-25 | ug/L | 0.87857 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.6852 | FLUORENE | . | 0.34 | 0.602 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87857 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2011-04-19 | ug/L | 0.76816 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.7599 | FLUORENE | . | 0.34 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76816 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2011-05-16 | ug/L | 0.71968 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.113 | FLUORENE | . | 0.34 | 0.801 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71968 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2011-07-14 | ug/L | 0.7622 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.70323 | FLUORENE | . | 0.34 | 0.536 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7622 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2011-09-16 | ug/L | 0.91727 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.112 | FLUORENE | . | 0.34 | 1.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91727 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2012-01-10 | ug/L | 0.88633 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.695 | FLUORENE | . | 0.34 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88633 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2012-01-28 | ug/L | 0.82554 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.112 | FLUORENE | . | 0.34 | 0.918 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82554 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2012-04-17 | ug/L | 0.81007 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.695 | FLUORENE | . | 0.34 | 0.563 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81007 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.83365 | 0.075066 | 0.82554 | 0.11817 | 0.087601
FLUORENE | 1383 | 34381GCM57 | 2010-01-28 | ug/L | 0.84248 | 2009-12-03 06:00 | 20093380007 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.38458 | FLUORENE | E | 0.33 | 0.324 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84248 | Crescent 08LL068 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.87339 | 0.16831 | 0.82573 | 0.21083 | 0.15629
FLUORENE | 1383 | 34381GCM57 | 2010-06-14 | ug/L | 0.80898 | 2010-05-20 08:30 | 20101410007 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 0.79853 | FLUORENE | . | 0.33 | 0.646 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80898 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87339 | 0.16831 | 0.82573 | 0.21083 | 0.15629
FLUORENE | 1383 | 34381GCM57 | 2010-09-23 | ug/L | 1.1151 | 2010-07-21 08:30 | 20102030004 | Crescent | 08LL068 | Crescent 08LL068: 40 µl | 0.39009 | FLUORENE | . | 0.33 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1151 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87339 | 0.16831 | 0.82573 | 0.21083 | 0.15629
FLUORENE | 1383 | 34381GCM57 | 2010-10-26 | ug/L | 0.72697 | 2010-09-02 08:30 | 20102500050 | Crescent | 08LL068 | Crescent 08LL068: 80 µl | 0.78408 | FLUORENE | . | 0.34 | 0.57 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72697 | Crescent 08LL068 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87339 | 0.16831 | 0.82573 | 0.21083 | 0.15629
FLUORENE | 1383 | 34381GCM57 | 2012-10-26 | ug/L | 0.97105 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 3.8 | FLUORENE | . | 0.34 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97105 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94539 | 0.036286 | 0.94539 | 0.051316 | 0.03804
FLUORENE | 1383 | 34381GCM57 | 2013-01-08 | ug/L | 0.91974 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 7.6 | FLUORENE | . | 0.34 | 6.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91974 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.94539 | 0.036286 | 0.94539 | 0.051316 | 0.03804
FLUORENE | 1383 | 34381GCM57 | 2012-08-10 | ug/L | 0.84868 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 1.52 | FLUORENE | . | 0.34 | 1.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84868 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.84868 |  | 0.84868 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2011-01-25 | ug/L | 0.61819 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.087 | FLUORENE | . | 0.34 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61819 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2011-03-17 | ug/L | 0.81524 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.69305 | FLUORENE | . | 0.34 | 0.565 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81524 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2011-06-07 | ug/L | 0.80207 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.69944 | FLUORENE | . | 0.34 | 0.561 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80207 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2011-09-15 | ug/L | 0.77536 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.76 | FLUORENE | . | 0.34 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77536 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2011-10-12 | ug/L | 0.80435 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.104 | FLUORENE | . | 0.34 | 0.888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80435 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2012-01-10 | ug/L | 0.71196 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.104 | FLUORENE | . | 0.34 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71196 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2012-03-08 | ug/L | 0.7971 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.76 | FLUORENE | . | 0.34 | 2.2 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7971 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2012-03-20 | ug/L | 0.83188 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.69 | FLUORENE | . | 0.34 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83188 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2012-04-18 | ug/L | 0.76377 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.69 | FLUORENE | . | 0.34 | 0.527 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76377 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2012-07-12 | ug/L | 0.88986 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.69 | FLUORENE | . | 0.34 | 0.614 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88986 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.78098 | 0.07338 | 0.79958 | 0.05147 | 0.038154
FLUORENE | 1383 | 34381GCM57 | 2010-01-26 | ug/L | 0.70939 | 2009-11-19 09:30 | 20093240043 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 80 µl | 0.80914 | FLUORENE | . | 0.33 | 0.574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70939 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90453 | 0.13719 | 0.94704 | 0.189 | 0.1401
FLUORENE | 1383 | 34381GCM57 | 2010-06-10 | ug/L | 0.91066 | 2010-04-22 08:30 | 20101130053 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.39751 | FLUORENE | . | 0.33 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91066 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90453 | 0.13719 | 0.94704 | 0.189 | 0.1401
FLUORENE | 1383 | 34381GCM57 | 2010-07-15 | ug/L | 1.0146 | 2010-06-24 08:30 | 20101760002 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.3962 | FLUORENE | . | 0.33 | 0.402 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0146 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90453 | 0.13719 | 0.94704 | 0.189 | 0.1401
FLUORENE | 1383 | 34381GCM57 | 2010-10-19 | ug/L | 0.98341 | 2010-08-12 09:30 | 20102250099 | ERA | 0817-09-02BNA | ERA 0817-09-02BNA: 40 µl | 0.40166 | FLUORENE | . | 0.34 | 0.395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98341 | ERA 0817-09-02BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90453 | 0.13719 | 0.94704 | 0.189 | 0.1401
FLUORENE | 1383 | 34381GCM57 | 2012-09-18 | ug/L | 0.82557 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 3.755 | FLUORENE | . | 0.34 | 3.1 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82557 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.82557 |  | 0.82557 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2012-07-27 | ug/L | 0.87217 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.502 | FLUORENE | . | 0.34 | 1.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87217 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91079 | 0.05461 | 0.91079 | 0.07723 | 0.05725
FLUORENE | 1383 | 34381GCM57 | 2012-12-19 | ug/L | 0.9494 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 7.51 | FLUORENE | . | 0.34 | 7.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9494 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.91079 | 0.05461 | 0.91079 | 0.07723 | 0.05725
FLUORENE | 1383 | 34381GCM57 | 2012-12-19 | ug/L | 0.98947 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 3.8 | FLUORENE | . | 0.34 | 3.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98947 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86645 | 0.17399 | 0.86645 | 0.24605 | 0.1824
FLUORENE | 1383 | 34381GCM57 | 2013-03-06 | ug/L | 0.74342 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1.52 | FLUORENE | . | 0.34 | 1.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74342 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.86645 | 0.17399 | 0.86645 | 0.24605 | 0.1824
FLUORENE | 1383 | 34381GCM57 | 2014-01-30 | ug/L | 0.90818 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.004 | FLUORENE | . | 0.34 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90818 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.90818 |  | 0.90818 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2013-11-25 | ug/L | 0.965 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.8 | FLUORENE | . | 0.34 | 0.772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.965 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82625 | 0.19622 | 0.82625 | 0.2775 | 0.20571
FLUORENE | 1383 | 34381GCM57 | 2014-04-15 | ug/L | 0.6875 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.8 | FLUORENE | . | 0.34 | 0.55 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6875 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82625 | 0.19622 | 0.82625 | 0.2775 | 0.20571
FLUORENE | 1383 | 34381GCM57 | 2013-05-10 | ug/L | 0.98535 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 3.755 | FLUORENE | . | 0.34 | 3.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98535 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98535 |  | 0.98535 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2013-06-17 | ug/L | 0.96 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2 | FLUORENE | . | 0.34 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.96 |  | 0.96 | 0 | 0
FLUORENE | 1383 | 34381GCM57 | 2013-09-24 | ug/L | 0.90375 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.8 | FLUORENE | . | 0.34 | 0.723 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90375 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91312 | 0.013258 | 0.91312 | 0.01875 | 0.013899
FLUORENE | 1383 | 34381GCM57 | 2014-02-08 | ug/L | 0.9225 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 4 | FLUORENE | . | 0.34 | 3.69 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9225 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.91312 | 0.013258 | 0.91312 | 0.01875 | 0.013899
FLUORENE | 1383 | 34381GCM57 | 2009-03-13 | ug/L | 0.87083 | 2009-03-05 06:00 | 20090640120 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.2746 | FLUORENE | . | 0.33 | 1.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87083 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84567 | 0.023846 | 0.84785 | 0.037157 | 0.027544
FLUORENE | 1383 | 34381GCM57 | 2009-07-14 | ug/L | 0.85768 | 2009-06-25 07:00 | 20091770123 | Ultra | CE-2870 | Ultra CE-2870: 40 µl | 1.9121 | FLUORENE | . | 0.33 | 1.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85768 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84567 | 0.023846 | 0.84785 | 0.037157 | 0.027544
FLUORENE | 1383 | 34381GCM57 | 2009-08-04 | ug/L | 0.83802 | 2009-05-14 08:00 | 20091340059 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.1861 | FLUORENE | . | 0.33 | 0.994 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83802 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84567 | 0.023846 | 0.84785 | 0.037157 | 0.027544
FLUORENE | 1383 | 34381GCM57 | 2009-10-06 | ug/L | 0.81617 | 2009-08-13 06:30 | 20092260007 | Ultra | CE-2870 | Ultra CE-2870: 25 µl | 1.1995 | FLUORENE | . | 0.33 | 0.979 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81617 | Ultra CE-2870 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.84567 | 0.023846 | 0.84785 | 0.037157 | 0.027544