## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-08-06 | ug/L | 0.84464 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0028 | HEXACHLOROBENZENE | . | 0.3 | 0.847 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84464 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81572 | 0.040898 | 0.81572 | 0.057838 | 0.042875
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2014-04-15 | ug/L | 0.7868 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.0028 | HEXACHLOROBENZENE | . | 0.3 | 0.789 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7868 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81572 | 0.040898 | 0.81572 | 0.057838 | 0.042875
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-12-06 | ug/L | 0.84962 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 2.507 | HEXACHLOROBENZENE | . | 0.3 | 2.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84962 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 1 | 0.84962 |  | 0.84962 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-12-19 | ug/L | 0.74203 | 2012-11-08 06:00 | 20123140093 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | HEXACHLOROBENZENE | . | 0.3 | 0.745 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74203 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65438 | 0.12395 | 0.65438 | 0.1753 | 0.12995
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-04-03 | ug/L | 0.56673 | 2013-02-28 06:00 | 20130590066 | ChemService, NSI | 348100, 060612-01 | ChemService 348100: 20 µl & NSI 060612-01: 20 µl | 1.004 | HEXACHLOROBENZENE | . | 0.3 | 0.569 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56673 | Ch348100, NS0602-01 | Ch | NS | NS | 348100 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.65438 | 0.12395 | 0.65438 | 0.1753 | 0.12995
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-07-25 | ug/L | 0.97926 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 1.0028 | HEXACHLOROBENZENE | . | 0.3 | 0.982 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97926 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95034 | 0.040898 | 0.95034 | 0.057838 | 0.042875
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-09-10 | ug/L | 0.92142 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 2.507 | HEXACHLOROBENZENE | . | 0.3 | 2.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92142 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.95034 | 0.040898 | 0.95034 | 0.057838 | 0.042875
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2014-03-19 | ug/L | 0.71242 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.998 | HEXACHLOROBENZENE | . | 0.3 | 0.711 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71242 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.71242 |  | 0.71242 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-12-02 | ug/L | 0.94762 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.63316 | HEXACHLOROBENZENE | . | 0.3 | 0.6 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94762 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-01-25 | ug/L | 0.82741 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.62605 | HEXACHLOROBENZENE | . | 0.3 | 0.518 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82741 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-04-19 | ug/L | 0.74556 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 2.5216 | HEXACHLOROBENZENE | . | 0.3 | 1.88 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74556 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-05-16 | ug/L | 0.62935 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.0169 | HEXACHLOROBENZENE | . | 0.3 | 0.64 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62935 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-07-14 | ug/L | 0.78908 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.64252 | HEXACHLOROBENZENE | . | 0.3 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78908 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-09-16 | ug/L | 0.81398 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.016 | HEXACHLOROBENZENE | . | 0.3 | 0.827 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81398 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-01-10 | ug/L | 0.79528 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.635 | HEXACHLOROBENZENE | . | 0.3 | 0.505 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79528 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-01-28 | ug/L | 0.76969 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 1.016 | HEXACHLOROBENZENE | . | 0.3 | 0.782 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76969 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-04-17 | ug/L | 0.79843 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.635 | HEXACHLOROBENZENE | . | 0.3 | 0.507 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79843 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.79071 | 0.082998 | 0.79528 | 0.044291 | 0.032833
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-10-26 | ug/L | 0.91903 | 2012-09-27 06:00 | 20122720047 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 50 µl & NSI 060612-01: 50 µl | 2.47 | HEXACHLOROBENZENE | . | 0.3 | 2.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91903 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85729 | 0.087315 | 0.85729 | 0.12348 | 0.091536
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-01-08 | ug/L | 0.79555 | 2012-12-13 06:00 | 20123490151 | ERA, NSI | 0507-12-03.1, 060612-01 | ERA 0507-12-03.1: 100 µl & NSI 060612-01: 100 µl | 4.94 | HEXACHLOROBENZENE | . | 0.3 | 3.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79555 | ER05003.1, NS0602-01 | ER | NS | NS | 05003.1 | 0602-01 | 0602-01 | 05003.1 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 2 | 0.85729 | 0.087315 | 0.85729 | 0.12348 | 0.091536
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-08-10 | ug/L | 0.83502 | 2012-07-12 06:00 | 20121950067 | ERA, Supelco | 0507-12-03.1, LB92780 | ERA 0507-12-03.1: 20 µl & Supelco LB92780: 20 µl | 0.988 | HEXACHLOROBENZENE | . | 0.3 | 0.825 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83502 | ER05003.1, SuLB92780 | ER | Su | Su | 05003.1 | LB92780 | LB92780 | 05003.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.83502 |  | 0.83502 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-01-25 | ug/L | 0.55307 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.0161 | HEXACHLOROBENZENE | . | 0.3 | 0.562 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55307 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-03-17 | ug/L | 0.75172 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.64785 | HEXACHLOROBENZENE | . | 0.3 | 0.487 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75172 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-06-07 | ug/L | 0.67602 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.65383 | HEXACHLOROBENZENE | . | 0.3 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67602 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-09-15 | ug/L | 0.74806 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.58 | HEXACHLOROBENZENE | . | 0.3 | 1.93 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74806 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2011-10-12 | ug/L | 0.76163 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.032 | HEXACHLOROBENZENE | . | 0.3 | 0.786 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76163 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-01-10 | ug/L | 0.64826 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 1.032 | HEXACHLOROBENZENE | . | 0.3 | 0.669 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64826 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-03-08 | ug/L | 0.77132 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 2.58 | HEXACHLOROBENZENE | . | 0.3 | 1.99 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77132 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-03-20 | ug/L | 0.79535 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.645 | HEXACHLOROBENZENE | . | 0.3 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79535 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-04-18 | ug/L | 0.70698 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.645 | HEXACHLOROBENZENE | . | 0.3 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70698 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-07-12 | ug/L | 0.8062 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.645 | HEXACHLOROBENZENE | . | 0.3 | 0.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8062 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.72186 | 0.077711 | 0.74989 | 0.095298 | 0.070643
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-03-04 | ug/L | 0.88592 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.49101 | HEXACHLOROBENZENE | . | 0.3 | 0.435 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88592 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8321 | 0.12672 | 0.8573 | 0.17694 | 0.13116
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-04-07 | ug/L | 0.65859 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 0.73642 | HEXACHLOROBENZENE | E | 0.3 | 0.485 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65859 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.8321 | 0.12672 | 0.8573 | 0.17694 | 0.13116
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-07-07 | ug/L | 0.95521 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.45958 | HEXACHLOROBENZENE | . | 0.3 | 0.439 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95521 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8321 | 0.12672 | 0.8573 | 0.17694 | 0.13116
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-09-01 | ug/L | 0.82867 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 0.45615 | HEXACHLOROBENZENE | . | 0.3 | 0.378 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82867 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8321 | 0.12672 | 0.8573 | 0.17694 | 0.13116
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-09-18 | ug/L | 0.76494 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.51 | HEXACHLOROBENZENE | . | 0.3 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76494 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.76494 |  | 0.76494 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-03-13 | ug/L | 0.81545 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 0.49175 | HEXACHLOROBENZENE | E | 0.3 | 0.401 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81545 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.7992 | 0.028551 | 0.79822 | 0.047628 | 0.035306
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-08-04 | ug/L | 0.78099 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 0.46352 | HEXACHLOROBENZENE | . | 0.3 | 0.362 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78099 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7992 | 0.028551 | 0.79822 | 0.047628 | 0.035306
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-08-25 | ug/L | 0.83058 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 0.74646 | HEXACHLOROBENZENE | . | 0.3 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83058 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7992 | 0.028551 | 0.79822 | 0.047628 | 0.035306
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-09-22 | ug/L | 0.76979 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 0.47155 | HEXACHLOROBENZENE | . | 0.3 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76979 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7992 | 0.028551 | 0.79822 | 0.047628 | 0.035306
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-07-27 | ug/L | 0.85159 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1.004 | HEXACHLOROBENZENE | . | 0.3 | 0.855 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85159 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86604 | 0.020424 | 0.86604 | 0.028884 | 0.021412
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-12-19 | ug/L | 0.88048 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5.02 | HEXACHLOROBENZENE | . | 0.3 | 4.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88048 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.86604 | 0.020424 | 0.86604 | 0.028884 | 0.021412
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2012-12-19 | ug/L | 0.77733 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.47 | HEXACHLOROBENZENE | . | 0.3 | 1.92 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77733 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73735 | 0.05654 | 0.73735 | 0.07996 | 0.059273
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-03-06 | ug/L | 0.69737 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 0.988 | HEXACHLOROBENZENE | . | 0.3 | 0.689 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69737 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.73735 | 0.05654 | 0.73735 | 0.07996 | 0.059273
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2014-01-30 | ug/L | 0.8935 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 2.507 | HEXACHLOROBENZENE | . | 0.3 | 2.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8935 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.8935 |  | 0.8935 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-11-25 | ug/L | 0.89178 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.998 | HEXACHLOROBENZENE | . | 0.3 | 0.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89178 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77505 | 0.16509 | 0.77505 | 0.23347 | 0.17307
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2014-04-15 | ug/L | 0.65832 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.998 | HEXACHLOROBENZENE | . | 0.3 | 0.657 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65832 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.77505 | 0.16509 | 0.77505 | 0.23347 | 0.17307
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2009-12-15 | ug/L | 0.71513 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.4679 | HEXACHLOROBENZENE | . | 0.3 | 2.48 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71513 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76926 | 0.064856 | 0.75483 | 0.10311 | 0.076431
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-05-18 | ug/L | 0.78939 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.7482 | HEXACHLOROBENZENE | . | 0.3 | 1.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78939 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76926 | 0.064856 | 0.75483 | 0.10311 | 0.076431
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-07-28 | ug/L | 0.72027 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 1.7632 | HEXACHLOROBENZENE | . | 0.3 | 1.27 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72027 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76926 | 0.064856 | 0.75483 | 0.10311 | 0.076431
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-10-21 | ug/L | 0.85223 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 3.5436 | HEXACHLOROBENZENE | . | 0.3 | 3.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85223 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.76926 | 0.064856 | 0.75483 | 0.10311 | 0.076431
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-05-10 | ug/L | 0.92829 | 2013-04-04 06:00 | 20130940098 | Supelco, ChemService | LB92780, 348100 | Supelco LB92780: 50 µl & ChemService 348100: 50 µl | 2.51 | HEXACHLOROBENZENE | . | 0.3 | 2.33 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92829 | SuLB92780, Ch348100 | Su | Ch | Ch | LB92780 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.92829 |  | 0.92829 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-06-17 | ug/L | 0.83367 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.495 | HEXACHLOROBENZENE | . | 0.3 | 2.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83367 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 |  | 1 | 0.83367 |  | 0.83367 | 0 | 0
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2013-09-24 | ug/L | 0.82465 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 0.998 | HEXACHLOROBENZENE | . | 0.3 | 0.823 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82465 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81613 | 0.012045 | 0.81613 | 0.017034 | 0.012627
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2014-02-08 | ug/L | 0.80762 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 4.99 | HEXACHLOROBENZENE | . | 0.3 | 4.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80762 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.81613 | 0.012045 | 0.81613 | 0.017034 | 0.012627
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-01-21 | ug/L | 0.72764 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.7179 | HEXACHLOROBENZENE | . | 0.3 | 1.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72764 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75316 | 0.088252 | 0.74364 | 0.12204 | 0.090469
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-05-13 | ug/L | 0.75963 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 3.449 | HEXACHLOROBENZENE | . | 0.3 | 2.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75963 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75316 | 0.088252 | 0.74364 | 0.12204 | 0.090469
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-07-15 | ug/L | 0.65663 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.7514 | HEXACHLOROBENZENE | . | 0.3 | 1.15 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65663 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75316 | 0.088252 | 0.74364 | 0.12204 | 0.090469
HEXACHLOROBENZENE | 1383 | 39700GCM57 | 2010-10-19 | ug/L | 0.86872 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 1.7727 | HEXACHLOROBENZENE | . | 0.3 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86872 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.75316 | 0.088252 | 0.74364 | 0.12204 | 0.090469