## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
NAPHTHALENE | 1383 | 34696GCM57 | 2013-08-06 | ug/L | 0.94463 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 1.535 | NAPHTHALENE | . | 0.22 | 1.45 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94463 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88599 | 0.082918 | 0.88599 | 0.11726 | 0.086926
NAPHTHALENE | 1383 | 34696GCM57 | 2014-04-15 | ug/L | 0.82736 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 3.07 | NAPHTHALENE | . | 0.22 | 2.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82736 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.88599 | 0.082918 | 0.88599 | 0.11726 | 0.086926
NAPHTHALENE | 1383 | 34696GCM57 | 2013-11-26 | ug/L | 1.0774 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 0.62 | NAPHTHALENE | . | 0.22 | 0.668 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0774 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 1 | 1.0774 |  | 1.0774 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2013-07-25 | ug/L | 0.98697 | 2013-06-13 06:00 | 20131650076 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 20 µl & Abs 040913: 20 µl | 0.614 | NAPHTHALENE | . | 0.22 | 0.606 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98697 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94951 | 0.052975 | 0.94951 | 0.074919 | 0.055536
NAPHTHALENE | 1383 | 34696GCM57 | 2013-09-10 | ug/L | 0.91205 | 2013-08-15 06:00 | 20132280017 | Crescent, Abs | 04CC149, 040913 | Crescent 04CC149: 50 µl & Abs 040913: 50 µl | 1.535 | NAPHTHALENE | . | 0.22 | 1.4 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91205 | Cr04CC149, Ab040913 | Cr | Ab | Ab | 04CC149 | 040913 | 040913 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.94951 | 0.052975 | 0.94951 | 0.074919 | 0.055536
NAPHTHALENE | 1383 | 34696GCM57 | 2014-03-19 | ug/L | 0.78339 | 2014-02-20 06:00 | 20140510041 | Crescent, Supelco | 04CC149, LB99395 | Crescent 04CC149: 20 µl & Supelco LB99395: 20 µl | 0.614 | NAPHTHALENE | . | 0.22 | 0.481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78339 | Cr04CC149, SuLB99395 | Cr | Su | Su | 04CC149 | LB99395 | LB99395 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.78339 |  | 0.78339 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2010-12-02 | ug/L | 0.86317 | 2010-10-14 06:00 | 20102880002 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.44371 | NAPHTHALENE | . | 0.22 | 0.383 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86317 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2011-01-25 | ug/L | 1.0394 | 2011-01-06 06:00 | 20110070108 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.43873 | NAPHTHALENE | . | 0.22 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0394 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2011-04-19 | ug/L | 0.96203 | 2011-03-17 06:00 | 20110770005 | Crescent | 06MM151 | Crescent 06MM151: 200 µl | 1.7671 | NAPHTHALENE | . | 0.22 | 1.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96203 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2011-05-16 | ug/L | 0.86439 | 2011-04-22 05:45 | 20111170108 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.71264 | NAPHTHALENE | . | 0.22 | 0.616 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86439 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2011-07-14 | ug/L | 0.92611 | 2011-06-16 06:00 | 20111680033 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.45027 | NAPHTHALENE | . | 0.22 | 0.417 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92611 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2011-09-16 | ug/L | 1.0449 | 2011-08-18 08:45 | 20112310033 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.712 | NAPHTHALENE | . | 0.22 | 0.744 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0449 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2012-01-10 | ug/L | 0.99326 | 2011-11-17 06:00 | 20113220199 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.445 | NAPHTHALENE | . | 0.22 | 0.442 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99326 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2012-01-28 | ug/L | 0.98034 | 2012-01-19 06:00 | 20120200072 | Crescent | 06MM151 | Crescent 06MM151: 80 µl | 0.712 | NAPHTHALENE | . | 0.22 | 0.698 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98034 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2012-04-17 | ug/L | 0.95056 | 2012-03-15 06:00 | 20120760115 | Crescent | 06MM151 | Crescent 06MM151: 50 µl | 0.445 | NAPHTHALENE | . | 0.22 | 0.423 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95056 | Crescent 06MM151 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 9 | 0.95824 | 0.065922 | 0.96203 | 0.067144 | 0.049773
NAPHTHALENE | 1383 | 34696GCM57 | 2013-06-18 | ug/L | 0.89739 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 0.614 | NAPHTHALENE | . | 0.22 | 0.551 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89739 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.89739 |  | 0.89739 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2013-10-31 | ug/L | 0.77742 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.62 | NAPHTHALENE | . | 0.22 | 0.482 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77742 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80242 | 0.035355 | 0.80242 | 0.05 | 0.037064
NAPHTHALENE | 1383 | 34696GCM57 | 2014-01-30 | ug/L | 0.82742 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 0.62 | NAPHTHALENE | . | 0.22 | 0.513 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82742 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 |  | 2 | 0.80242 | 0.035355 | 0.80242 | 0.05 | 0.037064
NAPHTHALENE | 1383 | 34696GCM57 | 2011-01-25 | ug/L | 0.62979 | 2010-11-30 06:00 | 20103350002 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.705 | NAPHTHALENE | . | 0.22 | 0.444 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62979 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2011-03-17 | ug/L | 0.95667 | 2011-02-10 06:00 | 20110410060 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.44948 | NAPHTHALENE | . | 0.22 | 0.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95667 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2011-06-07 | ug/L | 0.91265 | 2011-05-19 06:00 | 20111390174 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.45362 | NAPHTHALENE | . | 0.22 | 0.414 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91265 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2011-09-15 | ug/L | 0.88827 | 2011-08-04 06:00 | 20112170173 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.79 | NAPHTHALENE | . | 0.22 | 1.59 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88827 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2011-10-12 | ug/L | 0.98883 | 2011-09-08 06:00 | 20112520205 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.716 | NAPHTHALENE | . | 0.22 | 0.708 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98883 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2012-01-10 | ug/L | 0.82821 | 2011-10-20 06:00 | 20112930086 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 80 µl | 0.716 | NAPHTHALENE | . | 0.22 | 0.593 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82821 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2012-03-08 | ug/L | 0.93855 | 2011-12-15 06:00 | 20113500018 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 200 µl | 1.79 | NAPHTHALENE | . | 0.22 | 1.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93855 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2012-03-20 | ug/L | 0.99441 | 2012-02-16 06:00 | 20120470080 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4475 | NAPHTHALENE | . | 0.22 | 0.445 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99441 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2012-04-18 | ug/L | 0.90726 | 2012-03-29 06:00 | 20120930005 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4475 | NAPHTHALENE | . | 0.22 | 0.406 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90726 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2012-07-12 | ug/L | 0.81117 | 2012-04-26 06:30 | 20121180063 | ERA | 0618-10-02 LS1383#1 | ERA 0618-10-02 LS1383#1: 50 µl | 0.4475 | NAPHTHALENE | . | 0.22 | 0.363 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81117 | ERA 0618-10-02 LS1383#1 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 10 | 0.88558 | 0.10844 | 0.90996 | 0.12845 | 0.095221
NAPHTHALENE | 1383 | 34696GCM57 | 2009-03-04 | ug/L | 0.99269 | 2009-02-05 07:30 | 20090370004 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.9543 | NAPHTHALENE | . | 0.32 | 1.94 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99269 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78787 | 0.38761 | 0.95351 | 0.45021 | 0.33374
NAPHTHALENE | 1383 | 34696GCM57 | 2009-04-07 | ug/L | 0.21119 | 2009-03-19 07:00 | 20090780144 | NSI | 080508-01BNA | NSI 080508-01BNA: 40 µl | 2.931 | NAPHTHALENE | E | 0.32 | 0.619 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21119 | NSI 080508-01BNA | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.78787 | 0.38761 | 0.95351 | 0.45021 | 0.33374
NAPHTHALENE | 1383 | 34696GCM57 | 2009-07-07 | ug/L | 1.0333 | 2009-05-28 05:10 | 20091490003 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8292 | NAPHTHALENE | . | 0.32 | 1.89 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0333 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78787 | 0.38761 | 0.95351 | 0.45021 | 0.33374
NAPHTHALENE | 1383 | 34696GCM57 | 2009-09-01 | ug/L | 0.91434 | 2009-07-07 07:00 | 20091880134 | NSI | 080508-01BNA | NSI 080508-01BNA: 25 µl | 1.8155 | NAPHTHALENE | . | 0.32 | 1.66 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91434 | NSI 080508-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.78787 | 0.38761 | 0.95351 | 0.45021 | 0.33374
NAPHTHALENE | 1383 | 34696GCM57 | 2012-09-18 | ug/L | 0.788 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | NAPHTHALENE | . | 0.22 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.788 |  | 0.788 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2012-08-18 | ug/L | 0.834 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | NAPHTHALENE | . | 0.22 | 0.834 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.834 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.834 |  | 0.834 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2012-12-19 | ug/L | 0.788 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | NAPHTHALENE | . | 0.22 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.788 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.792 | 0.0056569 | 0.792 | 0.008 | 0.0059303
NAPHTHALENE | 1383 | 34696GCM57 | 2013-03-05 | ug/L | 0.796 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | NAPHTHALENE | . | 0.22 | 3.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.796 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.792 | 0.0056569 | 0.792 | 0.008 | 0.0059303
NAPHTHALENE | 1383 | 34696GCM57 | 2009-03-13 | ug/L | 0.90349 | 2009-02-26 07:00 | 20090580006 | Restek | A062189 | Restek A062189: 25 µl | 1.9591 | NAPHTHALENE | E | 0.32 | 1.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90349 | Restek A062189 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.8575 | 0.10395 | 0.90066 | 0.11452 | 0.084891
NAPHTHALENE | 1383 | 34696GCM57 | 2009-08-04 | ug/L | 0.92603 | 2009-05-06 06:30 | 20091320005 | Restek | A062189 | Restek A062189: 25 µl | 1.8466 | NAPHTHALENE | . | 0.32 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92603 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8575 | 0.10395 | 0.90066 | 0.11452 | 0.084891
NAPHTHALENE | 1383 | 34696GCM57 | 2009-08-25 | ug/L | 0.89784 | 2009-06-18 07:00 | 20091700147 | Restek | A062189 | Restek A062189: 40 µl | 2.9738 | NAPHTHALENE | . | 0.32 | 2.67 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89784 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8575 | 0.10395 | 0.90066 | 0.11452 | 0.084891
NAPHTHALENE | 1383 | 34696GCM57 | 2009-09-22 | ug/L | 0.70265 | 2009-07-30 06:30 | 20092110203 | Restek | A062189 | Restek A062189: 25 µl | 1.8786 | NAPHTHALENE | . | 0.32 | 1.32 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70265 | Restek A062189 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8575 | 0.10395 | 0.90066 | 0.11452 | 0.084891
NAPHTHALENE | 1383 | 34696GCM57 | 2012-07-24 | ug/L | 0.934 | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl | 1 | NAPHTHALENE | . | 0.22 | 0.934 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.934 | Restek A088363 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.934 |  | 0.934 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2012-07-27 | ug/L | 0.909 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | NAPHTHALENE | . | 0.22 | 0.909 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.909 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9385 | 0.041719 | 0.9385 | 0.059 | 0.043736
NAPHTHALENE | 1383 | 34696GCM57 | 2012-12-19 | ug/L | 0.968 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | NAPHTHALENE | . | 0.22 | 4.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.9385 | 0.041719 | 0.9385 | 0.059 | 0.043736
NAPHTHALENE | 1383 | 34696GCM57 | 2012-12-19 | ug/L | 0.856 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | NAPHTHALENE | . | 0.22 | 2.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.856 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8025 | 0.07566 | 0.8025 | 0.107 | 0.079318
NAPHTHALENE | 1383 | 34696GCM57 | 2013-03-06 | ug/L | 0.749 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | NAPHTHALENE | . | 0.22 | 0.749 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.749 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 |  | 2 | 0.8025 | 0.07566 | 0.8025 | 0.107 | 0.079318
NAPHTHALENE | 1383 | 34696GCM57 | 2013-04-03 | ug/L | 0.616 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | NAPHTHALENE | . | 0.22 | 1.54 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.616 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 |  | 1 | 0.616 |  | 0.616 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2012-12-19 | ug/L | 0.936 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | NAPHTHALENE | . | 0.22 | 0.936 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.936 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.936 |  | 0.936 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2014-01-30 | ug/L | 0.98065 | 2013-12-23 06:00 | 20133580038 | Spex Organics, Abs | T1130514011, 040913 | Spex Organics T1130514011: 50 µl & Abs 040913: 50 µl | 1.55 | NAPHTHALENE | . | 0.22 | 1.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98065 | SpT114011, Ab040913 | Sp | Ab | Ab | T114011 | 040913 | 040913 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 1 | 0.98065 |  | 0.98065 | 0 | 0
NAPHTHALENE | 1383 | 34696GCM57 | 2013-11-25 | ug/L | 0.96613 | 2013-10-24 07:00 | 20132980010 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.62 | NAPHTHALENE | . | 0.22 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96613 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82661 | 0.19731 | 0.82661 | 0.27903 | 0.20684
NAPHTHALENE | 1383 | 34696GCM57 | 2014-04-15 | ug/L | 0.6871 | 2014-04-03 06:00 | 20140930052 | Spex Organics, Supelco | T1130514011, LB99395 | Spex Organics T1130514011: 20 µl & Supelco LB99395: 20 µl | 0.62 | NAPHTHALENE | . | 0.22 | 0.426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6871 | SpT114011, SuLB99395 | Sp | Su | Su | T114011 | LB99395 | LB99395 | T114011 |  |  | Y | Recoverable Result | Y | 2 |  | 2 | 0.82661 | 0.19731 | 0.82661 | 0.27903 | 0.20684
NAPHTHALENE | 1383 | 34696GCM57 | 2009-12-15 | ug/L | 0.84361 | 2009-10-22 06:00 | 20092960002 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.042 | NAPHTHALENE | . | 0.22 | 0.879 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8436 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87656 | 0.033091 | 0.87111 | 0.048776 | 0.036157
NAPHTHALENE | 1383 | 34696GCM57 | 2010-05-18 | ug/L | 0.88147 | 2010-05-06 09:00 | 20101270035 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.52526 | NAPHTHALENE | . | 0.22 | 0.463 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88147 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87656 | 0.033091 | 0.87111 | 0.048776 | 0.036157
NAPHTHALENE | 1383 | 34696GCM57 | 2010-07-28 | ug/L | 0.86074 | 2010-07-08 08:30 | 20101900006 | Spex Organics | T1090824002 | Spex Organics T1090824002: 40 µl | 0.52977 | NAPHTHALENE | . | 0.22 | 0.456 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86074 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87656 | 0.033091 | 0.87111 | 0.048776 | 0.036157
NAPHTHALENE | 1383 | 34696GCM57 | 2010-10-21 | ug/L | 0.92043 | 2010-08-26 09:00 | 20102390259 | Spex Organics | T1090824002 | Spex Organics T1090824002: 80 µl | 1.0647 | NAPHTHALENE | . | 0.22 | 0.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92043 | Spex Organics T1090824002 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.87656 | 0.033091 | 0.87111 | 0.048776 | 0.036157
NAPHTHALENE | 1383 | 34696GCM57 | 2010-01-21 | ug/L | 0.72846 | 2009-10-08 06:00 | 20092820003 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.51615 | NAPHTHALENE | . | 0.22 | 0.376 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72846 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80528 | 0.091998 | 0.78164 | 0.13904 | 0.10307
NAPHTHALENE | 1383 | 34696GCM57 | 2010-05-13 | ug/L | 0.82023 | 2010-04-08 08:30 | 20100990015 | Ultra | CF-3574 | Ultra CF-3574: 80 µl | 1.0363 | NAPHTHALENE | . | 0.22 | 0.85 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82023 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80528 | 0.091998 | 0.78164 | 0.13904 | 0.10307
NAPHTHALENE | 1383 | 34696GCM57 | 2010-07-15 | ug/L | 0.74305 | 2010-06-17 09:00 | 20101720150 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.52621 | NAPHTHALENE | . | 0.22 | 0.391 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74305 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80528 | 0.091998 | 0.78164 | 0.13904 | 0.10307
NAPHTHALENE | 1383 | 34696GCM57 | 2010-10-19 | ug/L | 0.92935 | 2010-08-05 09:30 | 20102180093 | Ultra | CF-3574 | Ultra CF-3574: 40 µl | 0.53263 | NAPHTHALENE | . | 0.22 | 0.495 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92935 | Ultra CF-3574 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.80528 | 0.091998 | 0.78164 | 0.13904 | 0.10307