## OBSP Data
AnalyteName | Schedulecode | Parm+Method Code | Analysis Date | ReportUnit | RECOVERY | Login Date | Laboratory ID | ManufShortName | CALotNum | SpikeMix | Expected Conc. | newanalyte | Remark Code | REPORTING LEVEL | Lab Value | UNITS | All | Comments | newlevel | Pct Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | Sample Spiked | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-08-06 | ug/L | 0.69865 | 2013-07-11 06:00 | 20131920150 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.188 | PENTACHLOROPHENOL | E | 0.6 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69865 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 2 | 0.69865 | 0 | 0.69865 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2014-04-15 | ug/L | 0.69865 | 2014-03-13 06:00 | 20140730139 | Abs, Accu | 040913, 213041074 | Abs 040913: 20 µl & Accu 213041074: 20 µl | 1.188 | PENTACHLOROPHENOL | . | 0.6 | 0.83 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69865 | Ab040913, Ac2131074 | Ab | Ac | Ac | 040913 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.69865 | 0 | 0.69865 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-12-06 | ug/L | 0.599 | 2013-11-21 06:00 | 20133260004 | Abs, ERA | 040913, 0318-13-01.1 | Abs 040913: 50 µl & ERA 0318-13-01.1: 50 µl | 3.005 | PENTACHLOROPHENOL | . | 0.6 | 1.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.599 | Ab040913, ER03101.1 | Ab | ER | ER | 040913 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.599 |  | 0.599 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-04-07 | ug/L | 0.78805 | 2009-03-12 07:00 | 20090710014 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.3324 | PENTACHLOROPHENOL | E | 1.2 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78805 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-07-07 | ug/L | 0.59416 | 2009-05-20 06:30 | 20091410006 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.237 | PENTACHLOROPHENOL | E | 1.2 | 0.735 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59416 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-09-01 | ug/L | 0.66121 | 2009-07-02 07:00 | 20091830167 | Abs | 080508BNA | Abs 080508BNA: 25 µl | 1.2326 | PENTACHLOROPHENOL | E | 1.2 | 0.815 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66121 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-10-27 | ug/L | 0.52749 | 2009-08-27 06:30 | 20092400051 | Abs | 080508BNA | Abs 080508BNA: 40 µl | 1.9906 | PENTACHLOROPHENOL | E | 0.6 | 1.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52749 | Abs 080508BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64273 | 0.1112 | 0.62768 | 0.16381 | 0.12143
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-08-06 | ug/L | 0.90236 | 2013-07-25 07:00 | 20132070036 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 50 µl & Crescent 04CC149: 50 µl | 2.97 | PENTACHLOROPHENOL | E | 0.6 | 2.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90236 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.80135 | 0.14285 | 0.80135 | 0.20202 | 0.14976
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2014-04-15 | ug/L | 0.70034 | 2014-03-27 06:00 | 20140860104 | Accu, Crescent | 213041074, 04CC149 | Accu 213041074: 100 µl & Crescent 04CC149: 100 µl | 5.94 | PENTACHLOROPHENOL | . | 0.6 | 4.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70034 | Ac2131074, Cr04CC149 | Ac | Cr | Cr | 2131074 | 04CC149 | 04CC149 | 2131074 |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.80135 | 0.14285 | 0.80135 | 0.20202 | 0.14976
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-11-26 | ug/L | 1.1532 | 2013-11-07 06:00 | 20133110107 | Accu, Spex Organics | 213041074, T1130514011 | Accu 213041074: 20 µl & Spex Organics T1130514011: 20 µl | 1.188 | PENTACHLOROPHENOL | . | 0.6 | 1.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1532 | Ac2131074, SpT114011 | Ac | Sp | Sp | 2131074 | T114011 | T114011 | 2131074 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 1 | 1.1532 |  | 1.1532 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-03-10 | ug/L | 0.51431 | 2009-02-19 06:15 | 20090500128 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.3611 | PENTACHLOROPHENOL | E | 1.2 | 0.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51431 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-04-28 | ug/L | 0.71592 | 2009-04-09 08:00 | 20090990156 | ChemService | 406-96B | ChemService 406-96B: 40 µl | 2.0114 | PENTACHLOROPHENOL | E | 1.2 | 1.44 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71592 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-08-25 | ug/L | 0.47615 | 2009-06-11 07:00 | 20091620173 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.258 | PENTACHLOROPHENOL | E | 1.2 | 0.599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47615 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2009-09-21 | ug/L | 0.42256 | 2009-07-23 06:30 | 20092040201 | ChemService | 406-96B | ChemService 406-96B: 25 µl | 1.233 | PENTACHLOROPHENOL | E | 1.2 | 0.521 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42256 | ChemService 406-96B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.53223 | 0.12811 | 0.49523 | 0.16576 | 0.12288
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-06-18 | ug/L | 0.62396 | 2013-05-23 06:00 | 20131440106 | ERA, Crescent | 0318-13-01.1, 04CC149 | ERA 0318-13-01.1: 20 µl & Crescent 04CC149: 20 µl | 1.202 | PENTACHLOROPHENOL | E | 0.6 | 0.75 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62396 | ER03101.1, Cr04CC149 | ER | Cr | Cr | 03101.1 | 04CC149 | 04CC149 | 03101.1 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.62396 |  | 0.62396 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-10-31 | ug/L | 0.48253 | 2013-09-12 07:00 | 20132560003 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.202 | PENTACHLOROPHENOL | E | 0.6 | 0.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48253 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Estimated Values | Y | 2 | Y | 2 | 0.6822 | 0.28237 | 0.6822 | 0.39933 | 0.29602
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2014-01-30 | ug/L | 0.88186 | 2014-01-09 06:00 | 20140100086 | ERA, Spex Organics | 0318-13-01.1, T1130514011 | ERA 0318-13-01.1: 20 µl & Spex Organics T1130514011: 20 µl | 1.202 | PENTACHLOROPHENOL | . | 0.6 | 1.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88186 | ER03101.1, SpT114011 | ER | Sp | Sp | 03101.1 | T114011 | T114011 | 03101.1 | T114011 | T114011 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.6822 | 0.28237 | 0.6822 | 0.39933 | 0.29602
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-01-25 | ug/L | 0.52536 | 2009-11-05 06:00 | 20093100003 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.4745 | PENTACHLOROPHENOL | E | 0.6 | 1.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52536 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-06-29 | ug/L | 0.93024 | 2010-04-29 08:30 | 20101190092 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.4187 | PENTACHLOROPHENOL | E | 0.6 | 2.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93024 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-07-28 | ug/L | 0.82318 | 2010-07-01 09:00 | 20101830109 | NSI | 082409-01BNA | NSI 082409-01BNA: 80 µl | 4.9078 | PENTACHLOROPHENOL | E | 0.6 | 4.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82318 | NSI 082409-01BNA | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-10-20 | ug/L | 0.69371 | 2010-08-19 09:00 | 20102320019 | NSI | 082409-01BNA | NSI 082409-01BNA: 40 µl | 2.465 | PENTACHLOROPHENOL | . | 0.6 | 1.71 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69371 | NSI 082409-01BNA | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.74312 | 0.17444 | 0.75845 | 0.26717 | 0.19805
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-09-18 | ug/L | 0.848 | 2012-09-06 06:00 | 20122500214 | Restek, ChemService | A088363, 348100 | Restek A088363: 50 µl & ChemService 348100: 50 µl | 2.5 | PENTACHLOROPHENOL | . | 0.6 | 2.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.848 | ReA088363, Ch348100 | Re | Ch | Ch | A088363 | 348100 | 348100 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 1 | 0.848 |  | 0.848 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-08-18 | ug/L | 0.76 | 2012-08-09 06:00 | 20122230021 | Restek, NSI | A088363, 060612-01 | Restek A088363: 20 µl & NSI 060612-01: 20 µl | 1 | PENTACHLOROPHENOL | . | 0.6 | 0.76 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76 | ReA088363, NS0602-01 | Re | NS | NS | A088363 | 0602-01 | 0602-01 |  | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.76 |  | 0.76 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | ug/L | 0.916 | 2012-11-15 06:00 | 20123200136 | Restek, Supelco | A088363, LB92780 | Restek A088363: 50 µl & Supelco LB92780: 50 µl | 2.5 | PENTACHLOROPHENOL | E | 0.6 | 2.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.916 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.81 | 0.14991 | 0.81 | 0.212 | 0.15715
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-03-05 | ug/L | 0.704 | 2013-01-31 06:00 | 20130320043 | Restek, Supelco | A088363, LB92780 | Restek A088363: 100 µl & Supelco LB92780: 100 µl | 5 | PENTACHLOROPHENOL | . | 0.6 | 3.52 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.704 | ReA088363, SuLB92780 | Re | Su | Su | A088363 | LB92780 | LB92780 |  |  |  | Y | Recoverable Result | Y | 2 | Y | 2 | 0.81 | 0.14991 | 0.81 | 0.212 | 0.15715
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-07-24 | ug/L | 0.96 | 2012-06-07 07:00 | 20121600152 | Restek | A088363 | Restek A088363: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.96 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96 | Restek A088363 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.96 |  | 0.96 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-07-27 | ug/L | 0.68 | 2012-06-28 07:00 | 20121810016 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 20 µl & ChemService 348100: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.68 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.831 | 0.21355 | 0.831 | 0.302 | 0.22387
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | ug/L | 0.982 | 2012-11-29 06:00 | 20123350009 | Spex Organics, ChemService | T1120510016, 348100 | Spex Organics T1120510016: 100 µl & ChemService 348100: 100 µl | 5 | PENTACHLOROPHENOL | E | 0.6 | 4.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.982 | SpT110016, Ch348100 | Sp | Ch | Ch | T110016 | 348100 | 348100 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.831 | 0.21355 | 0.831 | 0.302 | 0.22387
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | ug/L | 0.968 | 2012-10-30 06:00 | 20123040159 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 50 µl & ERA 0507-12-03.1: 50 µl | 2.5 | PENTACHLOROPHENOL | E | 0.6 | 2.42 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.968 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Estimated Values | Y | 2 | Y | 2 | 0.794 | 0.24607 | 0.794 | 0.348 | 0.25797
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-03-06 | ug/L | 0.62 | 2013-02-14 06:00 | 20130460005 | Spex Organics, ERA | T1120510016, 0507-12-03.1 | Spex Organics T1120510016: 20 µl & ERA 0507-12-03.1: 20 µl | 1 | PENTACHLOROPHENOL | . | 0.6 | 0.62 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62 | SpT110016, ER05003.1 | Sp | ER | ER | T110016 | 05003.1 | 05003.1 | T110016 | 05003.1 | 05003.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.794 | 0.24607 | 0.794 | 0.348 | 0.25797
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-04-03 | ug/L | 0.632 | 2013-03-14 06:00 | 20130740019 | Spex Organics, NSI | T1120510016, 060612-01 | Spex Organics T1120510016: 50 µl & NSI 060612-01: 50 µl | 2.5 | PENTACHLOROPHENOL | . | 0.6 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.632 | SpT110016, NS0602-01 | Sp | NS | NS | T110016 | 0602-01 | 0602-01 | T110016 | 0602-01 | 0602-01 | Y | Recoverable Result | Y | 2 | Y | 1 | 0.632 |  | 0.632 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-12-19 | ug/L | 0.8 | 2012-10-10 06:00 | 20122850006 | Spex Organics, Supelco | T1120510016, LB92780 | Spex Organics T1120510016: 20 µl & Supelco LB92780: 20 µl | 1 | PENTACHLOROPHENOL | E | 0.6 | 0.8 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | SpT110016, SuLB92780 | Sp | Su | Su | T110016 | LB92780 | LB92780 | T110016 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-12-07 | ug/L | 0.83925 | 2010-10-28 06:00 | 20103020154 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.0274 | PENTACHLOROPHENOL | . | 0.6 | 3.38 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83925 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-01-25 | ug/L | 0.82739 | 2010-12-16 06:00 | 20103510061 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.0436 | PENTACHLOROPHENOL | . | 0.6 | 8.31 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82739 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-03-17 | ug/L | 0.65451 | 2011-02-24 06:00 | 20110560006 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.4904 | PENTACHLOROPHENOL | . | 0.6 | 1.63 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65451 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-06-23 | ug/L | 0.72406 | 2011-06-02 06:00 | 20111540002 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.019 | PENTACHLOROPHENOL | E | 0.6 | 2.91 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72406 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-07-15 | ug/L | 0.78994 | 2011-06-29 06:00 | 20111810001 | Spex Organics | T1100701002 | Spex Organics T1100701002: 200 µl | 10.14 | PENTACHLOROPHENOL | . | 0.6 | 8.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78994 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-09-16 | ug/L | 0.72584 | 2011-08-10 06:00 | 20112220130 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | . | 0.6 | 1.84 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72584 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-12-29 | ug/L | 0.61538 | 2011-10-07 07:15 | 20112840030 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | E | 0.6 | 1.56 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61538 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-01-10 | ug/L | 0.3427 | 2011-11-29 06:00 | 20113340048 | Spex Organics | T1100701002 | Spex Organics T1100701002: 80 µl | 4.056 | PENTACHLOROPHENOL | E | 0.6 | 1.39 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3427 | Spex Organics T1100701002 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-20 | ug/L | 0.85207 | 2012-03-01 06:00 | 20120620016 | Spex Organics | T1100701002 | Spex Organics T1100701002: 50 µl | 2.535 | PENTACHLOROPHENOL | . | 0.6 | 2.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85207 | Spex Organics T1100701002 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 9 | 0.7079 | 0.15985 | 0.72584 | 0.17289 | 0.12816
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-06-17 | ug/L | 0.53199 | 2013-05-09 06:00 | 20131290119 | Supelco, Accu | LB99395, 213041074 | Supelco LB99395: 50 µl & Accu 213041074: 50 µl | 2.97 | PENTACHLOROPHENOL | E | 0.6 | 1.58 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53199 | SuLB99395, Ac2131074 | Su | Ac | Ac | LB99395 | 2131074 | 2131074 |  | 2131074 | 2131074 | Y | Estimated Values | Y | 2 | Y | 1 | 0.53199 |  | 0.53199 | 0 | 0
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2013-09-24 | ug/L | 0.65724 | 2013-09-06 06:20 | 20132490341 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 20 µl & ERA 0318-13-01.1: 20 µl | 1.202 | PENTACHLOROPHENOL | . | 0.6 | 0.79 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65724 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.72546 | 0.096477 | 0.72546 | 0.13644 | 0.10114
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2014-02-08 | ug/L | 0.79368 | 2014-01-23 06:00 | 20140230081 | Supelco, ERA | LB99395, 0318-13-01.1 | Supelco LB99395: 100 µl & ERA 0318-13-01.1: 100 µl | 6.01 | PENTACHLOROPHENOL | . | 0.6 | 4.77 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79368 | SuLB99395, ER03101.1 | Su | ER | ER | LB99395 | 03101.1 | 03101.1 |  | 03101.1 | 03101.1 | Y | Recoverable Result | Y | 2 | Y | 2 | 0.72546 | 0.096477 | 0.72546 | 0.13644 | 0.10114
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-03-02 | ug/L | 0.69999 | 2009-12-17 06:00 | 20093520064 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.8143 | PENTACHLOROPHENOL | E | 0.6 | 3.37 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69999 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-06-15 | ug/L | 0.69302 | 2010-06-03 09:30 | 20101550009 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.4819 | PENTACHLOROPHENOL | E | 0.6 | 1.72 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69302 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-09-28 | ug/L | 1.082 | 2010-08-03 09:30 | 20102160004 | Supelco | LB69646 | Supelco LB69646: 40 µl | 2.4953 | PENTACHLOROPHENOL | . | 0.6 | 2.7 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.082 | Supelco LB69646 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-10-26 | ug/L | 0.85955 | 2010-09-09 06:05 | 20102530005 | Supelco | LB69646 | Supelco LB69646: 80 µl | 4.8165 | PENTACHLOROPHENOL | E | 0.6 | 4.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85955 | Supelco LB69646 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.83365 | 0.18258 | 0.77977 | 0.27428 | 0.20332
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2010-12-08 | ug/L | 0.82798 | 2010-11-10 06:00 | 20103140136 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.488 | PENTACHLOROPHENOL | . | 0.6 | 2.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82798 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-02-01 | ug/L | 0.85082 | 2011-01-20 06:00 | 20110210096 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.0314 | PENTACHLOROPHENOL | . | 0.6 | 3.43 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85082 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-05-17 | ug/L | 0.60513 | 2011-04-28 06:00 | 20111190182 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.1796 | PENTACHLOROPHENOL | . | 0.6 | 6.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60513 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-08-11 | ug/L | 0.71767 | 2011-07-21 06:00 | 20112030056 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.82 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71767 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2011-10-05 | ug/L | 0.59543 | 2011-08-25 06:00 | 20112380053 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.51 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59543 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-01-10 | ug/L | 0.49487 | 2011-11-03 06:00 | 20113080002 | Supelco | LB77169 | Supelco LB77169: 200 µl | 10.144 | PENTACHLOROPHENOL | . | 0.6 | 5.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49487 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-14 | ug/L | 0.48797 | 2012-02-02 11:30 | 20120370002 | Supelco | LB77169 | Supelco LB77169: 80 µl | 4.0576 | PENTACHLOROPHENOL | . | 0.6 | 1.98 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48797 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069
PENTACHLOROPHENOL | 1383 | 39032GCM56 | 2012-03-20 | ug/L | 0.77681 | 2012-02-23 06:00 | 20120540035 | Supelco | LB77169 | Supelco LB77169: 50 µl | 2.536 | PENTACHLOROPHENOL | . | 0.6 | 1.97 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77681 | Supelco LB77169 | [9 empty] | Y | Recoverable Result | Y | 2 | Y | 8 | 0.66959 | 0.14388 | 0.6614 | 0.25725 | 0.19069