## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-04-19 12:30 | 20051090106 | 0.08 | 2.192 | . | 2 | ug/L | 0.91241 | J | dlr |  | 2005-04-22 | Absolute 071604VOC1: 40 µl & NSI 081104-01VOC: 50 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-06-30 07:50 | 20051810213 | 0.08 | 0.274 | . | 0.27 | ug/L | 0.9854 | J | dlr |  | 2005-07-01 | Absolute 071604VOC1: 5 µl & NSI 081104-01VOC: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-02-11 09:30 | 20050420085 | 0.08 | 2.192 | . | 1.78 | ug/L | 0.81204 | J | dlr |  | 2005-02-19 | Absolute 071604VOC1: 40 µl & Ultra CA-1229: 50 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-03-16 07:15 | 20050760047 | 0.08 | 0.274 | . | 0.24 | ug/L | 0.87591 | T | dsh |  | 2005-03-18 | Absolute 071604VOC1: 5 µl & Ultra CA-1229: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-01-21 07:30 | 20090210031 | 0.06 | 0.368 | . | 0.32 | ug/L | 0.86957 | A | lmu |  | 2009-01-27 | Abs 080408VOC: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-03-05 07:00 | 20090640127 | 0.06 | 0.184 | . | 0.13 | ug/L | 0.70652 | D | lmu |  | 2009-03-14 | Abs 080408VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-04-16 08:00 | 20091060129 | 0.06 | 0.368 | . | 0.29 | ug/L | 0.78804 | D | lmu |  | 2009-04-21 | Abs 080408VOC: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-06-04 08:00 | 20091550189 | 0.06 | 0.184 | . | 0.12 | ug/L | 0.65217 | A | dlr |  | 2009-06-09 | Abs 080408VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-07-16 08:00 | 20091970076 | 0.06 | 0.184 | . | 0.13 | ug/L | 0.70652 | A | dlr |  | 2009-07-17 | Abs 080408VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-08-27 08:00 | 20092400054 | 0.06 | 0.184 | . | 0.15 | ug/L | 0.81522 | N | dlr |  | 2009-08-29 | Abs 080408VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-05-26 08:55 | 20051460196 | 0.08 | 2.192 | . | 1.96 | ug/L | 0.89416 | J | dsh |  | 2005-06-01 | Absolute 071604VOC1: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-08-25 10:55 | 20052410035 | 0.08 | 0.274 | . | 0.25 | ug/L | 0.91241 | A | can |  | 2005-09-02 | Absolute 071604VOC1: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-01-23 10:42 | 20020240001 | 0.07 | 1.52 | . | 1.75 | ug/L | 1.1513 | A | dsh |  | 2002-01-24 | Absolute 091701: 8 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-04-10 09:00 | 20021010017 | 0.07 | 1.52 | . | 1.69 | ug/L | 1.1118 | J | dsh |  | 2002-04-16 | Absolute 091701: 8 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-07-02 07:15 | 20021840042 | 0.07 | 1.52 | . | 1.66 | ug/L | 1.0921 | A | dlr |  | 2002-07-03 | Absolute 091701: 8 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-07-30 07:30 | 20022120001 | 0.07 | 1.52 | . | 1.2 | ug/L | 0.78947 | J | cad |  | 2002-08-06 | Absolute 091701: 8 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-01-17 07:00 | 20130180025 | 0.06 | 1.1928 | . | 1.38 | ug/L | 1.1569 | A | lmu |  | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-06-06 07:30 | 20131580021 | 0.06 | 0.0796 | . | 0.059 | ug/L | 0.74121 | A | lmu | n | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2014-03-06 07:30 | 20140650083 | 0.06 | 0.0796 | . | 0.057 | ug/L | 0.71608 | A | lmu | n | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-10-24 07:30 | 20132980025 | 0.06 | 0.1592 | . | 0.104 | ug/L | 0.65327 | A | lmu |  | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-12-23 07:30 | 20133580039 | 0.06 | 0.0796 | . | 0.062 | ug/L | 0.77889 | A | lmu |  | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-03-23 07:30 | 20050840187 | 0.08 | 1.752 | . | 1.56 | ug/L | 0.89041 | J | dlr |  | 2005-04-06 | AccuStd B4080215: 40 µl & NSI 081104-01VOC: 50 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-07-13 09:50 | 20051940305 | 0.08 | 0.219 | . | 0.18 | ug/L | 0.82192 | A | dsh |  | 2005-07-15 | AccuStd B4080215: 5 µl & NSI 081104-01VOC: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2004-10-07 10:45 | 20042860144 | 0.08 | 1.752 | . | 1.57 | ug/L | 0.89612 | J | cad |  | 2004-10-15 | AccuStd B4080215: 40 µl & Ultra CA-1229: 50 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-06-02 07:10 | 20051540029 | 0.08 | 0.219 | . | 0.17 | ug/L | 0.77626 | N | cad |  | 2005-06-07 | AccuStd B4080215: 5 µl & Ultra CA-1229: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-11-05 08:00 | 20093100001 | 0.06 | 0.0995 | E | 0.064 | ug/L | 0.64322 | A | lmu | b | 2009-11-10 | Accu 209081198: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-12-17 06:30 | 20093560038 | 0.06 | 0.2985 | . | 0.194 | ug/L | 0.64992 | A | dlr |  | 2009-12-24 | Accu 209081198: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-02-11 06:00 | 20100420058 | 0.06 | 0.0995 | . | 0.074 | ug/L | 0.74372 | A | dlr |  | 2010-02-19 | Accu 209081198: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-03-19 06:00 | 20100810066 | 0.06 | 0.2985 | . | 0.238 | ug/L | 0.79732 | A | lmu |  | 2010-03-26 | Accu 209081198: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-04-29 06:00 | 20101190085 | 0.06 | 0.0995 | . | 0.071 | ug/L | 0.71357 | A | lmu |  | 2010-05-05 | Accu 209081198: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-06-10 06:00 | 20101650035 | 0.06 | 0.2985 | . | 0.205 | ug/L | 0.68677 | A | lmu |  | 2010-06-17 | Accu 209081198: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-07-13 06:00 | 20101950135 | 0.06 | 0.0995 | . | 0.077 | ug/L | 0.77387 | A | lmu |  | 2010-07-16 | Accu 209081198: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-08-26 06:00 | 20102390264 | 0.06 | 0.0995 | . | 0.071 | ug/L | 0.71357 | A | lmu |  | 2010-09-01 | Accu 209081198: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-02-16 09:15 | 20050480016 | 0.08 | 0.219 | . | 0.19 | ug/L | 0.86758 | J | dlr |  | 2005-02-19 | AccuStd B4080215: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-04-28 09:36 | 20051190009 | 0.08 | 0.219 | . | 0.21 | ug/L | 0.9589 | J | dsh |  | 2005-04-29 | AccuStd B4080215: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-05-16 07:30 | 20131370005 | 0.06 | 0.0796 | . | 0.063 | ug/L | 0.79146 | A | DLR |  | 2013-05-22 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2014-01-09 07:00 | 20140100001 | 0.06 | 0.0796 | . | 0.05 | ug/L | 0.62814 | A | lmu | n | 2014-01-15 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-09-06 06:30 | 20132490347 | 0.06 | 0.078 | . | 0.051 | ug/L | 0.65385 | A | lmu | n | 2013-09-17 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-08-29 07:00 | 20132420006 | 0.06 | 0.156 | . | 0.11 | ug/L | 0.70513 | A | lmu | c | 2013-09-17 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-07-12 07:30 | 20121950053 | 0.06 | 0.2982 | . | 0.347 | ug/L | 1.1636 | D | lmu |  | 2012-07-19 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-11-01 06:30 | 20123070013 | 0.06 | 0.5964 | . | 0.757 | ug/L | 1.2693 | A | lmu |  | 2012-11-08 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2007-11-01 10:12 | 20073060019 | 0.08 | 0.268 | . | 0.19 | ug/L | 0.70896 | D | can |  | 2007-11-10 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-01-15 06:30 | 20080150159 | 0.08 | 0.268 | . | 0.25 | ug/L | 0.93284 | D | dlr |  | 2008-01-17 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-04-10 09:10 | 20081010097 | 0.08 | 0.268 | . | 0.19 | ug/L | 0.70896 | D | dlr |  | 2008-04-18 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-06-03 09:45 | 20081560004 | 0.08 | 0.268 | . | 0.19 | ug/L | 0.70896 | N | dsh |  | 2008-06-06 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-07-10 08:00 | 20081930026 | 0.08 | 0.268 | . | 0.15 | ug/L | 0.5597 | A | can |  | 2008-07-17 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-07-22 07:30 | 20082040246 | 0.08 | 0.268 | . | 0.26 | ug/L | 0.97015 | D | dsh |  | 2008-07-24 | ERA 0709-07-04VOC: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-11-26 07:30 | 20133310034 | 0.06 | 0.1592 | . | 0.12 | ug/L | 0.75377 | A | lmu |  | 2013-12-12 | NSI 053013: 20 µl & Accu 213041120: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-07-18 07:00 | 20132000017 | 0.06 | 0.156 | . | 0.117 | ug/L | 0.75 | A | lmu |  | 2013-07-24 | NSI 053013: 20 µl & Supelco LC00154: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2014-02-27 07:30 | 20140590009 | 0.06 | 0.156 | . | 0.081 | ug/L | 0.51923 | A | lmu |  | 2014-03-01 | NSI 053013: 20 µl & Supelco LC00154: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-02-28 07:00 | 20130590063 | 0.06 | 0.2982 | . | 0.347 | ug/L | 1.1636 | A | lmu |  | 2013-02-28 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-09-06 07:00 | 20122500213 | 0.06 | 0.6 | . | 0.556 | ug/L | 0.92667 | A | lmu |  | 2012-09-11 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-12-20 06:00 | 20123560093 | 0.06 | 1.2 | . | 1.27 | ug/L | 1.0583 | A | lmu |  | 2012-12-22 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-11-02 05:15 | 20053080008 | 0.08 | 0.3605 | . | 0.34 | ug/L | 0.94313 | J | dsh |  | 2005-11-15 | NSI 080405-01VOC: 5 µl & Supelco LB31918: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-01-20 11:30 | 20060230012 | 0.08 | 2.163 | . | 2.15 | ug/L | 0.99399 | J | cad |  | 2006-01-27 | NSI 080405-01VOC: 20 µl & Supelco LB31918: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-05-13 06:15 | 20081340108 | 0.08 | 0.268 | . | 0.19 | ug/L | 0.70896 | N | dsh |  | 2008-05-16 | NSI 021408-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-06-20 06:40 | 20081750153 | 0.08 | 0.268 | . | 0.16 | ug/L | 0.59701 | N | can |  | 2008-06-25 | NSI 021408-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-08-27 08:30 | 20082410001 | 0.08 | 0.268 | . | 0.17 | ug/L | 0.63433 | D | dlr |  | 2008-08-30 | NSI 021408-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-11-20 06:40 | 20083260008 | 0.06 | 0.268 | . | 0.18 | ug/L | 0.67164 | A | lmu |  | 2008-12-03 | NSI 021408-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2008-12-18 08:00 | 20083530114 | 0.06 | 0.268 | . | 0.2 | ug/L | 0.74627 | A | dlr |  | 2008-12-20 | NSI 021408-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-07-06 11:20 | 20001890015 | 0.07 | 0.088 | E | 0.0644 | ug/L | 0.73182 |  |  | n | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-08-02 09:20 | 20002160010 | 0.07 | 0.088 | E | 0.086 | ug/L | 0.97727 |  |  |  | 2000-08-02 09:20 | NSI 053100-01: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-09-19 08:20 | 20002640039 | 0.07 | 0.088 | . | 0.11 | ug/L | 1.25 |  |  |  | 2000-09-19 08:20 | NSI 053100-01: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-11-29 10:04 | 20003350061 | 0.07 | 0.088 | E | 0.0702 | ug/L | 0.79773 |  |  |  | 2000-11-29 10:04 | NSI 053100-01: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-11-04 07:00 | 20103080123 | 0.06 | 0.116 | . | 0.085 | ug/L | 0.73276 | A | dlr |  | 2010-11-05 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-01-13 06:00 | 20110130057 | 0.06 | 0.232 | . | 0.183 | ug/L | 0.78879 | A | lmu |  | 2011-01-22 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-02-24 07:30 | 20110560001 | 0.06 | 0.116 | . | 0.085 | ug/L | 0.73276 | A | lmu |  | 2011-03-01 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-04-07 06:30 | 20110980041 | 0.06 | 0.232 | . | 0.13 | ug/L | 0.56034 | A | lmu |  | 2011-04-13 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-04-28 06:30 | 20111190185 | 0.06 | 0.116 | . | 0.075 | ug/L | 0.64655 | A | dlr |  | 2011-05-03 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-06-07 07:00 | 20111590001 | 0.06 | 0.232 | . | 0.157 | ug/L | 0.67672 | D | dlr |  | 2011-06-10 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-09-15 07:00 | 20112590007 | 0.06 | 0.116 | . | 0.082 | ug/L | 0.7069 | D | dlr |  | 2011-09-17 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-10-13 07:00 | 20112870072 | 0.06 | 0.116 | . | 0.083 | ug/L | 0.71552 | D | lmu |  | 2011-10-18 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2011-11-22 07:00 | 20113260106 | 0.06 | 0.232 | . | 0.211 | ug/L | 0.90948 | A | dlr |  | 2011-11-24 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-03-08 06:30 | 20120690027 | 0.06 | 0.116 | . | 0.086 | ug/L | 0.74138 | A | lmu |  | 2012-03-10 | NSI 062310-01: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-05-03 06:30 | 20121250044 | 0.06 | 0.232 | . | 0.176 | ug/L | 0.75862 | A | lmu |  | 2012-05-08 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-05-24 06:30 | 20121460003 | 0.06 | 0.232 | . | 0.166 | ug/L | 0.71552 | A | lmu |  | 2012-05-25 | NSI 062310-01: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-01-24 09:42 | 20010240114 | 0.07 | 0.05 | E | 0.0459 | ug/L | 0.918 |  |  | n | 2001-01-24 09:42 | NSI 111700VOC: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-03-07 08:59 | 20010660102 | 0.07 | 0.25 | . | 0.244 | ug/L | 0.976 |  |  |  | 2001-03-07 08:59 | NSI 111700VOC: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-04-11 01:08 | 20011020004 | 0.07 | 0.05 | E | 0.0308 | ug/L | 0.616 |  |  | n | 2001-04-11 01:08 | NSI 111700VOC: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-05-30 10:40 | 20011500151 | 0.07 | 0.25 | . | 0.256 | ug/L | 1.024 | T | DLR |  | 2001-06-01 | NSI 111700VOC: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-07-09 11:28 | 20011900461 | 0.07 | 0.05 | E | 0.0611 | ug/L | 1.222 | T | cad | n | 2001-07-21 | NSI 111700VOC: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-08-16 09:12 | 20012290017 | 0.07 | 0.25 | . | 0.195 | ug/L | 0.78 | N | dlr |  | 2001-08-23 | NSI 111700VOC: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-09-19 09:55 | 20012630001 | 0.07 | 0.05 | E | 0.0386 | ug/L | 0.772 | N | dlr | n | 2001-09-22 | NSI 111700VOC: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-11-14 11:18 | 20013180127 | 0.07 | 0.25 | . | 0.217 | ug/L | 0.868 | A | lmu |  | 2001-11-17 | NSI 111700VOC: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-04-18 11:30 | 20001100007 | 0.07 | 0.078 | E | 0.0631 | ug/L | 0.80897 |  |  | n | 2000-04-18 11:30 | NSI 121699: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-06-27 11:10 | 20001800006 | 0.07 | 0.078 | E | 0.0625 | ug/L | 0.80128 |  |  | n | 2000-06-27 11:10 | NSI 121699: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-09-06 10:31 | 20002500143 | 0.07 | 0.078 | E | 0.113 | ug/L | 1.4487 |  |  |  | 2000-09-06 10:31 | NSI 121699: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-12-14 09:33 | 20003500012 | 0.07 | 0.078 | E | 0.0627 | ug/L | 0.80385 |  |  | n | 2000-12-14 09:33 | NSI 121699: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2000-12-27 08:08 | 20003620075 | 0.07 | 0.078 | E | 0.0834 | ug/L | 1.0692 |  |  |  | 2000-12-27 08:08 | NSI 121699: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1998-10-14 13:20 | 19982890132 | 0.11 | 0.10138 | E | 0.041 | ug/L | 0.40441 |  |  |  | 1998-10-14 13:20 | NSI Q-16750-50 101497: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1998-11-20 09:10 | 19983280133 | 0.11 | 1.2528 | . | 1.31 | ug/L | 1.0456 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1999-01-20 10:00 | 19990200041 | 0.11 | 0.50228 | . | 0.484 | ug/L | 0.9636 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1999-02-26 12:55 | 19990600074 | 0.11 | 1.2644 | . | 1.15 | ug/L | 0.90955 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1999-03-31 08:00 | 19990950010 | 0.11 | 0.51643 | . | 0.451 | ug/L | 0.8733 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 1998-12-16 11:15 | 19983520201 | 0.11 | 0.73394 | . | 0.699 | ug/L | 0.95239 |  |  |  | 1998-12-16 11:15 | NSI Q-2002: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2001-12-20 09:10 | 20013600209 | 0.07 | 0.2286 | . | 0.2 | ug/L | 0.87489 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-02-14 09:44 | 20020460041 | 0.07 | 0.4572 | . | 0.372 | ug/L | 0.81365 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-03-27 12:00 | 20020870211 | 0.07 | 0.2286 | . | 0.214 | ug/L | 0.93613 | J | dlr |  | 2002-04-04 | NSI Q-3183: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2002-05-17 09:58 | 20021400189 | 0.07 | 0.4572 | . | 0.446 | ug/L | 0.9755 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-11-07 05:45 | 20063120072 | 0.08 | 0.16 | . | 0.11 | ug/L | 0.6875 | A | can |  | 2006-11-15 | Protocol R1060724003: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-11-21 08:50 | 20063250140 | 0.08 | 0.32 | . | 0.34 | ug/L | 1.0625 | N | dlr |  | 2006-12-02 | Protocol R1060724003: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2007-02-06 07:30 | 20070380016 | 0.08 | 0.16 | . | 0.11 | ug/L | 0.6875 | N | dlr |  | 2007-02-10 | Protocol R1060724003: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2007-05-01 08:40 | 20071220008 | 0.08 | 0.32 | . | 0.36 | ug/L | 1.125 | A | dsh |  | 2007-05-04 | Protocol R1060724003: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2007-06-26 05:40 | 20071780004 | 0.08 | 0.16 | . | 0.16 | ug/L | 1 | D | dlr |  | 2007-07-04 | Protocol R1060724003: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2007-08-22 10:40 | 20072350074 | 0.08 | 0.32 | . | 0.26 | ug/L | 0.8125 | N | dlr |  | 2007-08-26 | Protocol R1060724003: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-10-15 08:00 | 20092890012 | 0.06 | 0.092 | E | 0.056 | ug/L | 0.6087 | A | lmu | n | 2009-10-22 | Restek A069860: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-11-25 07:30 | 20093340136 | 0.06 | 0.276 | . | 0.173 | ug/L | 0.62681 | A | lmu |  | 2009-12-04 | Restek A069860: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-01-21 06:00 | 20100210101 | 0.06 | 0.092 | . | 0.064 | ug/L | 0.69565 | A | lmu |  | 2010-01-26 | Restek A069860: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-02-25 06:00 | 20100570085 | 0.06 | 0.276 | . | 0.211 | ug/L | 0.76449 | A | dlr |  | 2010-03-11 | Restek A069860: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-04-08 06:00 | 20100990027 | 0.06 | 0.092 | . | 0.064 | ug/L | 0.69565 | A | dlr |  | 2010-04-13 | Restek A069860: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-05-20 06:00 | 20101410003 | 0.06 | 0.276 | . | 0.216 | ug/L | 0.78261 | A | dlr |  | 2010-05-22 | Restek A069860: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-07-01 06:00 | 20101830136 | 0.06 | 0.092 | . | 0.07 | ug/L | 0.76087 | A | dlr |  | 2010-07-09 | Restek A069860: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-08-05 06:00 | 20102180086 | 0.06 | 0.276 | . | 0.21 | ug/L | 0.76087 | N | lmu |  | 2010-08-11 | Restek A069860: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2010-09-16 06:15 | 20102630175 | 0.06 | 0.092 | E | 0.059 | ug/L | 0.6413 | N | lmu | n | 2010-09-21 | Restek A069860: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-10-21 11:40 | 20052970048 | 0.08 | 2.163 | . | 2.08 | ug/L | 0.96163 | N | dlr |  | 2005-10-28 | Supelco LB31918: 30 µl & Accu B5070191: 30 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-12-30 11:00 | 20060030005 | 0.08 | 0.3605 | . | 0.36 | ug/L | 0.99861 | J | dsh |  | 2006-01-05 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-11-28 05:10 | 20053330009 | 0.08 | 0.3605 | . | 0.46 | ug/L | 1.276 | J | cad |  | 2005-11-29 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-02-10 11:15 | 20060440041 | 0.08 | 0.3605 | . | 0.35 | ug/L | 0.97087 | J | dlr |  | 2006-02-15 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-03-02 07:00 | 20060620001 | 0.08 | 0.3605 | . | 0.35 | ug/L | 0.97087 | N | dsh |  | 2006-03-15 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-08-11 08:00 | 20062230028 | 0.08 | 0.3605 | . | 0.29 | ug/L | 0.80444 | J | dsh |  | 2006-08-13 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-04-12 06:30 | 20061040005 | 0.08 | 2.163 | . | 1.89 | ug/L | 0.87379 | N | cad |  | 2006-04-19 | Supelco LB31918: 30 µl & Ultra CB-1578: 50 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-06-22 05:00 | 20061740228 | 0.08 | 0.3605 | . | 0.33 | ug/L | 0.9154 | J | dlr |  | 2006-06-29 | Supelco LB31918: 5 µl & Ultra CB-1578: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2012-07-26 07:00 | 20122090060 | 0.06 | 0.6 | . | 0.464 | ug/L | 0.77333 | A | dlr |  | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-03-21 06:00 | 20130810110 | 0.06 | 0.3 | . | 0.225 | ug/L | 0.75 | N | lmu |  | 2013-03-29 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-04-25 06:30 | 20131160076 | 0.06 | 0.3 | . | 0.193 | ug/L | 0.64333 | A | lmu |  | 2013-05-03 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-08-01 07:30 | 20132140003 | 0.06 | 0.156 | . | 0.093 | ug/L | 0.59615 | A | lmu |  | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-12-05 07:30 | 20133400006 | 0.06 | 0.078 | . | 0.063 | ug/L | 0.80769 | A | lmu |  | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2013-09-12 07:30 | 20132560004 | 0.06 | 0.156 | . | 0.102 | ug/L | 0.65385 | A | lmu |  | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2014-01-23 07:00 | 20140230083 | 0.06 | 0.156 | . | 0.109 | ug/L | 0.69872 | A | lmu |  | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2005-10-14 11:25 | 20052900061 | 0.08 | 0.1442 | . | 0.15 | ug/L | 1.0402 | J | dsh |  | 2005-10-18 | Supelco LB31918: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2006-05-16 05:45 | 20061370134 | 0.08 | 0.1442 | . | 0.1 | ug/L | 0.69348 | T | dlr |  | 2006-05-25 | Supelco LB31918: 2 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-02-12 07:00 | 20090430174 | 0.06 | 0.2004 | . | 0.16 | ug/L | 0.7984 | A | dlr |  | 2009-02-18 | Ultra CE-2869: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-03-26 08:00 | 20090860070 | 0.06 | 0.2004 | . | 0.15 | ug/L | 0.7485 | A | can |  | 2009-03-31 | Ultra CE-2869: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-05-06 08:00 | 20091320008 | 0.06 | 0.2004 | . | 0.16 | ug/L | 0.7984 | A | lmu |  | 2009-05-13 | Ultra CE-2869: 20 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-06-11 08:30 | 20091620168 | 0.06 | 0.4008 | . | 0.26 | ug/L | 0.6487 | A | dlr |  | 2009-06-17 | Ultra CE-2869: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-06-25 08:30 | 20091770124 | 0.06 | 0.4008 | . | 0.33 | ug/L | 0.82335 | A | lmu |  | 2009-06-30 | Ultra CE-2869: 40 µl
2021 | 4-ISOPROPYL-1-METHYLBENZENE (CYMENE) | 77356GCM66 | 2009-08-06 07:30 | 20092180176 | 0.06 | 0.2004 | . | 0.15 | ug/L | 0.7485 | A | dlr |  | 2009-08-11 | Ultra CE-2869: 20 µl