## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-11-14 08:00 | 20133190010 | 0.1 | 0.3 | E | 0.404 | ug/L | 1.3467 | A | lmu | m | 2013-11-15 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-12-19 07:00 | 20133540012 | 0.1 | 0.6 | E | 0.734 | ug/L | 1.2233 | A | lmu | m | 2013-12-31 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-09-25 06:00 | 20132690017 | 0.1 | 0.3 | E | 0.345 | ug/L | 1.15 | A | lmu | m | 2013-09-27 | Abs 051413: 10 µl & NSI 053013: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-06-07 07:30 | 20121600154 | 0.1 | 0.4 | E | 0.415 | ug/L | 1.0375 | D | lmu | m | 2012-06-12 | Abs 051712: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-11-15 07:30 | 20123200133 | 0.1 | 0.2 | E | 0.209 | ug/L | 1.045 | A | lmu | m | 2012-11-21 | Abs 051712: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-10-17 11:44 | 20072900077 | 0.06 | 0.1 | E | 0.1 | ug/L | 1 | N | dsh | b | 2007-10-19 | Abs 071107VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-12-13 10:22 | 20073470072 | 0.06 | 0.1 | . | 0.108 | ug/L | 1.08 | D | dsh |  | 2007-12-18 | Abs 071107VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-09-04 07:20 | 20082480223 | 0.06 | 0.1 | E | 0.096 | ug/L | 0.96 | A | dlr | b | 2008-09-05 | Abs 071107VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-01-21 07:30 | 20090210031 | 0.04 | 0.256 | . | 0.208 | ug/L | 0.8125 | A | lmu |  | 2009-01-27 | Abs 080408VOC: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-03-05 07:00 | 20090640127 | 0.04 | 0.128 | . | 0.128 | ug/L | 1 | D | lmu |  | 2009-03-14 | Abs 080408VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-04-16 08:00 | 20091060129 | 0.04 | 0.256 | . | 0.251 | ug/L | 0.98047 | D | lmu |  | 2009-04-21 | Abs 080408VOC: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-06-04 08:00 | 20091550189 | 0.04 | 0.128 | . | 0.116 | ug/L | 0.90625 | A | dlr |  | 2009-06-09 | Abs 080408VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-07-16 08:00 | 20091970076 | 0.04 | 0.128 | E | 0.092 | ug/L | 0.71875 | A | dlr | b | 2009-07-17 | Abs 080408VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-08-27 08:00 | 20092400054 | 0.04 | 0.128 | . | 0.112 | ug/L | 0.875 | N | dlr |  | 2009-08-29 | Abs 080408VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-01-17 07:00 | 20130180025 | 0.1 | 0.8 | E | 0.869 | ug/L | 1.0862 | A | lmu | m | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-06-06 07:30 | 20131580021 | 0.1 | 0.3 | E | 0.336 | ug/L | 1.12 | A | lmu | m | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2014-03-06 07:30 | 20140650083 | 0.1 | 0.3 | E | 0.443 | ug/L | 1.4767 | A | lmu | m | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-10-24 07:30 | 20132980025 | 0.1 | 0.616 | E | 0.676 | ug/L | 1.0974 | A | lmu | m | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-12-23 07:30 | 20133580039 | 0.1 | 0.308 | E | 0.431 | ug/L | 1.3994 | A | lmu | m | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-03-31 08:10 | 20060930012 | 0.038 | 1.0194 | . | 0.992 | ug/L | 0.97312 | N | dlr |  | 2006-04-07 | Accu B5070191: 30 µl & NSI 080405-01VOC: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-05-31 08:05 | 20061560037 | 0.038 | 0.1699 | . | 0.17 | ug/L | 1.0006 | J | cad |  | 2006-06-06 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-12-06 06:05 | 20053410007 | 0.038 | 0.1699 | . | 0.19 | ug/L | 1.1183 | J | dlr |  | 2005-12-08 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-05-09 11:15 | 20061320017 | 0.038 | 0.1699 | . | 0.132 | ug/L | 0.77693 | A | dlr |  | 2006-05-17 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-11-14 07:30 | 20053190128 | 0.038 | 1.0194 | . | 1.01 | ug/L | 0.99078 | J | cad |  | 2005-11-20 | Accu B5070191: 30 µl & Ultra CB-1578: 50 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-07-19 08:10 | 20062010003 | 0.038 | 0.1699 | . | 0.169 | ug/L | 0.9947 | N | dsh |  | 2006-07-28 | Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-12-11 07:15 | 20053460075 | 0.038 | 0.06796 | E | 0.07 | ug/L | 1.03 | J | cad | b | 2005-12-15 | Accu B5070191: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-08-24 05:05 | 20062370028 | 0.038 | 0.06796 | E | 0.076 | ug/L | 1.1183 | N | dsh | b | 2006-08-30 | Accu B5070191: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-10-24 10:30 | 20033000077 | 0.038 | 0.09996 | . | 0.111 | ug/L | 1.1104 | J | dsh |  | 2003-10-31 | AccuStandard B3090034: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-11-13 11:52 | 20033180007 | 0.038 | 0.39984 | . | 0.376 | ug/L | 0.94038 | J | lmu |  | 2003-11-15 | AccuStandard B3090034: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-02-04 06:00 | 20040350081 | 0.038 | 0.09996 | . | 0.106 | ug/L | 1.0604 | N | dsh |  | 2004-02-10 | AccuStandard B3090034: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-04-21 09:15 | 20041130026 | 0.038 | 0.39984 | . | 0.354 | ug/L | 0.88535 | J | dlr |  | 2004-04-24 | AccuStandard B3090034: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-08-31 10:40 | 20042450166 | 0.038 | 0.39984 | . | 0.367 | ug/L | 0.91787 | A | cad |  | 2004-09-03 | AccuStandard B3090034: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-09-29 08:20 | 20042740037 | 0.038 | 0.09996 | E | 0.095 | ug/L | 0.95038 | J | cad | b | 2004-10-06 | AccuStandard B3090034: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-06-20 07:30 | 20131720017 | 0.1 | 0.308 | E | 0.352 | ug/L | 1.1429 | A | lmu | m | 2013-06-29 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-08-15 07:00 | 20132280015 | 0.1 | 0.616 | E | 0.78 | ug/L | 1.2662 | A | lmu | m | 2013-08-22 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2014-02-13 07:30 | 20140440053 | 0.1 | 0.308 | E | 0.373 | ug/L | 1.211 | A | lmu | m | 2014-02-22 | ChemService 1530700: 10 µl & NSI 053013: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2014-03-19 07:30 | 20140780042 | 0.1 | 0.616 | E | 1.03 | ug/L | 1.6721 | A | lmu | m | 2014-03-19 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-10-18 06:30 | 20122930154 | 0.1 | 0.8 | E | 0.524 | ug/L | 0.655 | A | lmu | m | 2012-10-23 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-10-04 06:30 | 20122790029 | 0.1 | 0.2 | E | 0.225 | ug/L | 1.125 | A | lmu | m | 2012-10-11 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-02-07 06:00 | 20130390107 | 0.1 | 0.8 | E | 0.953 | ug/L | 1.1912 | A | lmu | m | 2013-02-14 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-01-21 07:40 | 20050240049 | 0.038 | 0.34 | . | 0.287 | ug/L | 0.84412 | N | dsh |  | 2005-01-27 | Crescent 07DD035: 5 µl & NSI 081104-01VOC: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-07-27 06:45 | 20052080336 | 0.038 | 0.34 | . | 0.375 | ug/L | 1.1029 | A | can |  | 2005-07-30 | Crescent 07DD035: 5 µl & Ultra CA-1229: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-02-23 08:35 | 20050550038 | 0.038 | 0.34 | . | 0.341 | ug/L | 1.0029 | T | dlr |  | 2005-02-25 | Crescent 07DD035: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-03-30 06:00 | 20050900141 | 0.038 | 2.72 | . | 2.37 | ug/L | 0.87132 | J | dlr |  | 2005-04-06 | Crescent 07DD035: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-05-03 06:30 | 20051250017 | 0.038 | 0.34 | . | 0.356 | ug/L | 1.0471 | A | cad |  | 2005-05-10 | Crescent 07DD035: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-06-10 09:40 | 20051610302 | 0.038 | 2.72 | . | 2.08 | ug/L | 0.76471 | T | dlr | c | 2005-06-23 | Crescent 07DD035: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-08-23 06:30 | 20122370105 | 0.1 | 0.4 | E | 0.313 | ug/L | 0.7825 | A | lmu | m | 2012-08-28 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-12-06 06:00 | 20123420073 | 0.1 | 0.2 | E | 0.211 | ug/L | 1.055 | A | lmu | m | 2012-12-09 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2000-07-06 11:20 | 20001890015 | 0.07 | 0.064 | E | 0.0765 | ug/L | 1.1953 |  |  |  | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2000-08-02 09:20 | 20002160010 | 0.07 | 0.064 | E | 0.0624 | ug/L | 0.975 |  |  | n | 2000-08-02 09:20 | NSI 053100-01: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2000-09-19 08:20 | 20002640039 | 0.07 | 0.064 | E | 0.0713 | ug/L | 1.1141 |  |  |  | 2000-09-19 08:20 | NSI 053100-01: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2000-11-29 10:04 | 20003350061 | 0.07 | 0.064 | E | 0.0553 | ug/L | 0.86406 |  |  | n | 2000-11-29 10:04 | NSI 053100-01: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-11-04 07:00 | 20103080123 | 0.08 | 0.092 | . | 0.088 | ug/L | 0.95652 | A | dlr |  | 2010-11-05 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-01-13 06:00 | 20110130057 | 0.08 | 0.184 | . | 0.14 | ug/L | 0.76087 | A | lmu |  | 2011-01-22 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-02-24 07:30 | 20110560001 | 0.08 | 0.092 | . | 0.073 | ug/L | 0.79348 | A | lmu | n | 2011-03-01 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-04-07 06:30 | 20110980041 | 0.08 | 0.184 | . | 0.184 | ug/L | 1 | A | lmu |  | 2011-04-13 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-04-28 06:30 | 20111190185 | 0.08 | 0.092 | . | 0.086 | ug/L | 0.93478 | A | dlr |  | 2011-05-03 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-06-07 07:00 | 20111590001 | 0.08 | 0.184 | . | 0.145 | ug/L | 0.78804 | D | dlr |  | 2011-06-10 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-09-15 07:00 | 20112590007 | 0.08 | 0.092 | . | 0.089 | ug/L | 0.96739 | D | dlr |  | 2011-09-17 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-10-13 07:00 | 20112870072 | 0.1 | 0.092 | E | 0.095 | ug/L | 1.0326 | D | lmu | m | 2011-10-18 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2011-11-22 07:00 | 20113260106 | 0.1 | 0.184 | E | 0.123 | ug/L | 0.66848 | A | dlr | m | 2011-11-24 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-03-08 06:30 | 20120690027 | 0.1 | 0.092 | E | 0.078 | ug/L | 0.84783 | A | lmu | m | 2012-03-10 | NSI 062310-01: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-05-03 06:30 | 20121250044 | 0.1 | 0.184 | E | 0.132 | ug/L | 0.71739 | A | lmu | m | 2012-05-08 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-05-24 06:30 | 20121460003 | 0.1 | 0.184 | E | 0.169 | ug/L | 0.91848 | A | lmu | m | 2012-05-25 | NSI 062310-01: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 1998-10-14 13:20 | 19982890132 | 0.37 | 0.10138 | E | 0.042 | ug/L | 0.41427 |  |  |  | 1998-10-14 13:20 | NSI Q-16750-50 101497: 2 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 1998-11-20 09:10 | 19983280133 | 0.37 | 1.2528 | . | 0.909 | ug/L | 0.72555 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 1999-01-20 10:00 | 19990200041 | 0.37 | 0.50228 | . | 0.42 | ug/L | 0.83618 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 1999-02-26 12:55 | 19990600074 | 0.37 | 1.2644 | . | 0.981 | ug/L | 0.77588 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 1999-03-31 08:00 | 19990950010 | 0.37 | 0.51643 | . | 0.526 | ug/L | 1.0185 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-12-20 09:10 | 20013600209 | 0.075 | 0.16 | . | 0.188 | ug/L | 1.175 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-02-14 09:44 | 20020460041 | 0.075 | 0.32 | . | 0.396 | ug/L | 1.2375 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-03-27 12:00 | 20020870211 | 0.075 | 0.16 | . | 0.206 | ug/L | 1.2875 | J | dlr |  | 2002-04-04 | NSI Q-3183: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-05-17 09:58 | 20021400189 | 0.075 | 0.32 | . | 0.346 | ug/L | 1.0813 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-05-10 07:40 | 20051310017 | 0.038 | 0.4 | . | 0.33 | ug/L | 0.825 | J | dsh |  | 2005-05-11 | Protocol R1040726010: 5 µl & NSI 081104-01VOC: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-03-02 07:30 | 20050620031 | 0.038 | 0.4 | . | 0.259 | ug/L | 0.6475 | N | dlr |  | 2005-03-04 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-08-12 09:40 | 20052240390 | 0.038 | 0.4 | . | 0.383 | ug/L | 0.9575 | A | dsh |  | 2005-08-15 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-11-25 04:00 | 20033300031 | 0.038 | 0.4 | . | 0.277 | ug/L | 0.6925 | A | dlr |  | 2003-12-03 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-01-28 10:20 | 20040290010 | 0.038 | 0.4 | . | 0.317 | ug/L | 0.7925 | A | dsh |  | 2004-02-05 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-02-26 06:00 | 20040580031 | 0.038 | 0.1 | E | 0.065 | ug/L | 0.65 | A | dsh | b | 2004-03-03 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-03-26 08:15 | 20040890010 | 0.038 | 0.1 | E | 0.07 | ug/L | 0.7 | N | dsh | b | 2004-03-30 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-04-14 08:30 | 20041060233 | 0.038 | 0.4 | . | 0.225 | ug/L | 0.5625 | A | lmu |  | 2004-04-21 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-05-26 09:50 | 20041480021 | 0.038 | 0.1 | E | 0.053 | ug/L | 0.53 | J | cad | b | 2004-06-03 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-06-09 10:00 | 20041620055 | 0.038 | 0.4 | . | 0.279 | ug/L | 0.6975 | A | cad |  | 2004-06-16 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-07-07 11:00 | 20041900058 | 0.038 | 0.1 | E | 0.056 | ug/L | 0.56 | J | cad | b | 2004-07-10 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-07-14 09:15 | 20041980041 | 0.038 | 0.4 | . | 0.202 | ug/L | 0.505 | J | dlr |  | 2004-07-17 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-08-11 09:30 | 20042260001 | 0.038 | 0.1 | E | 0.065 | ug/L | 0.65 | A | cad | b | 2004-08-17 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-08-25 08:00 | 20042390102 | 0.038 | 0.4 | . | 0.242 | ug/L | 0.605 | J | dsh |  | 2004-08-27 | Protocol R1030929006: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-09-15 08:30 | 20042600121 | 0.038 | 0.1 | E | 0.06 | ug/L | 0.6 | J | dsh | b | 2004-09-17 | Protocol R1030929006: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-01-26 10:15 | 20050280003 | 0.038 | 0.4 | . | 0.348 | ug/L | 0.87 | N | cad |  | 2005-02-01 | Protocol R1040726010: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-04-06 06:40 | 20050970024 | 0.038 | 0.4 | . | 0.338 | ug/L | 0.845 | J | dlr |  | 2005-04-09 | Protocol R1040726010: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-06-16 08:50 | 20051680041 | 0.038 | 0.4 | . | 0.39 | ug/L | 0.975 | J | cad |  | 2005-06-22 | Protocol R1040726010: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-11-07 05:45 | 20063120072 | 0.06 | 0.12 | . | 0.29 | ug/L | 2 | A | can |  | 2006-11-15 | Protocol R1060724003: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-11-21 08:50 | 20063250140 | 0.06 | 0.24 | . | 0.463 | ug/L | 1.9292 | N | dlr |  | 2006-12-02 | Protocol R1060724003: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-02-06 07:30 | 20070380016 | 0.06 | 0.12 | . | 0.233 | ug/L | 1.9417 | N | dlr |  | 2007-02-10 | Protocol R1060724003: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-05-01 08:40 | 20071220008 | 0.06 | 0.24 | . | 0.419 | ug/L | 1.7458 | A | dsh |  | 2007-05-04 | Protocol R1060724003: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-06-26 05:40 | 20071780004 | 0.06 | 0.12 | . | 0.266 | ug/L | 2 | D | dlr |  | 2007-07-04 | Protocol R1060724003: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2007-08-22 10:40 | 20072350074 | 0.06 | 0.24 | . | 0.539 | ug/L | 2 | N | dlr |  | 2007-08-26 | Protocol R1060724003: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-11-19 09:30 | 20033240002 | 0.038 | 0.1 | . | 0.115 | ug/L | 1.15 | N | dsh |  | 2003-11-21 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-12-10 07:00 | 20033440132 | 0.038 | 0.4 | . | 0.411 | ug/L | 1.0275 | A | dsh |  | 2003-12-12 | Restek A028919: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-01-14 08:00 | 20040150083 | 0.038 | 0.1 | . | 0.116 | ug/L | 1.16 | N | dsh |  | 2004-01-16 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-01-07 06:30 | 20040080013 | 0.038 | 0.4 | . | 0.458 | ug/L | 1.145 | N | dsh |  | 2004-01-16 | Restek A028919: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-02-12 01:15 | 20040440017 | 0.038 | 0.1 | . | 0.114 | ug/L | 1.14 | N | lmu |  | 2004-02-14 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-03-04 08:15 | 20040640027 | 0.038 | 0.4 | . | 0.396 | ug/L | 0.99 | J | cad |  | 2004-03-13 | Restek A028919: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-04-08 09:00 | 20040990015 | 0.038 | 0.1 | E | 0.09 | ug/L | 0.9 | A | dsh | b | 2004-04-10 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-04-28 09:25 | 20041210023 | 0.038 | 0.4 | . | 0.386 | ug/L | 0.965 | A | dsh |  | 2004-05-06 | Restek A028919: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-05-12 08:15 | 20041350055 | 0.038 | 0.1 | . | 0.111 | ug/L | 1.11 | A | dsh |  | 2004-05-14 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-06-23 10:50 | 20041760010 | 0.038 | 0.1 | E | 0.09 | ug/L | 0.9 | J | dsh | b | 2004-06-25 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-07-28 08:00 | 20042110013 | 0.038 | 0.1 | E | 0.088 | ug/L | 0.88 | A | dsh | b | 2004-07-31 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-09-08 08:05 | 20042530103 | 0.038 | 0.1 | . | 0.105 | ug/L | 1.05 | J | dsh |  | 2004-09-10 | Restek A028919: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-11-02 08:00 | 20093060179 | 0.04 | 0.1 | . | 0.122 | ug/L | 1.22 | A | lmu |  | 2009-11-04 | Spex Organics C1090901006: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-12-10 08:00 | 20093450027 | 0.04 | 0.3 | . | 0.337 | ug/L | 1.1233 | A | dlr |  | 2009-12-15 | Spex Organics C1090901006: 30 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-02-04 06:00 | 20100360004 | 0.04 | 0.1 | . | 0.125 | ug/L | 1.25 | A | lmu |  | 2010-02-09 | Spex Organics C1090901006: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-03-11 06:00 | 20100710179 | 0.04 | 0.3 | . | 0.219 | ug/L | 0.73 | A | lmu |  | 2010-03-17 | Spex Organics C1090901006: 30 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-04-22 06:00 | 20101130058 | 0.04 | 0.1 | . | 0.096 | ug/L | 0.96 | A | lmu |  | 2010-04-27 | Spex Organics C1090901006: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-06-03 06:00 | 20101550002 | 0.04 | 0.3 | . | 0.287 | ug/L | 0.95667 | A | dlr |  | 2010-06-09 | Spex Organics C1090901006: 30 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-07-08 06:00 | 20101900011 | 0.04 | 0.1 | . | 0.126 | ug/L | 1.26 | A | dlr |  | 2010-07-09 | Spex Organics C1090901006: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2010-08-19 06:00 | 20102320014 | 0.04 | 0.3 | E | 0.436 | ug/L | 1.4533 | A | dlr |  | 2010-08-21 | Spex Organics C1090901006: 30 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-10-21 11:40 | 20052970048 | 0.038 | 1.0194 | . | 0.996 | ug/L | 0.97705 | N | dlr |  | 2005-10-28 | Supelco LB31918: 30 µl & Accu B5070191: 30 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-12-30 11:00 | 20060030005 | 0.038 | 0.1699 | . | 0.188 | ug/L | 1.1065 | J | dsh |  | 2006-01-05 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2005-11-28 05:10 | 20053330009 | 0.038 | 0.1699 | . | 0.188 | ug/L | 1.1065 | J | cad |  | 2005-11-29 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2006-02-10 11:15 | 20060440041 | 0.038 | 0.1699 | . | 0.17 | ug/L | 1.0006 | J | dlr |  | 2006-02-15 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2012-07-26 07:00 | 20122090060 | 0.1 | 0.4 | E | 0.38 | ug/L | 0.95 | A | dlr | m | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-03-21 06:00 | 20130810110 | 0.1 | 0.2 | E | 0.208 | ug/L | 1.04 | N | lmu | m | 2013-03-29 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-04-25 06:30 | 20131160076 | 0.1 | 0.2 | E | 0.208 | ug/L | 1.04 | A | lmu | m | 2013-05-03 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-08-01 07:30 | 20132140003 | 0.1 | 0.6 | E | 0.592 | ug/L | 0.98667 | A | lmu | m | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-12-05 07:30 | 20133400006 | 0.1 | 0.3 | E | 0.357 | ug/L | 1.19 | A | lmu | m | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2013-09-12 07:30 | 20132560004 | 0.1 | 0.616 | E | 0.597 | ug/L | 0.96916 | A | lmu | m | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2014-01-23 07:00 | 20140230083 | 0.1 | 0.616 | E | 0.924 | ug/L | 1.5 | A | lmu | m | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-10-17 11:00 | 20032930039 | 0.038 | 0.1004 | . | 0.142 | ug/L | 1.4143 | A | cad |  | 2003-10-22 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2003-11-05 02:12 | 20033110010 | 0.038 | 0.1004 | . | 0.125 | ug/L | 1.245 | A | dsh |  | 2003-11-14 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-03-11 09:45 | 20040710006 | 0.038 | 0.1004 | . | 0.114 | ug/L | 1.1355 | J | cad |  | 2004-03-16 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-06-02 09:00 | 20041550021 | 0.038 | 0.1004 | . | 0.108 | ug/L | 1.0757 | J | cad |  | 2004-06-09 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-07-21 10:00 | 20042040019 | 0.038 | 0.1004 | E | 0.094 | ug/L | 0.93625 | J | dsh | b | 2004-07-22 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2004-08-18 08:30 | 20042330271 | 0.038 | 0.1004 | . | 0.105 | ug/L | 1.0458 | J | cad |  | 2004-08-24 | Supelco LB14633: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-03-19 05:30 | 20080800008 | 0.06 | 0.1 | E | 0.096 | ug/L | 0.96 | D | dlr | b | 2008-03-22 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-05-01 08:15 | 20081220197 | 0.06 | 0.1 | . | 0.125 | ug/L | 1.25 | D | can |  | 2008-05-09 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-08-13 05:30 | 20082260240 | 0.06 | 0.1 | . | 0.125 | ug/L | 1.25 | A | dlr |  | 2008-08-15 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-10-15 07:55 | 20082890061 | 0.04 | 0.1 | E | 0.097 | ug/L | 0.97 | N | lmu | b | 2008-10-17 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-11-12 07:50 | 20083180002 | 0.04 | 0.1 | . | 0.114 | ug/L | 1.14 | A | dlr |  | 2008-11-18 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2008-12-11 06:30 | 20083460137 | 0.04 | 0.1 | E | 0.088 | ug/L | 0.88 | D | lmu | b | 2008-12-16 | Supelco LB55705: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-02-12 07:00 | 20090430174 | 0.04 | 0.1204 | E | 0.098 | ug/L | 0.81395 | A | dlr | b | 2009-02-18 | Ultra CE-2869: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-03-26 08:00 | 20090860070 | 0.04 | 0.1204 | . | 0.13 | ug/L | 1.0797 | A | can |  | 2009-03-31 | Ultra CE-2869: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-05-06 08:00 | 20091320008 | 0.04 | 0.1204 | E | 0.093 | ug/L | 0.77243 | A | lmu | b | 2009-05-13 | Ultra CE-2869: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-06-11 08:30 | 20091620168 | 0.04 | 0.2408 | . | 0.217 | ug/L | 0.90116 | A | dlr |  | 2009-06-17 | Ultra CE-2869: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-06-25 08:30 | 20091770124 | 0.04 | 0.2408 | . | 0.194 | ug/L | 0.80565 | A | lmu |  | 2009-06-30 | Ultra CE-2869: 40 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2009-08-06 07:30 | 20092180176 | 0.04 | 0.1204 | . | 0.101 | ug/L | 0.83887 | A | dlr |  | 2009-08-11 | Ultra CE-2869: 20 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-03-14 09:30 | 20010740007 | 0.07 | 1.36 | . | 1.41 | ug/L | 1.0368 |  |  |  | 2001-03-14 09:30 | Ultra S0039: 8 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-06-06 10:45 | 20011580008 | 0.075 | 1.36 | . | 1.73 | ug/L | 1.2721 | T | dlr |  | 2001-06-09 | Ultra S0039: 8 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-09-10 11:02 | 20012530501 | 0.075 | 1.36 | . | 1.69 | ug/L | 1.2426 | T | dlr |  | 2001-09-20 | Ultra S0039: 8 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-10-30 01:32 | 20013040090 | 0.075 | 1.36 | . | 1.58 | ug/L | 1.1618 | A | dsh |  | 2001-11-02 | Ultra S0039: 8 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2001-12-06 09:10 | 20013400091 | 0.075 | 0.35 | . | 0.399 | ug/L | 1.14 | A | dsh |  | 2001-12-07 | Ultra S1214: 25 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-01-30 13:48 | 20020310009 | 0.075 | 0.14 | . | 0.183 | ug/L | 1.3071 | J | dlr |  | 2002-02-02 | Ultra S1214: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-03-13 10:58 | 20020720169 | 0.075 | 0.14 | . | 0.179 | ug/L | 1.2786 | J | lmu |  | 2002-03-16 | Ultra S1214: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-05-07 09:02 | 20021280012 | 0.075 | 0.35 | . | 0.403 | ug/L | 1.1514 | N | dlr |  | 2002-05-09 | Ultra S1214: 25 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-06-18 10:23 | 20021700011 | 0.075 | 0.14 | . | 0.134 | ug/L | 0.95714 | A | dsh |  | 2002-06-21 | Ultra S1214: 10 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-08-20 11:32 | 20022330013 | 0.075 | 0.35 | . | 0.336 | ug/L | 0.96 | A | dsh |  | 2002-08-24 | Ultra S1214: 25 µl
2021 | CARBON DISULFIDE | 77041GCM66 | 2002-09-06 08:55 | 20022520133 | 0.075 | 0.14 | . | 0.122 | ug/L | 0.87143 | A | lmu |  | 2002-09-10 | Ultra S1214: 10 µl