## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-10-17 11:44 | 20072900077 | 0.04 | 0.052 | E | 0.051 | ug/L | 0.98077 | N | dsh | b | 2007-10-19 | Abs 071107VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-12-13 10:22 | 20073470072 | 0.04 | 0.052 | E | 0.066 | ug/L | 1.2692 | D | dsh | b | 2007-12-18 | Abs 071107VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-09-04 07:20 | 20082480223 | 0.04 | 0.052 | E | 0.05 | ug/L | 0.96154 | A | dlr | b | 2008-09-05 | Abs 071107VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-01-17 07:00 | 20130180025 | 0.042 | 0.40064 | . | 0.448 | ug/L | 1.1182 | A | lmu |  | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-04-11 06:30 | 20131020084 | 0.042 | 20.052 | . | 0.197 | ug/L | 0.0098245 | A | lmu |  | 2013-04-17 | Accu 212051389: 20 µl & Crescent 05BB048: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-06-06 07:30 | 20131580021 | 0.042 | 0.05008 | . | 0.0546 | ug/L | 1.0903 | A | lmu |  | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-03-06 07:30 | 20140650083 | 0.042 | 0.05008 | . | 0.0474 | ug/L | 0.94649 | A | lmu |  | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-10-24 07:30 | 20132980025 | 0.042 | 0.10016 | . | 0.0913 | ug/L | 0.91154 | A | lmu |  | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-12-23 07:30 | 20133580039 | 0.042 | 0.05008 | . | 0.0602 | ug/L | 1.2021 | A | lmu |  | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-03-31 08:10 | 20060930012 | 0.038 | 1.68 | . | 1.72 | ug/L | 1.0238 | N | dlr |  | 2006-04-07 | Accu B5070191: 30 µl & NSI 080405-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-05-31 08:05 | 20061560037 | 0.038 | 0.28 | . | 0.318 | ug/L | 1.1357 | J | cad |  | 2006-06-06 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-12-06 06:05 | 20053410007 | 0.038 | 0.28 | . | 0.267 | ug/L | 0.95357 | J | dlr |  | 2005-12-08 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-05-09 11:15 | 20061320017 | 0.038 | 0.28 | . | 0.219 | ug/L | 0.78214 | A | dlr |  | 2006-05-17 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-11-14 07:30 | 20053190128 | 0.038 | 1.68 | . | 1.46 | ug/L | 0.86905 | J | cad |  | 2005-11-20 | Accu B5070191: 30 µl & Ultra CB-1578: 50 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-07-19 08:10 | 20062010003 | 0.038 | 0.28 | . | 0.253 | ug/L | 0.90357 | N | dsh |  | 2006-07-28 | Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-11-05 08:00 | 20093100001 | 0.042 | 0.06 | E | 0.0487 | ug/L | 0.81167 | A | lmu | b | 2009-11-10 | Accu 209081198: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-12-17 06:30 | 20093560038 | 0.042 | 0.18 | . | 0.105 | ug/L | 0.58333 | A | dlr |  | 2009-12-24 | Accu 209081198: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-02-11 06:00 | 20100420058 | 0.042 | 0.06 | . | 0.0502 | ug/L | 0.83667 | A | dlr |  | 2010-02-19 | Accu 209081198: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-03-19 06:00 | 20100810066 | 0.042 | 0.18 | . | 0.133 | ug/L | 0.73889 | A | lmu |  | 2010-03-26 | Accu 209081198: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-04-29 06:00 | 20101190085 | 0.042 | 0.06 | . | 0.0464 | ug/L | 0.77333 | A | lmu |  | 2010-05-05 | Accu 209081198: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-06-10 06:00 | 20101650035 | 0.042 | 0.18 | . | 0.134 | ug/L | 0.74444 | A | lmu |  | 2010-06-17 | Accu 209081198: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-07-13 06:00 | 20101950135 | 0.042 | 0.06 | . | 0.054 | ug/L | 0.9 | A | lmu |  | 2010-07-16 | Accu 209081198: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-08-26 06:00 | 20102390264 | 0.042 | 0.06 | . | 0.0516 | ug/L | 0.86 | A | lmu |  | 2010-09-01 | Accu 209081198: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-12-11 07:15 | 20053460075 | 0.038 | 0.112 | . | 0.103 | ug/L | 0.91964 | J | cad |  | 2005-12-15 | Accu B5070191: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-08-24 05:05 | 20062370028 | 0.038 | 0.112 | . | 0.104 | ug/L | 0.92857 | N | dsh |  | 2006-08-30 | Accu B5070191: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-01-15 08:00 | 20090160001 | 0.04 | 0.076 | E | 0.065 | ug/L | 0.85526 | A | lmu | b | 2009-01-27 | ChemService 406-110C: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-02-26 08:00 | 20090580002 | 0.04 | 0.152 | . | 0.139 | ug/L | 0.91447 | A | lmu |  | 2009-02-27 | ChemService 406-110C: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-04-09 09:00 | 20090990153 | 0.04 | 0.076 | E | 0.069 | ug/L | 0.90789 | A | lmu | b | 2009-04-11 | ChemService 406-110C: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-05-20 08:00 | 20091410007 | 0.04 | 0.076 | E | 0.059 | ug/L | 0.77632 | A | lmu | b | 2009-05-22 | ChemService 406-110C: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-06-18 08:30 | 20091700135 | 0.04 | 0.076 | E | 0.057 | ug/L | 0.75 | A | dlr | b | 2009-06-23 | ChemService 406-110C: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-07-30 08:00 | 20092110201 | 0.04 | 0.152 | . | 0.128 | ug/L | 0.84211 | A | dlr |  | 2009-08-04 | ChemService 406-110C: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-09-10 07:30 | 20092530076 | 0.04 | 0.076 | E | 0.052 | ug/L | 0.68421 | A | lmu | b | 2009-09-11 | ChemService 406-110C: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-05-16 07:30 | 20131370005 | 0.042 | 0.05008 | . | 0.052 | ug/L | 1.0383 | A | DLR |  | 2013-05-22 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-01-09 07:00 | 20140100001 | 0.042 | 0.05008 | . | 0.037 | ug/L | 0.73882 | A | lmu | n | 2014-01-15 | Crescent 04CC151: 10 µl & Accu 213041120: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-09-06 06:30 | 20132490347 | 0.042 | 0.05 | . | 0.0421 | ug/L | 0.842 | A | lmu |  | 2013-09-17 | Crescent 04CC151: 10 µl & Supelco LC00154: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-08-29 07:00 | 20132420006 | 0.042 | 0.1 | . | 0.0838 | ug/L | 0.838 | A | lmu | c | 2013-09-17 | Crescent 04CC151: 20 µl & Supelco LC00154: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-07-12 07:30 | 20121950053 | 0.042 | 0.10016 | . | 0.115 | ug/L | 1.1482 | D | lmu |  | 2012-07-19 | Crescent 05BB048: 10 µl & Accu 212051193: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-11-01 06:30 | 20123070013 | 0.042 | 0.20032 | . | 0.219 | ug/L | 1.0933 | A | lmu |  | 2012-11-08 | Crescent 05BB048: 20 µl & Accu 212051193: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-01-21 07:40 | 20050240049 | 0.038 | 0.28 | . | 0.24 | ug/L | 0.85714 | N | dsh |  | 2005-01-27 | Crescent 07DD035: 5 µl & NSI 081104-01VOC: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-07-27 06:45 | 20052080336 | 0.038 | 0.28 | E | 0.19 | ug/L | 0.67857 | A | can | b | 2005-07-30 | Crescent 07DD035: 5 µl & Ultra CA-1229: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-02-23 08:35 | 20050550038 | 0.038 | 0.28 | . | 0.221 | ug/L | 0.78929 | T | dlr |  | 2005-02-25 | Crescent 07DD035: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-03-30 06:00 | 20050900141 | 0.038 | 2.24 | . | 1.86 | ug/L | 0.83036 | J | dlr |  | 2005-04-06 | Crescent 07DD035: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-05-03 06:30 | 20051250017 | 0.038 | 0.28 | . | 0.211 | ug/L | 0.75357 | A | cad |  | 2005-05-10 | Crescent 07DD035: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-06-10 09:40 | 20051610302 | 0.038 | 2.24 | . | 2.18 | ug/L | 0.97321 | T | dlr |  | 2005-06-23 | Crescent 07DD035: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-07-09 08:50 | 19991900142 | 0.032 | 0.023304 | E | 0.013 | ug/L | 0.55785 |  |  |  | 1999-07-09 08:50 | ERA 1210-98-04B: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-07-20 10:25 | 19992020080 | 0.032 | 0.0077446 | E | 0.00875 | ug/L | 1.1298 |  |  |  | 1999-07-20 10:25 | ERA 1210-98-04B: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-09-09 13:08 | 19992530225 | 0.032 | 0.020088 | E | 0.026 | ug/L | 1.2943 |  |  | n | 1999-09-09 13:08 | ERA 1210-98-04B: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-11-09 09:00 | 19993130096 | 0.032 | 0.020088 | E | 0.0205 | ug/L | 1.0205 |  |  | n | 1999-11-09 09:00 | ERA 1210-98-04B: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-11-29 10:00 | 19993340024 | 0.032 | 0.020088 | E | 0.0201 | ug/L | 1.0006 |  |  | n | 1999-11-29 10:00 | ERA 1210-98-04B: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-11-26 07:30 | 20133310034 | 0.042 | 0.10016 | . | 0.104 | ug/L | 1.0383 | A | lmu |  | 2013-12-12 | NSI 053013: 20 µl & Accu 213041120: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-07-18 07:00 | 20132000017 | 0.042 | 0.1 | . | 0.097 | ug/L | 0.97 | A | lmu |  | 2013-07-24 | NSI 053013: 20 µl & Supelco LC00154: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-02-27 07:30 | 20140590009 | 0.042 | 0.1 | . | 0.066 | ug/L | 0.66 | A | lmu |  | 2014-03-01 | NSI 053013: 20 µl & Supelco LC00154: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-02-28 07:00 | 20130590063 | 0.042 | 0.10016 | . | 0.111 | ug/L | 1.1082 | A | lmu |  | 2013-02-28 | NSI 062112-01VOA: 10 µl & Accu 212051193: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-09-06 07:00 | 20122500213 | 0.042 | 0.2004 | . | 0.189 | ug/L | 0.94311 | A | lmu |  | 2012-09-11 | NSI 062112-01VOA: 20 µl & Supelco LB92787: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-12-20 06:00 | 20123560093 | 0.042 | 0.4008 | . | 0.417 | ug/L | 1.0404 | A | lmu |  | 2012-12-22 | NSI 062112-01VOA: 40 µl & Supelco LB92787: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-07-06 11:20 | 20001890015 | 0.032 | 0.04 | E | 0.0314 | ug/L | 0.785 |  |  | n | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-08-02 09:20 | 20002160010 | 0.032 | 0.04 | E | 0.0397 | ug/L | 0.9925 |  |  |  | 2000-08-02 09:20 | NSI 053100-01: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-09-19 08:20 | 20002640039 | 0.032 | 0.04 | E | 0.0443 | ug/L | 1.1075 |  |  |  | 2000-09-19 08:20 | NSI 053100-01: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-11-29 10:04 | 20003350061 | 0.032 | 0.04 | E | 0.0326 | ug/L | 0.815 |  |  |  | 2000-11-29 10:04 | NSI 053100-01: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-11-04 07:00 | 20103080123 | 0.042 | 0.084 | . | 0.0613 | ug/L | 0.72976 | A | dlr |  | 2010-11-05 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-01-13 06:00 | 20110130057 | 0.042 | 0.168 | . | 0.14 | ug/L | 0.83333 | A | lmu |  | 2011-01-22 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-02-24 07:30 | 20110560001 | 0.042 | 0.084 | . | 0.0716 | ug/L | 0.85238 | A | lmu |  | 2011-03-01 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-04-07 06:30 | 20110980041 | 0.042 | 0.168 | . | 0.11 | ug/L | 0.65476 | A | lmu |  | 2011-04-13 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-04-28 06:30 | 20111190185 | 0.042 | 0.084 | . | 0.0641 | ug/L | 0.7631 | A | dlr |  | 2011-05-03 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-06-07 07:00 | 20111590001 | 0.042 | 0.168 | . | 0.125 | ug/L | 0.74405 | D | dlr |  | 2011-06-10 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-09-15 07:00 | 20112590007 | 0.042 | 0.084 | . | 0.0692 | ug/L | 0.82381 | D | dlr |  | 2011-09-17 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-10-13 07:00 | 20112870072 | 0.042 | 0.084 | . | 0.0655 | ug/L | 0.77976 | D | lmu |  | 2011-10-18 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2011-11-22 07:00 | 20113260106 | 0.042 | 0.168 | . | 0.153 | ug/L | 0.91071 | A | dlr |  | 2011-11-24 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-03-08 06:30 | 20120690027 | 0.042 | 0.084 | . | 0.0628 | ug/L | 0.74762 | A | lmu |  | 2012-03-10 | NSI 062310-01: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-05-03 06:30 | 20121250044 | 0.042 | 0.168 | . | 0.132 | ug/L | 0.78571 | A | lmu |  | 2012-05-08 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-05-24 06:30 | 20121460003 | 0.042 | 0.168 | . | 0.126 | ug/L | 0.75 | A | lmu |  | 2012-05-25 | NSI 062310-01: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-10-22 09:00 | 20082970006 | 0.04 | 0.076 | E | 0.067 | ug/L | 0.88158 | A | lmu | b | 2008-10-30 | NSI 081108-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-02-05 09:00 | 20090370001 | 0.04 | 0.076 | E | 0.057 | ug/L | 0.75 | A | lmu | b | 2009-02-12 | NSI 081108-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-03-19 08:00 | 20090780140 | 0.04 | 0.152 | . | 0.138 | ug/L | 0.90789 | A | lmu | c | 2009-04-08 | NSI 081108-01VOC: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-04-30 07:00 | 20091210008 | 0.04 | 0.152 | . | 0.128 | ug/L | 0.84211 | A | dlr |  | 2009-05-06 | NSI 081108-01VOC: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-05-28 05:40 | 20091490010 | 0.04 | 0.076 | E | 0.065 | ug/L | 0.85526 | A | lmu | b | 2009-06-06 | NSI 081108-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-07-07 08:00 | 20091880141 | 0.04 | 0.076 | E | 0.071 | ug/L | 0.93421 | A | lmu | b | 2009-07-09 | NSI 081108-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-08-20 07:30 | 20092330007 | 0.04 | 0.076 | E | 0.057 | ug/L | 0.75 | A | lmu | b | 2009-08-27 | NSI 081108-01VOC: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-01-24 09:42 | 20010240114 | 0.032 | 0.07 | E | 0.0506 | ug/L | 0.72286 |  |  |  | 2001-01-24 09:42 | NSI 111700VOC: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-03-07 08:59 | 20010660102 | 0.032 | 0.35 | . | 0.255 | ug/L | 0.72857 |  |  |  | 2001-03-07 08:59 | NSI 111700VOC: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-04-11 01:08 | 20011020004 | 0.032 | 0.07 | E | 0.0342 | ug/L | 0.48857 |  |  |  | 2001-04-11 01:08 | NSI 111700VOC: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-05-30 10:40 | 20011500151 | 0.032 | 0.35 | . | 0.253 | ug/L | 0.72286 | T | DLR |  | 2001-06-01 | NSI 111700VOC: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-07-09 11:28 | 20011900461 | 0.032 | 0.07 | E | 0.0602 | ug/L | 0.86 | T | cad | b | 2001-07-21 | NSI 111700VOC: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-08-16 09:12 | 20012290017 | 0.032 | 0.35 | . | 0.213 | ug/L | 0.60857 | N | dlr |  | 2001-08-23 | NSI 111700VOC: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-09-19 09:55 | 20012630001 | 0.032 | 0.07 | E | 0.0413 | ug/L | 0.59 | N | dlr | b | 2001-09-22 | NSI 111700VOC: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-11-14 11:18 | 20013180127 | 0.06 | 0.35 | . | 0.206 | ug/L | 0.58857 | A | lmu |  | 2001-11-17 | NSI 111700VOC: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-04-18 11:30 | 20001100007 | 0.032 | 0.07 | E | 0.0649 | ug/L | 0.92714 |  |  |  | 2000-04-18 11:30 | NSI 121699: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-06-27 11:10 | 20001800006 | 0.032 | 0.07 | E | 0.0607 | ug/L | 0.86714 |  |  |  | 2000-06-27 11:10 | NSI 121699: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-09-06 10:31 | 20002500143 | 0.032 | 0.07 | E | 0.0759 | ug/L | 1.0843 |  |  |  | 2000-09-06 10:31 | NSI 121699: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-12-14 09:33 | 20003500012 | 0.032 | 0.07 | E | 0.0629 | ug/L | 0.89857 |  |  |  | 2000-12-14 09:33 | NSI 121699: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-12-27 08:08 | 20003620075 | 0.032 | 0.07 | E | 0.0766 | ug/L | 1.0943 |  |  |  | 2000-12-27 08:08 | NSI 121699: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-10-14 13:20 | 19982890132 | 0.032 | 0.046083 | E | 0.02 | ug/L | 0.434 |  |  | n | 1998-10-14 13:20 | NSI Q-16750-50 101497: 2 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-11-20 09:10 | 19983280133 | 0.032 | 0.56948 | . | 0.61 | ug/L | 1.0712 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-01-20 10:00 | 19990200041 | 0.032 | 0.22831 | . | 0.231 | ug/L | 1.0118 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-02-26 12:55 | 19990600074 | 0.032 | 0.57471 | . | 0.553 | ug/L | 0.96222 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-03-31 08:00 | 19990950010 | 0.032 | 0.23474 | . | 0.228 | ug/L | 0.97128 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-12-16 11:15 | 19983520201 | 0.032 | 0.45872 | . | 0.464 | ug/L | 1.0115 |  |  |  | 1998-12-16 11:15 | NSI Q-2002: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-12-20 09:10 | 20013600209 | 0.06 | 0.1 | . | 0.101 | ug/L | 1.01 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2002-02-14 09:44 | 20020460041 | 0.06 | 0.2 | . | 0.184 | ug/L | 0.92 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2002-03-27 12:00 | 20020870211 | 0.06 | 0.1 | E | 0.0996 | ug/L | 0.996 | J | dlr | b | 2002-04-04 | NSI Q-3183: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2002-05-17 09:58 | 20021400189 | 0.06 | 0.2 | . | 0.211 | ug/L | 1.055 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-05-10 07:40 | 20051310017 | 0.038 | 0.34 | . | 0.333 | ug/L | 0.97941 | J | dsh |  | 2005-05-11 | Protocol R1040726010: 5 µl & NSI 081104-01VOC: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-03-02 07:30 | 20050620031 | 0.038 | 0.34 | . | 0.319 | ug/L | 0.93824 | N | dlr |  | 2005-03-04 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-08-12 09:40 | 20052240390 | 0.038 | 0.34 | . | 0.372 | ug/L | 1.0941 | A | dsh |  | 2005-08-15 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-01-26 10:15 | 20050280003 | 0.038 | 0.34 | . | 0.367 | ug/L | 1.0794 | N | cad |  | 2005-02-01 | Protocol R1040726010: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-04-06 06:40 | 20050970024 | 0.038 | 0.34 | . | 0.334 | ug/L | 0.98235 | J | dlr |  | 2005-04-09 | Protocol R1040726010: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-06-16 08:50 | 20051680041 | 0.038 | 0.34 | . | 0.362 | ug/L | 1.0647 | J | cad |  | 2005-06-22 | Protocol R1040726010: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-11-07 05:45 | 20063120072 | 0.04 | 0.08 | E | 0.065 | ug/L | 0.8125 | A | can | b | 2006-11-15 | Protocol R1060724003: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-11-21 08:50 | 20063250140 | 0.04 | 0.16 | . | 0.161 | ug/L | 1.0063 | N | dlr |  | 2006-12-02 | Protocol R1060724003: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-02-06 07:30 | 20070380016 | 0.04 | 0.08 | E | 0.071 | ug/L | 0.8875 | N | dlr | b | 2007-02-10 | Protocol R1060724003: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-05-01 08:40 | 20071220008 | 0.04 | 0.16 | . | 0.157 | ug/L | 0.98125 | A | dsh |  | 2007-05-04 | Protocol R1060724003: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-06-26 05:40 | 20071780004 | 0.04 | 0.08 | E | 0.09 | ug/L | 1.125 | D | dlr | b | 2007-07-04 | Protocol R1060724003: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2007-08-22 10:40 | 20072350074 | 0.04 | 0.16 | . | 0.136 | ug/L | 0.85 | N | dlr |  | 2007-08-26 | Protocol R1060724003: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-11-03 11:15 | 19983080096 | 0.032 | 0.1055 | . | 0.105 | ug/L | 0.99522 |  |  |  | 1998-11-03 11:15 | Restek 54256: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-12-08 10:00 | 19983420178 | 0.032 | 0.32168 | . | 0.31 | ug/L | 0.9637 |  |  |  | 1998-12-08 10:00 | Restek 54256: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1998-12-21 15:00 | 19983570048 | 0.032 | 0.31724 | . | 0.299 | ug/L | 0.9425 |  |  |  | 1998-12-21 15:00 | Restek 54256: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-02-02 02:53 | 19990340066 | 0.032 | 0.1055 | E | 0.0776 | ug/L | 0.73551 |  |  |  | 1999-02-02 02:53 | Restek 54256: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-02-26 09:00 | 19990610226 | 0.032 | 0.31797 | . | 0.307 | ug/L | 0.96549 |  |  |  | 1999-02-26 09:00 | Restek 54256: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-03-09 13:20 | 19990700060 | 0.032 | 0.10748 | E | 0.0517 | ug/L | 0.48103 |  |  |  | 1999-03-09 13:20 | Restek 54256: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-03-16 14:55 | 19990780159 | 0.032 | 0.32093 | . | 0.295 | ug/L | 0.9192 |  |  |  | 1999-03-16 14:55 | Restek 54256: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-04-27 14:00 | 19991180115 | 0.032 | 0.10849 | . | 0.111 | ug/L | 1.0231 |  |  |  | 1999-04-27 14:00 | Restek 54256: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-05-07 09:00 | 19991270053 | 0.032 | 0.32494 | . | 0.366 | ug/L | 1.1264 |  |  |  | 1999-05-07 09:00 | Restek 54256: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-06-09 14:40 | 19991620163 | 0.032 | 0.10798 | . | 0.106 | ug/L | 0.98165 |  |  |  | 1999-06-09 14:40 | Restek 54256: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-02-14 10:14 | 20000470018 | 0.032 | 0.09 | E | 0.0817 | ug/L | 0.90778 |  |  |  | 2000-02-14 10:14 | Restek 57150: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-03-09 09:25 | 20000690075 | 0.032 | 0.09 | E | 0.0894 | ug/L | 0.99333 |  |  |  | 2000-03-09 09:25 | Restek 57150: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-06-01 10:04 | 20001530185 | 0.032 | 0.09 | E | 0.0824 | ug/L | 0.91556 |  |  |  | 2000-06-01 10:04 | Restek 57150: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-11-01 07:50 | 20003070002 | 0.032 | 0.09 | E | 0.0797 | ug/L | 0.88556 |  |  |  | 2000-11-01 07:50 | Restek 57150: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-06-03 10:33 | 19991580135 | 0.032 | 0.13605 | . | 0.137 | ug/L | 1.007 |  |  |  | 1999-06-03 10:33 | Restek A012514: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-07-13 10:11 | 19991950008 | 0.032 | 0.39817 | . | 0.414 | ug/L | 1.0398 |  |  |  | 1999-07-13 10:11 | Restek A012514: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-08-09 08:45 | 19992210182 | 0.032 | 0.13488 | . | 0.119 | ug/L | 0.88224 |  |  |  | 1999-08-09 08:45 | Restek A012514: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-08-31 10:30 | 19992450010 | 0.032 | 0.40559 | . | 0.471 | ug/L | 1.1613 |  |  |  | 1999-08-31 10:30 | Restek A012514: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-09-15 11:25 | 19992600464 | 0.032 | 0.348 | . | 0.427 | ug/L | 1.227 |  |  |  | 1999-09-15 11:25 | Restek A012514: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-10-19 13:07 | 19992950024 | 0.032 | 0.116 | E | 0.0752 | ug/L | 0.64828 |  |  |  | 1999-10-19 13:07 | Restek A012514: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-11-16 09:11 | 19993210007 | 0.032 | 0.348 | . | 0.328 | ug/L | 0.94253 |  |  |  | 1999-11-16 09:11 | Restek A012514: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-12-07 09:47 | 19993420042 | 0.032 | 0.116 | . | 0.129 | ug/L | 1.1121 |  |  |  | 1999-12-07 09:47 | Restek A012514: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 1999-12-21 08:00 | 19993570071 | 0.032 | 0.116 | . | 0.115 | ug/L | 0.99138 |  |  |  | 1999-12-21 08:00 | Restek A012514: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-01-11 15:10 | 20000140026 | 0.032 | 0.29 | . | 0.287 | ug/L | 0.98966 |  |  |  | 2000-01-11 15:10 | Restek A012514: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-02-23 16:22 | 20000560006 | 0.032 | 0.29 | . | 0.306 | ug/L | 1.0552 |  |  |  | 2000-02-23 16:22 | Restek A012514: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2000-06-15 10:00 | 20001670306 | 0.032 | 0.29 | . | 0.242 | ug/L | 0.83448 |  |  |  | 2000-06-15 10:00 | Restek A012514: 25 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-01-18 09:32 | 20010180090 | 0.032 | 0.108 | E | 0.0837 | ug/L | 0.775 |  |  |  | 2001-01-18 09:32 | Restek A018069: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-02-22 10:33 | 20010540015 | 0.032 | 0.432 | . | 0.38 | ug/L | 0.87963 |  |  |  | 2001-02-22 10:33 | Restek A018069: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-03-28 08:40 | 20010880090 | 0.032 | 0.108 | . | 0.104 | ug/L | 0.96296 |  |  |  | 2001-03-28 08:40 | Restek A018069: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-04-26 10:55 | 20011170203 | 0.032 | 0.108 | E | 0.0766 | ug/L | 0.70926 |  |  |  | 2001-04-26 10:55 | Restek A018069: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-05-09 10:45 | 20011300005 | 0.032 | 0.432 | . | 0.385 | ug/L | 0.8912 |  |  |  | 2001-05-09 10:45 | Restek A018069: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-06-28 10:45 | 20011800042 | 0.032 | 0.108 | E | 0.0979 | ug/L | 0.90648 | J | lmu | b | 2001-07-04 | Restek A018069: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-08-02 11:22 | 20012140203 | 0.032 | 0.432 | . | 0.385 | ug/L | 0.8912 | N | lmu |  | 2001-08-08 | Restek A018069: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2001-08-22 10:38 | 20012350048 | 0.032 | 0.432 | . | 0.396 | ug/L | 0.91667 | A | dlr |  | 2001-08-25 | Restek A018069: 40 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-10-15 08:00 | 20092890012 | 0.042 | 0.06 | E | 0.0456 | ug/L | 0.76 | A | lmu | b | 2009-10-22 | Restek A069860: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2009-11-25 07:30 | 20093340136 | 0.042 | 0.18 | . | 0.135 | ug/L | 0.75 | A | lmu |  | 2009-12-04 | Restek A069860: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-01-21 06:00 | 20100210101 | 0.042 | 0.06 | E | 0.0497 | ug/L | 0.82833 | A | lmu | b | 2010-01-26 | Restek A069860: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-02-25 06:00 | 20100570085 | 0.042 | 0.18 | . | 0.148 | ug/L | 0.82222 | A | dlr |  | 2010-03-11 | Restek A069860: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-04-08 06:00 | 20100990027 | 0.042 | 0.06 | E | 0.0486 | ug/L | 0.81 | A | dlr | b | 2010-04-13 | Restek A069860: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-05-20 06:00 | 20101410003 | 0.042 | 0.18 | . | 0.147 | ug/L | 0.81667 | A | dlr |  | 2010-05-22 | Restek A069860: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-07-01 06:00 | 20101830136 | 0.042 | 0.06 | . | 0.0549 | ug/L | 0.915 | A | dlr |  | 2010-07-09 | Restek A069860: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-08-05 06:00 | 20102180086 | 0.042 | 0.18 | . | 0.123 | ug/L | 0.68333 | N | lmu |  | 2010-08-11 | Restek A069860: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2010-09-16 06:15 | 20102630175 | 0.042 | 0.06 | . | 0.0473 | ug/L | 0.78833 | N | lmu |  | 2010-09-21 | Restek A069860: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-10-21 11:40 | 20052970048 | 0.038 | 1.68 | . | 1.67 | ug/L | 0.99405 | N | dlr |  | 2005-10-28 | Supelco LB31918: 30 µl & Accu B5070191: 30 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-12-30 11:00 | 20060030005 | 0.038 | 0.28 | . | 0.273 | ug/L | 0.975 | J | dsh |  | 2006-01-05 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2005-11-28 05:10 | 20053330009 | 0.038 | 0.28 | . | 0.3 | ug/L | 1.0714 | J | cad |  | 2005-11-29 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2006-02-10 11:15 | 20060440041 | 0.038 | 0.28 | . | 0.257 | ug/L | 0.91786 | J | dlr |  | 2006-02-15 | Supelco LB31918: 5 µl & Accu B5070191: 5 µl & Ultra CB-1578: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2012-07-26 07:00 | 20122090060 | 0.042 | 0.2004 | . | 0.204 | ug/L | 1.018 | A | dlr |  | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-03-21 06:00 | 20130810110 | 0.042 | 0.1002 | . | 0.0903 | ug/L | 0.9012 | N | lmu |  | 2013-03-29 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-04-25 06:30 | 20131160076 | 0.042 | 0.1002 | . | 0.0829 | ug/L | 0.82735 | A | lmu |  | 2013-05-03 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-08-01 07:30 | 20132140003 | 0.042 | 0.1 | . | 0.0691 | ug/L | 0.691 | A | lmu |  | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-12-05 07:30 | 20133400006 | 0.042 | 0.05 | . | 0.0556 | ug/L | 1.112 | A | lmu |  | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2013-09-12 07:30 | 20132560004 | 0.042 | 0.1 | . | 0.0834 | ug/L | 0.834 | A | lmu |  | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2014-01-23 07:00 | 20140230083 | 0.042 | 0.1 | . | 0.0906 | ug/L | 0.906 | A | lmu |  | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-03-19 05:30 | 20080800008 | 0.04 | 0.052 | E | 0.043 | ug/L | 0.82692 | D | dlr | b | 2008-03-22 | Supelco LB55705: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-05-01 08:15 | 20081220197 | 0.04 | 0.052 | E | 0.062 | ug/L | 1.1923 | D | can | b | 2008-05-09 | Supelco LB55705: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-08-13 05:30 | 20082260240 | 0.04 | 0.052 | E | 0.049 | ug/L | 0.94231 | A | dlr | b | 2008-08-15 | Supelco LB55705: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-10-15 07:55 | 20082890061 | 0.04 | 0.052 | E | 0.041 | ug/L | 0.78846 | N | lmu | b | 2008-10-17 | Supelco LB55705: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-11-12 07:50 | 20083180002 | 0.04 | 0.052 | E | 0.046 | ug/L | 0.88462 | A | dlr | b | 2008-11-18 | Supelco LB55705: 20 µl
2021 | ISOPROPYLBENZENE (CUMENE) | 77223GCM66 | 2008-12-11 06:30 | 20083460137 | 0.04 | 0.052 | E | 0.056 | ug/L | 1.0769 | D | lmu | b | 2008-12-16 | Supelco LB55705: 20 µl