## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-11-14 08:00 | 20133190010 | 0.26 | 0.45 | . | 0.453 | ug/L | 1.0067 | A | lmu |  | 2013-11-15 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-12-19 07:00 | 20133540012 | 0.26 | 0.9 | . | 0.892 | ug/L | 0.99111 | A | lmu |  | 2013-12-31 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-09-25 06:00 | 20132690017 | 0.26 | 0.45 | . | 0.483 | ug/L | 1.0733 | A | lmu |  | 2013-09-27 | Abs 051413: 10 µl & NSI 053013: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-04-19 12:30 | 20051090106 | 0.4 | 7.04 | . | 6.12 | ug/L | 0.86932 | J | dlr |  | 2005-04-22 | Absolute 071604VOC1: 40 µl & NSI 081104-01VOC: 50 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-06-30 07:50 | 20051810213 | 0.4 | 1.408 | . | 1.32 | ug/L | 0.9375 | J | dlr |  | 2005-07-01 | Absolute 071604VOC1: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-02-11 09:30 | 20050420085 | 0.4 | 7.01 | . | 7.11 | ug/L | 1.0143 | J | dlr |  | 2005-02-19 | Absolute 071604VOC1: 40 µl & Ultra CA-1229: 50 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-03-16 07:15 | 20050760047 | 0.4 | 1.402 | . | 1.3 | ug/L | 0.92725 | T | dsh |  | 2005-03-18 | Absolute 071604VOC1: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-06-07 07:30 | 20121600154 | 0.26 | 1.8 | . | 1.59 | ug/L | 0.88333 | D | lmu |  | 2012-06-12 | Abs 051712: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-11-15 07:30 | 20123200133 | 0.26 | 0.9 | . | 0.936 | ug/L | 1.04 | A | lmu |  | 2012-11-21 | Abs 051712: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-11-12 07:00 | 20093170002 | 0.26 | 0.36 | . | 0.384 | ug/L | 1.0667 | D | lmu |  | 2009-11-14 | Abs 090809: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-01-07 06:00 | 20100110075 | 0.26 | 1.08 | . | 1.14 | ug/L | 1.0556 | A | lmu |  | 2010-01-26 | Abs 090809: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-02-18 06:30 | 20100500006 | 0.26 | 0.36 | . | 0.417 | ug/L | 1.1583 | A | dlr |  | 2010-02-19 | Abs 090809: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-03-25 06:00 | 20100880030 | 0.26 | 1.08 | . | 1.36 | ug/L | 1.2593 | A | dlr |  | 2010-04-02 | Abs 090809: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-05-06 06:00 | 20101270040 | 0.26 | 0.36 | . | 0.386 | ug/L | 1.0722 | A | lmu |  | 2010-05-11 | Abs 090809: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-06-17 06:00 | 20101720156 | 0.26 | 1.08 | . | 1.31 | ug/L | 1.213 | A | dlr |  | 2010-06-24 | Abs 090809: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-07-21 06:00 | 20102030002 | 0.26 | 0.36 | . | 0.341 | ug/L | 0.94722 | A | lmu |  | 2010-07-27 | Abs 090809: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-09-02 06:00 | 20102500044 | 0.26 | 1.08 | . | 1.39 | ug/L | 1.287 | A | lmu |  | 2010-09-08 | Abs 090809: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-01-17 07:00 | 20130180025 | 0.26 | 3.6 | . | 3.84 | ug/L | 1.0667 | A | lmu |  | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-06-06 07:30 | 20131580021 | 0.26 | 0.45 | . | 0.462 | ug/L | 1.0267 | A | lmu |  | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2014-03-06 07:30 | 20140650083 | 0.26 | 0.45 | . | 0.518 | ug/L | 1.1511 | A | lmu |  | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-10-24 07:30 | 20132980025 | 0.26 | 0.908 | . | 0.899 | ug/L | 0.99009 | A | lmu |  | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-12-23 07:30 | 20133580039 | 0.26 | 0.454 | . | 0.433 | ug/L | 0.95374 | A | lmu |  | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-03-23 07:30 | 20050840187 | 0.4 | 7.04 | . | 6.08 | ug/L | 0.86364 | J | dlr |  | 2005-04-06 | AccuStd B4080215: 40 µl & NSI 081104-01VOC: 50 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-07-13 09:50 | 20051940305 | 0.4 | 1.408 | . | 1.28 | ug/L | 0.90909 | A | dsh |  | 2005-07-15 | AccuStd B4080215: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2004-10-07 10:45 | 20042860144 | 0.4 | 7.01 | . | 7.12 | ug/L | 1.0157 | J | cad |  | 2004-10-15 | AccuStd B4080215: 40 µl & Ultra CA-1229: 50 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-06-02 07:10 | 20051540029 | 0.4 | 1.402 | . | 1.33 | ug/L | 0.94864 | N | cad |  | 2005-06-07 | AccuStd B4080215: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-03-31 08:10 | 20060930012 | 0.4 | 2.6 | . | 2.19 | ug/L | 0.84231 | N | dlr |  | 2006-04-07 | Accu B5070191: 30 µl & NSI 080405-01VOC: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-05-31 08:05 | 20061560037 | 0.4 | 0.65 | . | 0.63 | ug/L | 0.96923 | J | cad |  | 2006-06-06 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-12-06 06:05 | 20053410007 | 0.4 | 0.65 | . | 0.76 | ug/L | 1.1692 | J | dlr |  | 2005-12-08 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-05-09 11:15 | 20061320017 | 0.4 | 0.65 | . | 0.6 | ug/L | 0.92308 | A | dlr |  | 2006-05-17 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-06-20 07:30 | 20131720017 | 0.26 | 0.454 | . | 0.412 | ug/L | 0.90749 | A | lmu |  | 2013-06-29 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-08-15 07:00 | 20132280015 | 0.26 | 0.908 | . | 0.926 | ug/L | 1.0198 | A | lmu |  | 2013-08-22 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2014-02-13 07:30 | 20140440053 | 0.26 | 0.454 | . | 0.482 | ug/L | 1.0617 | A | lmu |  | 2014-02-22 | ChemService 1530700: 10 µl & NSI 053013: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2014-03-19 07:30 | 20140780042 | 0.26 | 0.908 | . | 0.934 | ug/L | 1.0286 | A | lmu |  | 2014-03-19 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-10-18 06:30 | 20122930154 | 0.26 | 3.6 | . | 3.55 | ug/L | 0.98611 | A | lmu |  | 2012-10-23 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-10-04 06:30 | 20122790029 | 0.26 | 0.9 | . | 1.04 | ug/L | 1.1556 | A | lmu |  | 2012-10-11 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-02-07 06:00 | 20130390107 | 0.26 | 3.6 | . | 4.63 | ug/L | 1.2861 | A | lmu |  | 2013-02-14 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-01-21 07:40 | 20050240049 | 0.4 | 1.408 | . | 1.39 | ug/L | 0.98722 | N | dsh |  | 2005-01-27 | Crescent 07DD035: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-07-27 06:45 | 20052080336 | 0.4 | 1.402 | . | 1.15 | ug/L | 0.82026 | A | can |  | 2005-07-30 | Crescent 07DD035: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-10-21 07:00 | 20102950069 | 0.26 | 0.36 | . | 0.374 | ug/L | 1.0389 | A | dlr |  | 2010-10-23 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-11-30 06:30 | 20103350005 | 0.26 | 0.72 | . | 0.803 | ug/L | 1.1153 | A | dlr |  | 2010-12-03 | Crescent 06MM148: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-02-02 06:00 | 20110340011 | 0.26 | 0.36 | . | 0.428 | ug/L | 1.1889 | A | lmu |  | 2011-02-14 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-03-24 06:00 | 20110840074 | 0.26 | 0.36 | . | 0.357 | ug/L | 0.99167 | A | dlr |  | 2011-03-26 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-05-05 07:00 | 20111260150 | 0.26 | 0.72 | . | 0.722 | ug/L | 1.0028 | A | lmu |  | 2011-05-10 | Crescent 06MM148: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-06-16 07:30 | 20111680038 | 0.26 | 0.36 | . | 0.373 | ug/L | 1.0361 | D | lmu |  | 2011-06-18 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-08-04 07:30 | 20112170149 | 0.26 | 0.72 | . | 0.812 | ug/L | 1.1278 | A | dlr |  | 2011-08-10 | Crescent 06MM148: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-10-20 06:30 | 20112930089 | 0.26 | 0.36 | . | 0.339 | ug/L | 0.94167 | D | dlr |  | 2011-10-24 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-12-13 07:00 | 20113490067 | 0.26 | 0.72 | . | 0.718 | ug/L | 0.99722 | A | lmu |  | 2011-12-17 | Crescent 06MM148: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-02-16 07:00 | 20120470076 | 0.26 | 0.36 | . | 0.368 | ug/L | 1.0222 | D | lmu |  | 2012-02-24 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-03-15 07:30 | 20120760109 | 0.26 | 0.36 | . | 0.352 | ug/L | 0.97778 | N | lmu |  | 2012-03-24 | Crescent 06MM148: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-09-13 10:38 | 20072560125 | 0.4 | 0.64 | . | 0.59 | ug/L | 0.92188 | N | can |  | 2007-09-19 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-10-03 10:38 | 20072770003 | 0.2 | 0.64 | . | 0.57 | ug/L | 0.89062 | N | can |  | 2007-10-11 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-01-29 08:40 | 20080290024 | 0.2 | 0.64 | . | 0.62 | ug/L | 0.96875 | N | can |  | 2008-02-06 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-06-26 07:45 | 20081780151 | 0.2 | 0.64 | . | 0.74 | ug/L | 1.1562 | D | can |  | 2008-07-01 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-07-01 09:20 | 20081840008 | 0.2 | 0.64 | . | 0.6 | ug/L | 0.9375 | A | can |  | 2008-07-03 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-07-17 05:30 | 20082000004 | 0.2 | 0.64 | . | 0.51 | ug/L | 0.79688 | D | dsh |  | 2008-07-22 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-08-07 09:20 | 20082210023 | 0.2 | 0.64 | . | 0.67 | ug/L | 1.0469 | A | dlr |  | 2008-08-12 | Crescent 07GG012: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-01-29 06:30 | 20090300007 | 0.2 | 0.6776 | . | 0.81 | ug/L | 1.1954 | D | lmu |  | 2009-02-06 | ERA 0804-08-02VOC: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-03-12 08:00 | 20090710018 | 0.2 | 0.3388 | . | 0.32 | ug/L | 0.94451 | D | lmu |  | 2009-03-14 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-04-23 08:00 | 20091130126 | 0.2 | 0.3388 | . | 0.34 | ug/L | 1.0035 | A | dlr |  | 2009-04-25 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-06-11 09:00 | 20091620169 | 0.2 | 0.3388 | . | 0.37 | ug/L | 1.0921 | A | dlr |  | 2009-06-17 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-07-23 08:00 | 20092040199 | 0.2 | 0.6776 | . | 0.84 | ug/L | 1.2397 | A | dlr |  | 2009-07-25 | ERA 0804-08-02VOC: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-09-03 07:00 | 20092460254 | 0.2 | 0.3388 | . | 0.34 | ug/L | 1.0035 | A | dlr |  | 2009-09-05 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-08-23 06:30 | 20122370105 | 0.26 | 1.8 | . | 1.67 | ug/L | 0.92778 | A | lmu |  | 2012-08-28 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-12-06 06:00 | 20123420073 | 0.26 | 0.9 | . | 0.881 | ug/L | 0.97889 | A | lmu |  | 2012-12-09 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-11-02 05:15 | 20053080008 | 0.4 | 0.65 | . | 0.59 | ug/L | 0.90769 | J | dsh |  | 2005-11-15 | NSI 080405-01VOC: 5 µl & Supelco LB31918: 5 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-01-20 11:30 | 20060230012 | 0.4 | 2.6 | . | 2.65 | ug/L | 1.0192 | J | cad |  | 2006-01-27 | NSI 080405-01VOC: 20 µl & Supelco LB31918: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-02-03 11:00 | 20060370001 | 0.4 | 0.65 | . | 0.68 | ug/L | 1.0462 | A | cad |  | 2006-02-14 | NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-04-26 08:40 | 20061180001 | 0.4 | 2.6 | . | 2.72 | ug/L | 1.0462 | J | cad |  | 2006-05-02 | NSI 080405-01VOC: 20 µl & Ultra CB-1578: 50 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2000-07-06 11:20 | 20001890015 | 0.6 | 0.46 | E | 0.378 | ug/L | 0.82174 |  |  | n | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2000-08-02 09:20 | 20002160010 | 0.6 | 0.46 | E | 0.442 | ug/L | 0.96087 |  |  | n | 2000-08-02 09:20 | NSI 053100-01: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2000-09-19 08:20 | 20002640039 | 0.6 | 0.46 | E | 0.256 | ug/L | 0.55652 |  |  |  | 2000-09-19 08:20 | NSI 053100-01: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2000-11-29 10:04 | 20003350061 | 0.6 | 0.46 | E | 0.387 | ug/L | 0.8413 |  |  | n | 2000-11-29 10:04 | NSI 053100-01: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-09-13 08:00 | 20062580001 | 0.4 | 0.26 | E | 0.26 | ug/L | 1 | A | can | n | 2006-09-17 | NSI 080405-01VOC: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-10-22 08:00 | 20092960001 | 0.26 | 0.36 | . | 0.446 | ug/L | 1.2389 | A | dlr |  | 2009-10-24 | NSI 090909-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-12-03 08:00 | 20093380012 | 0.26 | 1.08 | . | 1.1 | ug/L | 1.0185 | A | lmu |  | 2009-12-11 | NSI 090909-01VOC: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-01-28 06:00 | 20100280080 | 0.26 | 0.36 | . | 0.35 | ug/L | 0.97222 | A | lmu |  | 2010-02-03 | NSI 090909-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-03-03 06:00 | 20100630040 | 0.26 | 1.08 | . | 1.02 | ug/L | 0.94444 | A | dlr |  | 2010-03-11 | NSI 090909-01VOC: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-04-15 06:00 | 20101060009 | 0.26 | 0.36 | . | 0.404 | ug/L | 1.1222 | D | dlr |  | 2010-04-21 | NSI 090909-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-05-27 06:00 | 20101480004 | 0.26 | 1.08 | . | 1.11 | ug/L | 1.0278 | A | lmu |  | 2010-05-29 | NSI 090909-01VOC: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-07-08 06:30 | 20101900010 | 0.26 | 0.36 | . | 0.413 | ug/L | 1.1472 | A | dlr |  | 2010-07-09 | NSI 090909-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-08-12 06:00 | 20102250095 | 0.26 | 1.08 | . | 1.19 | ug/L | 1.1019 | N | dlr |  | 2010-08-14 | NSI 090909-01VOC: 30 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 1998-10-14 13:20 | 19982890132 | 0.6 | 0.52995 | E | 0.36 | ug/L | 0.6793 |  |  | n | 1998-10-14 13:20 | NSI Q-16750-50 101497: 2 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 1998-11-20 09:10 | 19983280133 | 0.6 | 6.549 | . | 6.84 | ug/L | 1.0444 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 1999-01-20 10:00 | 19990200041 | 0.6 | 2.6256 | . | 2.7 | ug/L | 1.0283 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 1999-02-26 12:55 | 19990600074 | 0.6 | 6.6092 | . | 6.17 | ug/L | 0.93355 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 1999-03-31 08:00 | 19990950010 | 0.6 | 2.6995 | . | 2.97 | ug/L | 1.1002 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2001-12-20 09:10 | 20013600209 | 0.57 | 3.9974 | . | 4.35 | ug/L | 1.0882 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2002-02-14 09:44 | 20020460041 | 0.57 | 7.9948 | . | 7.77 | ug/L | 0.97188 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2002-03-27 12:00 | 20020870211 | 0.57 | 3.9974 | . | 4.26 | ug/L | 1.0657 | J | dlr |  | 2002-04-04 | NSI Q-3183: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2002-05-17 09:58 | 20021400189 | 0.57 | 7.9948 | . | 9.26 | ug/L | 1.1583 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-05-10 07:40 | 20051310017 | 0.4 | 1.408 | . | 1.2 | ug/L | 0.85227 | J | dsh |  | 2005-05-11 | Protocol R1040726010: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-03-02 07:30 | 20050620031 | 0.4 | 1.402 | . | 1.37 | ug/L | 0.97718 | N | dlr |  | 2005-03-04 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-08-12 09:40 | 20052240390 | 0.4 | 1.402 | . | 1.45 | ug/L | 1.0342 | A | dsh |  | 2005-08-15 | Protocol R1040726010: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-01-28 07:53 | 20030290011 | 0.57 | 0.2439 | E | 0.287 | ug/L | 1.1767 | J | dsh |  | 2003-01-31 | Restek A024437: 15 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-03-25 09:48 | 20030840138 | 0.57 | 0.6504 | . | 0.661 | ug/L | 1.0163 | A | dsh |  | 2003-03-26 | Restek A024437: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-05-22 09:48 | 20031420214 | 0.57 | 0.2439 | E | 0.261 | ug/L | 1.0701 | J | dsh | c | 2003-05-29 | Restek A024437: 15 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-07-02 11:45 | 20031840063 | 0.57 | 0.6504 | . | 0.617 | ug/L | 0.94865 | A | lmu |  | 2003-07-09 | Restek A024437: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-09-08 16:22 | 20032530111 | 0.57 | 0.2439 | E | 0.258 | ug/L | 1.0578 | J | dlr |  | 2003-09-10 | Restek A024437: 15 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-09-16 08:55 | 20032600110 | 0.57 | 0.2439 | E | 0.248 | ug/L | 1.0168 | J | dlr |  | 2003-09-25 | Restek A024437: 15 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2003-09-25 10:01 | 20032690105 | 0.76 | 0.6504 | . | 0.701 | ug/L | 1.0778 | N | dlr |  | 2003-10-04 | Restek A024437: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-10-12 05:30 | 20062850100 | 0.4 | 0.488 | . | 0.49 | ug/L | 1.0041 | A | dlr |  | 2006-10-14 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-12-27 07:30 | 20063610100 | 0.4 | 0.488 | . | 0.49 | ug/L | 1.0041 | A | dsh |  | 2007-01-09 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-03-27 07:25 | 20070860098 | 0.4 | 0.488 | . | 0.42 | ug/L | 0.86066 | A | dlr |  | 2007-04-03 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-05-29 05:40 | 20071500050 | 0.4 | 0.488 | E | 0.37 | ug/L | 0.7582 | A | dsh | n | 2007-05-31 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-07-24 05:50 | 20072070003 | 0.4 | 0.488 | . | 0.48 | ug/L | 0.98361 | A | dsh |  | 2007-07-27 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2007-09-10 09:30 | 20072560004 | 0.4 | 0.488 | . | 0.53 | ug/L | 1.0861 | N | can |  | 2007-09-19 | Restek A046581: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2010-11-10 07:00 | 20103140133 | 0.26 | 0.704 | . | 0.739 | ug/L | 1.0497 | A | lmu |  | 2010-11-16 | Restek A075493: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-01-20 07:00 | 20110210094 | 0.26 | 0.352 | . | 0.294 | ug/L | 0.83523 | A | lmu |  | 2011-01-22 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-03-03 06:30 | 20110620085 | 0.26 | 0.704 | . | 0.646 | ug/L | 0.91761 | A | lmu |  | 2011-03-08 | Restek A075493: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-04-14 07:00 | 20111050149 | 0.26 | 0.352 | . | 0.324 | ug/L | 0.92045 | A | lmu |  | 2011-04-21 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-05-26 07:00 | 20111470062 | 0.26 | 0.704 | . | 0.729 | ug/L | 1.0355 | D | dlr |  | 2011-05-28 | Restek A075493: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-07-14 07:30 | 20111950194 | 0.26 | 0.352 | . | 0.303 | ug/L | 0.8608 | D | dlr |  | 2011-07-20 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-09-01 07:00 | 20112450030 | 0.26 | 0.352 | . | 0.31 | ug/L | 0.88068 | D | dlr |  | 2011-09-03 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2011-11-09 06:30 | 20113130089 | 0.26 | 0.704 | . | 0.661 | ug/L | 0.93892 | A | lmu |  | 2011-11-18 | Restek A075493: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-01-19 06:30 | 20120200074 | 0.26 | 0.352 | . | 0.359 | ug/L | 1.0199 | A | lmu |  | 2012-01-26 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-02-23 07:00 | 20120540039 | 0.26 | 0.704 | . | 0.72 | ug/L | 1.0227 | D | lmu |  | 2012-02-24 | Restek A075493: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-03-29 07:30 | 20120930001 | 0.26 | 0.352 | . | 0.332 | ug/L | 0.94318 | A | lmu |  | 2012-04-06 | Restek A075493: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-03-09 10:00 | 20050680051 | 0.4 | 1.408 | . | 1.31 | ug/L | 0.9304 | J | dsh |  | 2005-03-09 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-07-22 12:15 | 20052030120 | 0.4 | 1.408 | . | 1.29 | ug/L | 0.91619 | A | dlr |  | 2005-07-26 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-06-23 07:00 | 20051750146 | 0.4 | 1.402 | . | 1.5 | ug/L | 1.0699 | J | cad |  | 2005-06-27 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2005-08-19 12:30 | 20052340063 | 0.4 | 1.402 | . | 1.35 | ug/L | 0.96291 | N | dlr |  | 2005-08-25 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-03-02 07:00 | 20060620001 | 0.4 | 0.65 | . | 0.64 | ug/L | 0.98462 | N | dsh |  | 2006-03-15 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2006-08-11 08:00 | 20062230028 | 0.4 | 0.65 | . | 0.65 | ug/L | 1 | J | dsh |  | 2006-08-13 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2012-07-26 07:00 | 20122090060 | 0.26 | 1.8 | . | 2.08 | ug/L | 1.1556 | A | dlr |  | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-03-21 06:00 | 20130810110 | 0.26 | 0.9 | . | 0.856 | ug/L | 0.95111 | N | lmu |  | 2013-03-29 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-04-25 06:30 | 20131160076 | 0.26 | 0.9 | . | 0.806 | ug/L | 0.89556 | A | lmu |  | 2013-05-03 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-08-01 07:30 | 20132140003 | 0.26 | 0.9 | . | 0.909 | ug/L | 1.01 | A | lmu |  | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-12-05 07:30 | 20133400006 | 0.26 | 0.45 | . | 0.475 | ug/L | 1.0556 | A | lmu |  | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2013-09-12 07:30 | 20132560004 | 0.26 | 0.908 | . | 0.939 | ug/L | 1.0341 | A | lmu |  | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2014-01-23 07:00 | 20140230083 | 0.26 | 0.908 | . | 0.935 | ug/L | 1.0297 | A | lmu |  | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-02-19 07:00 | 20090500156 | 0.2 | 0.34 | . | 0.38 | ug/L | 1.1176 | A | lmu |  | 2009-02-27 | Supelco LB60727: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-04-02 06:45 | 20090920063 | 0.2 | 0.68 | . | 0.69 | ug/L | 1.0147 | A | lmu |  | 2009-04-08 | Supelco LB60727: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-05-14 09:30 | 20091340076 | 0.2 | 0.34 | E | 0.33 | ug/L | 0.97059 | A | lmu | b | 2009-05-16 | Supelco LB60727: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-07-02 08:30 | 20091830175 | 0.2 | 0.68 | . | 0.73 | ug/L | 1.0735 | A | lmu |  | 2009-07-08 | Supelco LB60727: 40 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-08-13 08:00 | 20092260015 | 0.2 | 0.34 | . | 0.35 | ug/L | 1.0294 | A | dlr |  | 2009-08-19 | Supelco LB60727: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-09-17 07:30 | 20092610022 | 0.2 | 0.34 | . | 0.35 | ug/L | 1.0294 | A | dlr |  | 2009-09-26 | Supelco LB60727: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-04-02 06:15 | 20080940001 | 0.2 | 0.64 | . | 0.58 | ug/L | 0.90625 | D | dsh |  | 2008-04-04 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-05-28 08:15 | 20081500002 | 0.2 | 0.64 | . | 0.58 | ug/L | 0.90625 | N | can |  | 2008-06-03 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-09-11 08:00 | 20082560001 | 0.2 | 0.64 | . | 0.66 | ug/L | 1.0312 | D | can |  | 2008-09-16 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-10-30 05:40 | 20083040066 | 0.2 | 0.64 | . | 0.68 | ug/L | 1.0625 | A | lmu |  | 2008-11-01 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2008-12-04 07:00 | 20083400008 | 0.2 | 0.64 | . | 0.62 | ug/L | 0.96875 | D | lmu |  | 2008-12-16 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2009-01-08 07:30 | 20090080050 | 0.2 | 0.64 | . | 0.62 | ug/L | 0.96875 | N | DLR |  | 2009-01-17 | Ultra CE-0471: 20 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2001-03-14 09:30 | 20010740007 | 0.6 | 1.296 | . | 1.2 | ug/L | 0.92593 |  |  |  | 2001-03-14 09:30 | Ultra S0039: 8 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2001-06-06 10:45 | 20011580008 | 0.57 | 1.296 | . | 0.955 | ug/L | 0.73688 | T | dlr |  | 2001-06-09 | Ultra S0039: 8 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2001-09-10 11:02 | 20012530501 | 0.57 | 1.296 | . | 1.34 | ug/L | 1.034 | T | dlr |  | 2001-09-20 | Ultra S0039: 8 µl
2021 | METHYL ACRYLONITRILE | 81593GCM66 | 2001-10-30 01:32 | 20013040090 | 0.57 | 1.296 | . | 1.29 | ug/L | 0.99537 | A | dsh |  | 2001-11-02 | Ultra S0039: 8 µl