## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-11-14 08:00 | 20133190010 | 0.3 | 0.44 | . | 0.48 | ug/L | 1.0909 | A | lmu |  | 2013-11-15 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-12-19 07:00 | 20133540012 | 0.3 | 0.88 | . | 0.898 | ug/L | 1.0205 | A | lmu |  | 2013-12-31 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-09-25 06:00 | 20132690017 | 0.3 | 0.44 | . | 0.328 | ug/L | 0.74545 | A | lmu |  | 2013-09-27 | Abs 051413: 10 µl & NSI 053013: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-06-07 07:30 | 20121600154 | 0.22 | 1.4 | . | 1.15 | ug/L | 0.82143 | D | lmu |  | 2012-06-12 | Abs 051712: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-11-15 07:30 | 20123200133 | 0.3 | 0.7 | . | 0.647 | ug/L | 0.92429 | A | lmu |  | 2012-11-21 | Abs 051712: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-11-12 07:00 | 20093170002 | 0.22 | 0.28 | . | 0.224 | ug/L | 0.8 | D | lmu |  | 2009-11-14 | Abs 090809: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-01-07 06:00 | 20100110075 | 0.22 | 0.84 | . | 0.783 | ug/L | 0.93214 | A | lmu |  | 2010-01-26 | Abs 090809: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-02-18 06:30 | 20100500006 | 0.22 | 0.28 | . | 0.321 | ug/L | 1.1464 | A | dlr |  | 2010-02-19 | Abs 090809: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-03-25 06:00 | 20100880030 | 0.22 | 0.84 | . | 0.744 | ug/L | 0.88571 | A | dlr |  | 2010-04-02 | Abs 090809: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-05-06 06:00 | 20101270040 | 0.22 | 0.28 | . | 0.254 | ug/L | 0.90714 | A | lmu |  | 2010-05-11 | Abs 090809: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-06-17 06:00 | 20101720156 | 0.22 | 0.84 | . | 0.788 | ug/L | 0.9381 | A | dlr |  | 2010-06-24 | Abs 090809: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-07-21 06:00 | 20102030002 | 0.22 | 0.28 | . | 0.266 | ug/L | 0.95 | A | lmu |  | 2010-07-27 | Abs 090809: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-09-02 06:00 | 20102500044 | 0.22 | 0.84 | . | 0.816 | ug/L | 0.97143 | A | lmu |  | 2010-09-08 | Abs 090809: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-01-17 07:00 | 20130180025 | 0.3 | 2.8 | . | 2.29 | ug/L | 0.81786 | A | lmu |  | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-06-06 07:30 | 20131580021 | 0.3 | 0.44 | . | 0.451 | ug/L | 1.025 | A | lmu |  | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2014-03-06 07:30 | 20140650083 | 0.3 | 0.44 | . | 0.47 | ug/L | 1.0682 | A | lmu |  | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-10-24 07:30 | 20132980025 | 0.3 | 0.888 | . | 0.827 | ug/L | 0.93131 | A | lmu |  | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-12-23 07:30 | 20133580039 | 0.3 | 0.444 | . | 0.615 | ug/L | 1.3851 | A | lmu |  | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-03-31 08:10 | 20060930012 | 0.2 | 3 | . | 2.79 | ug/L | 0.93 | N | dlr |  | 2006-04-07 | Accu B5070191: 30 µl & NSI 080405-01VOC: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-05-31 08:05 | 20061560037 | 0.2 | 0.75 | . | 0.87 | ug/L | 1.16 | J | cad |  | 2006-06-06 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-12-06 06:05 | 20053410007 | 0.2 | 0.75 | . | 0.8 | ug/L | 1.0667 | J | dlr |  | 2005-12-08 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-05-09 11:15 | 20061320017 | 0.2 | 0.75 | . | 0.63 | ug/L | 0.84 | A | dlr |  | 2006-05-17 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-06-20 07:30 | 20131720017 | 0.3 | 0.444 | . | 0.526 | ug/L | 1.1847 | A | lmu |  | 2013-06-29 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-08-15 07:00 | 20132280015 | 0.3 | 0.888 | . | 0.821 | ug/L | 0.92455 | A | lmu |  | 2013-08-22 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2014-02-13 07:30 | 20140440053 | 0.3 | 0.444 | . | 0.426 | ug/L | 0.95946 | A | lmu |  | 2014-02-22 | ChemService 1530700: 10 µl & NSI 053013: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2014-03-19 07:30 | 20140780042 | 0.3 | 0.888 | . | 0.873 | ug/L | 0.98311 | A | lmu |  | 2014-03-19 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-10-18 06:30 | 20122930154 | 0.3 | 2.8 | . | 2.65 | ug/L | 0.94643 | A | lmu |  | 2012-10-23 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-10-21 07:00 | 20102950069 | 0.22 | 0.32 | . | 0.299 | ug/L | 0.93437 | A | dlr |  | 2010-10-23 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-11-30 06:30 | 20103350005 | 0.22 | 0.64 | . | 0.592 | ug/L | 0.925 | A | dlr |  | 2010-12-03 | Crescent 06MM148: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-02-02 06:00 | 20110340011 | 0.22 | 0.32 | . | 0.309 | ug/L | 0.96562 | A | lmu |  | 2011-02-14 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-03-24 06:00 | 20110840074 | 0.22 | 0.32 | . | 0.317 | ug/L | 0.99062 | A | dlr |  | 2011-03-26 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-05-05 07:00 | 20111260150 | 0.22 | 0.64 | . | 0.58 | ug/L | 0.90625 | A | lmu |  | 2011-05-10 | Crescent 06MM148: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-06-16 07:30 | 20111680038 | 0.22 | 0.32 | . | 0.247 | ug/L | 0.77187 | D | lmu |  | 2011-06-18 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-08-04 07:30 | 20112170149 | 0.22 | 0.64 | . | 0.611 | ug/L | 0.95469 | A | dlr |  | 2011-08-10 | Crescent 06MM148: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-10-20 06:30 | 20112930089 | 0.22 | 0.32 | . | 0.325 | ug/L | 1.0156 | D | dlr | b | 2011-10-24 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-12-13 07:00 | 20113490067 | 0.22 | 0.64 | . | 0.594 | ug/L | 0.92812 | A | lmu |  | 2011-12-17 | Crescent 06MM148: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-02-16 07:00 | 20120470076 | 0.22 | 0.32 | . | 0.284 | ug/L | 0.8875 | D | lmu |  | 2012-02-24 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-03-15 07:30 | 20120760109 | 0.22 | 0.32 | . | 0.282 | ug/L | 0.88125 | N | lmu |  | 2012-03-24 | Crescent 06MM148: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-09-13 10:38 | 20072560125 | 0.2 | 0.36 | E | 0.34 | ug/L | 0.94444 | N | can | b | 2007-09-19 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-10-03 10:38 | 20072770003 | 0.2 | 0.36 | E | 0.34 | ug/L | 0.94444 | N | can | b | 2007-10-11 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-01-29 08:40 | 20080290024 | 0.2 | 0.36 | E | 0.35 | ug/L | 0.97222 | N | can | b | 2008-02-06 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-06-26 07:45 | 20081780151 | 0.2 | 0.36 | . | 0.39 | ug/L | 1.0833 | D | can |  | 2008-07-01 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-07-01 09:20 | 20081840008 | 0.2 | 0.36 | . | 0.41 | ug/L | 1.1389 | A | can |  | 2008-07-03 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-07-17 05:30 | 20082000004 | 0.2 | 0.36 | . | 0.4 | ug/L | 1.1111 | D | dsh |  | 2008-07-22 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-08-07 09:20 | 20082210023 | 0.2 | 0.36 | . | 0.33 | ug/L | 0.91667 | A | dlr |  | 2008-08-12 | Crescent 07GG012: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-01-29 06:30 | 20090300007 | 0.2 | 0.5952 | . | 0.59 | ug/L | 0.99126 | D | lmu |  | 2009-02-06 | ERA 0804-08-02VOC: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-03-12 08:00 | 20090710018 | 0.2 | 0.2976 | . | 0.31 | ug/L | 1.0417 | D | lmu |  | 2009-03-14 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-04-23 08:00 | 20091130126 | 0.2 | 0.2976 | . | 0.32 | ug/L | 1.0753 | A | dlr |  | 2009-04-25 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-06-11 09:00 | 20091620169 | 0.2 | 0.2976 | . | 0.3 | ug/L | 1.0081 | A | dlr |  | 2009-06-17 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-07-23 08:00 | 20092040199 | 0.2 | 0.5952 | . | 0.61 | ug/L | 1.0249 | A | dlr |  | 2009-07-25 | ERA 0804-08-02VOC: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-09-03 07:00 | 20092460254 | 0.2 | 0.2976 | . | 0.28 | ug/L | 0.94086 | A | dlr |  | 2009-09-05 | ERA 0804-08-02VOC: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-11-02 05:15 | 20053080008 | 0.2 | 0.75 | . | 0.7 | ug/L | 0.93333 | J | dsh |  | 2005-11-15 | NSI 080405-01VOC: 5 µl & Supelco LB31918: 5 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-01-20 11:30 | 20060230012 | 0.2 | 3 | . | 2.99 | ug/L | 0.99667 | J | cad |  | 2006-01-27 | NSI 080405-01VOC: 20 µl & Supelco LB31918: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-02-03 11:00 | 20060370001 | 0.2 | 0.75 | . | 0.6 | ug/L | 0.8 | A | cad |  | 2006-02-14 | NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-04-26 08:40 | 20061180001 | 0.2 | 3 | . | 3.12 | ug/L | 1.04 | J | cad |  | 2006-05-02 | NSI 080405-01VOC: 20 µl & Ultra CB-1578: 50 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2000-07-06 11:20 | 20001890015 | 0.35 | 0.28 | E | 0.274 | ug/L | 0.97857 |  |  | n | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-03-16 06:05 | 20060790021 | 0.2 | 0.3 | . | 0.32 | ug/L | 1.0667 | J | dsh |  | 2006-03-23 | NSI 080405-01VOC: 2 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-09-13 08:00 | 20062580001 | 0.2 | 0.3 | . | 0.29 | ug/L | 0.96667 | A | can |  | 2006-09-17 | NSI 080405-01VOC: 2 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-10-22 08:00 | 20092960001 | 0.22 | 0.28 | . | 0.339 | ug/L | 1.2107 | A | dlr |  | 2009-10-24 | NSI 090909-01VOC: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-12-03 08:00 | 20093380012 | 0.22 | 0.84 | . | 0.877 | ug/L | 1.044 | A | lmu |  | 2009-12-11 | NSI 090909-01VOC: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-01-28 06:00 | 20100280080 | 0.22 | 0.28 | . | 0.308 | ug/L | 1.1 | A | lmu |  | 2010-02-03 | NSI 090909-01VOC: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-03-03 06:00 | 20100630040 | 0.22 | 0.84 | . | 0.672 | ug/L | 0.8 | A | dlr |  | 2010-03-11 | NSI 090909-01VOC: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-05-27 06:00 | 20101480004 | 0.22 | 0.84 | . | 0.716 | ug/L | 0.85238 | A | lmu |  | 2010-05-29 | NSI 090909-01VOC: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-07-08 06:30 | 20101900010 | 0.22 | 0.28 | . | 0.314 | ug/L | 1.1214 | A | dlr |  | 2010-07-09 | NSI 090909-01VOC: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-08-12 06:00 | 20102250095 | 0.22 | 0.84 | . | 0.734 | ug/L | 0.87381 | N | dlr |  | 2010-08-14 | NSI 090909-01VOC: 30 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 1998-10-14 13:20 | 19982890132 | 0.35 | 0.43318 | E | 0.21 | ug/L | 0.48479 |  |  | n | 1998-10-14 13:20 | NSI Q-16750-50 101497: 2 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 1998-11-20 09:10 | 19983280133 | 0.35 | 5.3531 | . | 4.63 | ug/L | 0.86492 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 1999-01-20 10:00 | 19990200041 | 0.35 | 2.1461 | . | 1.77 | ug/L | 0.82474 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 1999-02-26 12:55 | 19990600074 | 0.35 | 5.4023 | . | 4.24 | ug/L | 0.78485 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 1999-03-31 08:00 | 19990950010 | 0.35 | 2.2066 | . | 1.92 | ug/L | 0.87013 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2001-12-20 09:10 | 20013600209 | 0.35 | 1.4032 | . | 1.33 | ug/L | 0.94783 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2002-02-14 09:44 | 20020460041 | 0.35 | 2.8064 | . | 2.52 | ug/L | 0.89795 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2002-03-27 12:00 | 20020870211 | 0.35 | 1.4032 | . | 1.52 | ug/L | 1.0832 | J | dlr |  | 2002-04-04 | NSI Q-3183: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2002-05-17 09:58 | 20021400189 | 0.35 | 2.8064 | . | 2.56 | ug/L | 0.9122 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-01-28 07:53 | 20030290011 | 0.35 | 0.33 | E | 0.349 | ug/L | 1.0576 | J | dsh |  | 2003-01-31 | Restek A024437: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-03-25 09:48 | 20030840138 | 0.35 | 0.88 | . | 0.866 | ug/L | 0.98409 | A | dsh |  | 2003-03-26 | Restek A024437: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-05-22 09:48 | 20031420214 | 0.35 | 0.33 | E | 0.282 | ug/L | 0.85455 | J | dsh | c | 2003-05-29 | Restek A024437: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-07-02 11:45 | 20031840063 | 0.35 | 0.88 | . | 0.834 | ug/L | 0.94773 | A | lmu |  | 2003-07-09 | Restek A024437: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-09-08 16:22 | 20032530111 | 0.35 | 0.33 | E | 0.302 | ug/L | 0.91515 | J | dlr | n | 2003-09-10 | Restek A024437: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-09-16 08:55 | 20032600110 | 0.35 | 0.33 | E | 0.341 | ug/L | 1.0333 | J | dlr | n | 2003-09-25 | Restek A024437: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2003-09-25 10:01 | 20032690105 | 0.35 | 0.88 | . | 0.864 | ug/L | 0.98182 | N | dlr |  | 2003-10-04 | Restek A024437: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-10-12 05:30 | 20062850100 | 0.2 | 0.592 | . | 0.5 | ug/L | 0.84459 | A | dlr |  | 2006-10-14 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-12-27 07:30 | 20063610100 | 0.2 | 0.592 | . | 0.56 | ug/L | 0.94595 | A | dsh |  | 2007-01-09 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-03-27 07:25 | 20070860098 | 0.2 | 0.592 | . | 0.49 | ug/L | 0.8277 | A | dlr |  | 2007-04-03 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-05-29 05:40 | 20071500050 | 0.2 | 0.592 | . | 0.55 | ug/L | 0.92905 | A | dsh |  | 2007-05-31 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-07-24 05:50 | 20072070003 | 0.2 | 0.592 | . | 0.57 | ug/L | 0.96284 | A | dsh |  | 2007-07-27 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2007-09-10 09:30 | 20072560004 | 0.2 | 0.592 | . | 0.43 | ug/L | 0.72635 | N | can |  | 2007-09-19 | Restek A046581: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2010-11-10 07:00 | 20103140133 | 0.22 | 0.6 | . | 0.56 | ug/L | 0.93333 | A | lmu |  | 2010-11-16 | Restek A075493: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-01-20 07:00 | 20110210094 | 0.22 | 0.3 | . | 0.251 | ug/L | 0.83667 | A | lmu |  | 2011-01-22 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-03-03 06:30 | 20110620085 | 0.22 | 0.6 | . | 0.51 | ug/L | 0.85 | A | lmu |  | 2011-03-08 | Restek A075493: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-04-14 07:00 | 20111050149 | 0.22 | 0.3 | . | 0.264 | ug/L | 0.88 | A | lmu |  | 2011-04-21 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-05-26 07:00 | 20111470062 | 0.22 | 0.6 | . | 0.53 | ug/L | 0.88333 | D | dlr |  | 2011-05-28 | Restek A075493: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-07-14 07:30 | 20111950194 | 0.22 | 0.3 | . | 0.337 | ug/L | 1.1233 | D | dlr | b | 2011-07-20 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-09-01 07:00 | 20112450030 | 0.22 | 0.3 | . | 0.271 | ug/L | 0.90333 | D | dlr |  | 2011-09-03 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2011-11-09 06:30 | 20113130089 | 0.22 | 0.6 | . | 0.522 | ug/L | 0.87 | A | lmu |  | 2011-11-18 | Restek A075493: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-01-19 06:30 | 20120200074 | 0.22 | 0.3 | . | 0.236 | ug/L | 0.78667 | A | lmu |  | 2012-01-26 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-02-23 07:00 | 20120540039 | 0.22 | 0.6 | . | 0.476 | ug/L | 0.79333 | D | lmu |  | 2012-02-24 | Restek A075493: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-03-29 07:30 | 20120930001 | 0.22 | 0.3 | . | 0.257 | ug/L | 0.85667 | A | lmu |  | 2012-04-06 | Restek A075493: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-03-09 10:00 | 20050680051 | 0.2 | 0.602 | . | 0.5 | ug/L | 0.83056 | J | dsh |  | 2005-03-09 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-07-22 12:15 | 20052030120 | 0.2 | 0.602 | . | 0.54 | ug/L | 0.89701 | A | dlr |  | 2005-07-26 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-06-23 07:00 | 20051750146 | 0.2 | 0.602 | . | 0.55 | ug/L | 0.91362 | J | cad |  | 2005-06-27 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-08-19 12:30 | 20052340063 | 0.2 | 0.602 | . | 0.58 | ug/L | 0.96346 | N | dlr |  | 2005-08-25 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-03-02 07:00 | 20060620001 | 0.2 | 0.75 | . | 0.6 | ug/L | 0.8 | N | dsh |  | 2006-03-15 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2006-08-11 08:00 | 20062230028 | 0.2 | 0.75 | . | 0.62 | ug/L | 0.82667 | J | dsh |  | 2006-08-13 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2012-07-26 07:00 | 20122090060 | 0.22 | 1.4 | . | 1.21 | ug/L | 0.86429 | A | dlr |  | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-08-01 07:30 | 20132140003 | 0.3 | 0.88 | E | 0.554 | ug/L | 0.62955 | A | lmu | c | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-12-05 07:30 | 20133400006 | 0.3 | 0.44 | . | 0.472 | ug/L | 1.0727 | A | lmu | b | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2013-09-12 07:30 | 20132560004 | 0.3 | 0.888 | . | 0.828 | ug/L | 0.93243 | A | lmu |  | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2014-01-23 07:00 | 20140230083 | 0.3 | 0.888 | . | 0.862 | ug/L | 0.97072 | A | lmu |  | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-02-03 09:30 | 20050350091 | 0.2 | 0.602 | . | 0.46 | ug/L | 0.76412 | A | dlr |  | 2005-02-11 | Supelco LB22064: 5 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-04-12 08:00 | 20051030015 | 0.2 | 0.602 | . | 0.41 | ug/L | 0.68106 | A | dsh |  | 2005-04-15 | Supelco LB22064: 5 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-05-17 09:00 | 20051380013 | 0.2 | 1.806 | . | 1.73 | ug/L | 0.95792 | J | dsh |  | 2005-05-20 | Supelco LB22064: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-07-07 08:35 | 20051920147 | 0.2 | 1.806 | . | 1.69 | ug/L | 0.93577 | J | cad |  | 2005-07-14 | Supelco LB22064: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2005-08-05 08:22 | 20052200129 | 0.2 | 1.806 | . | 1.31 | ug/L | 0.72536 | N | dlr |  | 2005-08-12 | Supelco LB22064: 15 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-02-19 07:00 | 20090500156 | 0.2 | 0.2956 | E | 0.37 | ug/L | 1.2517 | A | lmu | b | 2009-02-27 | Supelco LB60727: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-04-02 06:45 | 20090920063 | 0.2 | 0.5912 | . | 0.57 | ug/L | 0.96414 | A | lmu |  | 2009-04-08 | Supelco LB60727: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-05-14 09:30 | 20091340076 | 0.2 | 0.2956 | . | 0.27 | ug/L | 0.9134 | A | lmu |  | 2009-05-16 | Supelco LB60727: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-07-02 08:30 | 20091830175 | 0.2 | 0.5912 | . | 0.55 | ug/L | 0.93031 | A | lmu |  | 2009-07-08 | Supelco LB60727: 40 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-08-13 08:00 | 20092260015 | 0.2 | 0.2956 | . | 0.32 | ug/L | 1.0825 | A | dlr |  | 2009-08-19 | Supelco LB60727: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-09-17 07:30 | 20092610022 | 0.2 | 0.2956 | . | 0.34 | ug/L | 1.1502 | A | dlr |  | 2009-09-26 | Supelco LB60727: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-04-02 06:15 | 20080940001 | 0.2 | 0.36 | . | 0.26 | ug/L | 0.72222 | D | dsh |  | 2008-04-04 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-05-28 08:15 | 20081500002 | 0.2 | 0.36 | . | 0.39 | ug/L | 1.0833 | N | can |  | 2008-06-03 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-09-11 08:00 | 20082560001 | 0.2 | 0.36 | . | 0.34 | ug/L | 0.94444 | D | can |  | 2008-09-16 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-10-30 05:40 | 20083040066 | 0.2 | 0.36 | . | 0.36 | ug/L | 1 | A | lmu |  | 2008-11-01 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2008-12-04 07:00 | 20083400008 | 0.2 | 0.36 | . | 0.32 | ug/L | 0.88889 | D | lmu |  | 2008-12-16 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2009-01-08 07:30 | 20090080050 | 0.2 | 0.36 | E | 0.3 | ug/L | 0.83333 | N | DLR |  | 2009-01-17 | Ultra CE-0471: 20 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2001-03-14 09:30 | 20010740007 | 0.35 | 1.232 | . | 1.19 | ug/L | 0.96591 |  |  |  | 2001-03-14 09:30 | Ultra S0039: 8 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2001-06-06 10:45 | 20011580008 | 0.35 | 1.232 | . | 1.07 | ug/L | 0.86851 | T | dlr |  | 2001-06-09 | Ultra S0039: 8 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2001-09-10 11:02 | 20012530501 | 0.35 | 1.232 | . | 1.28 | ug/L | 1.039 | T | dlr |  | 2001-09-20 | Ultra S0039: 8 µl
2021 | METHYL METHACRYLATE | 81597GCM66 | 2001-10-30 01:32 | 20013040090 | 0.35 | 1.232 | . | 1.38 | ug/L | 1.1201 | A | dsh |  | 2001-11-02 | Ultra S0039: 8 µl