## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-11-14 08:00 | 20133190010 | 0.1 | 0.35 | . | 0.36 | ug/L | 1.0286 | A | lmu |  | 2013-11-15 | Abs 051413: 10 µl & Crescent 04CC151: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-12-19 07:00 | 20133540012 | 0.1 | 0.7 | . | 0.666 | ug/L | 0.95143 | A | lmu |  | 2013-12-31 | Abs 051413: 20 µl & Crescent 04CC151: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-09-25 06:00 | 20132690017 | 0.1 | 0.35 | . | 0.321 | ug/L | 0.91714 | A | lmu |  | 2013-09-27 | Abs 051413: 10 µl & NSI 053013: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-06-07 07:30 | 20121600154 | 0.1 | 2.8 | . | 2.83 | ug/L | 1.0107 | D | lmu |  | 2012-06-12 | Abs 051712: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-11-15 07:30 | 20123200133 | 0.1 | 1.4 | . | 1.4 | ug/L | 1 | A | lmu |  | 2012-11-21 | Abs 051712: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-11-12 07:00 | 20093170002 | 0.1 | 0.152 | . | 0.14 | ug/L | 0.92105 | D | lmu |  | 2009-11-14 | Abs 090809: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-01-07 06:00 | 20100110075 | 0.1 | 0.456 | . | 0.463 | ug/L | 1.0154 | A | lmu |  | 2010-01-26 | Abs 090809: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-02-18 06:30 | 20100500006 | 0.1 | 0.152 | . | 0.166 | ug/L | 1.0921 | A | dlr |  | 2010-02-19 | Abs 090809: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-03-25 06:00 | 20100880030 | 0.1 | 0.456 | . | 0.48 | ug/L | 1.0526 | A | dlr |  | 2010-04-02 | Abs 090809: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-05-06 06:00 | 20101270040 | 0.1 | 0.152 | . | 0.141 | ug/L | 0.92763 | A | lmu |  | 2010-05-11 | Abs 090809: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-06-17 06:00 | 20101720156 | 0.1 | 0.456 | . | 0.455 | ug/L | 0.99781 | A | dlr |  | 2010-06-24 | Abs 090809: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-07-21 06:00 | 20102030002 | 0.1 | 0.152 | . | 0.145 | ug/L | 0.95395 | A | lmu |  | 2010-07-27 | Abs 090809: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-09-02 06:00 | 20102500044 | 0.1 | 0.456 | . | 0.507 | ug/L | 1.1118 | A | lmu |  | 2010-09-08 | Abs 090809: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-01-17 07:00 | 20130180025 | 0.1 | 5.6 | . | 5.81 | ug/L | 1.0375 | A | lmu |  | 2013-01-19 | Accu 212051193: 40 µl & Abs 051712: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-06-06 07:30 | 20131580021 | 0.1 | 0.35 | . | 0.336 | ug/L | 0.96 | A | lmu |  | 2013-06-08 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2014-03-06 07:30 | 20140650083 | 0.1 | 0.35 | . | 0.392 | ug/L | 1.12 | A | lmu |  | 2014-03-19 | Accu 213041120: 10 µl & Abs 051413: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-10-24 07:30 | 20132980025 | 0.1 | 0.704 | . | 0.702 | ug/L | 0.99716 | A | lmu |  | 2013-11-01 | Accu 213041120: 20 µl & ChemService 1530700: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-12-23 07:30 | 20133580039 | 0.1 | 0.352 | . | 0.354 | ug/L | 1.0057 | A | lmu |  | 2013-12-31 | Accu 213041120: 10 µl & ChemService 1530700: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-03-31 08:10 | 20060930012 | 0.1 | 3 | . | 2.86 | ug/L | 0.95333 | N | dlr |  | 2006-04-07 | Accu B5070191: 30 µl & NSI 080405-01VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-05-31 08:05 | 20061560037 | 0.1 | 0.75 | . | 0.88 | ug/L | 1.1733 | J | cad |  | 2006-06-06 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-12-06 06:05 | 20053410007 | 0.1 | 0.75 | . | 0.76 | ug/L | 1.0133 | J | dlr |  | 2005-12-08 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-05-09 11:15 | 20061320017 | 0.1 | 0.75 | . | 0.66 | ug/L | 0.88 | A | dlr |  | 2006-05-17 | Accu B5070191: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-06-20 07:30 | 20131720017 | 0.1 | 0.352 | . | 0.351 | ug/L | 0.99716 | A | lmu |  | 2013-06-29 | ChemService 1530700: 10 µl & Crescent 04CC151: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-08-15 07:00 | 20132280015 | 0.1 | 0.704 | . | 0.661 | ug/L | 0.93892 | A | lmu |  | 2013-08-22 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2014-02-13 07:30 | 20140440053 | 0.1 | 0.352 | . | 0.31 | ug/L | 0.88068 | A | lmu |  | 2014-02-22 | ChemService 1530700: 10 µl & NSI 053013: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2014-03-19 07:30 | 20140780042 | 0.1 | 0.704 | . | 0.764 | ug/L | 1.0852 | A | lmu |  | 2014-03-19 | ChemService 1530700: 20 µl & NSI 053013: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-10-18 06:30 | 20122930154 | 0.1 | 5.6 | . | 5.88 | ug/L | 1.05 | A | lmu |  | 2012-10-23 | Crescent 05BB048: 40 µl & Abs 051712: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-10-04 06:30 | 20122790029 | 0.1 | 1.4 | . | 1.51 | ug/L | 1.0786 | A | lmu |  | 2012-10-11 | Crescent 05BB048: 10 µl & ChemService 472200: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-02-07 06:00 | 20130390107 | 0.1 | 5.6 | . | 7.06 | ug/L | 1.2607 | A | lmu |  | 2013-02-14 | Crescent 05BB048: 40 µl & ChemService 472200: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-10-21 07:00 | 20102950069 | 0.1 | 0.32 | . | 0.274 | ug/L | 0.85625 | A | dlr |  | 2010-10-23 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-11-30 06:30 | 20103350005 | 0.1 | 0.64 | . | 0.629 | ug/L | 0.98281 | A | dlr |  | 2010-12-03 | Crescent 06MM148: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-02-02 06:00 | 20110340011 | 0.1 | 0.32 | . | 0.359 | ug/L | 1.1219 | A | lmu |  | 2011-02-14 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-03-24 06:00 | 20110840074 | 0.1 | 0.32 | . | 0.311 | ug/L | 0.97188 | A | dlr |  | 2011-03-26 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-05-05 07:00 | 20111260150 | 0.1 | 0.64 | . | 0.596 | ug/L | 0.93125 | A | lmu |  | 2011-05-10 | Crescent 06MM148: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-06-16 07:30 | 20111680038 | 0.1 | 0.32 | . | 0.291 | ug/L | 0.90938 | D | lmu |  | 2011-06-18 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-08-04 07:30 | 20112170149 | 0.1 | 0.64 | . | 0.668 | ug/L | 1.0437 | A | dlr |  | 2011-08-10 | Crescent 06MM148: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-10-20 06:30 | 20112930089 | 0.1 | 0.32 | . | 0.312 | ug/L | 0.975 | D | dlr |  | 2011-10-24 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-12-13 07:00 | 20113490067 | 0.1 | 0.64 | . | 0.676 | ug/L | 1.0562 | A | lmu |  | 2011-12-17 | Crescent 06MM148: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-02-16 07:00 | 20120470076 | 0.1 | 0.32 | . | 0.315 | ug/L | 0.98438 | D | lmu |  | 2012-02-24 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-03-15 07:30 | 20120760109 | 0.1 | 0.32 | . | 0.274 | ug/L | 0.85625 | N | lmu |  | 2012-03-24 | Crescent 06MM148: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2007-11-01 10:12 | 20073060019 | 0.1 | 0.28 | . | 0.29 | ug/L | 1.0357 | D | can |  | 2007-11-10 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-01-15 06:30 | 20080150159 | 0.1 | 0.28 | . | 0.32 | ug/L | 1.1429 | D | dlr |  | 2008-01-17 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-04-10 09:10 | 20081010097 | 0.1 | 0.28 | . | 0.28 | ug/L | 1 | D | dlr |  | 2008-04-18 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-06-03 09:45 | 20081560004 | 0.1 | 0.28 | . | 0.34 | ug/L | 1.2143 | N | dsh |  | 2008-06-06 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-07-10 08:00 | 20081930026 | 0.1 | 0.28 | . | 0.24 | ug/L | 0.85714 | A | can |  | 2008-07-17 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-07-22 07:30 | 20082040246 | 0.1 | 0.28 | . | 0.35 | ug/L | 1.25 | D | dsh |  | 2008-07-24 | ERA 0709-07-04VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-01-29 06:30 | 20090300007 | 0.1 | 0.4576 | . | 0.48 | ug/L | 1.049 | D | lmu |  | 2009-02-06 | ERA 0804-08-02VOC: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-03-12 08:00 | 20090710018 | 0.1 | 0.2288 | . | 0.24 | ug/L | 1.049 | D | lmu |  | 2009-03-14 | ERA 0804-08-02VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-04-23 08:00 | 20091130126 | 0.1 | 0.2288 | . | 0.25 | ug/L | 1.0927 | A | dlr |  | 2009-04-25 | ERA 0804-08-02VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-06-11 09:00 | 20091620169 | 0.1 | 0.2288 | . | 0.22 | ug/L | 0.96154 | A | dlr |  | 2009-06-17 | ERA 0804-08-02VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-07-23 08:00 | 20092040199 | 0.1 | 0.4576 | . | 0.43 | ug/L | 0.93969 | A | dlr |  | 2009-07-25 | ERA 0804-08-02VOC: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-09-03 07:00 | 20092460254 | 0.1 | 0.2288 | . | 0.2 | ug/L | 0.87413 | A | dlr |  | 2009-09-05 | ERA 0804-08-02VOC: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-08-23 06:30 | 20122370105 | 0.1 | 2.8 | . | 3.39 | ug/L | 1.2107 | A | lmu |  | 2012-08-28 | NSI 062112-01VOA: 20 µl & ChemService 472200: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-12-06 06:00 | 20123420073 | 0.1 | 1.4 | . | 1.37 | ug/L | 0.97857 | A | lmu |  | 2012-12-09 | NSI 062112-01VOA: 10 µl & ChemService 472200: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-11-02 05:15 | 20053080008 | 0.1 | 0.75 | . | 0.68 | ug/L | 0.90667 | J | dsh |  | 2005-11-15 | NSI 080405-01VOC: 5 µl & Supelco LB31918: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-01-20 11:30 | 20060230012 | 0.1 | 3 | . | 3 | ug/L | 1 | J | cad |  | 2006-01-27 | NSI 080405-01VOC: 20 µl & Supelco LB31918: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-02-03 11:00 | 20060370001 | 0.1 | 0.75 | . | 0.65 | ug/L | 0.86667 | A | cad |  | 2006-02-14 | NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-04-26 08:40 | 20061180001 | 0.1 | 3 | . | 3 | ug/L | 1 | J | cad |  | 2006-05-02 | NSI 080405-01VOC: 20 µl & Ultra CB-1578: 50 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-05-13 06:15 | 20081340108 | 0.1 | 0.28 | . | 0.3 | ug/L | 1.0714 | N | dsh |  | 2008-05-16 | NSI 021408-01: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-06-20 06:40 | 20081750153 | 0.1 | 0.28 | . | 0.3 | ug/L | 1.0714 | N | can |  | 2008-06-25 | NSI 021408-01: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-08-27 08:30 | 20082410001 | 0.1 | 0.28 | . | 0.28 | ug/L | 1 | D | dlr |  | 2008-08-30 | NSI 021408-01: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-11-20 06:40 | 20083260008 | 0.1 | 0.28 | . | 0.26 | ug/L | 0.92857 | A | lmu |  | 2008-12-03 | NSI 021408-01: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2008-12-18 08:00 | 20083530114 | 0.1 | 0.28 | . | 0.25 | ug/L | 0.89286 | A | dlr |  | 2008-12-20 | NSI 021408-01: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-07-06 11:20 | 20001890015 | 0.17 | 0.16 | E | 0.149 | ug/L | 0.93125 |  |  | n | 2000-07-06 11:20 | NSI 053100-01: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-08-02 09:20 | 20002160010 | 0.17 | 0.16 | E | 0.134 | ug/L | 0.8375 |  |  | n | 2000-08-02 09:20 | NSI 053100-01: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-09-19 08:20 | 20002640039 | 0.17 | 0.16 | E | 0.166 | ug/L | 1.0375 |  |  | n | 2000-09-19 08:20 | NSI 053100-01: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-11-29 10:04 | 20003350061 | 0.17 | 0.16 | E | 0.143 | ug/L | 0.89375 |  |  | n | 2000-11-29 10:04 | NSI 053100-01: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-03-16 06:05 | 20060790021 | 0.1 | 0.3 | . | 0.31 | ug/L | 1.0333 | J | dsh |  | 2006-03-23 | NSI 080405-01VOC: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-09-13 08:00 | 20062580001 | 0.1 | 0.3 | . | 0.28 | ug/L | 0.93333 | A | can |  | 2006-09-17 | NSI 080405-01VOC: 2 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-10-22 08:00 | 20092960001 | 0.1 | 0.152 | . | 0.16 | ug/L | 1.0526 | A | dlr |  | 2009-10-24 | NSI 090909-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-12-03 08:00 | 20093380012 | 0.1 | 0.456 | . | 0.466 | ug/L | 1.0219 | A | lmu |  | 2009-12-11 | NSI 090909-01VOC: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-01-28 06:00 | 20100280080 | 0.1 | 0.152 | . | 0.158 | ug/L | 1.0395 | A | lmu |  | 2010-02-03 | NSI 090909-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-03-03 06:00 | 20100630040 | 0.1 | 0.456 | . | 0.427 | ug/L | 0.9364 | A | dlr |  | 2010-03-11 | NSI 090909-01VOC: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-04-15 06:00 | 20101060009 | 0.1 | 0.152 | . | 0.152 | ug/L | 1 | D | dlr |  | 2010-04-21 | NSI 090909-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-05-27 06:00 | 20101480004 | 0.1 | 0.456 | . | 0.445 | ug/L | 0.97588 | A | lmu |  | 2010-05-29 | NSI 090909-01VOC: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-07-08 06:30 | 20101900010 | 0.1 | 0.152 | . | 0.16 | ug/L | 1.0526 | A | dlr |  | 2010-07-09 | NSI 090909-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-08-12 06:00 | 20102250095 | 0.1 | 0.456 | . | 0.401 | ug/L | 0.87939 | N | dlr |  | 2010-08-14 | NSI 090909-01VOC: 30 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-03-07 08:59 | 20010660102 | 0.17 | 0.3 | . | 0.397 | ug/L | 1.3233 |  |  |  | 2001-03-07 08:59 | NSI 111700VOC: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-04-11 01:08 | 20011020004 | 0.17 | 0.06 | E | 0.0701 | ug/L | 1.1683 |  |  |  | 2001-04-11 01:08 | NSI 111700VOC: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-05-30 10:40 | 20011500151 | 0.17 | 0.3 | . | 0.373 | ug/L | 1.2433 | T | DLR |  | 2001-06-01 | NSI 111700VOC: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-07-09 11:28 | 20011900461 | 0.17 | 0.06 | E | 0.115 | ug/L | 1.9167 | T | cad | n | 2001-07-21 | NSI 111700VOC: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-08-16 09:12 | 20012290017 | 0.17 | 0.3 | . | 0.344 | ug/L | 1.1467 | N | dlr |  | 2001-08-23 | NSI 111700VOC: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-11-14 11:18 | 20013180127 | 0.17 | 0.3 | . | 0.324 | ug/L | 1.08 | A | lmu |  | 2001-11-17 | NSI 111700VOC: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-04-18 11:30 | 20001100007 | 0.17 | 0.06 | E | 0.0462 | ug/L | 0.77 |  |  |  | 2000-04-18 11:30 | NSI 121699: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-09-06 10:31 | 20002500143 | 0.17 | 0.06 | E | 0.0611 | ug/L | 1.0183 |  |  |  | 2000-09-06 10:31 | NSI 121699: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-12-14 09:33 | 20003500012 | 0.17 | 0.06 | E | 0.0592 | ug/L | 0.98667 |  |  |  | 2000-12-14 09:33 | NSI 121699: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2000-12-27 08:08 | 20003620075 | 0.17 | 0.06 | E | 0.0739 | ug/L | 1.2317 |  |  |  | 2000-12-27 08:08 | NSI 121699: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 1998-11-20 09:10 | 19983280133 | 0.17 | 1.2528 | . | 1.48 | ug/L | 1.1813 |  |  |  | 1998-11-20 09:10 | NSI Q-16750-50 101497: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 1999-01-20 10:00 | 19990200041 | 0.17 | 0.50228 | . | 0.512 | ug/L | 1.0193 |  |  |  | 1999-01-20 10:00 | NSI Q-16750-50 101497: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 1999-02-26 12:55 | 19990600074 | 0.17 | 1.2644 | . | 1.21 | ug/L | 0.957 |  |  |  | 1999-02-26 12:55 | NSI Q-16750-50 101497: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 1999-03-31 08:00 | 19990950010 | 0.17 | 0.51643 | . | 0.676 | ug/L | 1.309 |  |  |  | 1999-03-31 08:00 | NSI Q-16750-50 101497: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 1998-12-16 11:15 | 19983520201 | 0.17 | 0.92661 | . | 1.01 | ug/L | 1.09 |  |  |  | 1998-12-16 11:15 | NSI Q-2002: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-12-20 09:10 | 20013600209 | 0.17 | 0.3198 | . | 0.354 | ug/L | 1.1069 | A | dlr |  | 2002-01-04 | NSI Q-3183: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-02-14 09:44 | 20020460041 | 0.17 | 0.6396 | . | 0.664 | ug/L | 1.0381 | A | dlr |  | 2002-02-22 | NSI Q-3183: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-03-27 12:00 | 20020870211 | 0.17 | 0.3198 | . | 0.371 | ug/L | 1.1601 | J | dlr |  | 2002-04-04 | NSI Q-3183: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-05-17 09:58 | 20021400189 | 0.17 | 0.6396 | . | 0.578 | ug/L | 0.90369 | N | dsh |  | 2002-05-24 | NSI Q-3183: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-10-12 05:30 | 20062850100 | 0.1 | 0.344 | . | 0.34 | ug/L | 0.98837 | A | dlr |  | 2006-10-14 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-12-27 07:30 | 20063610100 | 0.1 | 0.344 | . | 0.34 | ug/L | 0.98837 | A | dsh |  | 2007-01-09 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2007-03-27 07:25 | 20070860098 | 0.1 | 0.344 | . | 0.3 | ug/L | 0.87209 | A | dlr |  | 2007-04-03 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2007-05-29 05:40 | 20071500050 | 0.1 | 0.344 | . | 0.32 | ug/L | 0.93023 | A | dsh |  | 2007-05-31 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2007-07-24 05:50 | 20072070003 | 0.1 | 0.344 | . | 0.36 | ug/L | 1.0465 | A | dsh |  | 2007-07-27 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2007-09-10 09:30 | 20072560004 | 0.1 | 0.344 | . | 0.34 | ug/L | 0.98837 | N | can |  | 2007-09-19 | Restek A046581: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2010-11-10 07:00 | 20103140133 | 0.1 | 0.64 | . | 0.69 | ug/L | 1.0781 | A | lmu |  | 2010-11-16 | Restek A075493: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-01-20 07:00 | 20110210094 | 0.1 | 0.32 | . | 0.336 | ug/L | 1.05 | A | lmu |  | 2011-01-22 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-03-03 06:30 | 20110620085 | 0.1 | 0.64 | . | 0.604 | ug/L | 0.94375 | A | lmu |  | 2011-03-08 | Restek A075493: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-04-14 07:00 | 20111050149 | 0.1 | 0.32 | . | 0.29 | ug/L | 0.90625 | A | lmu |  | 2011-04-21 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-05-26 07:00 | 20111470062 | 0.1 | 0.64 | . | 0.586 | ug/L | 0.91563 | D | dlr |  | 2011-05-28 | Restek A075493: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-07-14 07:30 | 20111950194 | 0.1 | 0.32 | . | 0.269 | ug/L | 0.84062 | D | dlr |  | 2011-07-20 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-09-01 07:00 | 20112450030 | 0.1 | 0.32 | . | 0.279 | ug/L | 0.87187 | D | dlr |  | 2011-09-03 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2011-11-09 06:30 | 20113130089 | 0.1 | 0.64 | . | 0.622 | ug/L | 0.97188 | A | lmu |  | 2011-11-18 | Restek A075493: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-01-19 06:30 | 20120200074 | 0.1 | 0.32 | . | 0.314 | ug/L | 0.98125 | A | lmu |  | 2012-01-26 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-02-23 07:00 | 20120540039 | 0.1 | 0.64 | . | 0.621 | ug/L | 0.97031 | D | lmu |  | 2012-02-24 | Restek A075493: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-03-29 07:30 | 20120930001 | 0.1 | 0.32 | . | 0.297 | ug/L | 0.92812 | A | lmu |  | 2012-04-06 | Restek A075493: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-03-09 10:00 | 20050680051 | 0.1 | 0.7 | . | 0.71 | ug/L | 1.0143 | J | dsh |  | 2005-03-09 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-07-22 12:15 | 20052030120 | 0.1 | 0.7 | . | 0.68 | ug/L | 0.97143 | A | dlr |  | 2005-07-26 | Supelco LB22064: 5 µl & NSI 081104-01VOC: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-06-23 07:00 | 20051750146 | 0.1 | 0.7 | . | 0.64 | ug/L | 0.91429 | J | cad |  | 2005-06-27 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-08-19 12:30 | 20052340063 | 0.1 | 0.7 | . | 0.63 | ug/L | 0.9 | N | dlr |  | 2005-08-25 | Supelco LB22064: 5 µl & Ultra CA-1229: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-03-02 07:00 | 20060620001 | 0.1 | 0.75 | . | 0.69 | ug/L | 0.92 | N | dsh |  | 2006-03-15 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2006-08-11 08:00 | 20062230028 | 0.1 | 0.75 | . | 0.72 | ug/L | 0.96 | J | dsh |  | 2006-08-13 | Supelco LB31918: 5 µl & NSI 080405-01VOC: 5 µl & Ultra CB-1578: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2012-07-26 07:00 | 20122090060 | 0.1 | 2.8 | . | 3.03 | ug/L | 1.0821 | A | dlr |  | 2012-07-30 | Supelco LB92787: 20 µl & Abs 051712: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-03-21 06:00 | 20130810110 | 0.1 | 1.4 | . | 1.53 | ug/L | 1.0929 | N | lmu |  | 2013-03-29 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-04-25 06:30 | 20131160076 | 0.1 | 1.4 | . | 1.39 | ug/L | 0.99286 | A | lmu |  | 2013-05-03 | Supelco LB92787: 10 µl & ChemService 472200: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-08-01 07:30 | 20132140003 | 0.1 | 0.7 | . | 0.478 | ug/L | 0.68286 | A | lmu |  | 2013-08-06 | Supelco LC00154: 20 µl & Abs 051413: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-12-05 07:30 | 20133400006 | 0.1 | 0.35 | . | 0.356 | ug/L | 1.0171 | A | lmu |  | 2013-12-12 | Supelco LC00154: 10 µl & Abs 051413: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2013-09-12 07:30 | 20132560004 | 0.1 | 0.704 | . | 0.683 | ug/L | 0.97017 | A | lmu |  | 2013-09-17 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2014-01-23 07:00 | 20140230083 | 0.1 | 0.704 | . | 0.717 | ug/L | 1.0185 | A | lmu |  | 2014-01-29 | Supelco LC00154: 20 µl & ChemService 1530700: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-02-03 09:30 | 20050350091 | 0.1 | 0.7 | . | 0.61 | ug/L | 0.87143 | A | dlr |  | 2005-02-11 | Supelco LB22064: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-04-12 08:00 | 20051030015 | 0.1 | 0.7 | . | 0.59 | ug/L | 0.84286 | A | dsh |  | 2005-04-15 | Supelco LB22064: 5 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-05-17 09:00 | 20051380013 | 0.1 | 2.1 | . | 2.06 | ug/L | 0.98095 | J | dsh |  | 2005-05-20 | Supelco LB22064: 15 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-07-07 08:35 | 20051920147 | 0.1 | 2.1 | . | 2 | ug/L | 0.95238 | J | cad |  | 2005-07-14 | Supelco LB22064: 15 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2005-08-05 08:22 | 20052200129 | 0.1 | 2.1 | . | 2.01 | ug/L | 0.95714 | N | dlr |  | 2005-08-12 | Supelco LB22064: 15 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-02-19 07:00 | 20090500156 | 0.1 | 0.2316 | . | 0.29 | ug/L | 1.2522 | A | lmu |  | 2009-02-27 | Supelco LB60727: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-04-02 06:45 | 20090920063 | 0.1 | 0.4632 | . | 0.62 | ug/L | 1.3385 | A | lmu |  | 2009-04-08 | Supelco LB60727: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-05-14 09:30 | 20091340076 | 0.1 | 0.2316 | . | 0.27 | ug/L | 1.1658 | A | lmu |  | 2009-05-16 | Supelco LB60727: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-07-02 08:30 | 20091830175 | 0.1 | 0.4632 | . | 0.58 | ug/L | 1.2522 | A | lmu |  | 2009-07-08 | Supelco LB60727: 40 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-08-13 08:00 | 20092260015 | 0.1 | 0.2316 | . | 0.33 | ug/L | 1.4249 | A | dlr |  | 2009-08-19 | Supelco LB60727: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2009-09-17 07:30 | 20092610022 | 0.1 | 0.2316 | . | 0.31 | ug/L | 1.3385 | A | dlr |  | 2009-09-26 | Supelco LB60727: 20 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-03-14 09:30 | 20010740007 | 0.17 | 1.04 | . | 0.973 | ug/L | 0.93558 |  |  |  | 2001-03-14 09:30 | Ultra S0039: 8 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-06-06 10:45 | 20011580008 | 0.17 | 1.04 | . | 0.904 | ug/L | 0.86923 | T | dlr |  | 2001-06-09 | Ultra S0039: 8 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-09-10 11:02 | 20012530501 | 0.17 | 1.04 | . | 1.1 | ug/L | 1.0577 | T | dlr |  | 2001-09-20 | Ultra S0039: 8 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-10-30 01:32 | 20013040090 | 0.17 | 1.04 | . | 0.967 | ug/L | 0.92981 | A | dsh |  | 2001-11-02 | Ultra S0039: 8 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2001-12-06 09:10 | 20013400091 | 0.17 | 0.35 | . | 0.47 | ug/L | 1.3429 | A | dsh |  | 2001-12-07 | Ultra S1214: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-01-30 13:48 | 20020310009 | 0.17 | 0.14 | E | 0.17 | ug/L | 1.2143 | J | dlr | n | 2002-02-02 | Ultra S1214: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-03-13 10:58 | 20020720169 | 0.17 | 0.14 | . | 0.206 | ug/L | 1.4714 | J | lmu |  | 2002-03-16 | Ultra S1214: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-05-07 09:02 | 20021280012 | 0.17 | 0.35 | . | 0.331 | ug/L | 0.94571 | N | dlr |  | 2002-05-09 | Ultra S1214: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-06-18 10:23 | 20021700011 | 0.17 | 0.14 | E | 0.16 | ug/L | 1.1429 | A | dsh |  | 2002-06-21 | Ultra S1214: 10 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-08-20 11:32 | 20022330013 | 0.17 | 0.35 | . | 0.414 | ug/L | 1.1829 | A | dsh |  | 2002-08-24 | Ultra S1214: 25 µl
2021 | TERT-BUTYL METHYL ETHER (MTBE) | 78032GCM66 | 2002-09-06 08:55 | 20022520133 | 0.17 | 0.14 | E | 0.158 | ug/L | 1.1286 | A | lmu |  | 2002-09-10 | Ultra S1214: 10 µl