## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2015-05-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.73333 | Abs, Abs | 041415, 040615 | Abs 041415: 20 µl & Abs 040615: 20 µl | 0.015 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73333 | Ab041415, Ab040615 | Ab | Ab | Ab | 041415 | 040615 | 040615 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.73333 |  | 0.73333 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2015-05-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.49667 | Abs, ChemService | 041415, 3851600 | Abs 041415: 40 µl & ChemService 3851600: 40 µl | 0.03 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0149 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49667 | Ab041415, Ch3851600 | Ab | Ch | Ch | 041415 | 3851600 | 3851600 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.49667 |  | 0.49667 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-06-26 | 2012-10-01 | 2050-09-30 | ug/L | 0.80752 | Abs, ChemService | 042413, 1473000 | Abs 042413: 20 µl & ChemService 1473000: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0365 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80752 | Ab042413, Ch1473000 | Ab | Ch | Ch | 042413 | 1473000 | 1473000 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.80752 |  | 0.80752 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-10-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.64545 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 50 µl & Spex Organics T1130514013: 50 µl & Crescent 10802AL: 20 µl | 0.11 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64545 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5075 | 0.1951 | 0.5075 | 0.27591 | 0.20453
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.36955 | Abs, Spex Organics, Crescent | 042413, T1130514013, 10802AL | Abs 042413: 100 µl & Spex Organics T1130514013: 100 µl & Crescent 10802AL: 20 µl | 0.22 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0813 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36955 | Ab042413, SpT114013, Cr10802AL | Ab | Sp | Cr | 042413 | T114013 | 10802AL |  | T114013 |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5075 | 0.1951 | 0.5075 | 0.27591 | 0.20453
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-07-11 | 2012-10-01 | 2050-09-30 | ug/L | 0.82743 | ChemService, ERA | 1473000, 0318-13-02.2 | ChemService 1473000: 20 µl & ERA 0318-13-02.2: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82743 | Ch1473000, ER03102.2 | Ch | ER | ER | 1473000 | 03102.2 | 03102.2 |  | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 1 | 0.82743 |  | 0.82743 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-06-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.68142 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 50 µl & Supelco LB99392: 50 µl | 0.113 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68142 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65155 | 0.042239 | 0.65155 | 0.059735 | 0.044281
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.62168 | ChemService, Supelco | 1473000, LB99392 | ChemService 1473000: 20 µl & Supelco LB99392: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62168 | Ch1473000, SuLB99392 | Ch | Su | Su | 1473000 | LB99392 | LB99392 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.65155 | 0.042239 | 0.65155 | 0.059735 | 0.044281
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-04-29 | 2012-10-01 | 2050-09-30 | ug/L | 0.50746 | Crescent, Abs | 03DD006, 032714 | Crescent 03DD006: 30 µl & Abs 032714: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50746 | Cr03DD006, Ab032714 | Cr | Ab | Ab | 03DD006 | 032714 | 032714 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.43284 | 0.10554 | 0.43284 | 0.14925 | 0.11064
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-08-27 | 2012-10-01 | 2050-09-30 | ug/L | 0.35821 | Crescent, Abs | 03DD006, 032714 | Crescent 03DD006: 60 µl & Abs 032714: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35821 | Cr03DD006, Ab032714 | Cr | Ab | Ab | 03DD006 | 032714 | 032714 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.43284 | 0.10554 | 0.43284 | 0.14925 | 0.11064
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-06-30 | 2012-10-01 | 2050-09-30 | ug/L | 0.50746 | Crescent, Spex Organics | 03DD006, E1140407002 | Crescent 03DD006: 30 µl & Spex Organics E1140407002: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50746 | Cr03DD006, SpE117002 | Cr | Sp | Sp | 03DD006 | E117002 | E117002 |  | E117002 | E117002 | Y | Estimated Values | Y | 2 | Y | 1 | 0.50746 |  | 0.50746 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-12-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.51327 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 20 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51327 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.3396 | 0.24561 | 0.3396 | 0.34735 | 0.25748
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-04-03 | 2012-10-01 | 2050-09-30 | ug/L | 0.16593 | Crescent, ChemService, Cresc | 04CC101, 1473000, 10802AL | Crescent 04CC101: 20 µl & ChemService 1473000: 20 µl & Crescent 10802AL: 10 µl | 0.0452 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16593 | Cr04CC101, Ch1473000, Cr10802A | Cr | Ch | Cr | 04CC101 | 1473000 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.3396 | 0.24561 | 0.3396 | 0.34735 | 0.25748
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-05 | 2012-10-01 | 2050-09-30 | ug/L | 0.85227 | Crescent, Spex Organics | 04CC101, T1130514013 | Crescent 04CC101: 20 µl & Spex Organics T1130514013: 20 µl | 0.044 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0375 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85227 | Cr04CC101, SpT114013 | Cr | Sp | Sp | 04CC101 | T114013 | T114013 |  | T114013 | T114013 | Y | Estimated Values | Y | 2 | Y | 1 | 0.85227 |  | 0.85227 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-06-24 | 2012-10-01 | 2050-09-30 | ug/L | 0.36816 | ERA, Crescent | 0227-14-08, 03DD006 | ERA 0227-14-08: 30 µl & Crescent 03DD006: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36816 | ER0224-08, Cr03DD006 | ER | Cr | Cr | 0224-08 | 03DD006 | 03DD006 | 0224-08 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.26244 | 0.14951 | 0.26244 | 0.21144 | 0.15674
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2015-03-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.15672 | ERA, Crescent | 0227-14-08, 03DD006 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15672 | ER0224-08, Cr03DD006 | ER | Cr | Cr | 0224-08 | 03DD006 | 03DD006 | 0224-08 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.26244 | 0.14951 | 0.26244 | 0.21144 | 0.15674
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-06-28 | 2012-10-01 | 2050-09-30 | ug/L | 0.49254 | ERA, Supelco | 0227-14-08, LC06435 | ERA 0227-14-08: 60 µl & Supelco LC06435: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49254 | ER0224-08, SuLC06435 | ER | Su | Su | 0224-08 | LC06435 | LC06435 | 0224-08 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.49751 | 0.0070359 | 0.49751 | 0.0099502 | 0.007376
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-07-16 | 2012-10-01 | 2050-09-30 | ug/L | 0.50249 | ERA, Supelco | 0227-14-08, LC06435 | ERA 0227-14-08: 30 µl & Supelco LC06435: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50249 | ER0224-08, SuLC06435 | ER | Su | Su | 0224-08 | LC06435 | LC06435 | 0224-08 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.49751 | 0.0070359 | 0.49751 | 0.0099502 | 0.007376
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-08-16 | 2012-10-01 | 2050-09-30 | ug/L | 0.51741 | NSI, Crescent | 042814, 03DD006 | NSI 042814: 30 µl & Crescent 03DD006: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51741 | NS042814, Cr03DD006 | NS | Cr | Cr | 042814 | 03DD006 | 03DD006 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.45025 | 0.094984 | 0.45025 | 0.13433 | 0.099576
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-10-30 | 2012-10-01 | 2050-09-30 | ug/L | 0.38308 | NSI, Crescent | 042814, 03DD006 | NSI 042814: 60 µl & Crescent 03DD006: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38308 | NS042814, Cr03DD006 | NS | Cr | Cr | 042814 | 03DD006 | 03DD006 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.45025 | 0.094984 | 0.45025 | 0.13433 | 0.099576
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-09-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.31841 | NSI, Supelco | 042814, LC06435 | NSI 042814: 60 µl & Supelco LC06435: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0128 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31841 | NS042814, SuLC06435 | NS | Su | Su | 042814 | LC06435 | LC06435 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.41791 | 0.14072 | 0.41791 | 0.199 | 0.14752
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-12-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.51741 | NSI, Supelco | 042814, LC06435 | NSI 042814: 30 µl & Supelco LC06435: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51741 | NS042814, SuLC06435 | NS | Su | Su | 042814 | LC06435 | LC06435 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.41791 | 0.14072 | 0.41791 | 0.199 | 0.14752
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-03-18 | 2012-10-01 | 2050-09-30 | ug/L | 0.505 | Restek, Abs | A088380, 052412 | Restek A088380: 20 µl & Abs 052412: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.505 | ReA088380, Ab052412 | Re | Ab | Ab | A088380 | 052412 | 052412 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.505 |  | 0.505 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-02-06 | 2012-10-01 | 2050-09-30 | ug/L | 0.278 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 100 µl & Crescent 05BB029: 100 µl | 0.1 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.278 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5265 | 0.35143 | 0.5265 | 0.497 | 0.36842
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-05-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.775 | Restek, Crescent | A088380, 05BB029 | Restek A088380: 20 µl & Crescent 05BB029: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0155 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.775 | ReA088380, Cr05BB029 | Re | Cr | Cr | A088380 | 05BB029 | 05BB029 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.5265 | 0.35143 | 0.5265 | 0.497 | 0.36842
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-07-23 | 2012-10-01 | 2050-09-30 | ug/L | 0.8 | Restek, Abs | A093651, 012513 | Restek A093651: 20 µl & Abs 012513: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8 | ReA093651, Ab012513 | Re | Ab | Ab | A093651 | 012513 | 012513 |  |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.8 |  | 0.8 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-14 | 2012-10-01 | 2050-09-30 | ug/L | 0.472 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 5 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0236 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.472 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.49267 | 0.12825 | 0.472 | 0.254 | 0.18829
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.376 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 50 µl & Abs 012513: 50 µl & Crescent 10802AL: 10 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.376 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.49267 | 0.12825 | 0.472 | 0.254 | 0.18829
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-04-15 | 2012-10-01 | 2050-09-30 | ug/L | 0.63 | Restek, Abs, Crescent | A093651, 012513, 10802AL | Restek A093651: 20 µl & Abs 012513: 20 µl & Crescent 10802AL: 10 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | ReA093651, Ab012513, Cr10802AL | Re | Ab | Cr | A093651 | 012513 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 3 | 0.49267 | 0.12825 | 0.472 | 0.254 | 0.18829
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-11-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.575 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0115 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.575 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.6025 | 0.038891 | 0.6025 | 0.055 | 0.040771
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-01-08 | 2012-10-01 | 2050-09-30 | ug/L | 0.63 | Restek, Abs, Crescent | A093651, 052412, 10802AL | Restek A093651: 20 µl & Abs 052412: 20 µl & Crescent 10802AL: 5 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0126 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63 | ReA093651, Ab052412, Cr10802AL | Re | Ab | Cr | A093651 | 052412 | 10802AL |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.6025 | 0.038891 | 0.6025 | 0.055 | 0.040771
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-11-19 | 2012-10-01 | 2050-09-30 | ug/L | 0.37313 | Spex Organics, Crescent | E1140407002, 03DD006 | Spex Organics E1140407002: 60 µl & Crescent 03DD006: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37313 | SpE117002, Cr03DD006 | Sp | Cr | Cr | E117002 | 03DD006 | 03DD006 | E117002 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.37313 |  | 0.37313 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-02-22 | 2012-10-01 | 2050-09-30 | ug/L | 0.58 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 20 µl & Supelco LB92783: 20 µl | 0.02 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.576 | 0.0056569 | 0.576 | 0.008 | 0.0059303
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-04-02 | 2012-10-01 | 2050-09-30 | ug/L | 0.572 | Spex Organics, Supelco | T1120530013, LB92783 | Spex Organics T1120530013: 50 µl & Supelco LB92783: 50 µl | 0.05 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0286 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.572 | SpT110013, SuLB92783 | Sp | Su | Su | T110013 | LB92783 | LB92783 | T110013 |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.576 | 0.0056569 | 0.576 | 0.008 | 0.0059303
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-09-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.42636 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 100 µl & ERA 0318-13-02.2: 100 µl | 0.22 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0938 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42636 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.39273 | 0.047569 | 0.39273 | 0.067273 | 0.049869
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-02-12 | 2012-10-01 | 2050-09-30 | ug/L | 0.35909 | Spex Organics, ERA | T1130514013, 0318-13-02.2 | Spex Organics T1130514013: 50 µl & ERA 0318-13-02.2: 50 µl | 0.11 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0395 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35909 | SpT114013, ER03102.2 | Sp | ER | ER | T114013 | 03102.2 | 03102.2 | T114013 | 03102.2 | 03102.2 | Y | Estimated Values | Y | 2 | Y | 2 | 0.39273 | 0.047569 | 0.39273 | 0.067273 | 0.049869
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2013-11-09 | 2012-10-01 | 2050-09-30 | ug/L | 0.59545 | Spex Organics, Supelco | T1130514013, LB99392 | Spex Organics T1130514013: 20 µl & Supelco LB99392: 20 µl | 0.044 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0262 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59545 | SpT114013, SuLB99392 | Sp | Su | Su | T114013 | LB99392 | LB99392 | T114013 |  |  | Y | Estimated Values | Y | 2 | Y | 1 | 0.59545 |  | 0.59545 | 0 | 0
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-05-20 | 2012-10-01 | 2050-09-30 | ug/L | 0.56468 | Supelco, Abs | LC06435, 032714 | Supelco LC06435: 60 µl & Abs 032714: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0227 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56468 | SuLC06435, Ab032714 | Su | Ab | Ab | LC06435 | 032714 | 032714 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.55597 | 0.012313 | 0.55597 | 0.017413 | 0.012908
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2015-01-31 | 2012-10-01 | 2050-09-30 | ug/L | 0.54726 | Supelco, Abs | LC06435, 032714 | Supelco LC06435: 30 µl & Abs 032714: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54726 | SuLC06435, Ab032714 | Su | Ab | Ab | LC06435 | 032714 | 032714 |  |  |  | Y | Estimated Values | Y | 2 | Y | 2 | 0.55597 | 0.012313 | 0.55597 | 0.017413 | 0.012908
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-07-17 | 2012-10-01 | 2050-09-30 | ug/L | 0.53731 | Supelco, Spex Organics | LC06435, E1140407002 | Supelco LC06435: 30 µl & Spex Organics E1140407002: 30 µl | 0.0201 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53731 | SuLC06435, SpE117002 | Su | Sp | Sp | LC06435 | E117002 | E117002 |  | E117002 | E117002 | Y | Estimated Values | Y | 2 | Y | 2 | 0.44154 | 0.13544 | 0.44154 | 0.19154 | 0.14199
DEETHYLATRAZINE (DESETHYL ATRAZINE) (2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE) CIAT | 2033 | 04040GCM35 | 2014-10-04 | 2012-10-01 | 2050-09-30 | ug/L | 0.34577 | Supelco, Spex Organics | LC06435, E1140407002 | Supelco LC06435: 60 µl & Spex Organics E1140407002: 60 µl | 0.0402 | DEETHYLATRAZINE_(DESETHYL_ATRAZINE)_(2-CHLORO-4-ISOPROPYLAMINO-6-S-TRIAZINE)_CIAT | E | 0.01 | 0.0139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34577 | SuLC06435, SpE117002 | Su | Sp | Sp | LC06435 | E117002 | E117002 |  | E117002 | E117002 | Y | Estimated Values | Y | 2 | Y | 2 | 0.44154 | 0.13544 | 0.44154 | 0.19154 | 0.14199