## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | O-ETHYL-O-METHYL-S-PROPYLPHOPHOROTHIOATE | 68597LCM60 | 2015-01-15 07:00 | 20150150114 | 5 | Deleted Values |  | R |  | ng/L |  | OG | LOA | c | 2015-02-05 | ERA 0321-14-07: 30 µl & Abs 042814Pest3: 30 µl
2437 | O-ETHYL-O-METHYL-S-PROPYLPHOPHOROTHIOATE | 68597LCM60 | 2015-12-30 07:30 | 20153640099 | 5 | False Positive |  | . |  | ng/L |  | OG | MNI | b | 2016-01-06 | ERA 0406-15-04: 80 µl & ERA 0406-15-05: 80 µl
2437 | O-ETHYL-O-METHYL-S-PROPYLPHOPHOROTHIOATE | 68597LCM60 | 2016-06-29 09:00 | 20161820006 | 5 | Deleted Values |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:00 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603
2437 | O-ETHYL-O-METHYL-S-PROPYLPHOPHOROTHIOATE | 68597LCM60 | 2016-06-29 09:30 | 20161820007 | 5 | Deleted Values |  | R |  | ng/L |  |  |  |  | 2016-06-29 09:30 | ChemService 5154100: 80 µl & ChemService 5154200: 80 µl & Spex Organics TS160603