## OBSP Data
Laboratory ID | Login Date | Analyte Name | Parm+Method Code | REPORTING LEVEL | Expected Conc. | Remark Code | reportunit | Pct Recovery | Lab Value | status | Schedule Code | labequipment | analystsinitials | rlq | Analysis Date | spikemix
20160910144 | 2016-03-31 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 86.9 | . | ng/L | 0.81358 | 70.7 | Recoverable Result | 2440 | U | LJC | n | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20160770097 | 2016-03-17 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 86.9 | . | ng/L | 0.55466 | 48.2 | Recoverable Result | 2440 | U | LJC | t | 2016-04-09 | Abs 051315: 10 µl & ERA 0406-15-09: 10 µl
20152530083 | 2015-09-10 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 173.8 | . | ng/L | 0.58113 | 101 | Recoverable Result | 2440 | U | SLW | n | 2015-10-01 | ERA 0406-15-07A: 20 µl & ERA 0406-15-09: 20 µl
20153030062 | 2015-10-29 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 173.8 | . | ng/L | 0.77675 | 135 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | ERA 0406-15-09: 20 µl & Abs 050115: 20 µl
20153440005 | 2015-12-09 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 173.8 | . | ng/L | 0.73648 | 128 | Recoverable Result | 2440 | U | SLW |  | 2015-12-15 | ERA 0406-15-08: 20 µl & ERA 0406-15-09: 20 µl
20160630051 | 2016-03-03 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 173.8 | . | ng/L | 0.73072 | 127 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20160840084 | 2016-03-24 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 173.8 | . | ng/L | 0.78251 | 136 | Recoverable Result | 2440 | U | LJC |  | 2016-04-09 | ERA 0406-15-09: 20 µl & ERA 0406-15-07A: 20 µl
20151550290 | 2015-06-04 06:00 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.78053 | 136 | Recoverable Result | 2440 | K | SLW |  | 2015-06-26 | Abs 051315: 20 µl & Abs 052215: 20 µl
20151690193 | 2015-06-18 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.76905 | 134 | Recoverable Result | 2440 | K | LJC |  | 2015-07-09 | Abs 050115: 20 µl & Abs 052215: 20 µl
20152190007 | 2015-08-06 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.79201 | 138 | Recoverable Result | 2440 | U | LJC |  | 2015-08-27 | Abs 052215: 20 µl & Abs 050115: 20 µl
20152250278 | 2015-08-13 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.83792 | 146 | Recoverable Result | 2440 | U | SLW |  | 2015-09-09 | ERA 0406-15-08: 20 µl & Abs 052215: 20 µl
20153230140 | 2015-11-19 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.82645 | 144 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20160280057 | 2016-01-28 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | E | ng/L | 0.81497 | 142 | Estimated Values | 2440 | U | MNO | c | 2016-02-23 | Abs 051315: 20 µl & Abs 052215: 20 µl
20161260154 | 2016-05-05 06:30 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.66001 | 115 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20161260153 | 2016-05-05 06:00 | ANTIPYRENE | 67477LCM56 | 116 | 174.24 | . | ng/L | 0.63131 | 110 | Recoverable Result | 2440 | U | LJC | n | 2016-05-11 | Abs 052215: 20 µl & ERA 0406-15-07A: 20 µl
20150790013 | 2015-03-19 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 246.736 | . | ng/L | 0.88759 | 219 | Recoverable Result | 2440 | U | SLW |  | 2015-04-10 | ERA 0319-14-04: 8 µl & Abs 041814: 8 µl
20162020116 | 2016-07-20 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.6068 | 175 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162020117 | 2016-07-20 08:15 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.71775 | 207 | Recoverable Result | 2440 | U | MNO |  | 2016-08-11 | Abs 061516PHARM: 40 µl & Abs 060916PHARM: 40 µl
20162150208 | 2016-08-02 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.7663 | 221 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162150209 | 2016-08-02 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.69001 | 199 | Recoverable Result | 2440 | K | MNO |  | 2016-08-17 | Abs 061416: 40 µl & Abs 061516PHARM: 40 µl
20162440106 | 2016-08-31 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.79057 | 228 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162440107 | 2016-08-31 07:45 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.7975 | 230 | Recoverable Result | 2440 | K | LJC |  | 2016-09-23 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162660012 | 2016-09-21 09:30 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.85992 | 248 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20162660011 | 2016-09-21 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.90499 | 261 | Recoverable Result | 2440 | K | MNI |  | 2016-10-28 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500007 | 2016-12-14 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 1.165 | 336 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20163500006 | 2016-12-14 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 1.0194 | 294 | Recoverable Result | 2440 | U | MNI |  | 2017-01-05 | ERA 04281604: 40 µl & Abs 061516PHARM: 40 µl
20170460062 | 2017-02-15 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.87379 | 252 | Recoverable Result | 2440 | U | MNI |  | 2017-03-14 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20170460063 | 2017-02-15 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 288.4 | . | ng/L | 0.89112 | 257 | Recoverable Result | 2440 | U | MNI |  | 2017-03-14 | Abs 061516PHARM: 40 µl & Crescent EN160610015: 40 µl
20162380011 | 2016-08-24 07:45 | ANTIPYRENE | 67477LCM56 | 116 | 290 | E | ng/L | 0.67586 | 196 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162380010 | 2016-08-24 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 290 | E | ng/L | 0.66552 | 193 | Estimated Values | 2440 | K | MNI | c | 2016-09-17 | Abs 061416: 40 µl & ERA 04281603: 40 µl
20162800005 | 2016-10-05 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 290 | . | ng/L | 0.83793 | 243 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20162800004 | 2016-10-05 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 290 | . | ng/L | 0.70345 | 204 | Recoverable Result | 2440 | K | MNI |  | 2016-10-29 | ERA 04281603: 40 µl & Abs 060916PHARM: 40 µl
20151970156 | 2015-07-16 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 347.6 | . | ng/L | 0.95512 | 332 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | ERA 0406-15-09: 40 µl & Abs 050115: 40 µl
20152460209 | 2015-09-03 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 347.6 | . | ng/L | 0.75949 | 264 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | ERA 0406-15-08: 40 µl & ERA 0406-15-09: 40 µl
20152040179 | 2015-07-23 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 348.48 | . | ng/L | 0.72314 | 252 | Recoverable Result | 2440 | U | LJC |  | 2015-07-31 | Abs 051315: 40 µl & Abs 052215: 40 µl
20152330041 | 2015-08-20 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 348.48 | E | ng/L | 0.9728 | 339 | Estimated Values | 2440 | U | SLW | c | 2015-09-10 | Abs 052215: 40 µl & ERA 0406-15-07A: 40 µl
20160350045 | 2016-02-04 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 348.48 | E | ng/L | 0.72888 | 254 | Estimated Values | 2440 | U | MNO | c | 2016-02-23 | Abs 052215: 40 µl & Abs 050115: 40 µl
20160560046 | 2016-02-25 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 348.48 | . | ng/L | 0.76331 | 266 | Recoverable Result | 2440 | U | LJC |  | 2016-03-04 | ERA 0406-15-08: 40 µl & Abs 052215: 40 µl
20150230027 | 2015-01-22 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 462.63 | . | ng/L | 0.84301 | 390 | Recoverable Result | 2440 | K | LJC |  | 2015-02-06 | Abs 041814: 15 µl & ERA 0318-14-02: 15 µl
20150430093 | 2015-02-12 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 462.63 | . | ng/L | 0.78464 | 363 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-04: 15 µl & Abs 041814: 15 µl
20150570011 | 2015-02-26 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 468 | . | ng/L | 0.88462 | 414 | Recoverable Result | 2440 | U | LJC |  | 2015-03-10 | ERA 0319-14-05: 15 µl & Abs 041614: 15 µl
20150850164 | 2015-03-26 07:00 | ANTIPYRENE | 67477LCM56 | 116 | 468 | . | ng/L | 1.0021 | 469 | Recoverable Result | 2440 | U | LJC |  | 2015-04-29 | ERA 0319-14-05: 15 µl & ERA 0318-14-02: 15 µl
20151140150 | 2015-04-23 06:30 | ANTIPYRENE | 67477LCM56 | 116 | 468 | . | ng/L | 0.97436 | 456 | Recoverable Result | 2440 | K | MNO |  | 2015-05-07 | Abs 041714: 15 µl & ERA 0319-14-05: 15 µl
20161880102 | 2016-07-06 08:30 | ANTIPYRENE | 67477LCM56 | 116 | 576.8 | . | ng/L | 0.90326 | 521 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20161880107 | 2016-07-06 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 576.8 | . | ng/L | 0.88766 | 512 | Recoverable Result | 2440 | K | LJC |  | 2016-07-23 | Abs 061416: 80 µl & Abs 061516PHARM: 80 µl
20162230166 | 2016-08-10 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 576.8 | . | ng/L | 0.79924 | 461 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20162230165 | 2016-08-10 07:15 | ANTIPYRENE | 67477LCM56 | 116 | 576.8 | . | ng/L | 0.78363 | 452 | Recoverable Result | 2440 | K | SBH |  | 2016-09-09 | Abs 061516PHARM: 80 µl & Abs 060916PHARM: 80 µl
20163150008 | 2016-11-09 09:30 | ANTIPYRENE | 67477LCM56 | 116 | 580 | . | ng/L | 0.72586 | 421 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163150009 | 2016-11-09 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 580 | . | ng/L | 0.73276 | 425 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & Crescent EN160610015: 80 µl
20163070102 | 2016-11-02 09:30 | ANTIPYRENE | 67477LCM56 | 116 | 580 | . | ng/L | 0.7931 | 460 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281603: 80 µl & ERA 04281604: 80 µl
20163070101 | 2016-11-02 09:00 | ANTIPYRENE | 67477LCM56 | 116 | 580 | . | ng/L | 0.78793 | 457 | Recoverable Result | 2440 | K | LJC |  | 2016-11-18 | ERA 04281604: 80 µl & ERA 04281603: 80 µl
20152670140 | 2015-09-24 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 695.2 | . | ng/L | 0.75086 | 522 | Recoverable Result | 2440 | U | SLW |  | 2015-10-01 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20153160007 | 2015-11-10 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 695.2 | . | ng/L | 0.80696 | 561 | Recoverable Result | 2440 | K | LJC |  | 2015-11-24 | Abs 051315: 80 µl & ERA 0406-15-09: 80 µl
20160070055 | 2016-01-07 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 695.2 | . | ng/L | 0.76093 | 529 | Recoverable Result | 2440 | U | MNO |  | 2016-01-17 | ERA 0406-15-09: 80 µl & ERA 0406-15-07A: 80 µl
20152750004 | 2015-10-01 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 696.96 | . | ng/L | 0.76475 | 533 | Recoverable Result | 2440 | K | LJC | @c | 2015-11-04 | Abs 052215: 80 µl & Abs 050115: 80 µl
20152950084 | 2015-10-22 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 696.96 | . | ng/L | 0.81497 | 568 | Recoverable Result | 2440 | K | LJC |  | 2015-11-05 | ERA 0406-15-08: 80 µl & Abs 052215: 80 µl
20163630039 | 2016-12-28 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 725 | . | ng/L | 0.89655 | 650 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20163630038 | 2016-12-28 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 725 | . | ng/L | 0.9669 | 701 | Recoverable Result | 2440 | U | MNI |  | 2017-01-19 | ERA 04281603: 100 µl & Abs 060916PHARM: 100 µl
20170320039 | 2017-02-01 08:00 | ANTIPYRENE | 67477LCM56 | 116 | 725 | . | ng/L | 0.86207 | 625 | Recoverable Result | 2440 | U | MNI |  | 2017-02-07 | Abs 061416: 100 µl & ERA 04281603: 100 µl
20170320038 | 2017-02-01 07:30 | ANTIPYRENE | 67477LCM56 | 116 | 725 | . | ng/L | 0.82897 | 601 | Recoverable Result | 2440 | U | MNI |  | 2017-02-07 | Abs 061416: 100 µl & ERA 04281603: 100 µl