## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4024 | ACETONE | 81552GCM60 | 2013-05-09 07:00 | 20131290121 | 1.6 | Deleted Values |  | I |  | ug/L |  |  |  |  | 2013-05-09 07:00 | Accu 213041015: 20 µl
4024 | ACETONE | 81552GCM60 | 2003-10-03 16:45 | 20032790055 | 1.2 | False Positive |  | . |  | ug/L |  | T | dlr |  | 2003-10-09 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2003-11-25 01:00 | 20033300032 | 1.2 | False Positive |  | . |  | ug/L |  | T | dlr |  | 2003-12-06 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2004-02-04 01:00 | 20040350082 | 1.2 | False Positive |  | . |  | ug/L |  | T | dlr |  | 2004-02-07 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2004-04-01 12:00 | 20040930020 | 1.2 | False Positive |  | . |  | ug/L |  | T | lmu |  | 2004-04-14 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2004-05-19 09:05 | 20041410047 | 1.2 | False Positive |  | . |  | ug/L |  | T | dlr | c | 2004-06-05 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2004-08-18 08:00 | 20042330272 | 1.2 | False Positive |  | . |  | ug/L |  | T | dlr |  | 2004-08-24 | ChemService 309-107A: 15 µl
4024 | ACETONE | 81552GCM60 | 2008-03-03 08:30 | 20080640005 | 1.8 | False Positive |  | E |  | ug/L |  | T | can |  | 2008-03-08 | ChemService 385-17C: 20 µl
4024 | ACETONE | 81552GCM60 | 2013-02-07 07:00 | 20130390108 | 1.6 | False Positive |  | . |  | ug/L |  | T | lmu | b | 2013-02-19 | ChemService 426000: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-02-04 06:30 | 20100360003 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | t | 2010-02-09 | ERA 0817-09-02VOA: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-11-09 08:00 | 20113130088 | 1.6 | False Positive |  | . |  | ug/L |  | T | dlr | b | 2011-11-15 | NSI 062210-01: 40 µl
4024 | ACETONE | 81552GCM60 | 2012-05-31 07:00 | 20121520252 | 1.6 | False Positive |  | . |  | ug/L |  | T | dlr | b | 2012-06-07 | NSI 062210-01: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-03-19 06:30 | 20100810065 | 1.2 | False Positive |  | E |  | ug/L |  | T | lmu | t | 2010-03-26 | Ultra CF-3592: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-07-13 07:00 | 20101950134 | 1.2 | False Positive |  | E |  | ug/L |  | T | can | n | 2010-07-19 | Ultra CF-3592: 40 µl
4024 | ACETONE | 81552GCM60 | 2003-12-10 06:00 | 20033440131 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | n | 2003-12-13 | Ultra U1734: 10 µl
4024 | ACETONE | 81552GCM60 | 2004-01-21 08:23 | 20040220013 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | n | 2004-01-22 | Ultra U1734: 10 µl
4024 | ACETONE | 81552GCM60 | 2004-04-14 08:00 | 20041060232 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | n | 2004-04-22 | Ultra U1734: 10 µl
4024 | ACETONE | 81552GCM60 | 2004-05-26 09:10 | 20041480020 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | n | 2004-06-05 | Ultra U1734: 10 µl
4024 | ACETONE | 81552GCM60 | 2004-09-15 08:10 | 20042600120 | 1.2 | False Positive |  | E |  | ug/L |  | T | dlr | n | 2004-09-24 | Ultra U1734: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-08-05 06:30 | 20052200130 | 1.2 | False Negative | 2.176 | < |  | ug/L |  | T | dsh | b | 2005-08-10 | Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2006-02-03 10:00 | 20060370002 | 1.2 | Estimated Values | 1.001 | E | 1.1 | ug/L | 1.0989 | T | dsh | n | 2006-02-09 | Supelco LB31916: 5 µl
4024 | ACETONE | 81552GCM60 | 2006-03-24 07:00 | 20060860010 | 1.2 | Estimated Values | 1.001 | E | 1 | ug/L | 0.999 | T | dlr | n | 2006-03-28 | Supelco LB31916: 5 µl
4024 | ACETONE | 81552GCM60 | 2006-06-22 04:00 | 20061740227 | 1.2 | Estimated Values | 1.001 | E | 1.1 | ug/L | 1.0989 | T | dlr | n | 2006-07-04 | Supelco LB31916: 5 µl
4024 | ACETONE | 81552GCM60 | 2006-09-13 07:45 | 20062580002 | 1.2 | Estimated Values | 1.001 | E | 1 | ug/L | 0.999 | T | dlr | n | 2006-09-22 | Supelco LB31916: 5 µl
4024 | ACETONE | 81552GCM60 | 2006-11-07 06:45 | 20063120071 | 1.2 | Recoverable Result | 1.96 | . | 1.6 | ug/L | 0.81633 | T | dlr |  | 2006-11-18 | Crescent 07FF044: 10 µl
4024 | ACETONE | 81552GCM60 | 2007-02-13 08:15 | 20070440051 | 1.2 | Recoverable Result | 1.96 | . | 2.4 | ug/L | 1.2245 | T | dsh |  | 2007-02-15 | Crescent 07FF044: 10 µl
4024 | ACETONE | 81552GCM60 | 2007-05-15 06:50 | 20071360154 | 1.2 | Recoverable Result | 1.96 | . | 2.2 | ug/L | 1.1224 | T | cad | c | 2007-05-24 | Crescent 07FF044: 10 µl
4024 | ACETONE | 81552GCM60 | 2007-07-03 08:00 | 20071860024 | 1.2 | Recoverable Result | 1.96 | . | 2 | ug/L | 1.0204 | T | can |  | 2007-07-11 | Crescent 07FF044: 10 µl
4024 | ACETONE | 81552GCM60 | 2007-08-15 08:50 | 20072290025 | 1.2 | Recoverable Result | 1.96 | . | 2.2 | ug/L | 1.1224 | T | can |  | 2007-08-21 | Crescent 07FF044: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-10-27 07:05 | 20053010009 | 1.2 | Recoverable Result | 2.002 | . | 1.9 | ug/L | 0.94905 | T | cad |  | 2005-10-29 | Supelco LB31916: 10 µl
4024 | ACETONE | 81552GCM60 | 2006-01-20 11:15 | 20060230011 | 1.2 | Recoverable Result | 2.002 | . | 1.9 | ug/L | 0.94905 | T | dsh |  | 2006-02-01 | Supelco LB31916: 10 µl
4024 | ACETONE | 81552GCM60 | 2006-04-07 05:10 | 20061000010 | 1.2 | Recoverable Result | 2.002 | . | 2.4 | ug/L | 1.1988 | T | cad |  | 2006-04-11 | Supelco LB31916: 10 µl
4024 | ACETONE | 81552GCM60 | 2006-07-27 09:05 | 20062090001 | 1.2 | Recoverable Result | 2.002 | . | 2.4 | ug/L | 1.1988 | T | dsh |  | 2006-08-09 | Supelco LB31916: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-10-14 11:20 | 20052900060 | 1.2 | Recoverable Result | 2.1 | . | 2.1 | ug/L | 1 | T | cad |  | 2005-10-29 | Ultra CB-1580: 5 µl
4024 | ACETONE | 81552GCM60 | 2005-12-30 10:00 | 20060030006 | 1.2 | Recoverable Result | 2.1 | . | 2.1 | ug/L | 1 | T | dlr |  | 2006-01-12 | Ultra CB-1580: 5 µl
4024 | ACETONE | 81552GCM60 | 2006-04-26 08:30 | 20061180002 | 1.2 | Recoverable Result | 2.1 | . | 2 | ug/L | 0.95238 | T | dsh |  | 2006-05-04 | Ultra CB-1580: 5 µl
4024 | ACETONE | 81552GCM60 | 2004-11-23 07:00 | 20043290045 | 1.2 | Recoverable Result | 2.176 | . | 2.4 | ug/L | 1.1029 | T | dlr |  | 2004-11-30 | Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2005-03-30 01:00 | 20050900140 | 1.2 | Recoverable Result | 2.176 | . | 2.1 | ug/L | 0.96507 | T | dlr |  | 2005-04-07 | Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2004-12-22 07:00 | 20043580024 | 1.2 | Recoverable Result | 2.176 | . | 2.5 | ug/L | 1.1489 | T | dlr |  | 2004-12-31 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2005-02-23 07:30 | 20050550039 | 1.2 | Recoverable Result | 2.176 | . | 2.1 | ug/L | 0.96507 | T | dlr |  | 2005-03-03 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2005-04-28 09:01 | 20051190010 | 1.2 | Recoverable Result | 2.176 | . | 1.8 | ug/L | 0.82721 | T | dlr |  | 2005-05-05 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2005-09-08 05:00 | 20052510197 | 1.2 | Recoverable Result | 2.176 | . | 2.2 | ug/L | 1.011 | T | can |  | 2005-09-10 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | ACETONE | 81552GCM60 | 2013-07-18 07:30 | 20132000018 | 1.6 | Recoverable Result | 2.4 | . | 4.11 | ug/L | 1.7125 | T | lmu |  | 2013-07-23 | NSI 042313VOA: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-01-12 09:00 | 20050180086 | 1.2 | Recoverable Result | 2.72 | . | 4 | ug/L | 1.4706 | T | dlr |  | 2005-01-22 | Absolute 071904VOC2: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-03-16 06:00 | 20050760048 | 1.2 | Recoverable Result | 2.72 | . | 2.4 | ug/L | 0.88235 | T | dlr |  | 2005-03-26 | Absolute 071904VOC2: 10 µl
4024 | ACETONE | 81552GCM60 | 2005-06-16 08:05 | 20051680040 | 1.2 | Recoverable Result | 2.72 | . | 3.1 | ug/L | 1.1397 | T | dsh |  | 2005-06-18 | Absolute 071904VOC2: 10 µl
4024 | ACETONE | 81552GCM60 | 2010-03-03 06:30 | 20100630039 | 1.2 | Recoverable Result | 2.8 | . | 3.39 | ug/L | 1.2107 | T | dlr |  | 2010-03-15 | ChemService 430-41B: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-04-15 06:30 | 20101060008 | 1.2 | Recoverable Result | 2.8 | . | 3.55 | ug/L | 1.2679 | T | dlr |  | 2010-04-22 | ChemService 430-41B: 20 µl
4024 | ACETONE | 81552GCM60 | 2007-11-27 09:18 | 20073310071 | 1.8 | Recoverable Result | 2.8 | . | 3.1 | ug/L | 1.1071 | T | dlr |  | 2007-12-01 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-03-12 05:10 | 20080740014 | 1.8 | Recoverable Result | 2.8 | . | 3.6 | ug/L | 1.2857 | T | dlr |  | 2008-03-18 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-04-02 06:30 | 20080940002 | 1.8 | Recoverable Result | 2.8 | . | 2.9 | ug/L | 1.0357 | T | dlr |  | 2008-04-05 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-05-07 05:10 | 20081290014 | 1.8 | Recoverable Result | 2.8 | . | 3 | ug/L | 1.0714 | T | dlr |  | 2008-05-20 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-05-20 07:15 | 20081410080 | 1.8 | Recoverable Result | 2.8 | . | 3.4 | ug/L | 1.2143 | T | dsh |  | 2008-05-28 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-06-20 06:50 | 20081750152 | 1.8 | Recoverable Result | 2.8 | . | 3.1 | ug/L | 1.1071 | T | dsh |  | 2008-06-26 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-07-17 05:40 | 20082000005 | 1.8 | Recoverable Result | 2.8 | . | 3.4 | ug/L | 1.2143 | T | can |  | 2008-07-22 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-08-07 08:45 | 20082210024 | 1.8 | Recoverable Result | 2.8 | . | 2.7 | ug/L | 0.96429 | T | dsh |  | 2008-08-09 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-09-04 06:30 | 20082480224 | 1.8 | Recoverable Result | 2.8 | . | 2.5 | ug/L | 0.89286 | T | can |  | 2008-09-06 | Protocol R1070705003: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-11-05 09:30 | 20093100002 | 1.2 | Recoverable Result | 2.808 | . | 2.85 | ug/L | 1.015 | T | dlr |  | 2009-11-13 | Abs 083109VOA: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-03-25 06:30 | 20100880029 | 1.2 | Recoverable Result | 2.808 | . | 2.97 | ug/L | 1.0577 | T | dlr |  | 2010-04-06 | Abs 083109VOA: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-06-10 07:00 | 20101650038 | 1.2 | Recoverable Result | 2.808 | . | 2.38 | ug/L | 0.84758 | T | lmu |  | 2010-06-24 | Abs 083109VOA: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-07-21 07:00 | 20102030001 | 1.2 | Recoverable Result | 2.808 | . | 2.48 | ug/L | 0.88319 | T | dlr |  | 2010-07-30 | Abs 083109VOA: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-11-18 07:30 | 20103230115 | 1.2 | Recoverable Result | 2.98 | . | 3.02 | ug/L | 1.0134 | T | lmu |  | 2010-11-26 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-07-14 09:00 | 20111950193 | 1.2 | Recoverable Result | 2.98 | . | 3.41 | ug/L | 1.1443 | T | dlr |  | 2011-07-19 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-11-22 08:30 | 20113260107 | 1.6 | Recoverable Result | 2.98 | . | 3.31 | ug/L | 1.1107 | T | dlr |  | 2011-11-30 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2012-01-12 07:30 | 20120120073 | 1.6 | Recoverable Result | 2.98 | . | 3.32 | ug/L | 1.1141 | T | dlr | c | 2012-01-25 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2012-03-29 08:30 | 20120930002 | 1.6 | Recoverable Result | 2.98 | . | 3.04 | ug/L | 1.0201 | T | dlr |  | 2012-04-05 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2012-04-26 07:30 | 20121180064 | 1.6 | Recoverable Result | 2.98 | . | 3.97 | ug/L | 1.3322 | T | dlr |  | 2012-05-02 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-10-14 08:30 | 20102880006 | 1.2 | Recoverable Result | 3 | . | 4.49 | ug/L | 1.4967 | T | lmu |  | 2010-10-16 | ChemService 443-149B: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-06-29 08:00 | 20111810009 | 1.2 | Recoverable Result | 3 | . | 4.13 | ug/L | 1.3767 | T | dlr |  | 2011-07-06 | ChemService 443-149B: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-07-28 08:00 | 20112100002 | 1.2 | Recoverable Result | 3 | . | 4.28 | ug/L | 1.4267 | T | dlr |  | 2011-08-02 | ChemService 443-149B: 20 µl
4024 | ACETONE | 81552GCM60 | 2011-10-27 08:30 | 20113010042 | 1.6 | Recoverable Result | 3 | . | 4.97 | ug/L | 1.6567 | T | dlr |  | 2011-11-01 | ChemService 443-149B: 20 µl
4024 | ACETONE | 81552GCM60 | 2005-11-22 08:30 | 20053270021 | 1.2 | Recoverable Result | 3.36 | . | 3.2 | ug/L | 0.95238 | T | dlr |  | 2005-11-25 | Ultra CB-1580: 8 µl
4024 | ACETONE | 81552GCM60 | 2006-02-16 12:15 | 20060480014 | 1.2 | Recoverable Result | 3.36 | . | 3 | ug/L | 0.89286 | T | dsh |  | 2006-02-28 | Ultra CB-1580: 8 µl
4024 | ACETONE | 81552GCM60 | 2006-03-31 08:00 | 20060930013 | 1.2 | Recoverable Result | 3.36 | . | 4 | ug/L | 1.1905 | T | cad |  | 2006-04-11 | Ultra CB-1580: 8 µl
4024 | ACETONE | 81552GCM60 | 2012-07-26 07:30 | 20122090061 | 1.6 | Recoverable Result | 3.5 | . | 3.59 | ug/L | 1.0257 | T | dlr |  | 2012-08-02 | Crescent 05BB024: 10 µl
4024 | ACETONE | 81552GCM60 | 2012-11-01 07:00 | 20123070014 | 1.6 | Recoverable Result | 3.5 | . | 3.69 | ug/L | 1.0543 | T | dlr |  | 2012-11-02 | Crescent 05BB024: 10 µl
4024 | ACETONE | 81552GCM60 | 2012-09-19 07:00 | 20122640136 | 1.6 | Recoverable Result | 3.5 | . | 4.08 | ug/L | 1.1657 | T | dlr |  | 2012-09-21 | NSI 060412-01: 10 µl
4024 | ACETONE | 81552GCM60 | 2008-12-11 07:10 | 20083460138 | 1.8 | Recoverable Result | 3.712 | . | 4.4 | ug/L | 1.1853 | T | dlr |  | 2008-12-18 | Restek A062148: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-06-04 10:00 | 20091550188 | 1.8 | Recoverable Result | 3.712 | . | 4 | ug/L | 1.0776 | T | dlm |  | 2009-06-06 | Restek A062148: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-07-07 10:30 | 20091880142 | 1.8 | Recoverable Result | 3.712 | . | 4.6 | ug/L | 1.2392 | T | dlm |  | 2009-07-09 | Restek A062148: 20 µl
4024 | ACETONE | 81552GCM60 | 2008-11-12 08:30 | 20083180001 | 1.8 | Recoverable Result | 3.736 | . | 4.1 | ug/L | 1.0974 | T | lmu |  | 2008-11-14 | Ultra CE-2889: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-03-19 09:30 | 20090780139 | 1.8 | Recoverable Result | 3.736 | . | 5.2 | ug/L | 1.3919 | T | dlm |  | 2009-03-23 | Ultra CE-2889: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-08-06 10:00 | 20092180175 | 1.8 | Recoverable Result | 3.736 | . | 4.6 | ug/L | 1.2313 | T | dlm |  | 2009-08-07 | Ultra CE-2889: 20 µl
4024 | ACETONE | 81552GCM60 | 2005-12-11 07:00 | 20053460076 | 1.2 | Recoverable Result | 4.004 | . | 4 | ug/L | 0.999 | T | dsh |  | 2005-12-14 | Supelco LB31916: 20 µl
4024 | ACETONE | 81552GCM60 | 2006-02-24 05:15 | 20060580112 | 1.2 | Recoverable Result | 4.004 | . | 4.2 | ug/L | 1.049 | T | dsh |  | 2006-02-28 | Supelco LB31916: 20 µl
4024 | ACETONE | 81552GCM60 | 2006-06-08 09:30 | 20061630079 | 1.2 | Recoverable Result | 4.2 | . | 4.4 | ug/L | 1.0476 | T | dsh |  | 2006-06-16 | Ultra CB-1580: 10 µl
4024 | ACETONE | 81552GCM60 | 2006-08-11 07:00 | 20062230029 | 1.2 | Recoverable Result | 4.2 | . | 4.3 | ug/L | 1.0238 | T | cad |  | 2006-08-20 | Ultra CB-1580: 10 µl
4024 | ACETONE | 81552GCM60 | 2013-06-20 08:00 | 20131720018 | 1.6 | Recoverable Result | 4.8 | . | 5.33 | ug/L | 1.1104 | T | lmu |  | 2013-06-26 | Crescent 04CC143: 20 µl
4024 | ACETONE | 81552GCM60 | 2006-12-06 05:55 | 20063400129 | 1.2 | Recoverable Result | 4.9 | . | 5.5 | ug/L | 1.1224 | T | dsh |  | 2006-12-19 | Crescent 07FF044: 25 µl
4024 | ACETONE | 81552GCM60 | 2007-06-05 08:00 | 20071560123 | 1.2 | Recoverable Result | 4.9 | . | 5.6 | ug/L | 1.1429 | T | dsh |  | 2007-06-09 | Crescent 07FF044: 25 µl
4024 | ACETONE | 81552GCM60 | 2007-07-24 06:20 | 20072070004 | 1.2 | Recoverable Result | 4.9 | . | 5.1 | ug/L | 1.0408 | T | can |  | 2007-07-28 | Crescent 07FF044: 25 µl
4024 | ACETONE | 81552GCM60 | 2007-08-27 07:45 | 20072400301 | 1.2 | Recoverable Result | 4.9 | . | 5.6 | ug/L | 1.1429 | T | dlr |  | 2007-08-29 | Crescent 07FF044: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-05-09 11:05 | 20061320016 | 1.2 | Recoverable Result | 5.005 | . | 5.6 | ug/L | 1.1189 | T | dsh |  | 2006-05-18 | Supelco LB31916: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-17 12:05 | 20062330173 | 1.2 | Recoverable Result | 5.005 | . | 5.5 | ug/L | 1.0989 | T | dsh |  | 2006-08-25 | Supelco LB31916: 25 µl
4024 | ACETONE | 81552GCM60 | 2004-11-03 07:00 | 20043100017 | 1.2 | Recoverable Result | 5.44 | . | 6 | ug/L | 1.1029 | T | dlr |  | 2004-11-05 | Absolute 071904VOC2: 20 µl
4024 | ACETONE | 81552GCM60 | 2005-02-11 07:00 | 20050420086 | 1.2 | Recoverable Result | 5.44 | . | 4.3 | ug/L | 0.79044 | T | dlr | c | 2005-03-11 | Absolute 071904VOC2: 20 µl
4024 | ACETONE | 81552GCM60 | 2005-05-10 07:00 | 20051310018 | 1.2 | Recoverable Result | 5.44 | . | 6.1 | ug/L | 1.1213 | T | dlr |  | 2005-05-19 | Absolute 071904VOC2: 20 µl
4024 | ACETONE | 81552GCM60 | 2010-07-01 07:00 | 20101830135 | 1.2 | Recoverable Result | 5.6 | . | 7.11 | ug/L | 1.2696 | T | lmu |  | 2010-07-03 | ChemService 430-41B: 40 µl
4024 | ACETONE | 81552GCM60 | 2010-08-12 07:00 | 20102250094 | 1.2 | Recoverable Result | 5.6 | . | 6.25 | ug/L | 1.1161 | T | lmu |  | 2010-08-18 | ChemService 430-41B: 40 µl
4024 | ACETONE | 81552GCM60 | 2010-08-26 07:00 | 20102390263 | 1.2 | Recoverable Result | 5.616 | . | 5.76 | ug/L | 1.0256 | T | dlr |  | 2010-08-27 | Abs 083109VOA: 40 µl
4024 | ACETONE | 81552GCM60 | 2011-08-04 09:00 | 20112170150 | 1.2 | Recoverable Result | 5.96 | . | 6.95 | ug/L | 1.1661 | T | dlr |  | 2011-08-18 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | ACETONE | 81552GCM60 | 2011-09-01 08:30 | 20112450029 | 1.2 | Recoverable Result | 5.96 | . | 6.87 | ug/L | 1.1527 | T | dlr |  | 2011-09-12 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | ACETONE | 81552GCM60 | 2012-02-16 08:30 | 20120470075 | 1.6 | Recoverable Result | 5.96 | . | 6.66 | ug/L | 1.1174 | T | dlr |  | 2012-02-27 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | ACETONE | 81552GCM60 | 2010-12-16 08:00 | 20103510064 | 1.2 | Recoverable Result | 6 | . | 8.29 | ug/L | 1.3817 | T | dlr |  | 2010-12-22 | ChemService 443-149B: 40 µl
4024 | ACETONE | 81552GCM60 | 2011-08-18 08:49 | 20112310025 | 1.2 | Recoverable Result | 6 | . | 7.77 | ug/L | 1.295 | T | dlr |  | 2011-08-25 | ChemService 443-149B: 40 µl
4024 | ACETONE | 81552GCM60 | 2011-12-13 08:00 | 20113490068 | 1.6 | Recoverable Result | 6 | . | 10 | ug/L | 1.6667 | T | dlr |  | 2011-12-21 | ChemService 443-149B: 40 µl
4024 | ACETONE | 81552GCM60 | 2012-05-17 07:00 | 20121390009 | 1.6 | Recoverable Result | 6 | . | 8.01 | ug/L | 1.335 | T | dlr |  | 2012-05-19 | ChemService 443-149B: 40 µl
4024 | ACETONE | 81552GCM60 | 2005-08-25 10:00 | 20052410034 | 1.2 | Recoverable Result | 6.8 | . | 6.7 | ug/L | 0.98529 | T | can |  | 2005-08-31 | Absolute 071904VOC2: 25 µl
4024 | ACETONE | 81552GCM60 | 2013-01-17 07:30 | 20130180024 | 1.6 | Recoverable Result | 7 | . | 6.75 | ug/L | 0.96429 | T | lmu |  | 2013-01-31 | Crescent 05BB024: 20 µl
4024 | ACETONE | 81552GCM60 | 2013-03-21 07:00 | 20130810109 | 1.6 | Recoverable Result | 7 | . | 6.78 | ug/L | 0.96857 | T | lmu |  | 2013-03-26 | Crescent 05BB024: 20 µl
4024 | ACETONE | 81552GCM60 | 2012-11-29 07:00 | 20123350007 | 1.6 | Recoverable Result | 7 | . | 10.4 | ug/L | 1.4857 | T | lmu |  | 2012-12-03 | NSI 060412-01: 20 µl
4024 | ACETONE | 81552GCM60 | 2013-02-19 07:00 | 20130510052 | 1.6 | Recoverable Result | 7 | . | 7.73 | ug/L | 1.1043 | T | LMU |  | 2013-02-28 | NSI 060412-01: 20 µl
4024 | ACETONE | 81552GCM60 | 2009-02-26 09:30 | 20090580001 | 1.8 | Recoverable Result | 7.424 | . | 9.1 | ug/L | 1.2258 | T | dlr |  | 2009-03-03 | Restek A062148: 40 µl
4024 | ACETONE | 81552GCM60 | 2009-09-10 09:30 | 20092530077 | 1.8 | Recoverable Result | 7.424 | . | 8.3 | ug/L | 1.118 | T | dlr |  | 2009-09-10 | Restek A062148: 40 µl
4024 | ACETONE | 81552GCM60 | 2008-10-15 07:45 | 20082890060 | 1.8 | Recoverable Result | 7.472 | . | 7.7 | ug/L | 1.0305 | T | can |  | 2008-10-22 | Ultra CE-2889: 40 µl
4024 | ACETONE | 81552GCM60 | 2003-10-17 12:40 | 20032930040 | 1.2 | Recoverable Result | 7.52 | . | 9.2 | ug/L | 1.2234 | T | dlr |  | 2003-10-22 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2003-11-13 12:03 | 20033180006 | 1.2 | Recoverable Result | 7.52 | . | 9 | ug/L | 1.1968 | T | dlr |  | 2003-11-14 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2004-02-18 08:00 | 20040500009 | 1.2 | Recoverable Result | 7.52 | . | 10.6 | ug/L | 1.4096 | T | dlr |  | 2004-02-20 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2004-05-12 08:00 | 20041350054 | 1.2 | Recoverable Result | 7.52 | . | 9 | ug/L | 1.1968 | T | dlr |  | 2004-06-05 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2004-08-04 10:00 | 20042170206 | 1.2 | Recoverable Result | 7.52 | . | 9.3 | ug/L | 1.2367 | T | DLR |  | 2004-08-11 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2004-08-31 10:00 | 20042450167 | 1.2 | Recoverable Result | 7.52 | . | 7.8 | ug/L | 1.0372 | T | dlr |  | 2004-09-03 | AccuStandard B3090068: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-01-27 04:15 | 20060310001 | 1.2 | Recoverable Result | 8.4 | . | 8.8 | ug/L | 1.0476 | T | dsh |  | 2006-02-01 | Ultra CB-1580: 20 µl
4024 | ACETONE | 81552GCM60 | 2006-03-09 05:20 | 20060690202 | 1.2 | Recoverable Result | 8.4 | . | 10.6 | ug/L | 1.2619 | T | cad |  | 2006-03-11 | Ultra CB-1580: 20 µl
4024 | ACETONE | 81552GCM60 | 2006-07-12 06:05 | 20061940008 | 1.2 | Recoverable Result | 10.5 | . | 11.5 | ug/L | 1.0952 | T | dlr |  | 2006-07-25 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | ACETONE | 81552GCM60 | 2006-08-28 05:45 | 20062410159 | 1.2 | Recoverable Result | 10.5 | . | 11.7 | ug/L | 1.1143 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl