## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4024 | METHYL ACETATE | 77032GCM60 | 2009-11-05 09:30 | 20093100002 | 0.46 | 0.56 | . | 0.525 | ug/L | 0.9375 | T | dlr |  | 2009-11-13 | Abs 083109VOA: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-03-25 06:30 | 20100880029 | 0.46 | 0.56 | . | 0.53 | ug/L | 0.94643 | T | dlr |  | 2010-04-06 | Abs 083109VOA: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-06-10 07:00 | 20101650038 | 0.46 | 0.56 | E | 0.449 | ug/L | 0.80179 | T | lmu | n | 2010-06-24 | Abs 083109VOA: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-07-21 07:00 | 20102030001 | 0.46 | 0.56 | . | 0.484 | ug/L | 0.86429 | T | dlr |  | 2010-07-30 | Abs 083109VOA: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-08-26 07:00 | 20102390263 | 0.46 | 1.12 | . | 1.15 | ug/L | 1.0268 | T | dlr |  | 2010-08-27 | Abs 083109VOA: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-11-03 07:00 | 20043100017 | 0.43 | 4.96 | . | 5.19 | ug/L | 1.0464 | T | dlr |  | 2004-11-05 | Absolute 071904VOC2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-11-23 07:00 | 20043290045 | 1 | 1.984 | E | 2.67 | ug/L | 1.3458 | T | dlr |  | 2004-11-30 | Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-01-12 09:00 | 20050180086 | 1 | 2.48 | . | 2.86 | ug/L | 1.1532 | T | dlr |  | 2005-01-22 | Absolute 071904VOC2: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-02-11 07:00 | 20050420086 | 1 | 4.96 | . | 5.09 | ug/L | 1.0262 | T | dlr | c | 2005-03-11 | Absolute 071904VOC2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-03-16 06:00 | 20050760048 | 1 | 2.48 | . | 2.19 | ug/L | 0.88306 | T | dlr |  | 2005-03-26 | Absolute 071904VOC2: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-03-30 01:00 | 20050900140 | 1 | 1.984 | . | 2 | ug/L | 1.0081 | T | dlr |  | 2005-04-07 | Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-05-10 07:00 | 20051310018 | 1 | 4.96 | . | 4.6 | ug/L | 0.92742 | T | dlr |  | 2005-05-19 | Absolute 071904VOC2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-06-16 08:05 | 20051680040 | 1 | 2.48 | . | 2.64 | ug/L | 1.0645 | T | dsh |  | 2005-06-18 | Absolute 071904VOC2: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-08-05 06:30 | 20052200130 | 1 | 1.984 | . | 1.85 | ug/L | 0.93246 | T | dsh |  | 2005-08-10 | Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-08-25 10:00 | 20052410034 | 1 | 6.2 | . | 6.65 | ug/L | 1.0726 | T | can |  | 2005-08-31 | Absolute 071904VOC2: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2003-10-17 12:40 | 20032930040 | 0.43 | 9.995 | . | 13.3 | ug/L | 1.3307 | T | dlr |  | 2003-10-22 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2003-11-13 12:03 | 20033180006 | 0.43 | 9.995 | . | 13.6 | ug/L | 1.3607 | T | dlr |  | 2003-11-14 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-02-18 08:00 | 20040500009 | 0.43 | 9.995 | . | 14.5 | ug/L | 1.4507 | T | dlr |  | 2004-02-20 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-05-12 08:00 | 20041350054 | 0.43 | 9.995 | E | 7.66 | ug/L | 0.76638 | T | dlr | c | 2004-06-05 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-08-04 10:00 | 20042170206 | 0.43 | 9.995 | . | 10.7 | ug/L | 1.0705 | T | DLR | c | 2004-08-11 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-08-31 10:00 | 20042450167 | 0.43 | 9.995 | E | 13 | ug/L | 1.3007 | T | dlr | c | 2004-09-03 | AccuStandard B3090068: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2003-10-03 16:45 | 20032790055 | 0.43 | 2.1 | . | 2.06 | ug/L | 0.98095 | T | dlr |  | 2003-10-09 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2003-11-25 01:00 | 20033300032 | 0.43 | 2.1 | . | 2.32 | ug/L | 1.1048 | T | dlr |  | 2003-12-06 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-02-04 01:00 | 20040350082 | 0.43 | 2.1 | . | 2.4 | ug/L | 1.1429 | T | dlr |  | 2004-02-07 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-04-01 12:00 | 20040930020 | 0.43 | 2.1 | . | 2.36 | ug/L | 1.1238 | T | lmu |  | 2004-04-14 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-05-19 09:05 | 20041410047 | 0.43 | 2.1 | E | 3.41 | ug/L | 1.6238 | T | dlr | b | 2004-06-05 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-08-18 08:00 | 20042330272 | 0.43 | 2.1 | . | 2.43 | ug/L | 1.1571 | T | dlr |  | 2004-08-24 | ChemService 309-107A: 15 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-03-03 06:30 | 20100630039 | 0.46 | 0.556 | . | 0.486 | ug/L | 0.8741 | T | dlr |  | 2010-03-15 | ChemService 430-41B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-04-15 06:30 | 20101060008 | 0.46 | 0.556 | . | 0.554 | ug/L | 0.9964 | T | dlr |  | 2010-04-22 | ChemService 430-41B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-07-01 07:00 | 20101830135 | 0.46 | 1.112 | . | 1.23 | ug/L | 1.1061 | T | lmu |  | 2010-07-03 | ChemService 430-41B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-08-12 07:00 | 20102250094 | 0.46 | 1.112 | . | 1.15 | ug/L | 1.0342 | T | lmu |  | 2010-08-18 | ChemService 430-41B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-10-14 08:30 | 20102880006 | 0.46 | 0.6 | . | 0.601 | ug/L | 1.0017 | T | lmu |  | 2010-10-16 | ChemService 443-149B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-12-16 08:00 | 20103510064 | 0.46 | 1.2 | . | 1.2 | ug/L | 1 | T | dlr |  | 2010-12-22 | ChemService 443-149B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-06-29 08:00 | 20111810009 | 0.46 | 0.6 | . | 0.569 | ug/L | 0.94833 | T | dlr |  | 2011-07-06 | ChemService 443-149B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-07-28 08:00 | 20112100002 | 0.46 | 0.6 | . | 0.637 | ug/L | 1.0617 | T | dlr |  | 2011-08-02 | ChemService 443-149B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-08-18 08:49 | 20112310025 | 0.46 | 1.2 | . | 1.14 | ug/L | 0.95 | T | dlr |  | 2011-08-25 | ChemService 443-149B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-10-27 08:30 | 20113010042 | 0.46 | 0.6 | . | 0.631 | ug/L | 1.0517 | T | dlr |  | 2011-11-01 | ChemService 443-149B: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-12-13 08:00 | 20113490068 | 0.46 | 1.2 | . | 1.29 | ug/L | 1.075 | T | dlr |  | 2011-12-21 | ChemService 443-149B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-05-17 07:00 | 20121390009 | 0.46 | 1.2 | . | 1.21 | ug/L | 1.0083 | T | dlr |  | 2012-05-19 | ChemService 443-149B: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2013-06-20 08:00 | 20131720018 | 0.46 | 1.2 | . | 0.964 | ug/L | 0.80333 | T | lmu |  | 2013-06-26 | Crescent 04CC143: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-07-26 07:30 | 20122090061 | 0.46 | 0.5 | . | 0.418 | ug/L | 0.836 | T | dlr | n | 2012-08-02 | Crescent 05BB024: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-11-01 07:00 | 20123070014 | 0.46 | 0.5 | . | 0.482 | ug/L | 0.964 | T | dlr |  | 2012-11-02 | Crescent 05BB024: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2013-01-17 07:30 | 20130180024 | 0.46 | 1 | . | 0.803 | ug/L | 0.803 | T | lmu |  | 2013-01-31 | Crescent 05BB024: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2013-03-21 07:00 | 20130810109 | 0.46 | 1 | . | 0.824 | ug/L | 0.824 | T | lmu |  | 2013-03-26 | Crescent 05BB024: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-11-07 06:45 | 20063120071 | 0.4 | 1.04 | . | 1.02 | ug/L | 0.98077 | T | dlr |  | 2006-11-18 | Crescent 07FF044: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-12-06 05:55 | 20063400129 | 0.4 | 2.6 | . | 2.62 | ug/L | 1.0077 | T | dsh |  | 2006-12-19 | Crescent 07FF044: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-02-13 08:15 | 20070440051 | 0.4 | 1.04 | . | 1.01 | ug/L | 0.97115 | T | dsh |  | 2007-02-15 | Crescent 07FF044: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-05-15 06:50 | 20071360154 | 0.4 | 1.04 | . | 1.01 | ug/L | 0.97115 | T | cad |  | 2007-05-24 | Crescent 07FF044: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-06-05 08:00 | 20071560123 | 0.4 | 2.6 | . | 2.37 | ug/L | 0.91154 | T | dsh |  | 2007-06-09 | Crescent 07FF044: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-07-03 08:00 | 20071860024 | 0.4 | 1.04 | . | 0.99 | ug/L | 0.95192 | T | can |  | 2007-07-11 | Crescent 07FF044: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-07-24 06:20 | 20072070004 | 0.4 | 2.6 | . | 2.43 | ug/L | 0.93462 | T | can |  | 2007-07-28 | Crescent 07FF044: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-08-15 08:50 | 20072290025 | 0.4 | 1.04 | . | 0.9 | ug/L | 0.86538 | T | can |  | 2007-08-21 | Crescent 07FF044: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-08-27 07:45 | 20072400301 | 0.4 | 2.6 | . | 2.51 | ug/L | 0.96538 | T | dlr |  | 2007-08-29 | Crescent 07FF044: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2010-11-18 07:30 | 20103230115 | 0.46 | 0.6 | . | 0.657 | ug/L | 1.095 | T | lmu |  | 2010-11-26 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-07-14 09:00 | 20111950193 | 0.46 | 0.6 | . | 0.655 | ug/L | 1.0917 | T | dlr |  | 2011-07-19 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-08-04 09:00 | 20112170150 | 0.46 | 1.2 | . | 1.29 | ug/L | 1.075 | T | dlr |  | 2011-08-18 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-09-01 08:30 | 20112450029 | 0.46 | 1.2 | . | 1.39 | ug/L | 1.1583 | T | dlr |  | 2011-09-12 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2011-11-22 08:30 | 20113260107 | 0.46 | 0.6 | . | 0.67 | ug/L | 1.1167 | T | dlr |  | 2011-11-30 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-01-12 07:30 | 20120120073 | 0.46 | 0.6 | . | 0.822 | ug/L | 1.37 | T | dlr | c | 2012-01-25 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-02-16 08:30 | 20120470075 | 0.46 | 1.2 | . | 1.49 | ug/L | 1.2417 | T | dlr |  | 2012-02-27 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-03-29 08:30 | 20120930002 | 0.46 | 0.6 | . | 0.594 | ug/L | 0.99 | T | dlr |  | 2012-04-05 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-04-26 07:30 | 20121180064 | 0.46 | 0.6 | . | 0.502 | ug/L | 0.83667 | T | dlr |  | 2012-05-02 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2013-07-18 07:30 | 20132000018 | 0.46 | 0.6 | . | 0.498 | ug/L | 0.83 | T | lmu |  | 2013-07-23 | NSI 042313VOA: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-09-19 07:00 | 20122640136 | 0.46 | 0.5 | . | 0.458 | ug/L | 0.916 | T | dlr | n | 2012-09-21 | NSI 060412-01: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2012-11-29 07:00 | 20123350007 | 0.46 | 1 | . | 1.08 | ug/L | 1.08 | T | lmu |  | 2012-12-03 | NSI 060412-01: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2013-02-19 07:00 | 20130510052 | 0.46 | 1 | . | 0.809 | ug/L | 0.809 | T | LMU |  | 2013-02-28 | NSI 060412-01: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2007-11-27 09:18 | 20073310071 | 0.4 | 0.852 | . | 0.97 | ug/L | 1.1385 | T | dlr |  | 2007-12-01 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-03-12 05:10 | 20080740014 | 0.4 | 0.852 | . | 1.1 | ug/L | 1.2911 | T | dlr |  | 2008-03-18 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-04-02 06:30 | 20080940002 | 0.4 | 0.852 | . | 0.86 | ug/L | 1.0094 | T | dlr |  | 2008-04-05 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-05-07 05:10 | 20081290014 | 0.4 | 0.852 | . | 0.99 | ug/L | 1.162 | T | dlr |  | 2008-05-20 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-05-20 07:15 | 20081410080 | 0.4 | 0.852 | . | 0.75 | ug/L | 0.88028 | T | dsh |  | 2008-05-28 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-06-20 06:50 | 20081750152 | 0.4 | 0.852 | . | 0.88 | ug/L | 1.0329 | T | dsh |  | 2008-06-26 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-07-17 05:40 | 20082000005 | 0.4 | 0.852 | . | 1 | ug/L | 1.1737 | T | can |  | 2008-07-22 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-08-07 08:45 | 20082210024 | 0.4 | 0.852 | . | 0.98 | ug/L | 1.1502 | T | dsh |  | 2008-08-09 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-09-04 06:30 | 20082480224 | 0.4 | 0.852 | . | 0.99 | ug/L | 1.162 | T | can |  | 2008-09-06 | Protocol R1070705003: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-12-11 07:10 | 20083460138 | 0.4 | 0.656 | . | 0.72 | ug/L | 1.0976 | T | dlr |  | 2008-12-18 | Restek A062148: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-02-26 09:30 | 20090580001 | 0.4 | 1.312 | . | 1.49 | ug/L | 1.1357 | T | dlr |  | 2009-03-03 | Restek A062148: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-06-04 10:00 | 20091550188 | 0.4 | 0.656 | . | 0.73 | ug/L | 1.1128 | T | dlm |  | 2009-06-06 | Restek A062148: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-07-07 10:30 | 20091880142 | 0.4 | 0.656 | . | 0.76 | ug/L | 1.1585 | T | dlm |  | 2009-07-09 | Restek A062148: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-09-10 09:30 | 20092530077 | 0.4 | 1.312 | . | 1.39 | ug/L | 1.0595 | T | dlr |  | 2009-09-10 | Restek A062148: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-12-22 07:00 | 20043580024 | 1 | 1.984 | . | 2.22 | ug/L | 1.119 | T | dlr |  | 2004-12-31 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-02-23 07:30 | 20050550039 | 1 | 1.984 | . | 1.95 | ug/L | 0.98286 | T | dlr |  | 2005-03-03 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-04-28 09:01 | 20051190010 | 1 | 1.984 | . | 1.67 | ug/L | 0.84173 | T | dlr |  | 2005-05-05 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-09-08 05:00 | 20052510197 | 1 | 1.984 | . | 1.8 | ug/L | 0.90726 | T | can |  | 2005-09-10 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | METHYL ACETATE | 77032GCM60 | 2003-10-31 12:00 | 20033070079 | 0.43 | 1.404 | . | 1.45 | ug/L | 1.0328 | T | dlr |  | 2003-11-07 | Supelco LB14634: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-01-07 06:00 | 20040080012 | 0.43 | 4.212 | . | 4.78 | ug/L | 1.1349 | T | dlr |  | 2004-01-14 | Supelco LB14634: 30 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-03-04 08:00 | 20040640028 | 0.43 | 4.212 | . | 4.76 | ug/L | 1.1301 | T | dsh |  | 2004-03-11 | Supelco LB14634: 30 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-04-28 09:10 | 20041210024 | 0.43 | 1.404 | . | 1.4 | ug/L | 0.99715 | T | dlr |  | 2004-05-06 | Supelco LB14634: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-06-09 09:00 | 20041620054 | 0.43 | 4.212 | . | 3.95 | ug/L | 0.9378 | T | dlr | c | 2004-06-17 | Supelco LB14634: 30 µl
4024 | METHYL ACETATE | 77032GCM60 | 2004-07-07 09:00 | 20041900059 | 0.43 | 1.404 | . | 1.58 | ug/L | 1.1254 | T | DLR |  | 2004-07-16 | Supelco LB14634: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-10-27 07:05 | 20053010009 | 1 | 2.796 | . | 2.37 | ug/L | 0.84764 | T | cad |  | 2005-10-29 | Supelco LB31916: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2005-12-11 07:00 | 20053460076 | 1 | 5.592 | . | 5.62 | ug/L | 1.005 | T | dsh |  | 2005-12-14 | Supelco LB31916: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-01-20 11:15 | 20060230011 | 1 | 2.796 | . | 2.45 | ug/L | 0.87625 | T | dsh |  | 2006-02-01 | Supelco LB31916: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-02-03 10:00 | 20060370002 | 1 | 1.398 | . | 1.25 | ug/L | 0.89413 | T | dsh |  | 2006-02-09 | Supelco LB31916: 5 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-02-24 05:15 | 20060580112 | 1 | 5.592 | . | 5.25 | ug/L | 0.93884 | T | dsh |  | 2006-02-28 | Supelco LB31916: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-03-24 07:00 | 20060860010 | 1 | 1.398 | . | 1.36 | ug/L | 0.97282 | T | dlr |  | 2006-03-28 | Supelco LB31916: 5 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-04-07 05:10 | 20061000010 | 1 | 2.796 | . | 2.98 | ug/L | 1.0658 | T | cad |  | 2006-04-11 | Supelco LB31916: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-05-09 11:05 | 20061320016 | 1 | 6.99 | . | 6.81 | ug/L | 0.97425 | T | dsh |  | 2006-05-18 | Supelco LB31916: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-06-22 04:00 | 20061740227 | 1 | 1.398 | . | 1.53 | ug/L | 1.0944 | T | dlr |  | 2006-07-04 | Supelco LB31916: 5 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-07-27 09:05 | 20062090001 | 1 | 2.796 | . | 2.74 | ug/L | 0.97997 | T | dsh |  | 2006-08-09 | Supelco LB31916: 10 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-08-17 12:05 | 20062330173 | 1 | 6.99 | . | 7.37 | ug/L | 1.0544 | T | dsh |  | 2006-08-25 | Supelco LB31916: 25 µl
4024 | METHYL ACETATE | 77032GCM60 | 2006-09-13 07:45 | 20062580002 | 1 | 1.398 | . | 1.49 | ug/L | 1.0658 | T | dlr |  | 2006-09-22 | Supelco LB31916: 5 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-10-15 07:45 | 20082890060 | 0.4 | 1.28 | . | 1.39 | ug/L | 1.0859 | T | can |  | 2008-10-22 | Ultra CE-2889: 40 µl
4024 | METHYL ACETATE | 77032GCM60 | 2008-11-12 08:30 | 20083180001 | 0.4 | 0.64 | . | 0.75 | ug/L | 1.1719 | T | lmu |  | 2008-11-14 | Ultra CE-2889: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-03-19 09:30 | 20090780139 | 0.4 | 0.64 | . | 0.93 | ug/L | 1.4531 | T | dlm |  | 2009-03-23 | Ultra CE-2889: 20 µl
4024 | METHYL ACETATE | 77032GCM60 | 2009-08-06 10:00 | 20092180175 | 0.4 | 0.64 | . | 0.8 | ug/L | 1.25 | T | dlm |  | 2009-08-07 | Ultra CE-2889: 20 µl