## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-11-05 09:30 | 20093100002 | 0.8 | 1.504 | . | 1.39 | ug/L | 0.9242 | T | dlr |  | 2009-11-13 | Abs 083109VOA: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-03-25 06:30 | 20100880029 | 0.8 | 1.504 | . | 1.47 | ug/L | 0.97739 | T | dlr |  | 2010-04-06 | Abs 083109VOA: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-06-10 07:00 | 20101650038 | 0.8 | 1.504 | . | 1.52 | ug/L | 1.0106 | T | lmu |  | 2010-06-24 | Abs 083109VOA: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-07-21 07:00 | 20102030001 | 0.8 | 1.504 | . | 1.39 | ug/L | 0.9242 | T | dlr |  | 2010-07-30 | Abs 083109VOA: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-08-26 07:00 | 20102390263 | 0.8 | 3.008 | . | 3.05 | ug/L | 1.014 | T | dlr |  | 2010-08-27 | Abs 083109VOA: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-11-03 07:00 | 20043100017 | 1 | 4.32 | . | 4.3 | ug/L | 0.99537 | T | dlr |  | 2004-11-05 | Absolute 071904VOC2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-11-23 07:00 | 20043290045 | 2 | 1.728 | E | 1.5 | ug/L | 0.86806 | T | dlr | b | 2004-11-30 | Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-01-12 09:00 | 20050180086 | 2 | 2.16 | E | 2.5 | ug/L | 1.1574 | T | dlr | b | 2005-01-22 | Absolute 071904VOC2: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-02-11 07:00 | 20050420086 | 2 | 4.32 | . | 4.7 | ug/L | 1.088 | T | dlr | c | 2005-03-11 | Absolute 071904VOC2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-03-16 06:00 | 20050760048 | 2 | 2.16 | . | 1.9 | ug/L | 0.87963 | T | dlr |  | 2005-03-26 | Absolute 071904VOC2: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-03-30 01:00 | 20050900140 | 2 | 1.728 | . | 1.6 | ug/L | 0.92593 | T | dlr |  | 2005-04-07 | Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-05-10 07:00 | 20051310018 | 2 | 4.32 | . | 4 | ug/L | 0.92593 | T | dlr |  | 2005-05-19 | Absolute 071904VOC2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-06-16 08:05 | 20051680040 | 2 | 2.16 | . | 2.2 | ug/L | 1.0185 | T | dsh |  | 2005-06-18 | Absolute 071904VOC2: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-08-05 06:30 | 20052200130 | 2 | 1.728 | . | 1.5 | ug/L | 0.86806 | T | dsh |  | 2005-08-10 | Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-08-25 10:00 | 20052410034 | 2 | 5.4 | . | 5.3 | ug/L | 0.98148 | T | can |  | 2005-08-31 | Absolute 071904VOC2: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2003-10-17 12:40 | 20032930040 | 1 | 9.97 | . | 13.5 | ug/L | 1.3541 | T | dlr |  | 2003-10-22 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2003-11-13 12:03 | 20033180006 | 1 | 9.97 | . | 12.3 | ug/L | 1.2337 | T | dlr |  | 2003-11-14 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-02-18 08:00 | 20040500009 | 1 | 9.97 | . | 13 | ug/L | 1.3039 | T | dlr |  | 2004-02-20 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-05-12 08:00 | 20041350054 | 1 | 9.97 | . | 12.5 | ug/L | 1.2538 | T | dlr |  | 2004-06-05 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-08-04 10:00 | 20042170206 | 1 | 9.97 | . | 10.8 | ug/L | 1.0832 | T | DLR |  | 2004-08-11 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-08-31 10:00 | 20042450167 | 1 | 9.97 | . | 10.2 | ug/L | 1.0231 | T | dlr |  | 2004-09-03 | AccuStandard B3090068: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2003-10-03 16:45 | 20032790055 | 1 | 2.4 | . | 3.4 | ug/L | 1.4167 | T | dlr |  | 2003-10-09 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2003-11-25 01:00 | 20033300032 | 1 | 2.4 | . | 3.8 | ug/L | 1.5833 | T | dlr |  | 2003-12-06 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-02-04 01:00 | 20040350082 | 1 | 2.4 | . | 3.8 | ug/L | 1.5833 | T | dlr |  | 2004-02-07 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-04-01 12:00 | 20040930020 | 1 | 2.4 | . | 2.5 | ug/L | 1.0417 | T | lmu |  | 2004-04-14 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-05-19 09:05 | 20041410047 | 1 | 2.4 | . | 2.9 | ug/L | 1.2083 | T | dlr | c | 2004-06-05 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-08-18 08:00 | 20042330272 | 1 | 2.4 | . | 2.2 | ug/L | 0.91667 | T | dlr |  | 2004-08-24 | ChemService 309-107A: 15 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-03-03 06:30 | 20100630039 | 0.8 | 1.5 | . | 1.47 | ug/L | 0.98 | T | dlr |  | 2010-03-15 | ChemService 430-41B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-04-15 06:30 | 20101060008 | 0.8 | 1.5 | . | 1.47 | ug/L | 0.98 | T | dlr |  | 2010-04-22 | ChemService 430-41B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-07-01 07:00 | 20101830135 | 0.8 | 3 | . | 3.19 | ug/L | 1.0633 | T | lmu |  | 2010-07-03 | ChemService 430-41B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-08-12 07:00 | 20102250094 | 0.8 | 3 | . | 3.14 | ug/L | 1.0467 | T | lmu |  | 2010-08-18 | ChemService 430-41B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-10-14 08:30 | 20102880006 | 0.8 | 2 | . | 1.88 | ug/L | 0.94 | T | lmu |  | 2010-10-16 | ChemService 443-149B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-12-16 08:00 | 20103510064 | 0.8 | 4 | . | 4.25 | ug/L | 1.0625 | T | dlr |  | 2010-12-22 | ChemService 443-149B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-06-29 08:00 | 20111810009 | 0.8 | 2 | . | 2.01 | ug/L | 1.005 | T | dlr |  | 2011-07-06 | ChemService 443-149B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-07-28 08:00 | 20112100002 | 0.8 | 2 | . | 2.2 | ug/L | 1.1 | T | dlr |  | 2011-08-02 | ChemService 443-149B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-08-18 08:49 | 20112310025 | 0.8 | 4 | . | 3.71 | ug/L | 0.9275 | T | dlr |  | 2011-08-25 | ChemService 443-149B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-10-27 08:30 | 20113010042 | 0.8 | 2 | . | 2.19 | ug/L | 1.095 | T | dlr |  | 2011-11-01 | ChemService 443-149B: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-12-13 08:00 | 20113490068 | 0.8 | 4 | . | 4.07 | ug/L | 1.0175 | T | dlr |  | 2011-12-21 | ChemService 443-149B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-05-17 07:00 | 20121390009 | 0.8 | 4 | . | 3.9 | ug/L | 0.975 | T | dlr |  | 2012-05-19 | ChemService 443-149B: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2013-06-20 08:00 | 20131720018 | 0.8 | 2.8 | . | 2.82 | ug/L | 1.0071 | T | lmu |  | 2013-06-26 | Crescent 04CC143: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-07-26 07:30 | 20122090061 | 0.8 | 3 | . | 2.31 | ug/L | 0.77 | T | dlr |  | 2012-08-02 | Crescent 05BB024: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-11-01 07:00 | 20123070014 | 0.8 | 3 | . | 2.78 | ug/L | 0.92667 | T | dlr |  | 2012-11-02 | Crescent 05BB024: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2013-01-17 07:30 | 20130180024 | 0.8 | 6 | . | 5.35 | ug/L | 0.89167 | T | lmu |  | 2013-01-31 | Crescent 05BB024: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2013-03-21 07:00 | 20130810109 | 0.8 | 6 | . | 5.32 | ug/L | 0.88667 | T | lmu |  | 2013-03-26 | Crescent 05BB024: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-11-07 06:45 | 20063120071 | 2 | 1.5 | E | 1.4 | ug/L | 0.93333 | T | dlr |  | 2006-11-18 | Crescent 07FF044: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-12-06 05:55 | 20063400129 | 2 | 3.75 | . | 3.9 | ug/L | 1.04 | T | dsh |  | 2006-12-19 | Crescent 07FF044: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-02-13 08:15 | 20070440051 | 2 | 1.5 | E | 1.5 | ug/L | 1 | T | dsh |  | 2007-02-15 | Crescent 07FF044: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-05-15 06:50 | 20071360154 | 2 | 1.5 | E | 1.7 | ug/L | 1.1333 | T | cad |  | 2007-05-24 | Crescent 07FF044: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-06-05 08:00 | 20071560123 | 2 | 3.75 | . | 3.3 | ug/L | 0.88 | T | dsh |  | 2007-06-09 | Crescent 07FF044: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-07-03 08:00 | 20071860024 | 2 | 1.5 | E | 1.5 | ug/L | 1 | T | can |  | 2007-07-11 | Crescent 07FF044: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-07-24 06:20 | 20072070004 | 2 | 3.75 | . | 3.5 | ug/L | 0.93333 | T | can |  | 2007-07-28 | Crescent 07FF044: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-08-15 08:50 | 20072290025 | 2 | 1.5 | E | 1.4 | ug/L | 0.93333 | T | can |  | 2007-08-21 | Crescent 07FF044: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-08-27 07:45 | 20072400301 | 2 | 3.75 | . | 3.7 | ug/L | 0.98667 | T | dlr |  | 2007-08-29 | Crescent 07FF044: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2010-11-18 07:30 | 20103230115 | 0.8 | 2 | . | 1.98 | ug/L | 0.99 | T | lmu |  | 2010-11-26 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-07-14 09:00 | 20111950193 | 0.8 | 2 | . | 1.99 | ug/L | 0.995 | T | dlr |  | 2011-07-19 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-08-04 09:00 | 20112170150 | 0.8 | 4 | . | 4.11 | ug/L | 1.0275 | T | dlr |  | 2011-08-18 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-09-01 08:30 | 20112450029 | 0.8 | 4 | . | 3.96 | ug/L | 0.99 | T | dlr |  | 2011-09-12 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2011-11-22 08:30 | 20113260107 | 0.8 | 2 | . | 2.27 | ug/L | 1.135 | T | dlr |  | 2011-11-30 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-01-12 07:30 | 20120120073 | 0.8 | 2 | . | 2.15 | ug/L | 1.075 | T | dlr | c | 2012-01-25 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-02-16 08:30 | 20120470075 | 0.8 | 4 | . | 4.03 | ug/L | 1.0075 | T | dlr |  | 2012-02-27 | ERA 0618-10-02 LS4024 #2: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-03-29 08:30 | 20120930002 | 0.8 | 2 | . | 2.06 | ug/L | 1.03 | T | dlr |  | 2012-04-05 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-04-26 07:30 | 20121180064 | 0.8 | 2 | . | 1.84 | ug/L | 0.92 | T | dlr |  | 2012-05-02 | ERA 0618-10-02 LS4024 #2: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2013-07-18 07:30 | 20132000018 | 0.8 | 1.4 | . | 1.73 | ug/L | 1.2357 | T | lmu |  | 2013-07-23 | NSI 042313VOA: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-09-19 07:00 | 20122640136 | 0.8 | 3 | . | 2.94 | ug/L | 0.98 | T | dlr | c | 2012-09-21 | NSI 060412-01: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2012-11-29 07:00 | 20123350007 | 0.8 | 6 | . | 5.89 | ug/L | 0.98167 | T | lmu |  | 2012-12-03 | NSI 060412-01: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2013-02-19 07:00 | 20130510052 | 0.8 | 6 | . | 5.57 | ug/L | 0.92833 | T | LMU |  | 2013-02-28 | NSI 060412-01: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2007-11-27 09:18 | 20073310071 | 2 | 1.936 | . | 1.6 | ug/L | 0.82645 | T | dlr |  | 2007-12-01 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-03-12 05:10 | 20080740014 | 2 | 1.936 | E | 1.7 | ug/L | 0.8781 | T | dlr |  | 2008-03-18 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-04-02 06:30 | 20080940002 | 2 | 1.936 | E | 1.7 | ug/L | 0.8781 | T | dlr |  | 2008-04-05 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-05-07 05:10 | 20081290014 | 2 | 1.936 | E | 1.7 | ug/L | 0.8781 | T | dlr |  | 2008-05-20 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-05-20 07:15 | 20081410080 | 2 | 1.936 | E | 1.7 | ug/L | 0.8781 | T | dsh |  | 2008-05-28 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-06-20 06:50 | 20081750152 | 2 | 1.936 | E | 1.9 | ug/L | 0.9814 | T | dsh |  | 2008-06-26 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-07-17 05:40 | 20082000005 | 2 | 1.936 | E | 1.9 | ug/L | 0.9814 | T | can |  | 2008-07-22 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-08-07 08:45 | 20082210024 | 2 | 1.936 | E | 1.5 | ug/L | 0.77479 | T | dsh |  | 2008-08-09 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-09-04 06:30 | 20082480224 | 2 | 1.936 | E | 1.5 | ug/L | 0.77479 | T | can |  | 2008-09-06 | Protocol R1070705003: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-12-11 07:10 | 20083460138 | 1 | 2.148 | . | 2.2 | ug/L | 1.0242 | T | dlr |  | 2008-12-18 | Restek A062148: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-02-26 09:30 | 20090580001 | 1 | 4.296 | . | 4.4 | ug/L | 1.0242 | T | dlr |  | 2009-03-03 | Restek A062148: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-06-04 10:00 | 20091550188 | 1 | 2.148 | . | 2 | ug/L | 0.9311 | T | dlm |  | 2009-06-06 | Restek A062148: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-07-07 10:30 | 20091880142 | 1 | 2.148 | . | 2.1 | ug/L | 0.97765 | T | dlm |  | 2009-07-09 | Restek A062148: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-09-10 09:30 | 20092530077 | 1 | 4.296 | . | 3.7 | ug/L | 0.86127 | T | dlr |  | 2009-09-10 | Restek A062148: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-12-22 07:00 | 20043580024 | 2 | 1.728 | . | 1.9 | ug/L | 1.0995 | T | dlr |  | 2004-12-31 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-02-23 07:30 | 20050550039 | 2 | 1.728 | . | 2 | ug/L | 1.1574 | T | dlr |  | 2005-03-03 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-04-28 09:01 | 20051190010 | 2 | 1.728 | . | 1.8 | ug/L | 1.0417 | T | dlr |  | 2005-05-05 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-09-08 05:00 | 20052510197 | 2 | 1.728 | E | 2 | ug/L | 1.1574 | T | can | b | 2005-09-10 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2003-10-31 12:00 | 20033070079 | 1 | 1.602 | . | 2.2 | ug/L | 1.3733 | T | dlr |  | 2003-11-07 | Supelco LB14634: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-01-07 06:00 | 20040080012 | 1 | 4.806 | . | 7.7 | ug/L | 1.6022 | T | dlr |  | 2004-01-14 | Supelco LB14634: 30 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-03-04 08:00 | 20040640028 | 1 | 4.806 | . | 7.4 | ug/L | 1.5397 | T | dsh | c | 2004-03-11 | Supelco LB14634: 30 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-04-28 09:10 | 20041210024 | 1 | 1.602 | E | 2.1 | ug/L | 1.3109 | T | dlr | b | 2004-05-06 | Supelco LB14634: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-06-09 09:00 | 20041620054 | 1 | 4.806 | . | 8.8 | ug/L | 1.831 | T | dlr |  | 2004-06-17 | Supelco LB14634: 30 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2004-07-07 09:00 | 20041900059 | 1 | 1.602 | . | 1.5 | ug/L | 0.93633 | T | DLR |  | 2004-07-16 | Supelco LB14634: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-10-27 07:05 | 20053010009 | 2 | 2.204 | E | 1.6 | ug/L | 0.72595 | T | cad | b | 2005-10-29 | Supelco LB31916: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2005-12-11 07:00 | 20053460076 | 2 | 4.408 | . | 4.9 | ug/L | 1.1116 | T | dsh |  | 2005-12-14 | Supelco LB31916: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-01-20 11:15 | 20060230011 | 2 | 2.204 | . | 2.1 | ug/L | 0.95281 | T | dsh |  | 2006-02-01 | Supelco LB31916: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-02-24 05:15 | 20060580112 | 2 | 4.408 | . | 4.6 | ug/L | 1.0436 | T | dsh |  | 2006-02-28 | Supelco LB31916: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-03-24 07:00 | 20060860010 | 2 | 1.102 | E | 0.9 | ug/L | 0.8167 | T | dlr | n | 2006-03-28 | Supelco LB31916: 5 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-04-07 05:10 | 20061000010 | 2 | 2.204 | . | 1.9 | ug/L | 0.86207 | T | cad |  | 2006-04-11 | Supelco LB31916: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-05-09 11:05 | 20061320016 | 2 | 5.51 | . | 5.6 | ug/L | 1.0163 | T | dsh |  | 2006-05-18 | Supelco LB31916: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-06-22 04:00 | 20061740227 | 2 | 1.102 | . | 1.2 | ug/L | 1.0889 | T | dlr |  | 2006-07-04 | Supelco LB31916: 5 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-07-27 09:05 | 20062090001 | 2 | 2.204 | . | 2.2 | ug/L | 0.99819 | T | dsh |  | 2006-08-09 | Supelco LB31916: 10 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-08-17 12:05 | 20062330173 | 2 | 5.51 | . | 5.2 | ug/L | 0.94374 | T | dsh |  | 2006-08-25 | Supelco LB31916: 25 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2006-09-13 07:45 | 20062580002 | 2 | 1.102 | E | 0.7 | ug/L | 0.63521 | T | dlr | n | 2006-09-22 | Supelco LB31916: 5 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-10-15 07:45 | 20082890060 | 1 | 4.336 | . | 4 | ug/L | 0.92251 | T | can |  | 2008-10-22 | Ultra CE-2889: 40 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2008-11-12 08:30 | 20083180001 | 1 | 2.168 | . | 2.1 | ug/L | 0.96863 | T | lmu |  | 2008-11-14 | Ultra CE-2889: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-03-19 09:30 | 20090780139 | 1 | 2.168 | . | 2.4 | ug/L | 1.107 | T | dlm |  | 2009-03-23 | Ultra CE-2889: 20 µl
4024 | TERT-BUTYL ALCOHOL | 77035GCM60 | 2009-08-06 10:00 | 20092180175 | 1 | 2.168 | . | 2.5 | ug/L | 1.1531 | T | dlm |  | 2009-08-07 | Ultra CE-2889: 20 µl