## OBSP Data
Schedulecode | AnalyteName | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-06-21 06:30 | 20121730103 | 0.044 | 0.325 | . | 0.259 | ug/L | 0.79692 | T | dlr |  | 2012-06-30 | Accu 212051187: 25 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-07-03 07:30 | 20121870002 | 0.044 | 0.13 | . | 0.131 | ug/L | 1.0077 | T | dlr |  | 2012-07-11 | Accu 212051187: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-10-10 07:30 | 20122850004 | 0.044 | 0.13 | . | 0.145 | ug/L | 1.1154 | T | lmu |  | 2012-10-22 | Accu 212051187: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-12-20 07:00 | 20123560095 | 0.044 | 0.26 | . | 0.22 | ug/L | 0.84615 | T | dlr |  | 2013-01-03 | Accu 212051187: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-10-22 09:20 | 20082970007 | 0.04 | 0.09536 | . | 0.1 | ug/L | 1.0487 | T | can |  | 2008-10-29 | Accu B8080231: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-03-05 09:00 | 20090640128 | 0.04 | 0.09536 | . | 0.1 | ug/L | 1.0487 | T | dlm |  | 2009-03-09 | Accu B8080231: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-06-25 10:00 | 20091770125 | 0.04 | 0.19072 | . | 0.2 | ug/L | 1.0487 | T | dlr |  | 2009-07-01 | Accu B8080231: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-08-20 10:00 | 20092330008 | 0.04 | 0.09536 | . | 0.12 | ug/L | 1.2584 | T | dlm |  | 2009-08-25 | Accu B8080231: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2013-06-06 08:00 | 20131580022 | 0.044 | 0.056 | . | 0.0733 | ug/L | 1.3089 | T | lmu |  | 2013-06-07 | ChemService 1448500: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-11-14 08:08 | 20073190243 | 0.05 | 0.1 | E | 0.1 | ug/L | 1 | T | dlr | b | 2007-11-19 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-03-03 08:30 | 20080640005 | 0.05 | 0.1 | E | 0.1 | ug/L | 1 | T | can | b | 2008-03-08 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-03-27 09:33 | 20080870092 | 0.05 | 0.1 | E | 0.1 | ug/L | 1 | T | dsh | b | 2008-03-27 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-04-10 08:35 | 20081010098 | 0.05 | 0.1 | . | 0.11 | ug/L | 1.1 | T | dlr |  | 2008-04-15 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-04-24 07:00 | 20081150087 | 0.05 | 0.1 | E | 0.1 | ug/L | 1 | T | dsh | b | 2008-05-06 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-06-03 09:10 | 20081560003 | 0.05 | 0.1 | . | 0.12 | ug/L | 1.2 | T | dsh |  | 2008-06-10 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-07-01 08:50 | 20081840009 | 0.05 | 0.1 | E | 0.1 | ug/L | 1 | T | can | b | 2008-07-10 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-07-30 07:50 | 20082130011 | 0.05 | 0.1 | . | 0.1 | ug/L | 1 | T | dsh |  | 2008-08-08 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-08-19 04:55 | 20082350009 | 0.05 | 0.1 | E | 0.09 | ug/L | 0.9 | T | can | b | 2008-08-28 | ChemService 385-17C: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-08-23 07:00 | 20122370106 | 0.044 | 0.13 | . | 0.125 | ug/L | 0.96154 | T | dlr |  | 2012-09-08 | ChemService 426000: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-11-15 08:00 | 20123200132 | 0.044 | 0.13 | . | 0.141 | ug/L | 1.0846 | T | lmu |  | 2012-11-27 | ChemService 426000: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2013-02-07 07:00 | 20130390108 | 0.044 | 0.26 | . | 0.25 | ug/L | 0.96154 | T | lmu |  | 2013-02-19 | ChemService 426000: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2013-03-14 07:30 | 20130740021 | 0.044 | 0.26 | . | 0.266 | ug/L | 1.0231 | T | lmu |  | 2013-03-26 | ChemService 426000: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-10-09 05:00 | 20082840004 | 0.04 | 0.096 | E | 0.1 | ug/L | 1.0417 | T | can | b | 2008-10-22 | Crescent 08HH020: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2008-12-04 08:00 | 20083400007 | 0.04 | 0.192 | . | 0.21 | ug/L | 1.0938 | T | dlm |  | 2008-12-11 | Crescent 08HH020: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-02-12 09:30 | 20090430173 | 0.04 | 0.096 | . | 0.11 | ug/L | 1.1458 | T | dlr |  | 2009-02-21 | Crescent 08HH020: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-04-02 07:45 | 20090920064 | 0.04 | 0.096 | . | 0.11 | ug/L | 1.1458 | T | dlr |  | 2009-04-07 | Crescent 08HH020: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-07-23 10:30 | 20092040198 | 0.04 | 0.192 | . | 0.2 | ug/L | 1.0417 | T | dlm |  | 2009-07-25 | Crescent 08HH020: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-02-04 06:30 | 20100360003 | 0.044 | 0.06 | . | 0.0621 | ug/L | 1.035 | T | dlr |  | 2010-02-09 | ERA 0817-09-02VOA: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-04-08 07:00 | 20100990028 | 0.044 | 0.06 | . | 0.0578 | ug/L | 0.96333 | T | dlr |  | 2010-04-22 | ERA 0817-09-02VOA: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-06-17 06:30 | 20101720157 | 0.044 | 0.06 | . | 0.0631 | ug/L | 1.0517 | T | lmu |  | 2010-06-24 | ERA 0817-09-02VOA: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-08-05 07:00 | 20102180087 | 0.044 | 0.12 | . | 0.12 | ug/L | 1 | T | lmu |  | 2010-08-17 | ERA 0817-09-02VOA: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-08-19 06:30 | 20102320013 | 0.044 | 0.12 | . | 0.123 | ug/L | 1.025 | T | dlr |  | 2010-08-27 | ERA 0817-09-02VOA: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-11-04 08:00 | 20103080122 | 0.044 | 0.12 | . | 0.147 | ug/L | 1.225 | T | lmu |  | 2010-11-09 | NSI 062210-01: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-11-30 08:00 | 20103350006 | 0.044 | 0.06 | . | 0.0744 | ug/L | 1.24 | T | dlr |  | 2010-12-10 | NSI 062210-01: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-07-07 08:00 | 20111890010 | 0.044 | 0.06 | . | 0.0751 | ug/L | 1.2517 | T | dlr |  | 2011-07-19 | NSI 062210-01: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-07-21 09:00 | 20112030059 | 0.044 | 0.12 | . | 0.153 | ug/L | 1.275 | T | dlr |  | 2011-08-02 | NSI 062210-01: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-08-25 11:05 | 20112380059 | 0.044 | 0.06 | . | 0.0751 | ug/L | 1.2517 | T | dlr |  | 2011-08-26 | NSI 062210-01: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-11-09 08:00 | 20113130088 | 0.044 | 0.12 | . | 0.145 | ug/L | 1.2083 | T | dlr |  | 2011-11-15 | NSI 062210-01: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-05-31 07:00 | 20121520252 | 0.044 | 0.06 | . | 0.0726 | ug/L | 1.21 | T | dlr |  | 2012-06-07 | NSI 062210-01: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-11-21 09:00 | 20063250141 | 0.05 | 0.656 | . | 0.72 | ug/L | 1.0976 | T | dsh |  | 2006-12-01 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-12-27 07:40 | 20063610099 | 0.05 | 0.656 | . | 0.66 | ug/L | 1.0061 | T | dlr |  | 2006-12-29 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-03-13 08:40 | 20070720042 | 0.05 | 0.656 | . | 0.71 | ug/L | 1.0823 | T | dlr |  | 2007-03-23 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-05-23 08:30 | 20071440006 | 0.05 | 0.656 | . | 0.64 | ug/L | 0.97561 | T | dlr |  | 2007-05-31 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-06-19 08:10 | 20071710007 | 0.05 | 0.656 | . | 0.65 | ug/L | 0.99085 | T | dlr |  | 2007-06-22 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-07-10 06:20 | 20071920018 | 0.05 | 0.656 | . | 0.71 | ug/L | 1.0823 | T | dlr |  | 2007-07-14 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-08-01 08:10 | 20072140008 | 0.05 | 0.656 | . | 0.65 | ug/L | 0.99085 | T | dsh |  | 2007-08-02 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-08-22 11:00 | 20072350075 | 0.05 | 0.656 | . | 0.6 | ug/L | 0.91463 | T | dlr |  | 2007-08-29 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2007-09-10 09:45 | 20072560005 | 0.05 | 0.656 | . | 0.61 | ug/L | 0.92988 | T | dlr |  | 2007-09-18 | Restek A046458: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-10-07 09:00 | 20102810026 | 0.044 | 0.06 | . | 0.0579 | ug/L | 0.965 | T | dlr |  | 2010-10-09 | Restek A075544: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-06-16 09:00 | 20111680039 | 0.044 | 0.06 | . | 0.0491 | ug/L | 0.81833 | T | cad | b | 2011-06-21 | Restek A075544: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-08-10 09:00 | 20112220125 | 0.044 | 0.12 | . | 0.122 | ug/L | 1.0167 | T | dlr |  | 2011-08-18 | Restek A075544: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-09-08 09:00 | 20112520204 | 0.044 | 0.12 | . | 0.123 | ug/L | 1.025 | T | dlr |  | 2011-09-13 | Restek A075544: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2011-10-13 08:30 | 20112870071 | 0.044 | 0.06 | . | 0.0525 | ug/L | 0.875 | T | dlr |  | 2011-10-15 | Restek A075544: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-02-02 12:30 | 20120370006 | 0.044 | 0.06 | . | 0.0631 | ug/L | 1.0517 | T | dlr |  | 2012-02-10 | Restek A075544: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2012-03-01 08:00 | 20120620011 | 0.044 | 0.12 | . | 0.117 | ug/L | 0.975 | T | dlr |  | 2012-03-10 | Restek A075544: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-12-22 07:00 | 20043580024 | 0.03 | 2.0736 | . | 2.08 | ug/L | 1.0031 | T | dlr |  | 2004-12-31 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-02-23 07:30 | 20050550039 | 0.03 | 2.0736 | . | 1.97 | ug/L | 0.95004 | T | dlr |  | 2005-03-03 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-04-28 09:01 | 20051190010 | 0.03 | 2.0736 | . | 2.07 | ug/L | 0.99826 | T | dlr |  | 2005-05-05 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-09-08 05:00 | 20052510197 | 0.03 | 2.0736 | . | 2.29 | ug/L | 1.1044 | T | can |  | 2005-09-10 | Supelco LB22063: 8 µl & Absolute 071904VOC2: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-10-13 08:30 | 20042880007 | 0.03 | 2.0736 | . | 2.23 | ug/L | 1.0754 | T | dlr |  | 2004-10-15 | Supelco LB22063: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-11-17 07:00 | 20043230054 | 0.03 | 5.184 | . | 5.33 | ug/L | 1.0282 | T | dlr |  | 2004-11-30 | Supelco LB22063: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-12-08 07:00 | 20043440056 | 0.03 | 2.0736 | . | 2.18 | ug/L | 1.0513 | T | dlr |  | 2004-12-15 | Supelco LB22063: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-01-26 10:00 | 20050280004 | 0.03 | 2.592 | . | 2.61 | ug/L | 1.0069 | T | dlr |  | 2005-02-04 | Supelco LB22063: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-04-12 06:55 | 20051030014 | 0.03 | 2.0736 | . | 2.15 | ug/L | 1.0368 | T | dlr |  | 2005-04-15 | Supelco LB22063: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-05-03 06:00 | 20051250016 | 0.03 | 2.592 | . | 2.62 | ug/L | 1.0108 | T | dlr |  | 2005-05-05 | Supelco LB22063: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-06-02 05:45 | 20051540030 | 0.03 | 5.184 | . | 6.11 | ug/L | 1.1786 | T | dsh |  | 2005-06-03 | Supelco LB22063: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-07-13 09:00 | 20051940306 | 0.03 | 6.48 | . | 7.11 | ug/L | 1.0972 | T | dlr |  | 2005-07-22 | Supelco LB22063: 25 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-08-19 06:00 | 20052340064 | 0.03 | 2.0736 | . | 2.41 | ug/L | 1.1622 | T | can |  | 2005-08-31 | Supelco LB22063: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-10-14 11:20 | 20052900060 | 0.03 | 1 | . | 1.1 | ug/L | 1.1 | T | cad |  | 2005-10-29 | Ultra CB-1580: 5 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-11-22 08:30 | 20053270021 | 0.03 | 1.6 | . | 1.77 | ug/L | 1.1062 | T | dlr |  | 2005-11-25 | Ultra CB-1580: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2005-12-30 10:00 | 20060030006 | 0.03 | 1 | . | 1.13 | ug/L | 1.13 | T | dlr |  | 2006-01-12 | Ultra CB-1580: 5 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-01-27 04:15 | 20060310001 | 0.03 | 4 | . | 4.63 | ug/L | 1.1575 | T | dsh |  | 2006-02-01 | Ultra CB-1580: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-02-16 12:15 | 20060480014 | 0.03 | 1.6 | . | 1.6 | ug/L | 1 | T | dsh |  | 2006-02-28 | Ultra CB-1580: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-03-09 05:20 | 20060690202 | 0.03 | 4 | . | 4.44 | ug/L | 1.11 | T | cad |  | 2006-03-11 | Ultra CB-1580: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-03-31 08:00 | 20060930013 | 0.05 | 1.6 | . | 1.8 | ug/L | 1.125 | T | cad |  | 2006-04-11 | Ultra CB-1580: 8 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-04-26 08:30 | 20061180002 | 0.05 | 1 | . | 1.11 | ug/L | 1.11 | T | dsh |  | 2006-05-04 | Ultra CB-1580: 5 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-06-08 09:30 | 20061630079 | 0.05 | 2 | . | 2.45 | ug/L | 1.225 | T | dsh |  | 2006-06-16 | Ultra CB-1580: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-07-12 06:05 | 20061940008 | 0.05 | 5 | . | 6.3 | ug/L | 1.26 | T | dlr |  | 2006-07-25 | Ultra CB-1580: 25 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-08-11 07:00 | 20062230029 | 0.05 | 2 | . | 2.29 | ug/L | 1.145 | T | cad |  | 2006-08-20 | Ultra CB-1580: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2006-08-28 05:45 | 20062410159 | 0.05 | 5 | . | 6.3 | ug/L | 1.26 | T | cad |  | 2006-09-02 | Ultra CB-1580: 25 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2009-10-15 08:30 | 20092890011 | 0.044 | 0.06 | . | 0.0656 | ug/L | 1.0933 | T | dlr |  | 2009-10-26 | Ultra CF-3592: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-03-19 06:30 | 20100810065 | 0.044 | 0.06 | . | 0.0662 | ug/L | 1.1033 | T | lmu |  | 2010-03-26 | Ultra CF-3592: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-04-22 07:00 | 20101130059 | 0.044 | 0.06 | . | 0.0626 | ug/L | 1.0433 | T | lmu |  | 2010-05-06 | Ultra CF-3592: 20 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2010-07-13 07:00 | 20101950134 | 0.044 | 0.12 | . | 0.133 | ug/L | 1.1083 | T | can |  | 2010-07-19 | Ultra CF-3592: 40 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2003-12-10 06:00 | 20033440131 | 0.07 | 0.8 | . | 0.78 | ug/L | 0.975 | T | dlr |  | 2003-12-13 | Ultra U1734: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-01-21 08:23 | 20040220013 | 0.07 | 0.8 | . | 0.87 | ug/L | 1.0875 | T | dlr |  | 2004-01-22 | Ultra U1734: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-04-14 08:00 | 20041060232 | 0.07 | 0.8 | . | 0.81 | ug/L | 1.0125 | T | dlr |  | 2004-04-22 | Ultra U1734: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-05-26 09:10 | 20041480020 | 0.07 | 0.8 | . | 0.82 | ug/L | 1.025 | T | dlr |  | 2004-06-05 | Ultra U1734: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-06-23 10:40 | 20041760011 | 0.07 | 0.8 | . | 0.84 | ug/L | 1.05 | T | dlr |  | 2004-07-02 | Ultra U1734: 10 µl
4024 | TERT-PENTYL METHYL ETHER (TAME) | 50005GCM60 | 2004-09-15 08:10 | 20042600120 | 0.07 | 0.8 | . | 0.81 | ug/L | 1.0125 | T | dlr |  | 2004-09-24 | Ultra U1734: 10 µl