## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | status | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-12-20 07:30 | 20123560094 | 11.1 | False Positive |  | . |  | ng/L |  | U | LJC |  | 2013-01-24 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-12-20 07:30 | 20123560094 | 11.1 | False Positive |  | . |  | ng/L |  | U | LJC |  | 2013-01-24 | Abs 053112: 40 µl & ERA 0507-12-06.2: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-07-11 07:30 | 20131920151 | 11.1 | Deleted Values |  | R |  | ng/L |  |  |  |  | 2013-07-11 07:30 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-07-11 07:30 | 20131920151 | 11.1 | Deleted Values |  | R |  | ng/L |  |  |  |  | 2013-07-11 07:30 | Spex Organics T1120802015: 20 µl & ERA 0823-11-05.2: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-10-18 08:30 | 20122930153 | 11.1 | Recoverable Result | 11 | . | 7.82 | ng/L | 0.71091 | U | LJC | n | 2012-10-25 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-10-18 08:30 | 20122930153 | 11.1 | Recoverable Result | 11 | . | 7.82 | ng/L | 0.71091 | U | LJC | n | 2012-10-25 | Abs 060112: 10 µl & Spex Organics T1120802015: 10 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-08-08 08:30 | 20132210043 | 11.1 | Recoverable Result | 16.5 | . | 13.7 | ng/L | 0.8303 | U | MNO |  | 2013-08-18 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-08-08 08:30 | 20132210043 | 11.1 | Recoverable Result | 16.5 | . | 13.7 | ng/L | 0.8303 | U | MNO |  | 2013-08-18 | ERA 0507-12-06.1: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-12-12 07:30 | 20133470009 | 11.1 | Recoverable Result | 16.5 | . | 10.3 | ng/L | 0.62424 | K | MNO | n | 2014-01-16 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-12-12 07:30 | 20133470009 | 11.1 | Recoverable Result | 16.5 | . | 10.3 | ng/L | 0.62424 | K | MNO | n | 2014-01-16 | ERA 0823-11-05.1: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-09-19 07:30 | 20132630004 | 11.1 | Recoverable Result | 16.5 | . | 13.6 | ng/L | 0.82424 | U | LJC |  | 2013-10-29 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-09-19 07:30 | 20132630004 | 11.1 | Recoverable Result | 16.5 | . | 13.6 | ng/L | 0.82424 | U | LJC |  | 2013-10-29 | ERA 0823-11-05.2: 15 µl & Abs 060112: 15 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-03-14 08:00 | 20130740022 | 11.1 | Recoverable Result | 22 | . | 18.4 | ng/L | 0.83636 | U | LJC |  | 2013-03-27 | Abs 053112: 20 µl & Abs 060112: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-03-14 08:00 | 20130740022 | 11.1 | Recoverable Result | 22 | . | 18.4 | ng/L | 0.83636 | U | LJC |  | 2013-03-27 | Abs 053112: 20 µl & Abs 060112: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2014-03-27 07:30 | 20140860101 | 11.1 | Recoverable Result | 22 | . | 10.2 | ng/L | 0.46364 | U | LJC | n | 2014-04-10 | Abs 071112: 20 µl & Abs 060112: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2014-03-27 07:30 | 20140860101 | 11.1 | Recoverable Result | 22 | . | 10.2 | ng/L | 0.46364 | U | LJC | n | 2014-04-10 | Abs 071112: 20 µl & Abs 060112: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-08-09 07:30 | 20122230019 | 11.1 | Recoverable Result | 22 | . | 15.9 | ng/L | 0.72273 | U | LJC |  | 2012-08-15 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2012-08-09 07:30 | 20122230019 | 11.1 | Recoverable Result | 22 | . | 15.9 | ng/L | 0.72273 | U | LJC |  | 2012-08-15 | Abs 060112: 20 µl & ERA 0507-12-06.1: 20 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-04-30 11:30 | 20131210056 | 11.1 | Recoverable Result | 44 | . | 33.1 | ng/L | 0.75227 | U | MNO | c | 2013-05-02 | Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-04-30 11:30 | 20131210056 | 11.1 | Recoverable Result | 44 | . | 33.1 | ng/L | 0.75227 | U | MNO | c | 2013-05-02 | Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl
LC9017 | PSEUDOEPHEDRINE | 67460LCM56 | 2013-01-10 08:30 | 20130100071 | 11.1 | Recoverable Result | 44 | . | 41.6 | ng/L | 0.94545 | U | LJC |  | 2013-01-24 | ERA 0823-11-05.1: 40 µl & Abs 060112: 40 µl