## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-08-11 06:00 | 20202240062 | 0.01 | 0.025 | . | 0.0269 | ug/L | 1.076 | V | sst |  | 2020-08-28 | Abs 082219Pest1: 20 µl & Abs 090919Pest: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-02-26 06:00 | 20200570103 | 0.01 | 0.025 | . | 0.0341 | ug/L | 1.364 | Y | jno |  | 2020-11-17 | Abs 082219Pest1: 20 µl & Abs 090919Pest: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-03-23 06:00 | 20200840008 | 0.01 | 0.025 | < | 0.0301 | ug/L |  | Y | jno |  | 2020-12-22 | Abs 082219Pest1: 20 µl & Abs 082219Pest3: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-03-11 08:30 | 20200710118 | 0.01 | 0.0252 | . | 0.0272 | ug/L | 1.0794 | Z | ljo |  | 2020-07-02 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-07-14 07:30 | 20201960106 | 0.01 | 0.0252 | . | 0.0268 | ug/L | 1.0635 | Y | jno |  | 2020-08-19 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-06-16 06:00 | 20201680158 | 0.01 | 0.0252 | . | 0.0234 | ug/L | 0.92857 | V | rcr |  | 2020-11-17 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-09-08 06:00 | 20202530020 | 0.01 | 0.0625 | . | 0.0554 | ug/L | 0.8864 | Y | jno |  | 2021-01-12 | Abs 082219Pest1: 50 µl & Abs 082219Pest3: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-07-07 06:10 | 20201890188 | 0.01 | 0.083 | < | 0.0718 | ug/L |  | Y | jno |  | 2020-11-17 | ChemService 10254800: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-07-07 06:05 | 20201890189 | 0.01 | 0.083 | < | 0.0715 | ug/L |  | Y | jno |  | 2020-11-17 | ChemService 10254800: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-07-28 06:00 | 20202110007 | 0.01 | 0.125 | . | 0.119 | ug/L | 0.952 | V | ljo |  | 2020-11-13 | Abs 082219Pest1: 100 µl & Abs 090919Pest: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2020 | 2020-01-15 07:00 | 20200150116 | 0.01 | 0.126 | . | 0.112 | ug/L | 0.88889 | V | ljo |  | 2020-06-23 | ChemService 8737600: 100 µl & Accu 219081213: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2021-03-23 07:30 | 20210830021 | 0.01 | 0.016446 | . | 0.019 | ug/L | 1.1553 | Y | ljo |  | 2021-05-13 | Accu 220081352PEST1: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2021-06-08 07:30 | 20211600049 | 0.01 | 0.016446 | . | 0.0183 | ug/L | 1.1127 | Z | sst |  | 2021-06-26 | Accu 220081352PEST1: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2020-10-27 06:00 | 20203020015 | 0.01 | 0.0166 | < | 0.019 | ug/L |  | V | rcr |  | 2020-11-10 | ChemService 10254800: 20 µl & ChemService 10293900: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2021-04-06 06:00 | 20210970038 | 0.01 | 0.0166 | . | 0.0185 | ug/L | 1.1145 | V | sst |  | 2021-05-12 | ChemService 10254800: 20 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2021-06-22 07:00 | 20211730225 | 0.01 | 0.041115 | . | 0.0376 | ug/L | 0.91451 | V | kas |  | 2021-07-27 | Accu 220081352PEST1: 50 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2020-10-06 06:10 | 20202810066 | 0.01 | 0.08223 | E | 0.0528 | ug/L | 0.6421 | V | rcr |  | 2020-11-03 | Accu 220081352PEST1: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2020-10-06 06:05 | 20202810065 | 0.01 | 0.08223 | E | 0.054 | ug/L | 0.65669 | V | rcr |  | 2020-11-03 | Accu 220081352PEST1: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2020-12-01 07:30 | 20203360037 | 0.01 | 0.08223 | . | 0.0678 | ug/L | 0.82452 | V | sst |  | 2020-12-15 | Accu 220081352PEST1: 100 µl & Accu 220081351PEST2: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2021 | 2021-08-31 06:00 | 20212430149 | 0.01 | 0.08223 | < | 0.0818 | ug/L |  | V | ljo | @c | 2022-01-19 | Accu 220081352PEST1: 100 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-02-08 06:00 | 20220390101 | 0.01 | 0.02491 | . | 0.0257 | ug/L | 1.0317 | Y | sst |  | 2022-02-24 | Accu 221101327: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-03-01 06:00 | 20220600086 | 0.01 | 0.02491 | . | 0.0276 | ug/L | 1.108 | Y | sst |  | 2022-03-29 | Accu 221101327: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-04-26 06:00 | 20221160215 | 0.01 | 0.02491 | . | 0.0306 | ug/L | 1.2284 | Y | ljo |  | 2022-05-21 | Accu 221101327: 10 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-06-01 11:00 | 20221520242 | 0.01 | 0.062275 | E | 0.0616 | ug/L | 0.98916 | Y | ljo |  | 2022-06-30 | Accu 221101327: 25 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-02-08 06:30 | 20220390100 | 0.01 | 0.09964 | . | 0.079 | ug/L | 0.79285 | Y | sst |  | 2022-02-24 | Accu 221101327: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-07-20 06:05 | 20222010140 | 0.01 | 0.1 | . | 0.158 | ug/L | 1.58 | V | ljo | @c | 2022-09-03 | Crescent 04AA017: 40 µl
2033 | ACETOCHLOR | 49260GCM33 | 2022 | 2022-09-21 09:05 | 20222640092 | 0.01 | 0.1004 | . | 0.0786 | ug/L | 0.78287 | V | ljo |  | 2022-11-04 | ERA 06232204: 40 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-02-28 07:00 | 20180590129 | 10 | 19.8 | . | 16.6 | ng/L | 0.83838 | OG | LOA |  | 2018-03-10 | ChemService 6736300: 20 µl & Abs 071717Pest3: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-07-18 06:30 | 20181990126 | 10 | 19.8 | . | 17.1 | ng/L | 0.86364 | OG | DME |  | 2018-07-27 | ChemService 6736300: 20 µl & Spex Organics EN170929024: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-01-31 06:30 | 20180310024 | 10 | 20.02 | . | 23.9 | ng/L | 1.1938 | OG | DME |  | 2018-02-15 | Abs 071917Pest3: 20 µl & Spex Organics EN170929024: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-01-24 06:30 | 20180240115 | 10 | 20.02 | . | 22.7 | ng/L | 1.1339 | OG | VKJ | @c | 2018-02-17 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-03-14 07:30 | 20180730063 | 10 | 20.02 | . | 16.8 | ng/L | 0.83916 | OG | SBH |  | 2018-03-23 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-05-16 06:30 | 20181360049 | 10 | 20.02 | . | 21.4 | ng/L | 1.0689 | OG | DME |  | 2018-05-23 | Abs 071917Pest3: 20 µl & Spex Organics EN170929024: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-09-26 06:00 | 20182690205 | 10 | 25 | . | 22.9 | ng/L | 0.916 | OG | DME |  | 2018-09-29 | Abs 081618: 20 µl & Abs 082818: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-02-21 06:30 | 20180530004 | 10 | 49.5 | . | 45.4 | ng/L | 0.91717 | OG | DME |  | 2018-03-01 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-06-27 06:30 | 20181780171 | 10 | 49.5 | . | 60.2 | ng/L | 1.2162 | OG | JIV |  | 2018-07-04 | ChemService 6736300: 50 µl & Abs 071717Pest3: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-08-08 06:30 | 20182200203 | 10 | 49.5 | . | 50.3 | ng/L | 1.0162 | OG | DME |  | 2018-08-21 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-08-22 06:30 | 20182340308 | 10 | 49.5 | . | 40.3 | ng/L | 0.81414 | OG | JIV |  | 2018-08-29 | ChemService 6736300: 50 µl & Abs 071717Pest3: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-03-21 06:30 | 20180800074 | 10 | 50.05 | . | 55 | ng/L | 1.0989 | OG | AWH |  | 2018-04-06 | Abs 071917Pest3: 50 µl & Spex Organics EN170929024: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-05-09 06:30 | 20181290250 | 10 | 79.2 | . | 84.1 | ng/L | 1.0619 | OG | SBH |  | 2018-05-16 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-06-06 06:30 | 20181570146 | 10 | 79.2 | . | 73.9 | ng/L | 0.93308 | OG | DME |  | 2018-06-12 | ChemService 6629700: 80 µl & ChemService 6736300: 80 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-07-11 07:30 | 20181920155 | 10 | 79.2 | . | 75.8 | ng/L | 0.95707 | OG | VKJ |  | 2018-07-17 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | ACETOCHLOR | 68520LCM60 | 2018 | 2018-04-12 07:30 | 20181020125 | 10 | 80.08 | . | 83.9 | ng/L | 1.0477 | OG | SBH |  | 2018-04-20 | Abs 071917Pest3: 80 µl & Abs 071717Pest3: 80 µl
2437 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-05-04 07:00 | 20211250011 | 10 | 24.98 | . | 14.465 | ng/L | 0.57906 | K | jiv |  | 2021-05-12 | Accu 220091405PEST3_2: 20 µl
2437 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-05-25 08:00 | 20211460034 | 10 | 62.45 | . | 66.461 | ng/L | 1.0642 | K | jiv |  | 2021-06-04 | Accu 220091405PEST3_2: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-06-29 07:00 | 20211800195 | 10 | 62.45 | E | 72.243 | ng/L | 1.1568 | OG | vkj | c | 2021-07-07 | Accu 220091405PEST3_2: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-07-27 06:30 | 20212080119 | 10 | 62.45 | . | 64.294 | ng/L | 1.0295 | OG | vkj |  | 2021-07-31 | Accu 220091405PEST3_2: 50 µl
2437 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-07-13 08:00 | 20211940195 | 10 | 124.9 | . | 124.643 | ng/L | 0.99794 | OG | cdh |  | 2021-07-20 | Accu 220091405PEST3_2: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-05-26 08:00 | 20201470020 | 10 | 25.12 | E | 26.306 | ng/L | 1.0472 | OG | dme | c | 2020-05-29 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-07-07 06:30 | 20201890192 | 10 | 25.12 | . | 42.06 | ng/L | 1.6744 | OG | vkj |  | 2020-07-15 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-07-21 07:00 | 20202040027 | 10 | 25.12 | . | 29.422 | ng/L | 1.1713 | OG | awh |  | 2020-07-31 | ChemService 9089700: 20 µl & ChemService 8817300: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-08-20 06:30 | 20202330309 | 10 | 25.12 | . | 24.131 | ng/L | 0.96063 | OG | dme |  | 2020-09-02 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-06-09 08:00 | 20201610160 | 10 | 25.28 | . | 29.747 | ng/L | 1.1767 | OG | dme |  | 2020-06-17 | Abs 090519Pest3: 20 µl & Abs 090419Pest3: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-05-12 06:30 | 20201330113 | 10 | 62.8 | . | 73.693 | ng/L | 1.1735 | OG | vkj | @c | 2020-05-19 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-08-11 07:00 | 20202240086 | 10 | 62.8 | . | 68.768 | ng/L | 1.095 | K | dme | @c | 2020-09-02 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-09-08 07:30 | 20202530029 | 10 | 62.8 | . | 72.053 | ng/L | 1.1473 | OG | awh |  | 2020-09-17 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-06-16 07:00 | 20201680155 | 10 | 63.2 | . | 66.471 | ng/L | 1.0518 | OG | jbo |  | 2020-06-25 | Abs 082719Pest3: 40 µl & Abs 090519Pest3: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-06-30 08:30 | 20201820155 | 10 | 125.6 | . | 135.985 | ng/L | 1.0827 | OG | dme |  | 2020-07-07 | ChemService 9089700: 100 µl & ChemService 8817300: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-09-15 07:40 | 20202590107 | 10 | 125.7 | . | 149.813 | ng/L | 1.1918 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-09-15 07:35 | 20202590106 | 10 | 125.7 | . | 139.317 | ng/L | 1.1083 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2020 | 2020-07-28 06:30 | 20202110006 | 10 | 126.4 | . | 141.21 | ng/L | 1.1172 | OG | jbo |  | 2020-08-06 | Abs 082719Pest3: 50 µl & Abs 090519Pest3: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-01-26 07:00 | 20210270007 | 10 | 24.98 | . | 24.842 | ng/L | 0.99448 | K | vkj |  | 2021-02-10 | Accu 220091405PEST3_2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-03-23 08:30 | 20210830019 | 10 | 24.98 | < | 50 | ng/L |  | OG | jeg | c | 2021-03-31 | Accu 220091405PEST3_2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 10 | 25.14 | . | 46.298 | ng/L | 1.8416 | OG | vkj | @c | 2020-10-14 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 10 | 25.14 | < | 41.676 | ng/L |  | OG | jno | c | 2020-11-03 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 10 | 25.14 | < | 29.977 | ng/L |  | OG | vkj | c | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 10 | 25.14 | . | 24.633 | ng/L | 0.97983 | K | vkj |  | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-02-02 06:30 | 20210340007 | 10 | 25.14 | E | 23.959 | ng/L | 0.95302 | OG | jno | c | 2021-02-10 | Abs 081120PEST3-2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2021-04-06 07:00 | 20210970035 | 10 | 25.14 | . | 30.64 | ng/L | 1.2188 | OG | ssg |  | 2021-04-14 | Abs 081120PEST3-2: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 10 | 62.85 | . | 63.201 | ng/L | 1.0056 | OG | vkj |  | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 10 | 62.85 | . | 55.633 | ng/L | 0.88517 | OG | vkj |  | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 10 | 62.85 | . | 73.19 | ng/L | 1.1645 | OG | jno | @c | 2021-01-30 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-11-17 06:40 | 20203230019 | 10 | 124.9 | . | 126.799 | ng/L | 1.0152 | OG | jno | @c | 2021-01-30 | Accu 220091405PEST3_2: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2021 | 2020-11-17 06:35 | 20203230021 | 10 | 124.9 | . | 94.401 | ng/L | 0.75581 | OG | jno | @c | 2021-01-30 | Accu 220091405PEST3_2: 100 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-09-20 10:00 | 20222630205 | 10 | 24.9 | . | 14.618 | ng/L | 0.58707 | K | ero |  | 2022-09-29 | Spex Organics ND211027021B: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-11-02 10:30 | 20213060210 | 10 | 24.98 | . | 10.5 | ng/L | 0.42034 | OG | ssg |  | 2021-11-13 | ChemService 12373100: 20 µl & ChemService 12377000: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-12-07 08:00 | 20213410072 | 10 | 25.02 | . | 16.811 | ng/L | 0.6719 | K | jno |  | 2021-12-15 | Accu 221101324: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-09-07 07:00 | 20222500483 | 10 | 25.02 | . | 13.582 | ng/L | 0.54285 | OG | ssg |  | 2022-09-20 | Crescent 02AA022: 20 µl & Accu 221101324: 20 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-03-22 09:30 | 20220810133 | 10 | 62.25 | . | 52.008 | ng/L | 0.83547 | OG | ssg |  | 2022-03-31 | Spex Organics ND211027021B: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-11-09 06:30 | 20213130215 | 10 | 62.45 | . | 30.093 | ng/L | 0.48187 | OG | ama |  | 2021-11-17 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-11-16 09:00 | 20213200091 | 10 | 62.45 | . | 157.105 | ng/L | 2.5157 | OG | jno |  | 2021-11-23 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-11-30 08:30 | 20213340027 | 10 | 62.45 | E | 51.087 | ng/L | 0.81805 | OG | jeg | c | 2021-12-07 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-01-25 07:30 | 20220250055 | 10 | 62.55 | . | 41.485 | ng/L | 0.66323 | K | jeg |  | 2022-02-06 | Accu 221101324: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-06-22 06:30 | 20221730293 | 10 | 62.55 | . | 48.871 | ng/L | 0.78131 | OG | jno |  | 2022-06-29 | Crescent 02AA022: 50 µl & Accu 221101324: 50 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-03-22 09:35 | 20220810134 | 10 | 99.6 | . | 92.36 | ng/L | 0.92731 | OG | ssg |  | 2022-03-31 | Spex Organics ND211027021B: 80 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-08-03 06:35 | 20222150193 | 10 | 99.6 | E | 69.043 | ng/L | 0.6932 | OG | ssg | c | 2022-08-15 | Spex Organics NA220629010: 80 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-10-26 09:30 | 20212990174 | 10 | 99.92 | . | 69.428 | ng/L | 0.69484 | OG | vkj |  | 2021-11-03 | ChemService 12377000: 80 µl & ChemService 12373100: 80 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-07-20 07:35 | 20222010132 | 10 | 100 | . | 71.28 | ng/L | 0.7128 | OG | jeg |  | 2022-07-24 | Crescent 04CC026: 80 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2021-12-07 08:30 | 20213410073 | 10 | 100.08 | . | 74.139 | ng/L | 0.7408 | K | jno |  | 2021-12-15 | Accu 221101324: 80 µl
2447 | ACETOCHLOR | 68520LCM60 | 2022 | 2022-01-18 06:30 | 20220190116 | 10 | 100.08 | . | 52.591 | ng/L | 0.52549 | K | jeg |  | 2022-02-05 | Accu 221101324: 80 µl