## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-03-28 07:30 | 20180870056 | 79 | 158.6 | . | 141 | ng/L | 0.88903 | VA | VKJ |  | 2018-04-07 | Spex Organics EN170929024: 20 µl & Abs 072417Pest3: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-01-24 06:30 | 20180240115 | 79 | 160 | . | 128 | ng/L | 0.8 | VA | VKJ |  | 2018-02-03 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-03-07 06:30 | 20180670001 | 79 | 160 | . | 143 | ng/L | 0.89375 | VA | DME |  | 2018-03-15 | Abs 071717Pest3: 20 µl & ChemService 6629700: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-03-14 07:30 | 20180730063 | 79 | 160 | E | 192 | ng/L | 1.2 | VA | SBH | c | 2018-03-30 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-01-04 06:30 | 20180050001 | 79 | 400 | . | 367 | ng/L | 0.9175 | VA | VKJ |  | 2018-01-17 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-02-14 06:30 | 20180450043 | 79 | 400 | . | 414 | ng/L | 1.035 | VA | DME |  | 2018-02-27 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-02-21 06:30 | 20180530004 | 79 | 400 | . | 413 | ng/L | 1.0325 | VA | DME | @c | 2018-03-09 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-04-25 06:30 | 20181150059 | 79 | 400 | E | 397 | ng/L | 0.9925 | VA | DME | c | 2018-04-27 | Abs 071717Pest3: 50 µl & ChemService 6629700: 50 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-08-08 06:30 | 20182200203 | 79 | 400 | . | 358 | ng/L | 0.895 | VA | DME |  | 2018-08-21 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-05-09 06:30 | 20181290250 | 79 | 634.4 | . | 642 | ng/L | 1.012 | VA | DME |  | 2018-05-15 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-05-31 06:00 | 20181510125 | 79 | 634.4 | . | 550 | ng/L | 0.86696 | VA | DME |  | 2018-06-05 | Abs 071717Pest3: 80 µl & Abs 072417Pest3: 80 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-07-11 07:30 | 20181920155 | 79 | 634.4 | . | 623 | ng/L | 0.98203 | VA | DME |  | 2018-07-17 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-06-06 06:30 | 20181570146 | 79 | 640 | . | 524 | ng/L | 0.81875 | VA | AWH |  | 2018-06-12 | ChemService 6629700: 80 µl & ChemService 6736300: 80 µl
2437 | BROMOXYNIL | 68543LCM60 | 2018 | 2018-07-05 06:00 | 20181860021 | 79 | 640 | . | 605 | ng/L | 0.94531 | VA | DME |  | 2018-07-12 | Spex Organics EN170929024: 80 µl & ChemService 6629700: 80 µl
2437 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-08-17 08:00 | 20212290215 | 60 | 149.44 | . | 158.048 | ng/L | 1.0576 | VA | ero |  | 2021-08-19 | Abs 081220PEST3-1: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-04-19 08:30 | 20211100015 | 60 | 149.84 | . | 123.849 | ng/L | 0.82654 | VA | ssg |  | 2021-04-29 | Accu 220111019PEST3_1: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-06-22 07:30 | 20211730221 | 60 | 149.84 | . | 145.919 | ng/L | 0.97383 | VA | ssg |  | 2021-06-30 | Accu 220111019PEST3_1: 20 µl
2437 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-05-11 07:30 | 20211320037 | 60 | 374.6 | E | 323.69 | ng/L | 0.8641 | VA | ssg | c | 2021-05-19 | Accu 220111019PEST3_1: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-05-26 08:00 | 20201470020 | 60 | 150.36 | E | 74.25 | ng/L | 0.49381 | VA | dme | bc | 2020-05-30 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 60 | 150.36 | E | 100.782 | ng/L | 0.67027 | VA | dme | @bc | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-07-07 06:30 | 20201890192 | 60 | 150.36 | . | 127.225 | ng/L | 0.84614 | VA | vkj |  | 2020-07-15 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 60 | 150.36 | E | 157.364 | ng/L | 1.0466 | VA | kha | bc | 2020-08-12 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-08-20 06:30 | 20202330309 | 60 | 150.36 | . | 96.374 | ng/L | 0.64096 | VA | kha |  | 2020-09-01 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-06-16 07:00 | 20201680155 | 60 | 300.32 | E | 178.648 | ng/L | 0.59486 | VA | dme | c | 2020-06-20 | Abs 082719Pest3: 40 µl & Abs 090519Pest3: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-07-14 06:00 | 20201960104 | 60 | 300.32 | . | 236.019 | ng/L | 0.78589 | VA | vkj |  | 2020-07-21 | Abs 082719Pest3: 40 µl & Abs 090419Pest3: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-07-28 06:30 | 20202110006 | 60 | 375.4 | E | 327.157 | ng/L | 0.87149 | VA | jbo | bc | 2020-08-07 | Abs 082719Pest3: 50 µl & Abs 090519Pest3: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-08-25 06:00 | 20202390020 | 60 | 375.4 | . | 400.163 | ng/L | 1.066 | VA | dme |  | 2020-09-15 | Abs 082719Pest3: 50 µl & Abs 090419Pest3: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 60 | 375.9 | E | 249.165 | ng/L | 0.66285 | VA | jbo | c | 2020-06-04 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-09-15 07:25 | 20202590105 | 60 | 747.2 | E | 628.617 | ng/L | 0.8413 | VA | dme | c | 2020-09-24 | Abs 081220PEST3-1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2020 | 2020-09-15 07:20 | 20202590104 | 60 | 747.2 | E | 582.426 | ng/L | 0.77948 | VA | dme | c | 2020-09-24 | Abs 081220PEST3-1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 60 | 149.44 | . | 107.561 | ng/L | 0.71976 | VA | dme |  | 2020-10-17 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 60 | 149.44 | . | 118.947 | ng/L | 0.79595 | K | jno |  | 2020-11-06 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-12-08 06:30 | 20203440004 | 60 | 149.44 | . | 105.13 | ng/L | 0.70349 | VA | jno |  | 2020-12-18 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 60 | 149.44 | . | 101.171 | ng/L | 0.677 | VA | jeg |  | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-01-12 06:30 | 20210120050 | 60 | 149.44 | E | 96.114 | ng/L | 0.64316 | VA | dme | c | 2021-01-21 | Abs 081220PEST3-1: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-03-10 07:30 | 20210690067 | 60 | 149.84 | E | 193.931 | ng/L | 1.2943 | K | jiv | c | 2021-03-18 | Accu 220111019PEST3_1: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 60 | 298.88 | . | 263.595 | ng/L | 0.88194 | K | cdh |  | 2020-12-09 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-03-02 06:30 | 20210620006 | 60 | 298.88 | E | 407.099 | ng/L | 1.3621 | K | ero | c | 2021-03-09 | Abs 081220PEST3-1: 40 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-03-30 07:30 | 20210900005 | 60 | 299.68 | . | 283.205 | ng/L | 0.94502 | VA | ssg |  | 2021-04-06 | Accu 220111019PEST3_1: 40 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-10-13 06:30 | 20202880004 | 60 | 373.6 | . | 268.386 | ng/L | 0.71838 | VA | dme |  | 2020-10-20 | Abs 081220PEST3-1: 50 µl & Abs 081120PEST3-3: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-02-16 06:30 | 20210480001 | 60 | 374.6 | . | 255.288 | ng/L | 0.68149 | VA | dme |  | 2021-02-23 | Accu 220111019PEST3_1: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-11-03 06:30 | 20203080100 | 60 | 747.2 | . | 749.614 | ng/L | 1.0032 | K | jeg |  | 2020-11-13 | Abs 081220PEST3-1: 100 µl & Abs 081120PEST3-3: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-11-17 06:25 | 20203230017 | 60 | 749.2 | . | 687.721 | ng/L | 0.91794 | K | cdh |  | 2020-12-09 | Accu 220111019PEST3_1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2020-11-17 06:20 | 20203230022 | 60 | 749.2 | . | 648.842 | ng/L | 0.86605 | K | cdh |  | 2020-12-09 | Accu 220111019PEST3_1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-01-21 08:00 | 20210220007 | 60 | 749.2 | . | 431.756 | ng/L | 0.57629 | VA | ssg |  | 2021-01-29 | Accu 220111019PEST3_1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2021 | 2021-03-16 07:00 | 20210760015 | 60 | 749.2 | . | 580.343 | ng/L | 0.77462 | VA | ssg |  | 2021-03-24 | Accu 220111019PEST3_1: 100 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-12-07 08:00 | 20213410072 | 60 | 100.7 | . | 56.628 | ng/L | 0.56234 | VA | ero | n | 2021-12-14 | Accu 221101324: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-09-07 07:00 | 20222500483 | 60 | 100.7 | . | 88.756 | ng/L | 0.88139 | VA | ssg | @ | 2022-10-14 | Crescent 02AA022: 20 µl & Accu 221101324: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-11-02 10:30 | 20213060210 | 60 | 149.96 | . | 101.667 | ng/L | 0.67796 | VA | ero |  | 2021-11-09 | ChemService 12373100: 20 µl & ChemService 12377000: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-09-20 10:00 | 20222630205 | 60 | 151 | . | 124.513 | ng/L | 0.82459 | VA | ero |  | 2022-09-30 | Spex Organics ND211027021B: 20 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-01-25 07:30 | 20220250055 | 60 | 251.75 | . | 152.1 | ng/L | 0.60417 | VA | ssg |  | 2022-02-02 | Accu 221101324: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-06-22 06:30 | 20221730293 | 60 | 251.75 | . | 179.797 | ng/L | 0.71419 | VA | ssg |  | 2022-07-01 | Crescent 02AA022: 50 µl & Accu 221101324: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-11-09 06:30 | 20213130215 | 60 | 374.9 | . | 228.982 | ng/L | 0.61078 | VA | jno |  | 2021-11-17 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-11-16 09:00 | 20213200091 | 60 | 374.9 | . | 748.607 | ng/L | 1.9968 | VA | ero |  | 2021-11-23 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-11-30 08:30 | 20213340027 | 60 | 374.9 | . | 262.79 | ng/L | 0.70096 | VA | ero |  | 2021-12-04 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-03-22 09:30 | 20220810133 | 60 | 377.5 | . | 285.285 | ng/L | 0.75572 | VA | ero |  | 2022-03-30 | Spex Organics ND211027021B: 50 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-12-07 08:30 | 20213410073 | 60 | 402.8 | . | 277.22 | ng/L | 0.68823 | VA | ero |  | 2021-12-14 | Accu 221101324: 80 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-01-18 06:30 | 20220190116 | 60 | 402.8 | . | 255.66 | ng/L | 0.63471 | VA | ssg |  | 2022-02-01 | Accu 221101324: 80 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2021-10-26 09:30 | 20212990174 | 60 | 599.84 | . | 267.512 | ng/L | 0.44597 | K | vkj |  | 2021-11-03 | ChemService 12377000: 80 µl & ChemService 12373100: 80 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-07-20 07:35 | 20222010132 | 60 | 600 | . | 429.077 | ng/L | 0.71513 | VA | ero |  | 2022-07-22 | Crescent 04CC026: 80 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-03-22 09:35 | 20220810134 | 60 | 604 | . | 420.836 | ng/L | 0.69675 | VA | ero |  | 2022-03-30 | Spex Organics ND211027021B: 80 µl
2447 | BROMOXYNIL | 68543LCM60 | 2022 | 2022-08-03 06:35 | 20222150193 | 60 | 609.6 | . | 462.814 | ng/L | 0.75921 | VA | ero |  | 2022-08-16 | Spex Organics NA220629010: 80 µl