## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-03-23 06:00 | 20200840008 | 0.014 | 0.0352 | E | 0.018 | ug/L | 0.51136 | Y | jno | mc | 2020-12-22 | Abs 082219Pest1: 20 µl & Abs 082219Pest3: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-06-09 06:00 | 20201610163 | 0.014 | 0.0352 | E | 0.019 | ug/L | 0.53977 | V | sst | mc | 2021-01-08 | Abs 090919Pest: 20 µl & Abs 082219Pest3: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-03-11 08:30 | 20200710118 | 0.014 | 0.0354 | E | 0.021 | ug/L | 0.59322 | Z | ljo | bmc | 2020-07-02 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2019-12-04 07:00 | 20193380094 | 0.014 | 0.0354 | E | 0.019 | ug/L | 0.53672 | Y | jno | bmc | 2020-07-16 | Accu 219081213: 20 µl & ChemService 8737700: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-07-14 07:30 | 20201960106 | 0.014 | 0.0354 | E | 0.016 | ug/L | 0.45198 | Y | jno | bmc | 2020-08-19 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-06-16 06:00 | 20201680158 | 0.014 | 0.0354 | E | 0.017 | ug/L | 0.48023 | V | rcr | mc | 2020-11-17 | ChemService 8737600: 20 µl & ChemService 8737700: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-06-30 06:00 | 20201820160 | 0.014 | 0.088 | E | 0.058 | ug/L | 0.65909 | Y | jno | bmc | 2020-07-10 | Abs 090919Pest: 50 µl & Abs 082219Pest3: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-04-07 06:00 | 20200980051 | 0.014 | 0.088 | E | 0.035 | ug/L | 0.39773 | V | ljo | bmc | 2020-09-19 | Abs 090919Pest: 50 µl & Abs 082219Pest3: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-09-08 06:00 | 20202530020 | 0.014 | 0.088 | E | 0.029 | ug/L | 0.32955 | Y | jno | mc | 2021-01-12 | Abs 082219Pest1: 50 µl & Abs 082219Pest3: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-02-05 06:00 | 20200360082 | 0.014 | 0.0885 | E | 0.032 | ug/L | 0.36158 | Y | jno | @bm | 2020-06-06 | Accu 219081213: 50 µl & ChemService 8737700: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2019-11-06 07:30 | 20193100133 | 0.014 | 0.0885 | E | 0.035 | ug/L | 0.39548 | Y | jno | bmc | 2020-06-10 | Accu 219081213: 50 µl & ChemService 8737700: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-07-07 06:10 | 20201890188 | 0.014 | 0.117 | E | 0.045 | ug/L | 0.38462 | Y | jno | mc | 2020-11-17 | ChemService 10254800: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2020 | 2020-07-07 06:05 | 20201890189 | 0.014 | 0.117 | E | 0.042 | ug/L | 0.35897 | Y | jno | mc | 2020-11-17 | ChemService 10254800: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2020-10-27 06:00 | 20203020015 | 0.014 | 0.0234 | E | 0.014 | ug/L | 0.59829 | V | rcr | mc | 2020-11-10 | ChemService 10254800: 20 µl & ChemService 10293900: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2021-04-06 06:00 | 20210970038 | 0.014 | 0.0234 | E | 0.014 | ug/L | 0.59829 | V | sst | mc | 2021-05-12 | ChemService 10254800: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2021-03-23 07:30 | 20210830021 | 0.014 | 0.02348 | E | 0.016 | ug/L | 0.68143 | Y | ljo | mc | 2021-05-13 | Accu 220081352PEST1: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2021-06-08 07:30 | 20211600049 | 0.014 | 0.02348 | E | 0.016 | ug/L | 0.68143 | Z | sst | mc | 2021-06-26 | Accu 220081352PEST1: 20 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2021-06-22 07:00 | 20211730225 | 0.014 | 0.0587 | E | 0.032 | ug/L | 0.54514 | V | kas | mc | 2021-07-27 | Accu 220081352PEST1: 50 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2020-10-06 06:10 | 20202810066 | 0.014 | 0.1174 | E | 0.037 | ug/L | 0.31516 | V | rcr | mc | 2020-11-03 | Accu 220081352PEST1: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2020-10-06 06:05 | 20202810065 | 0.014 | 0.1174 | E | 0.039 | ug/L | 0.3322 | V | rcr | mc | 2020-11-03 | Accu 220081352PEST1: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2020-12-01 07:30 | 20203360037 | 0.014 | 0.1174 | E | 0.041 | ug/L | 0.34923 | V | sst | mc | 2020-12-15 | Accu 220081352PEST1: 100 µl & Accu 220081351PEST2: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2021 | 2021-08-31 06:00 | 20212430149 | 0.014 | 0.1174 | E | 0.052 | ug/L | 0.44293 | V | ljo | @mc | 2022-01-19 | Accu 220081352PEST1: 100 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-11-02 06:00 | 20213060228 | 0.014 | 0.035 | E | 0.028 | ug/L | 0.8 | Y | sst | mc | 2021-12-08 | ChemService 12347900: 10 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-12-07 06:00 | 20213410068 | 0.014 | 0.035 | E | 0.027 | ug/L | 0.77143 | V | ljo | mc | 2021-12-16 | Accu 221101317: 10 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-11-16 06:00 | 20213200092 | 0.014 | 0.035 | E | 0.019 | ug/L | 0.54286 | V | ljo | mc | 2021-12-16 | Accu 221101317: 10 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-09-07 06:00 | 20222500486 | 0.014 | 0.0351 | E | 0.061 | ug/L | 1.7379 | Y | ljo | mc | 2022-10-15 | Accu 221111004: 10 µl & Spex Organics MO220131014: 10 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-10-05 10:00 | 20212790041 | 0.014 | 0.0875 | E | 0.033 | ug/L | 0.37714 | Y | sst | mc | 2021-10-30 | ChemService 12347900: 25 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-10-26 06:00 | 20212990178 | 0.014 | 0.0875 | E | 0.037 | ug/L | 0.42286 | Y | sst | mc | 2021-12-07 | ChemService 12347900: 25 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-01-11 06:00 | 20220110094 | 0.014 | 0.0875 | E | 0.011 | ug/L | 0.12571 | Y | ljo | mnc | 2022-02-01 | Accu 221101317: 25 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-10-05 10:30 | 20212790042 | 0.014 | 0.14 | E | 0.052 | ug/L | 0.37143 | Y | sst | mc | 2021-10-30 | ChemService 12347900: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2021-11-16 06:30 | 20213200093 | 0.014 | 0.14 | E | 0.057 | ug/L | 0.40714 | V | ljo | mc | 2021-12-16 | Accu 221101317: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-01-25 06:00 | 20220250049 | 0.014 | 0.14 | E | 0.05 | ug/L | 0.35714 | Y | sst | mc | 2022-02-24 | Accu 221101317: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-07-13 06:05 | 20221940203 | 0.014 | 0.14 | E | 0.06 | ug/L | 0.42857 | V | sst | mc | 2022-08-13 | Crescent 04AA026: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-08-09 07:00 | 20222210255 | 0.014 | 0.14 | E | 0.057 | ug/L | 0.40714 | V | sst | mc | 2022-09-07 | ChemService 12347900: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2022 | 2022-08-30 07:00 | 20222430042 | 0.014 | 0.14 | E | 0.078 | ug/L | 0.55714 | V | sst | mc | 2022-09-08 | Accu 221101317: 40 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2023 | 2022-10-12 06:30 | 20222850193 | 0.014 | 0.08775 | . | 0 | ug/L |  | V | ljo | t | 2022-11-04 | Spex Organics MO220131014: 25 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2023 | 2022-11-01 09:00 | 20223050206 | 0.014 | 0.08775 | . | 0 | ug/L |  | V | kas | t | 2022-11-17 | Crescent 11AA012: 25 µl & Spex Organics MO220131014: 25 µl
2033 | DEETHYLATRAZINE | 04040GCM35 | 2023 | 2022-10-06 06:05 | 20222790127 | 0.014 | 0.14 | . | 0.054 | ug/L | 0.38571 | V | ljo |  | 2022-11-04 | ERA 06232203: 40 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-06-02 07:00 | 20211530128 | 11 | 27.56 | < | 50 | ng/L |  | K | ssg | @c | 2021-06-27 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-07-20 07:00 | 20212020079 | 11 | 27.56 | < | 11 | ng/L |  | OG | jno | c | 2021-07-28 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-08-31 07:00 | 20212430146 | 11 | 27.56 | < | 11 | ng/L |  | K | ama | c | 2021-09-03 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-04-27 07:00 | 20211180024 | 11 | 68.9 | . | 6.446 | ng/L | 0.093556 | OG | jbo | n | 2021-05-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-09-08 07:30 | 20212520235 | 11 | 68.9 | < | 50 | ng/L |  | K | ssg | c | 2021-09-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-09-21 08:00 | 20212640289 | 11 | 68.9 | < | 11 | ng/L |  | OG | vkj |  | 2021-09-25 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-06-15 08:30 | 20211660088 | 11 | 137.8 | < | 25.28 | ng/L |  | K | jno | c | 2021-06-23 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2437 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-08-10 08:00 | 20212220200 | 11 | 137.8 | . | 8.37 | ng/L | 0.06074 | OG | ssg | n | 2021-08-13 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-06-09 08:00 | 20201610160 | 11 | 27.04 | . | 33.395 | ng/L | 1.235 | OG | dme |  | 2020-06-17 | Abs 090519Pest3: 20 µl & Abs 090419Pest3: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 11 | 27.46 | . | 19.759 | ng/L | 0.71956 | OG | dme |  | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-07-21 07:00 | 20202040027 | 11 | 27.46 | E | 28.118 | ng/L | 1.024 | OG | awh | c | 2020-07-31 | ChemService 9089700: 20 µl & ChemService 8817300: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 11 | 27.46 | E | 23.835 | ng/L | 0.86799 | K | kha | c | 2020-08-15 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-07-14 06:00 | 20201960104 | 11 | 67.6 | . | 73.784 | ng/L | 1.0915 | OG | vkj |  | 2020-07-21 | Abs 082719Pest3: 40 µl & Abs 090419Pest3: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-05-12 06:30 | 20201330113 | 11 | 68.65 | . | 63.24 | ng/L | 0.92119 | OG | vkj | @c | 2020-05-19 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-08-11 07:00 | 20202240086 | 11 | 68.65 | . | 53.951 | ng/L | 0.78589 | K | dme | @c | 2020-09-02 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-09-08 07:30 | 20202530029 | 11 | 68.65 | . | 44.554 | ng/L | 0.649 | OG | awh |  | 2020-09-17 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-08-25 06:00 | 20202390020 | 11 | 135.2 | . | 138.622 | ng/L | 1.0253 | OG | dme |  | 2020-09-04 | Abs 082719Pest3: 50 µl & Abs 090419Pest3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-09-15 07:40 | 20202590107 | 11 | 135.5 | . | 101.384 | ng/L | 0.74822 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-09-15 07:35 | 20202590106 | 11 | 135.5 | . | 88.409 | ng/L | 0.65246 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 11 | 137.3 | . | 127.605 | ng/L | 0.92939 | OG | dme |  | 2020-06-05 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2020 | 2020-06-30 08:30 | 20201820155 | 11 | 137.3 | . | 123.144 | ng/L | 0.8969 | OG | dme |  | 2020-07-07 | ChemService 9089700: 100 µl & ChemService 8817300: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 11 | 27.1 | < | 23.425 | ng/L |  | OG | vkj | @c | 2020-10-14 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 11 | 27.1 | . | 32.922 | ng/L | 1.2148 | OG | jno |  | 2020-11-03 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 11 | 27.1 | . | 35.055 | ng/L | 1.2935 | OG | vkj |  | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 11 | 27.1 | E | 25.341 | ng/L | 0.93509 | K | vkj | c | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-02-02 06:30 | 20210340007 | 11 | 27.1 | E | 22.72 | ng/L | 0.83838 | OG | jno | c | 2021-02-10 | Abs 081120PEST3-2: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-04-06 07:00 | 20210970035 | 11 | 27.1 | . | 23.747 | ng/L | 0.87627 | OG | ssg |  | 2021-04-14 | Abs 081120PEST3-2: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 11 | 67.75 | . | 56.372 | ng/L | 0.83206 | OG | vkj |  | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 11 | 67.75 | . | 50.489 | ng/L | 0.74523 | OG | vkj |  | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 11 | 67.75 | . | 59.378 | ng/L | 0.87643 | OG | jno | @c | 2021-01-30 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-02-09 09:30 | 20210400070 | 11 | 68.9 | E | 20.54 | ng/L | 0.29811 | OG | vkj | c | 2021-02-18 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-10-06 06:55 | 20202810052 | 11 | 137.8 | . | 88.124 | ng/L | 0.63951 | OG | vkj | @c | 2020-10-14 | Accu 220081395PEST3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2020-10-06 06:50 | 20202810053 | 11 | 137.8 | . | 85.12 | ng/L | 0.61771 | OG | vkj | @c | 2020-10-14 | Accu 220081395PEST3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-03-02 08:00 | 20210620008 | 11 | 137.8 | E | 24.92 | ng/L | 0.18084 | OG | vkj | c | 2021-03-09 | Accu 220081395PEST3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2021 | 2021-03-02 07:30 | 20210620007 | 11 | 137.8 | E | 30.737 | ng/L | 0.22306 | OG | vkj | c | 2021-03-09 | Accu 220081395PEST3: 100 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-07-19 07:00 | 20222000207 | 11 | 27.5 | . | 17.778 | ng/L | 0.64647 | OG | ssg |  | 2022-07-27 | Crescent 02BB022: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-04-26 06:30 | 20221160208 | 11 | 27.58 | . | 21.779 | ng/L | 0.78967 | OG | ssg |  | 2022-05-03 | Abs 100521Pest3_4a: 20 µl & Abs 100521Pest3_4b: 20 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-07-25 06:30 | 20222070177 | 11 | 68.75 | E | 51.605 | ng/L | 0.75062 | OG | jeg | c | 2022-08-03 | Crescent 02BB022: 50 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-06-07 07:00 | 20221580147 | 11 | 110 | . | 82.387 | ng/L | 0.74897 | OG | jno |  | 2022-06-22 | Crescent 02BB022: 80 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-07-13 08:35 | 20221940194 | 11 | 110 | . | 105.939 | ng/L | 0.96308 | OG | jeg |  | 2022-07-23 | Crescent 04EE026: 80 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-08-09 07:30 | 20222210250 | 11 | 110 | . | 82.558 | ng/L | 0.75053 | OG | ssg |  | 2022-08-16 | Crescent 02BB022: 80 µl
2447 | DEETHYLATRAZINE | 68552LCM60 | 2022 | 2022-05-17 07:30 | 20221370164 | 11 | 110.32 | . | 87.397 | ng/L | 0.79221 | OG | ama |  | 2022-05-24 | Abs 100521Pest3_4a: 80 µl & Abs 100521Pest3_4b: 80 µl