## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-03-28 07:30 | 20180870056 | 20 | 40.2 | . | 37.9 | ng/L | 0.94279 | OG | AWH |  | 2018-04-07 | Spex Organics EN170929024: 20 µl & Abs 072417Pest3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-01-24 06:30 | 20180240115 | 20 | 40.6 | . | 35.6 | ng/L | 0.87685 | OG | VKJ | @c | 2018-02-17 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-03-07 06:30 | 20180670001 | 20 | 40.6 | . | 37 | ng/L | 0.91133 | OG | JIV |  | 2018-03-14 | Abs 071717Pest3: 20 µl & ChemService 6629700: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-03-14 07:30 | 20180730063 | 20 | 40.6 | . | 37.3 | ng/L | 0.91872 | OG | SBH |  | 2018-03-23 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-09-26 06:00 | 20182690205 | 20 | 50 | . | 39.6 | ng/L | 0.792 | OG | DME |  | 2018-09-29 | Abs 081618: 20 µl & Abs 082818: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-01-04 06:30 | 20180050001 | 20 | 101.5 | . | 83.9 | ng/L | 0.8266 | OG | SBH |  | 2018-01-17 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-02-14 06:30 | 20180450043 | 20 | 101.5 | . | 79.7 | ng/L | 0.78522 | K | SBH |  | 2018-02-22 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-02-21 06:30 | 20180530004 | 20 | 101.5 | . | 82.3 | ng/L | 0.81084 | OG | DME |  | 2018-03-01 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-04-25 06:30 | 20181150059 | 20 | 101.5 | . | 77.2 | ng/L | 0.76059 | OG | DME |  | 2018-04-28 | Abs 071717Pest3: 50 µl & ChemService 6629700: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-08-08 06:30 | 20182200203 | 20 | 101.5 | . | 107 | ng/L | 1.0542 | OG | DME |  | 2018-08-21 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-05-09 06:30 | 20181290250 | 20 | 160.8 | . | 156 | ng/L | 0.97015 | OG | SBH |  | 2018-05-16 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-05-31 06:00 | 20181510125 | 20 | 160.8 | . | 160 | ng/L | 0.99502 | OG | VKJ |  | 2018-06-07 | Abs 071717Pest3: 80 µl & Abs 072417Pest3: 80 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-07-11 07:30 | 20181920155 | 20 | 160.8 | . | 144 | ng/L | 0.89552 | OG | VKJ |  | 2018-07-17 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-06-06 06:30 | 20181570146 | 20 | 162.4 | . | 140 | ng/L | 0.86207 | OG | DME |  | 2018-06-12 | ChemService 6629700: 80 µl & ChemService 6736300: 80 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2018 | 2018-07-05 06:00 | 20181860021 | 20 | 162.4 | E | 154 | ng/L | 0.94828 | OG | DME | c | 2018-07-12 | Spex Organics EN170929024: 80 µl & ChemService 6629700: 80 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-06-02 07:00 | 20211530128 | 20 | 50.08 | < | 20 | ng/L |  | K | ssg | @c | 2021-06-27 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-07-20 07:00 | 20212020079 | 20 | 50.08 | < | 20 | ng/L |  | OG | jno | c | 2021-07-28 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-08-31 07:00 | 20212430146 | 20 | 50.08 | < | 25 | ng/L |  | K | ama | c | 2021-09-03 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-04-27 07:00 | 20211180024 | 20 | 125.2 | . | 5.098 | ng/L | 0.040719 | OG | jbo | t | 2021-05-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-09-08 07:30 | 20212520235 | 20 | 125.2 | < | 20 | ng/L |  | K | ssg | c | 2021-09-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-09-21 08:00 | 20212640289 | 20 | 125.2 | < | 20 | ng/L |  | OG | vkj |  | 2021-09-25 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-06-15 08:30 | 20211660088 | 20 | 250.4 | . | 30.486 | ng/L | 0.12175 | K | jno |  | 2021-06-23 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2437 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-08-10 08:00 | 20212220200 | 20 | 250.4 | < | 50 | ng/L |  | OG | ssg | c | 2021-08-13 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-05-26 08:00 | 20201470020 | 20 | 49.92 | . | 55.966 | ng/L | 1.1211 | OG | dme |  | 2020-05-29 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 20 | 49.92 | . | 50.373 | ng/L | 1.0091 | OG | dme |  | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-07-07 06:30 | 20201890192 | 20 | 49.92 | . | 52.576 | ng/L | 1.0532 | OG | vkj |  | 2020-07-15 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 20 | 49.92 | . | 35.461 | ng/L | 0.71036 | K | kha |  | 2020-08-15 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-08-20 06:30 | 20202330309 | 20 | 49.92 | E | 51.361 | ng/L | 1.0289 | OG | dme | c | 2020-09-02 | ChemService 9042800: 20 µl & ChemService 9089700: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-06-16 07:00 | 20201680155 | 20 | 99.28 | E | 100.368 | ng/L | 1.011 | OG | jbo | c | 2020-06-25 | Abs 082719Pest3: 40 µl & Abs 090519Pest3: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-07-14 06:00 | 20201960104 | 20 | 99.28 | . | 157.081 | ng/L | 1.5822 | OG | vkj |  | 2020-07-21 | Abs 082719Pest3: 40 µl & Abs 090419Pest3: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-07-28 06:30 | 20202110006 | 20 | 124.1 | . | 108.639 | ng/L | 0.87541 | OG | jbo |  | 2020-08-06 | Abs 082719Pest3: 50 µl & Abs 090519Pest3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-08-25 06:00 | 20202390020 | 20 | 124.1 | . | 172.758 | ng/L | 1.3921 | OG | dme |  | 2020-09-04 | Abs 082719Pest3: 50 µl & Abs 090419Pest3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 20 | 124.8 | E | 151.184 | ng/L | 1.2114 | OG | dme | c | 2020-06-05 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-09-15 07:40 | 20202590107 | 20 | 250.5 | . | 203.814 | ng/L | 0.81363 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2020 | 2020-09-15 07:35 | 20202590106 | 20 | 250.5 | . | 243.037 | ng/L | 0.97021 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 20 | 50.1 | . | 54.784 | ng/L | 1.0935 | OG | vkj | @c | 2020-10-14 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 20 | 50.1 | . | 42.335 | ng/L | 0.84501 | OG | jno |  | 2020-11-03 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 20 | 50.1 | . | 52.276 | ng/L | 1.0434 | OG | vkj |  | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 20 | 50.1 | . | 42.354 | ng/L | 0.84539 | K | vkj |  | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-02-02 06:30 | 20210340007 | 20 | 50.1 | . | 48.927 | ng/L | 0.97659 | OG | jno |  | 2021-02-10 | Abs 081120PEST3-2: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-04-06 07:00 | 20210970035 | 20 | 50.1 | . | 38.479 | ng/L | 0.76804 | OG | ssg |  | 2021-04-14 | Abs 081120PEST3-2: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-02-09 09:30 | 20210400070 | 20 | 125.2 | . | 43.939 | ng/L | 0.35095 | OG | vkj |  | 2021-02-18 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 20 | 125.25 | . | 137.61 | ng/L | 1.0987 | OG | vkj |  | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 20 | 125.25 | . | 119.594 | ng/L | 0.95484 | OG | vkj |  | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 20 | 125.25 | . | 95.221 | ng/L | 0.76025 | OG | jno | @c | 2021-01-30 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-10-06 06:55 | 20202810052 | 20 | 250.4 | . | 186.533 | ng/L | 0.74494 | OG | vkj | @c | 2020-10-14 | Accu 220081395PEST3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2020-10-06 06:50 | 20202810053 | 20 | 250.4 | . | 162.52 | ng/L | 0.64904 | OG | vkj | @c | 2020-10-14 | Accu 220081395PEST3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-03-02 08:00 | 20210620008 | 20 | 250.4 | . | 40.337 | ng/L | 0.16109 | OG | vkj |  | 2021-03-09 | Accu 220081395PEST3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2021 | 2021-03-02 07:30 | 20210620007 | 20 | 250.4 | . | 38.043 | ng/L | 0.15193 | OG | vkj |  | 2021-03-09 | Accu 220081395PEST3: 100 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-07-19 07:00 | 20222000207 | 20 | 50 | . | 42.791 | ng/L | 0.85582 | OG | ssg |  | 2022-07-27 | Crescent 02BB022: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-04-26 06:30 | 20221160208 | 20 | 50.2 | < | 50 | ng/L |  | OG | ssg | c | 2022-05-03 | Abs 100521Pest3_4a: 20 µl & Abs 100521Pest3_4b: 20 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-07-25 06:30 | 20222070177 | 20 | 125 | . | 82.731 | ng/L | 0.66185 | OG | jeg |  | 2022-08-03 | Crescent 02BB022: 50 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-06-07 07:00 | 20221580147 | 20 | 200 | E | 163.323 | ng/L | 0.81661 | OG | jno | c | 2022-06-22 | Crescent 02BB022: 80 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-07-13 08:35 | 20221940194 | 20 | 200 | E | 195.257 | ng/L | 0.97628 | OG | jeg | c | 2022-07-23 | Crescent 04EE026: 80 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-08-09 07:30 | 20222210250 | 20 | 200 | . | 154.225 | ng/L | 0.77112 | OG | ssg |  | 2022-08-16 | Crescent 02BB022: 80 µl
2447 | DEISOPROPYLATRAZINE | 68550LCM60 | 2022 | 2022-05-17 07:30 | 20221370164 | 20 | 200.8 | . | 192.29 | ng/L | 0.95762 | OG | ama |  | 2022-05-24 | Abs 100521Pest3_4a: 80 µl & Abs 100521Pest3_4b: 80 µl