## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-01-24 06:30 | 20180240115 | 100 | 201 | E | 149 | ng/L | 0.74129 | OG | VKJ | @mc | 2018-02-17 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-03-07 06:30 | 20180670001 | 100 | 201 | E | 220 | ng/L | 1.0945 | OG | JIV | mc | 2018-03-14 | Abs 071717Pest3: 20 µl & ChemService 6629700: 20 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-03-14 07:30 | 20180730063 | 100 | 201 | E | 227 | ng/L | 1.1294 | OG | SBH | mc | 2018-03-23 | ChemService 6629700: 20 µl & Abs 071917Pest3: 20 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-03-28 07:30 | 20180870056 | 100 | 203 | E | 125 | ng/L | 0.61576 | OG | AWH | mc | 2018-04-07 | Spex Organics EN170929024: 20 µl & Abs 072417Pest3: 20 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-09-26 06:00 | 20182690205 | 100 | 250 | E | 219 | ng/L | 0.876 | OG | DME | mc | 2018-09-29 | Abs 081618: 20 µl & Abs 082818: 20 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-01-04 06:30 | 20180050001 | 100 | 502.5 | E | 515 | ng/L | 1.0249 | OG | SBH | mc | 2018-01-17 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-02-14 06:30 | 20180450043 | 100 | 502.5 | E | 402 | ng/L | 0.8 | K | SBH | mc | 2018-02-22 | Spex Organics EN170929024: 50 µl & ChemService 6629700: 50 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-02-21 06:30 | 20180530004 | 100 | 502.5 | E | 568 | ng/L | 1.1303 | OG | DME | mc | 2018-03-01 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-04-25 06:30 | 20181150059 | 100 | 502.5 | E | 604 | ng/L | 1.202 | OG | DME | mc | 2018-04-28 | Abs 071717Pest3: 50 µl & ChemService 6629700: 50 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-08-08 06:30 | 20182200203 | 100 | 502.5 | E | 470 | ng/L | 0.93532 | OG | DME | mc | 2018-08-21 | ChemService 6629700: 50 µl & ChemService 6736300: 50 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-06-06 06:30 | 20181570146 | 100 | 804 | E | 878 | ng/L | 1.092 | OG | DME | mc | 2018-06-12 | ChemService 6629700: 80 µl & ChemService 6736300: 80 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-07-05 06:00 | 20181860021 | 100 | 804 | E | 1050 | ng/L | 1.306 | OG | DME | mc | 2018-07-12 | Spex Organics EN170929024: 80 µl & ChemService 6629700: 80 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-05-09 06:30 | 20181290250 | 100 | 812 | E | 731 | ng/L | 0.90025 | OG | SBH | mc | 2018-05-16 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-05-31 06:00 | 20181510125 | 100 | 812 | E | 608 | ng/L | 0.74877 | OG | VKJ | mc | 2018-06-07 | Abs 071717Pest3: 80 µl & Abs 072417Pest3: 80 µl
2437 | HYDROXYSIMAZINE | 68624LCM60 | 2018 | 2018-07-11 07:30 | 20181920155 | 100 | 812 | E | 697 | ng/L | 0.85837 | OG | VKJ | mc | 2018-07-17 | Abs 072417Pest3: 80 µl & ChemService 6736300: 80 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 120 | 300.1 | E | 325.179 | ng/L | 1.0836 | OG | dme | mc | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-07-21 07:00 | 20202040027 | 120 | 300.1 | E | 377.372 | ng/L | 1.2575 | OG | awh | mc | 2020-07-31 | ChemService 9089700: 20 µl & ChemService 8817300: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 120 | 300.1 | E | 286.385 | ng/L | 0.9543 | K | kha | mc | 2020-08-15 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-05-12 06:30 | 20201330113 | 120 | 750.25 | E | 475.183 | ng/L | 0.63337 | OG | vkj | @mc | 2020-05-19 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-08-11 07:00 | 20202240086 | 120 | 750.25 | E | 695.779 | ng/L | 0.9274 | K | dme | @mc | 2020-09-02 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-09-08 07:30 | 20202530029 | 120 | 750.25 | E | 579.981 | ng/L | 0.77305 | OG | awh | mc | 2020-09-17 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 120 | 1500.5 | E | 1923.536 | ng/L | 1.2819 | OG | dme | mc | 2020-06-05 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-06-30 08:30 | 20201820155 | 120 | 1500.5 | E | 1599.204 | ng/L | 1.0658 | OG | dme | mc | 2020-07-07 | ChemService 9089700: 100 µl & ChemService 8817300: 100 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-09-15 07:40 | 20202590107 | 120 | 1527.4 | E | 1382.154 | ng/L | 0.90491 | OG | dme | mc | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2020 | 2020-09-15 07:35 | 20202590106 | 120 | 1527.4 | E | 1394.456 | ng/L | 0.91296 | OG | dme | mc | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 120 | 305.48 | E | 256.302 | ng/L | 0.83901 | OG | vkj | @mc | 2020-10-14 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 120 | 305.48 | E | 301.489 | ng/L | 0.98694 | OG | jno | mc | 2020-11-03 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 120 | 305.48 | E | 340.484 | ng/L | 1.1146 | OG | vkj | mc | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 120 | 305.48 | E | 273.459 | ng/L | 0.89518 | K | vkj | mc | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2021-02-02 06:30 | 20210340007 | 120 | 305.48 | E | 236.643 | ng/L | 0.77466 | OG | jno | mc | 2021-02-10 | Abs 081120PEST3-2: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2021-04-06 07:00 | 20210970035 | 120 | 305.48 | E | 216.266 | ng/L | 0.70795 | OG | ssg | mc | 2021-04-14 | Abs 081120PEST3-2: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 120 | 763.7 | E | 661.561 | ng/L | 0.86626 | OG | vkj | mc | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 120 | 763.7 | E | 606.701 | ng/L | 0.79442 | OG | vkj | mc | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 120 | 763.7 | E | 626.245 | ng/L | 0.82001 | OG | jno | @mc | 2021-01-30 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-06-14 08:00 | 20221660151 | 120 | 300 | < | 120 | ng/L |  | OG | jno | mc | 2022-06-22 | Crescent 02AA022: 20 µl & Accu 221101208: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-09-07 07:00 | 20222500483 | 120 | 300 | E | 96.135 | ng/L | 0.32045 | OG | ssg | mnc | 2022-09-20 | Crescent 02AA022: 20 µl & Accu 221101324: 20 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-06-22 06:30 | 20221730293 | 120 | 750 | E | 241.331 | ng/L | 0.32177 | OG | jno | mc | 2022-06-29 | Crescent 02AA022: 50 µl & Accu 221101324: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-07-06 10:00 | 20221870197 | 120 | 750 | E | 264.625 | ng/L | 0.35283 | OG | vkj | mc | 2022-07-12 | Crescent 02AA022: 50 µl & Accu 221101208: 50 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-06-14 08:05 | 20221660152 | 120 | 1200 | < | 120 | ng/L |  | OG | jno | mc | 2022-06-22 | Crescent 02AA022: 80 µl
2447 | HYDROXYSIMAZINE | 68624LCM60 | 2022 | 2022-07-20 08:05 | 20222010133 | 120 | 1200 | E | 186.53 | ng/L | 0.15544 | OG | jeg | mc | 2022-07-24 | Crescent 04DD026: 80 µl