## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-05-04 07:00 | 20211250011 | 3 | 7.35 | E | 5.474 | ng/L | 0.74476 | K | jiv | c | 2021-05-12 | Accu 220091405PEST3_2: 20 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-05-25 08:00 | 20211460034 | 3 | 18.375 | . | 9.801 | ng/L | 0.53339 | K | jiv |  | 2021-06-04 | Accu 220091405PEST3_2: 50 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-06-29 07:00 | 20211800195 | 3 | 18.375 | . | 14.736 | ng/L | 0.80196 | OG | vkj |  | 2021-07-07 | Accu 220091405PEST3_2: 50 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-07-27 06:30 | 20212080119 | 3 | 18.375 | . | 14.842 | ng/L | 0.80773 | OG | vkj |  | 2021-07-31 | Accu 220091405PEST3_2: 50 µl
2437 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-07-13 08:00 | 20211940195 | 3 | 36.75 | . | 31.05 | ng/L | 0.8449 | OG | cdh |  | 2021-07-20 | Accu 220091405PEST3_2: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 3 | 7.48 | . | 4.845 | ng/L | 0.64773 | OG | dme |  | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-07-21 07:00 | 20202040027 | 3 | 7.48 | . | 10.584 | ng/L | 1.415 | OG | awh |  | 2020-07-31 | ChemService 9089700: 20 µl & ChemService 8817300: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 3 | 7.48 | E | 5.832 | ng/L | 0.77968 | K | kha | c | 2020-08-15 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-06-09 08:00 | 20201610160 | 3 | 7.54 | E | 7.351 | ng/L | 0.97493 | OG | dme | c | 2020-06-17 | Abs 090519Pest3: 20 µl & Abs 090419Pest3: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-05-12 06:30 | 20201330113 | 3 | 18.7 | E | 21.517 | ng/L | 1.1506 | OG | vkj | @c | 2020-05-19 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-08-11 07:00 | 20202240086 | 3 | 18.7 | . | 19.451 | ng/L | 1.0402 | K | dme | @c | 2020-09-02 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-09-08 07:30 | 20202530029 | 3 | 18.7 | . | 20.221 | ng/L | 1.0813 | OG | awh |  | 2020-09-17 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-07-14 06:00 | 20201960104 | 3 | 18.85 | . | 16.035 | ng/L | 0.85066 | OG | vkj |  | 2020-07-21 | Abs 082719Pest3: 40 µl & Abs 090419Pest3: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-09-15 07:40 | 20202590107 | 3 | 37.3 | . | 24.349 | ng/L | 0.65279 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-09-15 07:35 | 20202590106 | 3 | 37.3 | . | 27.601 | ng/L | 0.73997 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-2: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 3 | 37.4 | . | 40.188 | ng/L | 1.0745 | OG | dme |  | 2020-06-05 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-06-30 08:30 | 20201820155 | 3 | 37.4 | . | 44.292 | ng/L | 1.1843 | OG | dme |  | 2020-07-07 | ChemService 9089700: 100 µl & ChemService 8817300: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2020 | 2020-08-25 06:00 | 20202390020 | 3 | 37.7 | . | 34.54 | ng/L | 0.91618 | OG | dme |  | 2020-09-04 | Abs 082719Pest3: 50 µl & Abs 090419Pest3: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-01-26 07:00 | 20210270007 | 3 | 7.35 | E | 4.712 | ng/L | 0.64109 | K | vkj | c | 2021-02-10 | Accu 220091405PEST3_2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-03-23 08:30 | 20210830019 | 3 | 7.35 | E | 4.607 | ng/L | 0.6268 | OG | jeg | c | 2021-03-31 | Accu 220091405PEST3_2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-10-06 06:30 | 20202810054 | 3 | 7.46 | . | 5.635 | ng/L | 0.75536 | OG | vkj | @c | 2020-10-14 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-10-27 07:00 | 20203020006 | 3 | 7.46 | . | 4.924 | ng/L | 0.66005 | OG | jno |  | 2020-11-03 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 3 | 7.46 | . | 7.23 | ng/L | 0.96917 | OG | vkj |  | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-12-17 06:30 | 20203530076 | 3 | 7.46 | E | 6.436 | ng/L | 0.86273 | K | vkj | c | 2020-12-22 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-02-02 06:30 | 20210340007 | 3 | 7.46 | E | 5.277 | ng/L | 0.70737 | OG | jno | c | 2021-02-10 | Abs 081120PEST3-2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2021-04-06 07:00 | 20210970035 | 3 | 7.46 | . | 4.266 | ng/L | 0.57185 | OG | ssg |  | 2021-04-14 | Abs 081120PEST3-2: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 3 | 18.65 | . | 17.052 | ng/L | 0.91432 | OG | vkj |  | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 3 | 18.65 | . | 10.636 | ng/L | 0.57029 | OG | vkj |  | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-11-17 06:30 | 20203230018 | 3 | 18.65 | E | 12.317 | ng/L | 0.66043 | OG | jno | @c | 2021-01-30 | Abs 081220PEST3-1: 40 µl & Abs 081120PEST3-2: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-11-17 06:40 | 20203230019 | 3 | 36.75 | E | 22.469 | ng/L | 0.6114 | OG | jno | @c | 2021-01-30 | Accu 220091405PEST3_2: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2021 | 2020-11-17 06:35 | 20203230021 | 3 | 36.75 | E | 22.989 | ng/L | 0.62555 | OG | jno | @c | 2021-01-30 | Accu 220091405PEST3_2: 100 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-07-19 07:00 | 20222000207 | 3 | 7.5 | . | 7.782 | ng/L | 1.0376 | OG | ssg |  | 2022-07-27 | Crescent 02BB022: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-04-26 06:30 | 20221160208 | 3 | 7.55 | . | 4.035 | ng/L | 0.53444 | OG | ssg |  | 2022-05-03 | Abs 100521Pest3_4a: 20 µl & Abs 100521Pest3_4b: 20 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-07-25 06:30 | 20222070177 | 3 | 18.75 | . | 18.62 | ng/L | 0.99307 | OG | jeg |  | 2022-08-03 | Crescent 02BB022: 50 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-06-07 07:00 | 20221580147 | 3 | 30 | . | 33.406 | ng/L | 1.1135 | OG | jno |  | 2022-06-22 | Crescent 02BB022: 80 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-07-13 08:35 | 20221940194 | 3 | 30 | . | 29.704 | ng/L | 0.99013 | OG | jeg |  | 2022-07-23 | Crescent 04EE026: 80 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-08-09 07:30 | 20222210250 | 3 | 30 | . | 41.251 | ng/L | 1.375 | OG | ssg |  | 2022-08-16 | Crescent 02BB022: 80 µl
2447 | TERBUFOS SULFOXIDE | 68704LCM60 | 2022 | 2022-05-17 07:30 | 20221370164 | 3 | 30.2 | . | 21.601 | ng/L | 0.71526 | OG | ama |  | 2022-05-24 | Abs 100521Pest3_4a: 80 µl & Abs 100521Pest3_4b: 80 µl