## OBSP Data
Schedule Code | Analyte Name | Parm+Method Code | Water Year | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-05-17 06:30 | 20211380015 | 3.8 | 9.42 | . | 5.343 | ng/L | 0.5672 | OG | jbo | vc | 2021-05-28 | Abs 081120PEST3-3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-06-08 06:00 | 20211600046 | 3.8 | 9.42 | < | 7.45 | ng/L |  | K | ssg | c | 2021-06-16 | Abs 081120PEST3-3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-08-03 07:00 | 20212150066 | 3.8 | 9.42 | . | 5.254 | ng/L | 0.55775 | OG | ssg | i | 2021-08-07 | Abs 081120PEST3-3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-06-02 07:00 | 20211530128 | 3.8 | 9.602 | . | 6.921 | ng/L | 0.72079 | K | ssg | @c | 2021-06-27 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-07-20 07:00 | 20212020079 | 3.8 | 9.602 | . | 5.639 | ng/L | 0.58727 | OG | jno | vc | 2021-07-28 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-08-31 07:00 | 20212430146 | 3.8 | 9.602 | . | 5.566 | ng/L | 0.57967 | K | ama |  | 2021-09-03 | Accu 220081475PEST3_3: 20 µl & Accu 220081395PEST3: 20 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-04-27 07:00 | 20211180024 | 3.8 | 24.005 | E | 9.686 | ng/L | 0.4035 | OG | jbo | ic | 2021-05-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-09-08 07:30 | 20212520235 | 3.8 | 24.005 | . | 12.503 | ng/L | 0.52085 | K | ssg |  | 2021-09-11 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-09-21 08:00 | 20212640289 | 3.8 | 24.005 | . | 11.585 | ng/L | 0.48261 | OG | vkj | iv | 2021-09-25 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-06-15 08:30 | 20211660088 | 3.8 | 48.01 | . | 26.546 | ng/L | 0.55293 | K | jno |  | 2021-06-23 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2437 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-08-10 08:00 | 20212220200 | 3.8 | 48.01 | E | 22.488 | ng/L | 0.4684 | OG | ssg | c | 2021-08-13 | Accu 220081475PEST3_3: 100 µl & Accu 220081395PEST3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-06-09 08:00 | 20201610160 | 3.8 | 9.56 | . | 6.619 | ng/L | 0.69236 | OG | dme |  | 2020-06-17 | Abs 090519Pest3: 20 µl & Abs 090419Pest3: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-06-23 07:30 | 20201750122 | 3.8 | 9.68 | . | 6.518 | ng/L | 0.67335 | OG | dme |  | 2020-06-30 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-07-21 07:00 | 20202040027 | 3.8 | 9.68 | E | 7.755 | ng/L | 0.80114 | OG | awh | c | 2020-07-31 | ChemService 9089700: 20 µl & ChemService 8817300: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-08-04 07:30 | 20202180001 | 3.8 | 9.68 | . | 6.829 | ng/L | 0.70548 | K | kha |  | 2020-08-15 | ChemService 9042800: 20 µl & ChemService 8817300: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-07-14 06:00 | 20201960104 | 3.8 | 23.9 | E | 23.31 | ng/L | 0.97531 | OG | vkj | c | 2020-07-21 | Abs 082719Pest3: 40 µl & Abs 090419Pest3: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-05-12 06:30 | 20201330113 | 3.8 | 24.2 | E | 23.067 | ng/L | 0.95318 | OG | vkj | @c | 2020-05-19 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-08-11 07:00 | 20202240086 | 3.8 | 24.2 | E | 15.1 | ng/L | 0.62397 | K | dme | @c | 2020-09-02 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-09-08 07:30 | 20202530029 | 3.8 | 24.2 | . | 14.629 | ng/L | 0.6045 | OG | awh |  | 2020-09-17 | ChemService 9089700: 50 µl & ChemService 8817300: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-09-15 07:55 | 20202590109 | 3.8 | 47.1 | . | 49.604 | ng/L | 1.0532 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-09-15 07:50 | 20202590108 | 3.8 | 47.1 | . | 65.272 | ng/L | 1.3858 | OG | dme |  | 2020-09-23 | Abs 081120PEST3-3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-08-25 06:00 | 20202390020 | 3.8 | 47.8 | . | 26.962 | ng/L | 0.56406 | OG | dme |  | 2020-09-04 | Abs 082719Pest3: 50 µl & Abs 090419Pest3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-06-02 08:00 | 20201550031 | 3.8 | 48.4 | . | 26.549 | ng/L | 0.54853 | OG | dme |  | 2020-06-05 | ChemService 9042800: 50 µl & ChemService 8817300: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2020 | 2020-06-30 08:30 | 20201820155 | 3.8 | 48.4 | E | 26.819 | ng/L | 0.55411 | OG | dme | c | 2020-07-07 | ChemService 9089700: 100 µl & ChemService 8817300: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-11-10 06:30 | 20203170006 | 3.8 | 9.42 | . | 6.608 | ng/L | 0.70149 | OG | vkj |  | 2020-11-18 | Abs 081120PEST3-2: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-12-08 06:30 | 20203440004 | 3.8 | 9.42 | < | 250 | ng/L |  | OG | vkj | c | 2020-12-15 | Abs 081220PEST3-1: 20 µl & Abs 081120PEST3-3: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-10-20 06:30 | 20202950016 | 3.8 | 23.55 | . | 15.039 | ng/L | 0.6386 | OG | vkj |  | 2020-11-05 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-12-01 06:30 | 20203360042 | 3.8 | 23.55 | < | 250 | ng/L |  | OG | vkj | c | 2020-12-15 | Abs 081120PEST3-2: 50 µl & Abs 081120PEST3-3: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2021-02-09 09:30 | 20210400070 | 3.8 | 24.005 | . | 8.091 | ng/L | 0.33705 | OG | vkj | i | 2021-02-18 | Accu 220081475PEST3_3: 50 µl & Accu 220081395PEST3: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-10-13 06:30 | 20202880004 | 3.8 | 47.1 | . | 16.633 | ng/L | 0.35314 | OG | awh |  | 2020-10-20 | Abs 081220PEST3-1: 50 µl & Abs 081120PEST3-3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-11-03 06:30 | 20203080100 | 3.8 | 47.1 | . | 15.349 | ng/L | 0.32588 | OG | vkj |  | 2020-11-11 | Abs 081220PEST3-1: 100 µl & Abs 081120PEST3-3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-11-17 06:55 | 20203230023 | 3.8 | 48.01 | . | 21.487 | ng/L | 0.44755 | OG | jno | @iv | 2021-01-30 | Accu 220081475PEST3_3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2021 | 2020-11-17 06:50 | 20203230020 | 3.8 | 48.01 | . | 17.078 | ng/L | 0.35572 | OG | jno | @iv | 2021-01-30 | Accu 220081475PEST3_3: 100 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-12-07 08:00 | 20213410072 | 3.8 | 9.22 | . | 5.678 | ng/L | 0.61584 | K | jno |  | 2021-12-15 | Accu 221101324: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-09-07 07:00 | 20222500483 | 3.8 | 9.22 | < | 4.358 | ng/L |  | OG | ssg | c | 2022-09-20 | Crescent 02AA022: 20 µl & Accu 221101324: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-11-02 10:30 | 20213060210 | 3.8 | 9.56 | . | 5.437 | ng/L | 0.56872 | OG | ssg | i | 2021-11-13 | ChemService 12373100: 20 µl & ChemService 12377000: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-09-20 10:00 | 20222630205 | 3.8 | 9.66 | . | 2.845 | ng/L | 0.29451 | K | ero | n | 2022-09-29 | Spex Organics ND211027021B: 20 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-01-25 07:30 | 20220250055 | 3.8 | 23.05 | < | 10 | ng/L |  | K | jeg | c | 2022-02-06 | Accu 221101324: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-06-22 06:30 | 20221730293 | 3.8 | 23.05 | . | 19.486 | ng/L | 0.84538 | OG | jno |  | 2022-06-29 | Crescent 02AA022: 50 µl & Accu 221101324: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-11-09 06:30 | 20213130215 | 3.8 | 23.9 | E | 5.914 | ng/L | 0.24745 | OG | ama | c | 2021-11-17 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-11-16 09:00 | 20213200091 | 3.8 | 23.9 | . | 23.136 | ng/L | 0.96803 | OG | jno |  | 2021-11-23 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-11-30 08:30 | 20213340027 | 3.8 | 23.9 | . | 14.224 | ng/L | 0.59515 | OG | jeg |  | 2021-12-07 | ChemService 12373100: 50 µl & ChemService 12377000: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-03-22 09:30 | 20220810133 | 3.8 | 24.15 | . | 16.822 | ng/L | 0.69656 | OG | ssg |  | 2022-03-31 | Spex Organics ND211027021B: 50 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-12-07 08:30 | 20213410073 | 3.8 | 36.88 | . | 12.985 | ng/L | 0.35209 | K | jno |  | 2021-12-15 | Accu 221101324: 80 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-01-18 06:30 | 20220190116 | 3.8 | 36.88 | . | 9.545 | ng/L | 0.25881 | K | jeg |  | 2022-02-05 | Accu 221101324: 80 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-07-20 07:35 | 20222010132 | 3.8 | 38 | E | 29.11 | ng/L | 0.76605 | OG | jeg | c | 2022-07-24 | Crescent 04CC026: 80 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2021-10-26 09:30 | 20212990174 | 3.8 | 38.24 | . | 18.35 | ng/L | 0.47986 | OG | vkj |  | 2021-11-03 | ChemService 12377000: 80 µl & ChemService 12373100: 80 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-08-03 06:35 | 20222150193 | 3.8 | 38.4 | . | 16.667 | ng/L | 0.43404 | OG | ssg |  | 2022-08-15 | Spex Organics NA220629010: 80 µl
2447 | TRANS-PERMETHRIN | 68708LCM60 | 2022 | 2022-03-22 09:35 | 20220810134 | 3.8 | 38.64 | . | 18.355 | ng/L | 0.47503 | OG | ssg |  | 2022-03-31 | Spex Organics ND211027021B: 80 µl