## OBSP Data
Method | analytename | Parm+Method Code | Login Date | Laboratory ID | REPORTING LEVEL | Expected Conc. | Remark Code | Lab Value | reportunit | Pct Recovery | labequipment | analystsinitials | rlq | Analysis Date | spikemix
2033 | PENDIMETHALIN | 82683GCM35 | 2015-03-12 06:00 | 20150720069 | 0.012 |  | < | 0.012 | ug/L |  | Y | rcr |  | 2015-03-31 | ERA 0227-14-08: 60 µl & Crescent 03DD006: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-04-30 07:00 | 20151210037 | 0.012 |  | < | 0.012 | ug/L |  | V | rcr |  | 2015-05-12 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-07-09 07:00 | 20151900132 | 0.012 |  | < | 0.012 | ug/L |  | Y | rcr |  | 2015-07-21 | Abs 040615: 40 µl & Abs 041415: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-08-20 06:00 | 20152330039 | 0.012 |  | < | 0.012 | ug/L |  |  | rcr |  | 2015-09-05 | Spex Organics EN150513008: 40 µl & Abs 041415: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-10-01 06:00 | 20152750006 | 0.012 |  | < | 0.012 | ug/L |  |  | rcr |  | 2016-01-21 | Abs 040615: 80 µl & Spex Organics EN150514012: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-11-10 06:00 | 20153160001 | 0.012 |  | < | 0.012 | ug/L |  |  | rcr |  | 2016-02-02 | Spex Organics EN150513008: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-01-07 06:00 | 20160070059 | 0.012 |  | < | 0.012 | ug/L |  |  | rcr |  | 2016-02-09 | Abs 040615: 20 µl & Spex Organics EN150514012: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-02-25 06:00 | 20160560044 | 0.012 |  | < | 0.012 | ug/L |  | Y | tpe |  | 2016-04-06 | Spex Organics EN150513008: 20 µl & Abs 041415: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-04-14 06:00 | 20161050143 | 0.012 |  | < | 0.012 | ug/L |  | Y | tpe |  | 2016-05-04 | Abs 041415: 20 µl & Abs 040615: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-05-25 06:00 | 20161470001 | 0.012 |  | < | 0.012 | ug/L |  | Y | tpe |  | 2016-08-19 | Supelco LC20138V: 80 µl & Pheonva B20160331: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-07-06 06:00 | 20161880109 | 0.012 |  | < | 0.012 | ug/L |  | W | sst |  | 2016-09-09 | Crescent 03FF076: 100 µl & ChemService 5054800: 100 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-08-02 06:00 | 20162150213 | 0.012 |  | < | 0.012 | ug/L |  | W | tpe |  | 2016-09-20 | Phenova B20160331: 40 µl & ChemService 5054800: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-09-21 06:00 | 20162660005 | 0.012 |  | < | 0.012 | ug/L |  | Y | SSt |  | 2017-01-18 | Crescent 03FF076: 40 µl & Supelco LC20138V: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-06-25 06:00 | 20151760208 | 0.012 | 0.018 | . | 0.0221 | ug/L | 1.2278 | V | rcr |  | 2015-07-10 | Spex Organics EN150514012: 20 µl & ChemService 3851600: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-10-29 06:00 | 20153030068 | 0.012 | 0.018 | . | 0.0176 | ug/L | 0.97778 |  | rcr |  | 2016-01-26 | ChemService 3851600: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-10-22 06:00 | 20152950078 | 0.012 | 0.018 | . | 0.0137 | ug/L | 0.76111 |  | rcr |  | 2016-01-28 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-01-21 06:00 | 20160210080 | 0.012 | 0.018 | . | 0.0155 | ug/L | 0.86111 |  | tpe |  | 2016-03-02 | Abs 041415: 20 µl & ChemService 3851600: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-02-11 06:00 | 20160430111 | 0.012 | 0.018 | . | 0.0162 | ug/L | 0.9 | Y | tpe |  | 2016-04-14 | ChemService 3851600: 20 µl & Abs 040615: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-07-23 06:00 | 20152040177 | 0.012 | 0.01812 | . | 0.0266 | ug/L | 1.468 | Y | rcr |  | 2015-07-31 | Abs 041415: 20 µl & ERA 0406-15-01: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-08-06 06:00 | 20152190003 | 0.012 | 0.01812 | . | 0.0166 | ug/L | 0.91611 |  | rcr |  | 2015-08-19 | ERA 0406-15-01: 20 µl & Spex Organics EN150513008: 20 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-01-15 06:00 | 20150150115 | 0.012 | 0.024 | . | 0.0274 | ug/L | 1.1417 | Y | rcr |  | 2015-01-31 | Supelco LC06435: 30 µl & Abs 032714: 30 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-04-28 08:30 | 20161190075 | 0.012 | 0.026 | . | 0.0262 | ug/L | 1.0077 | Y | tpe |  | 2016-05-26 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-05-13 06:00 | 20161340228 | 0.012 | 0.026 | . | 0.0255 | ug/L | 0.98077 | Y | tpe |  | 2016-05-28 | Crescent 03FF076: 40 µl & NSI 041816: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-06-08 07:30 | 20161600087 | 0.012 | 0.026 | . | 0.0222 | ug/L | 0.85385 | W | sst |  | 2016-09-01 | NSI 041816: 40 µl & Crescent 03FF076: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-07-20 06:15 | 20162020124 | 0.012 | 0.026 | . | 0.0238 | ug/L | 0.91538 | Y | tbu |  | 2016-09-14 | Supelco LC20138V: 40 µl & NSI 041816: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-08-24 06:00 | 20162380004 | 0.012 | 0.03 | . | 0.0257 | ug/L | 0.85667 | Y | SSt |  | 2016-12-20 | Abs 060916: 40 µl & Phenova B20160331: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-05-07 07:00 | 20151270112 | 0.012 | 0.036 | . | 0.0294 | ug/L | 0.81667 | V | rcr |  | 2015-05-12 | Abs 041415: 40 µl & ChemService 3851600: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-06-04 07:00 | 20151550293 | 0.012 | 0.036 | . | 0.0272 | ug/L | 0.75556 | V | rcr |  | 2015-06-17 | ChemService 3851600: 40 µl & Abs 040615: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-05-05 07:00 | 20161260151 | 0.012 | 0.036 | . | 0.0344 | ug/L | 0.95556 | Y | tpe |  | 2016-05-19 | ChemService 3851600: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-12-09 06:00 | 20153440001 | 0.012 | 0.03624 | . | 0.0305 | ug/L | 0.84161 |  | rcr |  | 2016-02-08 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-12-17 06:00 | 20153510109 | 0.012 | 0.03624 | . | 0.0286 | ug/L | 0.78918 |  | rcr |  | 2016-02-09 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-03-03 06:00 | 20160630046 | 0.012 | 0.03624 | . | 0.0368 | ug/L | 1.0155 | Y | tpe |  | 2016-04-07 | Spex Organics EN150514012: 40 µl & ERA 0406-15-01: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-03-17 06:00 | 20160770090 | 0.012 | 0.03624 | . | 0.0325 | ug/L | 0.8968 | Y | tpe |  | 2016-04-19 | ERA 0406-15-01: 40 µl & Spex Organics EN150513008: 40 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-02-12 06:00 | 20150430092 | 0.012 | 0.04794 | . | 0.0431 | ug/L | 0.89904 | Y | rcr |  | 2015-02-21 | Spex Organics E1140407002: 60 µl & NSI 042814: 60 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2016-06-22 06:15 | 20161740258 | 0.012 | 0.052 | . | 0.0409 | ug/L | 0.78654 | Y | tpe |  | 2016-08-27 | ChemService 5054800: 80 µl & NSI 041816: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-09-03 06:00 | 20152460215 | 0.012 | 0.07248 | . | 0.0471 | ug/L | 0.64983 |  | rcr |  | 2015-09-17 | Spex Organics EN150514012: 80 µl & ERA 0406-15-01: 80 µl
2033 | PENDIMETHALIN | 82683GCM35 | 2015-09-17 06:00 | 20152610011 | 0.012 | 0.07248 | . | 0.059 | ug/L | 0.81402 |  | rcr |  | 2015-09-24 | ERA 0406-15-01: 80 µl & Abs 040615: 80 µl