## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-02-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.22833 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17518 | 1-NAPHTHOL | E | 0.04 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22833 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.11686 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.1797 | 1-NAPHTHOL | E | 0.04 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.11686 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.28364 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17276 | 1-NAPHTHOL | E | 0.04 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28364 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.68141 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17317 | 1-NAPHTHOL | E | 0.04 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68141 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.3654 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17241 | 1-NAPHTHOL | E | 0.04 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.3654 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-11-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.19546 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.17395 | 1-NAPHTHOL | E | 0.04 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.19546 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.31185 | 0.19939 | 0.25598 | 0.16994 | 0.12598
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.47476 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.058977 | 1-NAPHTHOL | E | 0.04 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47476 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.23051 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.060734 | 1-NAPHTHOL | E | 0.04 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.23051 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-03-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.16737 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.10157 | 1-NAPHTHOL | E | 0.04 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.16737 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.43201 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.060183 | 1-NAPHTHOL | E | 0.04 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43201 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.13566 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.09583 | 1-NAPHTHOL | E | 0.036 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.13566 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.66772 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.059906 | 1-NAPHTHOL | E | 0.036 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66771 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.35134 | 0.20823 | 0.33126 | 0.30739 | 0.22787
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-02-21 | 2005-03-04 | 2007-09-30 | ug/L | 0.4878 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.1599 | 1-NAPHTHOL | E | 0.0882 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.4878 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71442 | 0.19753 | 0.70394 | 0.28283 | 0.20966
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-05-21 | 2005-03-04 | 2007-09-30 | ug/L | 0.65822 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.031904 | 1-NAPHTHOL | E | 0.0882 | 0.021 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.65822 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.71442 | 0.19753 | 0.70394 | 0.28283 | 0.20966
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-08-08 | 2005-03-04 | 2007-09-30 | ug/L | 0.74966 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.15874 | 1-NAPHTHOL | E | 0.0882 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74966 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.71442 | 0.19753 | 0.70394 | 0.28283 | 0.20966
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-10-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.96201 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.032224 | 1-NAPHTHOL | E | 0.04 | 0.031 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96201 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.71442 | 0.19753 | 0.70394 | 0.28283 | 0.20966
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.48407 | Accu | 209081187 | Accu 209081187: 100 µl | 0.53918 | 1-NAPHTHOL | E | 0.036 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48407 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.54354 | Accu | 209081187 | Accu 209081187: 20 µl | 0.10873 | 1-NAPHTHOL | E | 0.036 | 0.0591 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54354 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.91253 | Accu | 209081187 | Accu 209081187: 20 µl | 0.11397 | 1-NAPHTHOL | E | 0.036 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91252 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.86841 | Accu | 209081187 | Accu 209081187: 40 µl | 0.22224 | 1-NAPHTHOL | E | 0.036 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86841 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-12-14 | 2010-10-01 | 2012-09-30 | ug/L | 0.93681 | Accu | 209081187 | Accu 209081187: 40 µl | 0.22096 | 1-NAPHTHOL | E | 0.036 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93681 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.74907 | 0.21718 | 0.86841 | 0.36899 | 0.27353
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-04-05 | 2005-03-04 | 2007-09-30 | ug/L | 0.62889 | Accu | B6070194 | Accu B6070194: 10 µl | 0.031802 | 1-NAPHTHOL | E | 0.0882 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.62889 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.56412 | 0.24635 | 0.65492 | 0.29781 | 0.22076
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-07-30 | 2005-03-04 | 2007-09-30 | ug/L | 0.68095 | Accu | B6070194 | Accu B6070194: 50 µl | 0.1586 | 1-NAPHTHOL | E | 0.0882 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68095 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56412 | 0.24635 | 0.65492 | 0.29781 | 0.22076
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-10-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.74511 | Accu | B6070194 | Accu B6070194: 10 µl | 0.03221 | 1-NAPHTHOL | E | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.74511 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.56412 | 0.24635 | 0.65492 | 0.29781 | 0.22076
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-12-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.20154 | Accu | B6070194 | Accu B6070194: 50 µl | 0.15877 | 1-NAPHTHOL | E | 0.04 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.20154 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.56412 | 0.24635 | 0.65492 | 0.29781 | 0.22076
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.41806 | Accu | B8090098 | Accu B8090098: 40 µl | 0.098072 | 1-NAPHTHOL | E | 0.04 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.41806 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.38164 | 0.13617 | 0.41806 | 0.0481 | 0.035656
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-03-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.15546 | Accu | B8090098 | Accu B8090098: 25 µl | 0.064324 | 1-NAPHTHOL | E | 0.04 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.15546 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.38164 | 0.13617 | 0.41806 | 0.0481 | 0.035656
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.43126 | Accu | B8090098 | Accu B8090098: 40 µl | 0.09739 | 1-NAPHTHOL | E | 0.04 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43126 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.38164 | 0.13617 | 0.41806 | 0.0481 | 0.035656
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.52028 | Accu | B8090098 | Accu B8090098: 25 µl | 0.059584 | 1-NAPHTHOL | E | 0.04 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52028 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.38164 | 0.13617 | 0.41806 | 0.0481 | 0.035656
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.38316 | Accu | B8090098 | Accu B8090098: 25 µl | 0.060028 | 1-NAPHTHOL | E | 0.036 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38316 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.38164 | 0.13617 | 0.41806 | 0.0481 | 0.035656
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.64126 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.11072 | 1-NAPHTHOL | E | 0.036 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64126 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.74754 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.21939 | 1-NAPHTHOL | E | 0.036 | 0.164 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74754 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-10-19 | 2010-10-01 | 2012-09-30 | ug/L | 0.98744 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.11039 | 1-NAPHTHOL | E | 0.036 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98744 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.79208 | 0.17734 | 0.74754 | 0.34618 | 0.25662
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-02-16 | 2005-03-04 | 2007-09-30 | ug/L | 0.73674 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | 1-NAPHTHOL | E | 0.0882 | 0.037 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73674 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-04-09 | 2005-03-04 | 2007-09-30 | ug/L | 0.26773 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 1-NAPHTHOL | E | 0.0882 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.26773 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-05-29 | 2005-03-04 | 2007-09-30 | ug/L | 0.2568 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | 1-NAPHTHOL | E | 0.0882 | 0.019 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.2568 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-08-15 | 2005-03-04 | 2007-09-30 | ug/L | 0.4042 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | 1-NAPHTHOL | E | 0.0882 | 0.03 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.4042 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.48763 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | 1-NAPHTHOL | E | 0.04 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.48763 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.64256 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 1-NAPHTHOL | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64256 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.46595 | 0.19588 | 0.44592 | 0.37483 | 0.27786
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.094369 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | 1-NAPHTHOL | E | 0.04 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.094369 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.33595 | 0.34165 | 0.33595 | 0.48317 | 0.35817
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.57754 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | 1-NAPHTHOL | E | 0.04 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57754 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.33595 | 0.34165 | 0.33595 | 0.48317 | 0.35817
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 0.29269 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | 1-NAPHTHOL | E | 0.04 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29269 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43354 | 0.16587 | 0.38481 | 0.21361 | 0.15835
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.40883 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | 1-NAPHTHOL | E | 0.04 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40883 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43354 | 0.16587 | 0.38481 | 0.21361 | 0.15835
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.36079 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | 1-NAPHTHOL | E | 0.04 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36079 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43354 | 0.16587 | 0.38481 | 0.21361 | 0.15835
1-NAPHTHOL | 2033 | 49295GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.67187 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 1-NAPHTHOL | E | 0.04 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67187 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.43354 | 0.16587 | 0.38481 | 0.21361 | 0.15835
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.69877 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 1-NAPHTHOL | E | 0.036 | 0.0271 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69877 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.72508 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 1-NAPHTHOL | E | 0.036 | 0.0294 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72508 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2010-12-16 | 2010-10-01 | 2012-09-30 | ug/L | 0.60353 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 1-NAPHTHOL | E | 0.036 | 0.0244 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60353 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.6758 | 0.063947 | 0.69877 | 0.12154 | 0.090098
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-20 | 2010-10-01 | 2012-09-30 | ug/L | 0.46373 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 1-NAPHTHOL | E | 0.036 | 0.0467 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.46373 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.46373 |  | 0.46373 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.17863 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | 1-NAPHTHOL | E | 0.04 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.17863 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21223 | 0.062671 | 0.21781 | 0.10471 | 0.077619
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.14112 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | 1-NAPHTHOL | E | 0.04 | 0.007 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14112 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21223 | 0.062671 | 0.21781 | 0.10471 | 0.077619
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.25698 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | 1-NAPHTHOL | E | 0.04 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.25698 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21223 | 0.062671 | 0.21781 | 0.10471 | 0.077619
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.27219 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | 1-NAPHTHOL | E | 0.04 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.27219 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.21223 | 0.062671 | 0.21781 | 0.10471 | 0.077619
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-09 | 2010-10-01 | 2012-09-30 | ug/L | 1.4934 | Restek | A075606 | Restek A075606: 40 µl | 0.052898 | 1-NAPHTHOL | E | 0.036 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4934 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.4503 | 0.061064 | 1.4503 | 0.086358 | 0.064016
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-28 | 2010-10-01 | 2012-09-30 | ug/L | 1.4071 | Restek | A075606 | Restek A075606: 80 µl | 0.10945 | 1-NAPHTHOL | E | 0.036 | 0.154 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4071 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.4503 | 0.061064 | 1.4503 | 0.086358 | 0.064016
1-NAPHTHOL | 2033 | 49295GCM39 | 2011-01-18 | 2010-10-01 | 2012-09-30 | ug/L | 1.2728 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.054288 | 1-NAPHTHOL | E | 0.036 | 0.0691 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2728 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.2728 |  | 1.2728 | 0 | 0
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.1723 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17411 | 1-NAPHTHOL | E | 0.04 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1723 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.27311 | 0.14804 | 0.21272 | 0.20347 | 0.15083
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.12688 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.18127 | 1-NAPHTHOL | E | 0.04 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12688 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.27311 | 0.14804 | 0.21272 | 0.20347 | 0.15083
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-05-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.21272 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17394 | 1-NAPHTHOL | E | 0.04 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.21272 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.27311 | 0.14804 | 0.21272 | 0.20347 | 0.15083
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.47789 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17368 | 1-NAPHTHOL | E | 0.04 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47789 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.27311 | 0.14804 | 0.21272 | 0.20347 | 0.15083
1-NAPHTHOL | 2033 | 49295GCM39 | 2008-10-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.37577 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.17032 | 1-NAPHTHOL | E | 0.04 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37577 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.27311 | 0.14804 | 0.21272 | 0.20347 | 0.15083