## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 1.1507 | Abs | 080610 | Abs 080610: 40 µl | 0.0086905 | 2,6-DIETHYLANILINE | . | 0.006 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1507 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2014 | 0.071715 | 1.2014 | 0.10142 | 0.075181
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.2521 | Abs | 080610 | Abs 080610: 80 µl | 0.017011 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0213 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2521 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2014 | 0.071715 | 1.2014 | 0.10142 | 0.075181
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 1.2554 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0077265 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2554 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1396 | 0.16382 | 1.1396 | 0.23168 | 0.17174
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 1.0237 | Accu | 210061341 | Accu 210061341: 80 µl | 0.015922 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1396 | 0.16382 | 1.1396 | 0.23168 | 0.17174
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-01-07 | 2006-10-01 | 2008-09-30 | ug/L | 1.0544 | Accu | B7070106 | Accu B7070106: 50 µl | 0.09579 | 2,6-DIETHYLANILINE | . | 0.006 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0544 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-01-22 | 2006-10-01 | 2008-09-30 | ug/L | 0.98776 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096177 | 2,6-DIETHYLANILINE | . | 0.006 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98776 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-01-28 | 2006-10-01 | 2008-09-30 | ug/L | 1.1108 | Accu | B7070106 | Accu B7070106: 50 µl | 0.097229 | 2,6-DIETHYLANILINE | . | 0.006 | 0.108 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1108 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-02-05 | 2006-10-01 | 2008-09-30 | ug/L | 1.067 | Accu | B7070106 | Accu B7070106: 50 µl | 0.095597 | 2,6-DIETHYLANILINE | . | 0.006 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-02-07 | 2006-10-01 | 2008-09-30 | ug/L | 0.99468 | Accu | B7070106 | Accu B7070106: 50 µl | 0.097518 | 2,6-DIETHYLANILINE | . | 0.006 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99468 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.0518 | Accu | B7070106 | Accu B7070106: 50 µl | 0.096022 | 2,6-DIETHYLANILINE | . | 0.006 | 0.101 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0518 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0444 | 0.04637 | 1.0531 | 0.072295 | 0.053591
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-02-13 | 2006-10-01 | 2008-09-30 | ug/L | 0.76527 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0078404 | 2,6-DIETHYLANILINE | E | 0.006 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76527 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.89619 | 0.13155 | 0.89494 | 0.26309 | 0.19503
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-02-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.89494 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.039109 | 2,6-DIETHYLANILINE | . | 0.006 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89494 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89619 | 0.13155 | 0.89494 | 0.26309 | 0.19503
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-03-05 | 2006-10-01 | 2008-09-30 | ug/L | 1.0284 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0077794 | 2,6-DIETHYLANILINE | . | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0284 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89619 | 0.13155 | 0.89494 | 0.26309 | 0.19503
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-12-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.1286 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.0088609 | 2,6-DIETHYLANILINE | . | 0.006 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1286 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1024 | 0.070278 | 1.11 | 0.069389 | 0.051437
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-02-18 | 2008-10-01 | 2009-09-30 | ug/L | 1.0147 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.014783 | 2,6-DIETHYLANILINE | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0147 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1024 | 0.070278 | 1.11 | 0.069389 | 0.051437
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-04-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.0592 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.014162 | 2,6-DIETHYLANILINE | . | 0.006 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0592 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1024 | 0.070278 | 1.11 | 0.069389 | 0.051437
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-08-12 | 2008-10-01 | 2009-09-30 | ug/L | 1.11 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.009009 | 2,6-DIETHYLANILINE | . | 0.006 | 0.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.11 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1024 | 0.070278 | 1.11 | 0.069389 | 0.051437
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.1996 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.0091696 | 2,6-DIETHYLANILINE | . | 0.006 | 0.011 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1996 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1024 | 0.070278 | 1.11 | 0.069389 | 0.051437
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.1096 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.015952 | 2,6-DIETHYLANILINE | E | 0.006 | 0.0177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1096 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1589 | 0.10997 | 1.1096 | 0.20264 | 0.15021
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 1.0823 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.016262 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0823 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1589 | 0.10997 | 1.1096 | 0.20264 | 0.15021
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.2849 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.0083273 | 2,6-DIETHYLANILINE | E | 0.006 | 0.0107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2849 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 1.1589 | 0.10997 | 1.1096 | 0.20264 | 0.15021
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-03-01 | 2006-10-01 | 2008-09-30 | ug/L | 1.006 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.094435 | 2,6-DIETHYLANILINE | . | 0.006 | 0.095 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.006 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-04-10 | 2006-10-01 | 2008-09-30 | ug/L | 0.82897 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.094093 | 2,6-DIETHYLANILINE | . | 0.006 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82897 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-05-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.88779 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.092364 | 2,6-DIETHYLANILINE | . | 0.006 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88779 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-07-18 | 2006-10-01 | 2008-09-30 | ug/L | 0.81714 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.091784 | 2,6-DIETHYLANILINE | . | 0.006 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81714 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-09-26 | 2006-10-01 | 2008-09-30 | ug/L | 0.98451 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.091416 | 2,6-DIETHYLANILINE | . | 0.006 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98451 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.91327 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.093072 | 2,6-DIETHYLANILINE | . | 0.006 | 0.085 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91327 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.90628 | 0.077942 | 0.90053 | 0.15554 | 0.1153
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-06-18 | 2008-10-01 | 2009-09-30 | ug/L | 0.2225 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.0089887 | 2,6-DIETHYLANILINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.2225 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.21835 | 0.061304 | 0.22255 | 0.074892 | 0.055517
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.1393 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.014357 | 2,6-DIETHYLANILINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.1393 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.21835 | 0.061304 | 0.22255 | 0.074892 | 0.055517
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.22259 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.008985 | 2,6-DIETHYLANILINE | E | 0.006 | 0.002 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.22259 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.21835 | 0.061304 | 0.22255 | 0.074892 | 0.055517
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.28899 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.013841 | 2,6-DIETHYLANILINE | E | 0.006 | 0.004 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.28899 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.21835 | 0.061304 | 0.22255 | 0.074892 | 0.055517
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 0.95578 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | 2,6-DIETHYLANILINE | . | 0.006 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95578 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 0.84336 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2,6-DIETHYLANILINE | . | 0.006 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84336 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 0.9326 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | 2,6-DIETHYLANILINE | . | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9326 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 1.0105 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | 2,6-DIETHYLANILINE | . | 0.006 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0105 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | 2,6-DIETHYLANILINE | . | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 1.0843 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2,6-DIETHYLANILINE | . | 0.006 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0843 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.97036 | 0.081242 | 0.97568 | 0.077896 | 0.057743
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.93021 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | 2,6-DIETHYLANILINE | . | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93021 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96443 | 0.048397 | 0.96443 | 0.068444 | 0.050736
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.99866 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | 2,6-DIETHYLANILINE | . | 0.006 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99866 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96443 | 0.048397 | 0.96443 | 0.068444 | 0.050736
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.0244 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | 2,6-DIETHYLANILINE | . | 0.006 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0244 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97236 | 0.052235 | 0.98237 | 0.068515 | 0.05079
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.97591 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | 2,6-DIETHYLANILINE | . | 0.006 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97591 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97236 | 0.052235 | 0.98237 | 0.068515 | 0.05079
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.98884 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | 2,6-DIETHYLANILINE | . | 0.006 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98884 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97236 | 0.052235 | 0.98237 | 0.068515 | 0.05079
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.9003 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 2,6-DIETHYLANILINE | . | 0.006 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9003 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97236 | 0.052235 | 0.98237 | 0.068515 | 0.05079
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.96436 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0374 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96436 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97679 | 0.011317 | 0.97951 | 0.02214 | 0.016412
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.9865 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 2,6-DIETHYLANILINE | . | 0.006 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9865 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97679 | 0.011317 | 0.97951 | 0.02214 | 0.016412
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.97951 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0396 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97951 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.97679 | 0.011317 | 0.97951 | 0.02214 | 0.016412
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 2,6-DIETHYLANILINE | . | 0.006 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0526 |  | 1.0526 | 0 | 0
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.87331 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | 2,6-DIETHYLANILINE | . | 0.006 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87331 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90146 | 0.049176 | 0.90618 | 0.082893 | 0.061448
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.84672 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | 2,6-DIETHYLANILINE | . | 0.006 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84672 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90146 | 0.049176 | 0.90618 | 0.082893 | 0.061448
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 0.94677 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | 2,6-DIETHYLANILINE | . | 0.006 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94677 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90146 | 0.049176 | 0.90618 | 0.082893 | 0.061448
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.93904 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | 2,6-DIETHYLANILINE | . | 0.006 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93904 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.90146 | 0.049176 | 0.90618 | 0.082893 | 0.061448
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.61758 | Restek | A069639 | Restek A069639: 20 µl | 0.0079341 | 2,6-DIETHYLANILINE | E | 0.006 | 0.0049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61759 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.73352 | 0.17027 | 0.65396 | 0.31142 | 0.23085
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.92901 | Restek | A069639 | Restek A069639: 100 µl | 0.04155 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0386 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92901 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73352 | 0.17027 | 0.65396 | 0.31142 | 0.23085
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.65397 | Restek | A069639 | Restek A069639: 40 µl | 0.015903 | 2,6-DIETHYLANILINE | . | 0.006 | 0.0104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65396 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.73352 | 0.17027 | 0.65396 | 0.31142 | 0.23085
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-04-19 | 2006-10-01 | 2008-09-30 | ug/L | 1.012 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0079051 | 2,6-DIETHYLANILINE | . | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.012 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.061846 | 1.0907 | 0.10401 | 0.077099
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-06-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.0482 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.040068 | 2,6-DIETHYLANILINE | . | 0.006 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0482 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.061846 | 1.0907 | 0.10401 | 0.077099
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-08-31 | 2006-10-01 | 2008-09-30 | ug/L | 1.1331 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0079428 | 2,6-DIETHYLANILINE | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1331 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.061846 | 1.0907 | 0.10401 | 0.077099
2,6-DIETHYLANILINE | 2033 | 82660GCM35 | 2007-11-13 | 2006-10-01 | 2008-09-30 | ug/L | 1.1351 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0079286 | 2,6-DIETHYLANILINE | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1351 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0821 | 0.061846 | 1.0907 | 0.10401 | 0.077099