## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-01-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.92277 | Accu | B7070106 | Accu B7070106: 50 µl | 0.060687 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.056 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92277 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-01-22 | 2007-10-01 | 2009-09-30 | ug/L | 0.93546 | Accu | B7070106 | Accu B7070106: 50 µl | 0.060932 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93546 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 1.0714 | Accu | B7070106 | Accu B7070106: 50 µl | 0.061599 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0714 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-02-05 | 2007-10-01 | 2009-09-30 | ug/L | 1.0072 | Accu | B7070106 | Accu B7070106: 50 µl | 0.060565 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0072 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-02-07 | 2007-10-01 | 2009-09-30 | ug/L | 0.97115 | Accu | B7070106 | Accu B7070106: 50 µl | 0.061782 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97115 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-02-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.2 | Accu | B7070106 | Accu B7070106: 50 µl | 0.060834 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.018 | 0.10409 | 0.98917 | 0.13598 | 0.1008
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-02-13 | 2006-04-01 | 2007-09-30 | ug/L | 1.07 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.02243 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.07 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0946 | 0.026904 | 1.0904 | 0.053324 | 0.039528
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-02-21 | 2006-04-01 | 2007-09-30 | ug/L | 1.0904 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.11188 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.122 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0904 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0946 | 0.026904 | 1.0904 | 0.053324 | 0.039528
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-03-05 | 2006-04-01 | 2007-09-30 | ug/L | 1.1233 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.022255 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1233 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0946 | 0.026904 | 1.0904 | 0.053324 | 0.039528
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-12-11 | 2007-10-01 | 2009-09-30 | ug/L | 1.0958 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.059319 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0958 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.182 | 0.18066 | 1.0958 | 0.065909 | 0.048858
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-02-18 | 2007-10-01 | 2009-09-30 | ug/L | 1.061 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.098963 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.061 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.182 | 0.18066 | 1.0958 | 0.065909 | 0.048858
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-04-30 | 2007-10-01 | 2009-09-30 | ug/L | 1.1602 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.094807 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1602 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.182 | 0.18066 | 1.0958 | 0.065909 | 0.048858
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.0943 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.06031 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0943 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.182 | 0.18066 | 1.0958 | 0.065909 | 0.048858
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.4987 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.061386 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4987 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.182 | 0.18066 | 1.0958 | 0.065909 | 0.048858
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-03-01 | 2007-10-01 | 2009-09-30 | ug/L | 1.0237 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.05959 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.061 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0237 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-04-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.69054 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.059374 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69054 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-05-12 | 2007-10-01 | 2009-09-30 | ug/L | 1.0123 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.058283 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0123 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-07-18 | 2007-10-01 | 2009-09-30 | ug/L | 0.86331 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.057917 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.05 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8633 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-09-26 | 2007-10-01 | 2009-09-30 | ug/L | 0.98813 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.057685 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.057 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98813 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-11-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.78325 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.05873 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78325 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.89353 | 0.13731 | 0.92572 | 0.22905 | 0.16979
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.1573 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.084336 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0976 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1573 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1573 |  | 1.1573 | 0 | 0
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-02-16 | 2006-04-01 | 2007-09-30 | ug/L | 0.97569 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97569 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-04-09 | 2006-04-01 | 2007-09-30 | ug/L | 0.8032 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8032 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-05-29 | 2006-04-01 | 2007-09-30 | ug/L | 1.0272 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0272 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-08-15 | 2006-04-01 | 2007-09-30 | ug/L | 0.86229 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86229 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.95495 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95495 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.97723 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97723 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93343 | 0.083646 | 0.96532 | 0.11493 | 0.085199
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.119 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.119 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2453 | 0.17868 | 1.2453 | 0.2527 | 0.18732
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 1.3716 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.114 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3716 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.2453 | 0.17868 | 1.2453 | 0.2527 | 0.18732
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.4102 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.4102 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2149 | 0.18437 | 1.241 | 0.24639 | 0.18265
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.266 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.266 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2149 | 0.18437 | 1.241 | 0.24639 | 0.18265
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.216 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.216 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2149 | 0.18437 | 1.241 | 0.24639 | 0.18265
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.96749 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96749 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.2149 | 0.18437 | 1.241 | 0.24639 | 0.18265
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.0005 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0388 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0005 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1156 | 0.1151 | 1.1155 | 0.2302 | 0.17064
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2307 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0499 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2307 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1156 | 0.1151 | 1.1155 | 0.2302 | 0.17064
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.1155 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1155 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.1156 | 0.1151 | 1.1155 | 0.2302 | 0.17064
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.1221 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1221 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.1221 |  | 1.1221 | 0 | 0
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 1.0321 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0321 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98658 | 0.077711 | 0.98981 | 0.12743 | 0.094464
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.94752 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94752 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98658 | 0.077711 | 0.98981 | 0.12743 | 0.094464
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.0685 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0685 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98658 | 0.077711 | 0.98981 | 0.12743 | 0.094464
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.89822 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89822 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.98658 | 0.077711 | 0.98981 | 0.12743 | 0.094464
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.045 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.079231 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0828 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.045 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1338 | 0.12553 | 1.1338 | 0.17752 | 0.1316
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2226 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.039916 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.0488 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2226 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1338 | 0.12553 | 1.1338 | 0.17752 | 0.1316
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-04-19 | 2006-04-01 | 2007-09-30 | ug/L | 1.0116 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.022737 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0116 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0979 | 0.060188 | 1.12 | 0.08232 | 0.061023
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-06-13 | 2006-04-01 | 2007-09-30 | ug/L | 1.102 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.11525 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.102 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0979 | 0.060188 | 1.12 | 0.08232 | 0.061023
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-08-31 | 2006-04-01 | 2007-09-30 | ug/L | 1.1381 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.022846 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.0065 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1381 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0979 | 0.060188 | 1.12 | 0.08232 | 0.061023
2-CHLORO-2,6-DIETHYLACETANILIDE | 2033 | 61618GCM39 | 2007-11-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.1401 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.022805 | 2-CHLORO-2,6-DIETHYLACETANILIDE | . | 0.01 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1401 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.0979 | 0.060188 | 1.12 | 0.08232 | 0.061023