## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-12-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.93757 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.038397 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.036 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93757 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.94959 | 0.068036 | 0.94777 | 0.045898 | 0.034024
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-02-18 | 2006-04-01 | 2009-09-30 | ug/L | 0.98347 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.064059 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.063 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98347 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.94959 | 0.068036 | 0.94777 | 0.045898 | 0.034024
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-04-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.84733 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.061369 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84733 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.94959 | 0.068036 | 0.94777 | 0.045898 | 0.034024
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-08-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.94777 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.039039 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94777 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.94959 | 0.068036 | 0.94777 | 0.045898 | 0.034024
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.0318 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.039735 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0318 | ChemService 406-99B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.94959 | 0.068036 | 0.94777 | 0.045898 | 0.034024
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-03-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.14301 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.041954 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.14301 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11369 | 0.019973 | 0.10087 | 0.025754 | 0.019091
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-06-18 | 2006-04-01 | 2009-09-30 | ug/L | 0.12604 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039671 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.005 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.12604 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11369 | 0.019973 | 0.10087 | 0.025754 | 0.019091
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-09-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.10028 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039887 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.004 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10028 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11369 | 0.019973 | 0.10087 | 0.025754 | 0.019091
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.10087 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.039655 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.004 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.10087 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11369 | 0.019973 | 0.10087 | 0.025754 | 0.019091
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.098222 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.061086 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.006 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.098222 | ERA 0804-08-02PEST | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.11369 | 0.019973 | 0.10087 | 0.025754 | 0.019091
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.85816 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.11163 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85816 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.84039 | 0.017362 | 0.84344 | 0.021316 | 0.015802
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.84294 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.053029 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0447 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84294 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.84039 | 0.017362 | 0.84344 | 0.021316 | 0.015802
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.81653 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.055234 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0451 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81653 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.84039 | 0.017362 | 0.84344 | 0.021316 | 0.015802
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.84394 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.27253 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.23 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84394 | NSI 090109-01Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.84039 | 0.017362 | 0.84344 | 0.021316 | 0.015802
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.89604 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89604 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.77643 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77643 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.90557 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90557 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.86229 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86229 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 1.0308 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0308 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.91111 | 0.091908 | 0.90081 | 0.13329 | 0.098806
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.91673 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91673 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.93363 | 0.023898 | 0.93363 | 0.033797 | 0.025053
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.95053 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.079 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95053 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.93363 | 0.023898 | 0.93363 | 0.033797 | 0.025053
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.95789 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95789 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.93912 | 0.04881 | 0.94712 | 0.068475 | 0.05076
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.93635 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93635 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.93912 | 0.04881 | 0.94712 | 0.068475 | 0.05076
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.98884 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98884 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.93912 | 0.04881 | 0.94712 | 0.068475 | 0.05076
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.87343 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87343 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.93912 | 0.04881 | 0.94712 | 0.068475 | 0.05076
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.84833 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0329 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84833 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.90765 | 0.051597 | 0.93251 | 0.09378 | 0.069518
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.94211 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0382 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94211 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.90765 | 0.051597 | 0.93251 | 0.09378 | 0.069518
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.93251 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.0377 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93251 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.90765 | 0.051597 | 0.93251 | 0.09378 | 0.069518
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.97413 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.0981 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97413 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.97413 |  | 0.97413 | 0 | 0
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.85346 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85346 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89818 | 0.046226 | 0.8933 | 0.076016 | 0.05635
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.86688 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86688 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89818 | 0.046226 | 0.8933 | 0.076016 | 0.05635
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.91972 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.068 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91972 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89818 | 0.046226 | 0.8933 | 0.076016 | 0.05635
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.95265 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95265 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.89818 | 0.046226 | 0.8933 | 0.076016 | 0.05635
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-04-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.7105 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.019704 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7105 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.92626 | 0.24919 | 0.85434 | 0.2933 | 0.21742
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-07-06 | 2006-04-01 | 2009-09-30 | ug/L | 1.2859 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.0038884 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.005 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2859 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.92626 | 0.24919 | 0.85434 | 0.2933 | 0.21742
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-09-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.84872 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.02003 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84873 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.92626 | 0.24919 | 0.85434 | 0.2933 | 0.21742
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-11-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.85995 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.019769 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85995 | Protocol F1060908012 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.92626 | 0.24919 | 0.85434 | 0.2933 | 0.21742
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.90306 | Restek | A053526 | Restek A053526: 50 µl | 0.050938 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90306 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.81294 | Restek | A053526 | Restek A053526: 50 µl | 0.050434 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81294 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-05-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.91226 | Restek | A053526 | Restek A053526: 50 µl | 0.050424 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91226 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.85598 | Restek | A053526 | Restek A053526: 50 µl | 0.052571 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85598 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-08-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.82235 | Restek | A053526 | Restek A053526: 50 µl | 0.049857 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82236 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2008-10-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.95126 | Restek | A053526 | Restek A053526: 50 µl | 0.05046 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.048 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95126 | Restek A053526 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.87631 | 0.054708 | 0.87952 | 0.089902 | 0.066643
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.87844 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.039616 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.0348 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87844 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.043 | 0.2327 | 1.043 | 0.32909 | 0.24395
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.2075 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.019958 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.0241 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2075 | Spex Organics T1100628017 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 1.043 | 0.2327 | 1.043 | 0.32909 | 0.24395
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.80408 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.05298 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0426 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80408 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.86988 | 0.062013 | 0.86593 | 0.0993 | 0.07361
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 0.89549 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.052708 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0472 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89549 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.86988 | 0.062013 | 0.86593 | 0.0993 | 0.07361
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.83637 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.10378 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0868 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83637 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.86988 | 0.062013 | 0.86593 | 0.0993 | 0.07361
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.94356 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.10588 | 2-ETHYL-6-METHYLANILINE | E | 0.0098 | 0.0999 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94356 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.86988 | 0.062013 | 0.86593 | 0.0993 | 0.07361
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-02-13 | 2006-04-01 | 2009-09-30 | ug/L | 1.0108 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.018797 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0108 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0278 | 0.03007 | 1.0108 | 0.052429 | 0.038865
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-02-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.0625 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.0037646 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.004 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0625 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.0278 | 0.03007 | 1.0108 | 0.052429 | 0.038865
2-ETHYL-6-METHYLANILINE | 2033 | 61620GCM39 | 2007-03-08 | 2006-04-01 | 2009-09-30 | ug/L | 1.0101 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.01881 | 2-ETHYL-6-METHYLANILINE | E | 0.01 | 0.019 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0101 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 1.0278 | 0.03007 | 1.0108 | 0.052429 | 0.038865