## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-07 | 2010-10-01 | 2011-09-30 | ug/L | 0.65724 | Abs | 080610 | Abs 080610: 40 µl | 0.01978 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65724 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72636 | 0.097758 | 0.72636 | 0.13825 | 0.10248
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-28 | 2010-10-01 | 2011-09-30 | ug/L | 0.79549 | Abs | 080610 | Abs 080610: 80 µl | 0.038718 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0308 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79549 | Abs 080610 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72636 | 0.097758 | 0.72636 | 0.13825 | 0.10248
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-12 | 2010-10-01 | 2011-09-30 | ug/L | 0.83853 | Accu | 210061341 | Accu 210061341: 40 µl | 0.0192 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83853 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72255 | 0.16401 | 0.72255 | 0.23195 | 0.17194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-02-01 | 2010-10-01 | 2011-09-30 | ug/L | 0.60658 | Accu | 210061341 | Accu 210061341: 80 µl | 0.039566 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60658 | Accu 210061341 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.72255 | 0.16401 | 0.72255 | 0.23195 | 0.17194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-01-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.62759 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13225 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62759 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-01-22 | 2006-04-01 | 2009-09-30 | ug/L | 0.56481 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13279 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56481 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.68534 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13424 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68534 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-02-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.6137 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13199 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6137 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-02-07 | 2006-04-01 | 2009-09-30 | ug/L | 0.49763 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13464 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49763 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-02-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.61853 | Accu | B7070106 | Accu B7070106: 50 µl | 0.13257 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61853 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.60127 | 0.063693 | 0.61611 | 0.062775 | 0.046535
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-02-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.62975 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.019055 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62975 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.64261 | 0.092109 | 0.62975 | 0.18287 | 0.13556
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.5576 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.095049 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5576 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.64261 | 0.092109 | 0.62975 | 0.18287 | 0.13556
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-03-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.74047 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.018907 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.014 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74047 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.64261 | 0.092109 | 0.62975 | 0.18287 | 0.13556
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.65877 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.090927 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0599 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65877 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.74008 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.092692 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0686 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.74008 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.81954 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.047465 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0389 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81954 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.73947 | 0.08039 | 0.74008 | 0.16078 | 0.11918
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-12-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.77868 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.026969 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77868 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-01-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.66232 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.043785 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66232 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-01-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.75658 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.044939 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75658 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-01-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.89591 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.027905 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89591 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-06-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.72553 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.027566 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72553 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-07-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.72262 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.044283 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72262 | Crescent 08HH019 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.75694 | 0.078617 | 0.74105 | 0.056062 | 0.041558
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-03-01 | 2006-04-01 | 2009-09-30 | ug/L | 0.50446 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.13281 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50446 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-04-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.6801 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.13233 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.09 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6801 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-05-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.64664 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.1299 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64664 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-07-18 | 2006-04-01 | 2009-09-30 | ug/L | 0.57326 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.12909 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.074 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57326 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-09-26 | 2006-04-01 | 2009-09-30 | ug/L | 0.62224 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.12857 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62224 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-11-06 | 2006-04-01 | 2009-09-30 | ug/L | 0.53477 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.1309 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53477 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.59358 | 0.067729 | 0.59775 | 0.11187 | 0.08293
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.43806 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.43806 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.44176 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44176 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.60822 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60822 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.44462 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.033 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.44462 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.50795 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50795 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.53547 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53547 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.49601 | 0.068165 | 0.47629 | 0.093707 | 0.069464
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 0.53925 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.53925 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.6727 | 0.18872 | 0.6727 | 0.26689 | 0.19784
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.80614 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.067 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80614 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.6727 | 0.18872 | 0.6727 | 0.26689 | 0.19784
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 0.77163 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77163 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67246 | 0.091037 | 0.68364 | 0.11249 | 0.083388
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.68578 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.052 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68578 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67246 | 0.091037 | 0.68364 | 0.11249 | 0.083388
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.6815 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6815 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67246 | 0.091037 | 0.68364 | 0.11249 | 0.083388
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.55093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.55093 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.67246 | 0.091037 | 0.68364 | 0.11249 | 0.083388
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.79934 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79934 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.84839 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0344 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84839 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 0.79152 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79152 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.81308 | 0.030826 | 0.79934 | 0.056869 | 0.042156
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.66034 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0665 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66035 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.66035 |  | 0.66035 | 0 | 0
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.59544 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59544 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64233 | 0.069793 | 0.64044 | 0.11763 | 0.087194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.68544 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68544 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64233 | 0.069793 | 0.64044 | 0.11763 | 0.087194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.71684 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71684 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64233 | 0.069793 | 0.64044 | 0.11763 | 0.087194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.57159 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.042 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57159 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64233 | 0.069793 | 0.64044 | 0.11763 | 0.087194
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-01-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.66522 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.043595 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.029 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66522 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.70273 | 0.12247 | 0.73069 | 0.09246 | 0.06854
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.75768 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.029036 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75768 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.70273 | 0.12247 | 0.73069 | 0.09246 | 0.06854
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.84397 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.027252 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84397 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.70273 | 0.12247 | 0.73069 | 0.09246 | 0.06854
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-07-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.51609 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.044566 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51609 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.70273 | 0.12247 | 0.73069 | 0.09246 | 0.06854
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2009-09-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.73069 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.043794 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73069 | Protocol D1080908018 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.70273 | 0.12247 | 0.73069 | 0.09246 | 0.06854
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.36706 | Restek | A069639 | Restek A069639: 20 µl | 0.045225 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0166 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36706 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.57605 | Restek | A069639 | Restek A069639: 20 µl | 0.045829 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.0264 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57605 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 0.6798 | Restek | A069639 | Restek A069639: 100 µl | 0.23683 | 4-CHLORO-2-METHYLPHENOL | E | 0.0032 | 0.161 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6798 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2010-10-18 | 2010-10-01 | 2011-09-30 | ug/L | 0.82518 | Restek | A069639 | Restek A069639: 40 µl | 0.090647 | 4-CHLORO-2-METHYLPHENOL | E | 0.0046 | 0.0748 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82518 | Restek A069639 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.61202 | 0.19264 | 0.62793 | 0.28094 | 0.20825
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-04-19 | 2006-04-01 | 2009-09-30 | ug/L | 0.63916 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.018775 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63916 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64904 | 0.027785 | 0.63764 | 0.031448 | 0.023312
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-06-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.63051 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.095162 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.06 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63051 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64904 | 0.027785 | 0.63764 | 0.031448 | 0.023312
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-08-31 | 2006-04-01 | 2009-09-30 | ug/L | 0.63613 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.018864 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.012 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63613 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64904 | 0.027785 | 0.63764 | 0.031448 | 0.023312
4-CHLORO-2-METHYLPHENOL | 2033 | 61633GCM39 | 2007-11-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.69037 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.018831 | 4-CHLORO-2-METHYLPHENOL | E | 0.005 | 0.013 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69037 | Supelco LB41176 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.64904 | 0.027785 | 0.63764 | 0.031448 | 0.023312