## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ACETOCHLOR | 2033 | 49260GCM33 | 2008-01-07 | 2005-03-04 | 2008-09-30 | ug/L | 0.96272 | Accu | B7070106 | Accu B7070106: 50 µl | 0.02493 | ACETOCHLOR | . | 0.006 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96271 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2008-01-22 | 2005-03-04 | 2008-09-30 | ug/L | 0.95884 | Accu | B7070106 | Accu B7070106: 50 µl | 0.02503 | ACETOCHLOR | . | 0.006 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95884 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2008-01-28 | 2005-03-04 | 2008-09-30 | ug/L | 1.067 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025304 | ACETOCHLOR | . | 0.006 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.067 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2008-02-05 | 2005-03-04 | 2008-09-30 | ug/L | 1.0852 | Accu | B7070106 | Accu B7070106: 50 µl | 0.024879 | ACETOCHLOR | . | 0.006 | 0.027 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0852 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2008-02-07 | 2005-03-04 | 2008-09-30 | ug/L | 0.94565 | Accu | B7070106 | Accu B7070106: 50 µl | 0.025379 | ACETOCHLOR | . | 0.006 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94565 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2008-02-13 | 2005-03-04 | 2008-09-30 | ug/L | 1.2405 | Accu | B7070106 | Accu B7070106: 50 µl | 0.02499 | ACETOCHLOR | . | 0.006 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2405 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0433 | 0.11347 | 1.0149 | 0.1264 | 0.093697
ACETOCHLOR | 2033 | 49260GCM33 | 2007-02-13 | 2005-03-04 | 2008-09-30 | ug/L | 1.9592 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0035728 | ACETOCHLOR | E | 0.006 | 0.007 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.9592 | ChemService 363-126A | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.6938 | 0.49544 | 1.9592 | 0.87778 | 0.65069
ACETOCHLOR | 2033 | 49260GCM33 | 2007-02-21 | 2005-03-04 | 2008-09-30 | ug/L | 1.1222 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.017822 | ACETOCHLOR | . | 0.006 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1222 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.6938 | 0.49544 | 1.9592 | 0.87778 | 0.65069
ACETOCHLOR | 2033 | 49260GCM33 | 2007-03-05 | 2005-03-04 | 2008-09-30 | ug/L | 2.2567 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.0035451 | ACETOCHLOR | . | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 1 |  | 3 | 1.6938 | 0.49544 | 1.9592 | 0.87778 | 0.65069 | 2
ACETOCHLOR | 2033 | 49260GCM33 | 2008-12-08 | 2008-10-01 | 2009-09-30 | ug/L | 1.0197 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.17162 | ACETOCHLOR | . | 0.01 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0197 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2009-01-14 | 2008-10-01 | 2009-09-30 | ug/L | 0.93671 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.27863 | ACETOCHLOR | . | 0.01 | 0.261 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93671 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2009-01-29 | 2008-10-01 | 2009-09-30 | ug/L | 1.042 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.28598 | ACETOCHLOR | . | 0.01 | 0.298 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.042 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2009-01-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.3515 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.17757 | ACETOCHLOR | . | 0.01 | 0.24 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3515 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2009-06-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.1002 | Crescent | 08HH019 | Crescent 08HH019: 25 µl | 0.17542 | ACETOCHLOR | . | 0.01 | 0.193 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1002 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2009-07-23 | 2008-10-01 | 2009-09-30 | ug/L | 1.1107 | Crescent | 08HH019 | Crescent 08HH019: 40 µl | 0.2818 | ACETOCHLOR | . | 0.01 | 0.313 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1107 | Crescent 08HH019 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.0935 | 0.14114 | 1.0711 | 0.091003 | 0.06746
ACETOCHLOR | 2033 | 49260GCM33 | 2008-03-01 | 2005-03-04 | 2008-09-30 | ug/L | 1.0095 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.025755 | ACETOCHLOR | . | 0.006 | 0.026 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0095 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2008-04-10 | 2005-03-04 | 2008-09-30 | ug/L | 0.66247 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.025662 | ACETOCHLOR | . | 0.006 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66247 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2008-05-12 | 2005-03-04 | 2008-09-30 | ug/L | 0.91305 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.02519 | ACETOCHLOR | . | 0.006 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91305 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2008-07-18 | 2005-03-04 | 2008-09-30 | ug/L | 0.79898 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.025032 | ACETOCHLOR | . | 0.006 | 0.02 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79898 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2008-09-26 | 2005-03-04 | 2008-09-30 | ug/L | 0.92253 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.024932 | ACETOCHLOR | . | 0.006 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92252 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.82732 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.025383 | ACETOCHLOR | . | 0.01 | 0.021 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82732 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.85564 | 0.12064 | 0.87019 | 0.12354 | 0.091582
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 1.0118 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.094679 | ACETOCHLOR | E | 0.01 | 0.0958 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0118 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 1.0118 |  | 1.0118 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2010-02-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.71945 | NSI | 090109-01Pest | NSI 090109-01Pest: 40 µl | 0.051845 | ACETOCHLOR | . | 0.01 | 0.0373 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71945 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-03-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.58065 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.024628 | ACETOCHLOR | . | 0.01 | 0.0143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58065 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-08-03 | 2009-10-01 | 2010-09-30 | ug/L | 1.0604 | NSI | 090109-01Pest | NSI 090109-01Pest: 20 µl | 0.025652 | ACETOCHLOR | . | 0.01 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0604 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2010-10-27 | 2010-10-01 | 2050-09-30 | ug/L | 0.60994 | NSI | 090109-01Pest | NSI 090109-01Pest: 100 µl | 0.12657 | ACETOCHLOR | . | 0.01 | 0.0772 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60994 | NSI 090109-01Pest | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.7426 | 0.2201 | 0.6647 | 0.29461 | 0.21839
ACETOCHLOR | 2033 | 49260GCM33 | 2007-02-16 | 2005-03-04 | 2008-09-30 | ug/L | 1.0553 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ACETOCHLOR | . | 0.006 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0553 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2007-04-09 | 2005-03-04 | 2008-09-30 | ug/L | 0.96384 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ACETOCHLOR | . | 0.006 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96384 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2007-05-29 | 2005-03-04 | 2008-09-30 | ug/L | 1.1218 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ACETOCHLOR | . | 0.006 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1218 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2007-08-15 | 2005-03-04 | 2008-09-30 | ug/L | 1.0509 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ACETOCHLOR | . | 0.006 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0509 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2007-10-30 | 2005-03-04 | 2008-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ACETOCHLOR | . | 0.006 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2007-12-14 | 2005-03-04 | 2008-09-30 | ug/L | 1.1245 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ACETOCHLOR | . | 0.006 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1245 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.052 | 0.064956 | 1.0531 | 0.12624 | 0.093584
ACETOCHLOR | 2033 | 49260GCM33 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.0111 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ACETOCHLOR | . | 0.01 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0111 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1854 | 0.24644 | 1.1854 | 0.34852 | 0.25835
ACETOCHLOR | 2033 | 49260GCM33 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3596 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ACETOCHLOR | . | 0.01 | 0.113 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3596 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1854 | 0.24644 | 1.1854 | 0.34852 | 0.25835
ACETOCHLOR | 2033 | 49260GCM33 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.1841 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ACETOCHLOR | . | 0.01 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1841 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1052 | 0.10611 | 1.1414 | 0.14732 | 0.10921
ACETOCHLOR | 2033 | 49260GCM33 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.1737 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ACETOCHLOR | . | 0.01 | 0.089 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1737 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1052 | 0.10611 | 1.1414 | 0.14732 | 0.10921
ACETOCHLOR | 2033 | 49260GCM33 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.1091 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ACETOCHLOR | . | 0.01 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1091 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1052 | 0.10611 | 1.1414 | 0.14732 | 0.10921
ACETOCHLOR | 2033 | 49260GCM33 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.95405 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ACETOCHLOR | . | 0.01 | 0.071 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95405 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1052 | 0.10611 | 1.1414 | 0.14732 | 0.10921
ACETOCHLOR | 2033 | 49260GCM33 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94373 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ACETOCHLOR | . | 0.01 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94373 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1345 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ACETOCHLOR | . | 0.01 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1345 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0809 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ACETOCHLOR | . | 0.01 | 0.0437 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0809 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.053 | 0.09838 | 1.0809 | 0.19074 | 0.1414
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0625 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ACETOCHLOR | . | 0.01 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0625 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0625 |  | 1.0625 | 0 | 0
ACETOCHLOR | 2033 | 49260GCM33 | 2008-04-15 | 2005-03-04 | 2008-09-30 | ug/L | 0.93286 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ACETOCHLOR | . | 0.006 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93286 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95852 | 0.12143 | 0.91554 | 0.15194 | 0.11264
ACETOCHLOR | 2033 | 49260GCM33 | 2008-06-23 | 2005-03-04 | 2008-09-30 | ug/L | 0.86688 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ACETOCHLOR | . | 0.006 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86688 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95852 | 0.12143 | 0.91554 | 0.15194 | 0.11264
ACETOCHLOR | 2033 | 49260GCM33 | 2008-08-27 | 2005-03-04 | 2008-09-30 | ug/L | 1.1361 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ACETOCHLOR | . | 0.006 | 0.084 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1361 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95852 | 0.12143 | 0.91554 | 0.15194 | 0.11264
ACETOCHLOR | 2033 | 49260GCM33 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.89822 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ACETOCHLOR | . | 0.01 | 0.066 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89822 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.95852 | 0.12143 | 0.91554 | 0.15194 | 0.11264
ACETOCHLOR | 2033 | 49260GCM33 | 2009-01-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.99508 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.28138 | ACETOCHLOR | . | 0.01 | 0.28 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99508 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94723 | 0.18984 | 1.0224 | 0.033914 | 0.02514
ACETOCHLOR | 2033 | 49260GCM33 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 1.0778 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.18741 | ACETOCHLOR | . | 0.01 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0778 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94723 | 0.18984 | 1.0224 | 0.033914 | 0.02514
ACETOCHLOR | 2033 | 49260GCM33 | 2009-04-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.029 | Protocol | D1080908018 | Protocol D1080908018: 25 µl | 0.1759 | ACETOCHLOR | . | 0.01 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.029 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94723 | 0.18984 | 1.0224 | 0.033914 | 0.02514
ACETOCHLOR | 2033 | 49260GCM33 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 0.61185 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.28765 | ACETOCHLOR | . | 0.01 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61185 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94723 | 0.18984 | 1.0224 | 0.033914 | 0.02514
ACETOCHLOR | 2033 | 49260GCM33 | 2009-09-15 | 2008-10-01 | 2009-09-30 | ug/L | 1.0224 | Protocol | D1080908018 | Protocol D1080908018: 40 µl | 0.28267 | ACETOCHLOR | . | 0.01 | 0.289 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0224 | Protocol D1080908018 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.94723 | 0.18984 | 1.0224 | 0.033914 | 0.02514
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 1.0728 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | ACETOCHLOR | . | 0.01 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0728 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1356 | 0.08877 | 1.1356 | 0.12554 | 0.093061
ACETOCHLOR | 2033 | 49260GCM33 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.1983 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | ACETOCHLOR | . | 0.01 | 0.0574 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1983 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1356 | 0.08877 | 1.1356 | 0.12554 | 0.093061
ACETOCHLOR | 2033 | 49260GCM33 | 2007-04-19 | 2005-03-04 | 2008-09-30 | ug/L | 2.0291 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0039427 | ACETOCHLOR | . | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.8128 | 0.3745 | 2 | 0.3745 | 0.27761 | 2
ACETOCHLOR | 2033 | 49260GCM33 | 2007-06-13 | 2005-03-04 | 2008-09-30 | ug/L | 1.251 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.019984 | ACETOCHLOR | . | 0.006 | 0.025 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.251 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.8128 | 0.3745 | 2 | 0.3745 | 0.27761
ACETOCHLOR | 2033 | 49260GCM33 | 2007-08-31 | 2005-03-04 | 2008-09-30 | ug/L | 2.0194 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0039615 | ACETOCHLOR | . | 0.006 | 0.008 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.8128 | 0.3745 | 2 | 0.3745 | 0.27761 | 2
ACETOCHLOR | 2033 | 49260GCM33 | 2007-11-13 | 2005-03-04 | 2008-09-30 | ug/L | 2.2759 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.0039544 | ACETOCHLOR | . | 0.006 | 0.009 | MICROGRAMS PER LITER |  |  | < Reporting Level | 2 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 1 |  | 4 | 1.8128 | 0.3745 | 2 | 0.3745 | 0.27761 | 2
ACETOCHLOR | 2033 | 49260GCM33 | 2010-02-06 | 2009-10-01 | 2010-09-30 | ug/L | 0.76863 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.024589 | ACETOCHLOR | . | 0.01 | 0.0189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76863 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-04-22 | 2009-10-01 | 2010-09-30 | ug/L | 1.1119 | Supelco | LB69639 | Supelco LB69639: 20 µl | 0.024463 | ACETOCHLOR | E | 0.01 | 0.0272 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1119 | Supelco LB69639 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-07-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.93839 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.048168 | ACETOCHLOR | . | 0.01 | 0.0452 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93839 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672
ACETOCHLOR | 2033 | 49260GCM33 | 2010-09-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0989 | Supelco | LB69639 | Supelco LB69639: 40 µl | 0.04914 | ACETOCHLOR | . | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0989 | Supelco LB69639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.97945 | 0.16118 | 1.0187 | 0.25188 | 0.18672