## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
ATRAZINE | 2033 | 39632GCM35 | 2011-01-07 | 2010-10-01 | 2050-09-30 | ug/L | 0.71209 | Abs | 080610 | Abs 080610: 40 µl | 0.14605 | ATRAZINE | . | 0.008 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71209 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88073 | 0.23849 | 0.88073 | 0.33728 | 0.25002
ATRAZINE | 2033 | 39632GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 1.0494 | Abs | 080610 | Abs 080610: 80 µl | 0.28588 | ATRAZINE | . | 0.008 | 0.3 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0494 | Abs 080610 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.88073 | 0.23849 | 0.88073 | 0.33728 | 0.25002
ATRAZINE | 2033 | 39632GCM35 | 2011-01-12 | 2010-10-01 | 2050-09-30 | ug/L | 0.94191 | Accu | 210061341 | Accu 210061341: 40 µl | 0.14333 | ATRAZINE | . | 0.008 | 0.135 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94191 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95173 | 0.013898 | 0.95173 | 0.019655 | 0.01457
ATRAZINE | 2033 | 39632GCM35 | 2011-02-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.96156 | Accu | 210061341 | Accu 210061341: 80 µl | 0.29535 | ATRAZINE | . | 0.008 | 0.284 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96156 | Accu 210061341 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95173 | 0.013898 | 0.95173 | 0.019655 | 0.01457
ATRAZINE | 2033 | 39632GCM35 | 2007-02-13 | 2005-03-04 | 2009-09-30 | ug/L | 1.0486 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.043867 | ATRAZINE | . | 0.007 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0486 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0154 | 0.063716 | 1.0486 | 0.11372 | 0.084301
ATRAZINE | 2033 | 39632GCM35 | 2007-02-21 | 2005-03-04 | 2009-09-30 | ug/L | 1.0557 | ChemService | 363-126A | ChemService 363-126A: 50 µl | 0.21881 | ATRAZINE | . | 0.007 | 0.231 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0557 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0154 | 0.063716 | 1.0486 | 0.11372 | 0.084301
ATRAZINE | 2033 | 39632GCM35 | 2007-03-05 | 2005-03-04 | 2009-09-30 | ug/L | 0.94198 | ChemService | 363-126A | ChemService 363-126A: 10 µl | 0.043525 | ATRAZINE | . | 0.007 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94198 | ChemService 363-126A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0154 | 0.063716 | 1.0486 | 0.11372 | 0.084301
ATRAZINE | 2033 | 39632GCM35 | 2008-12-11 | 2005-03-04 | 2009-09-30 | ug/L | 1.0827 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.18657 | ATRAZINE | . | 0.007 | 0.202 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0827 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1729 | 0.086259 | 1.1598 | 0.062705 | 0.046483
ATRAZINE | 2033 | 39632GCM35 | 2009-02-18 | 2005-03-04 | 2009-09-30 | ug/L | 1.1245 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.31126 | ATRAZINE | . | 0.007 | 0.35 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1245 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1729 | 0.086259 | 1.1598 | 0.062705 | 0.046483
ATRAZINE | 2033 | 39632GCM35 | 2009-04-30 | 2005-03-04 | 2009-09-30 | ug/L | 1.1872 | ChemService | 406-99B | ChemService 406-99B: 40 µl | 0.29819 | ATRAZINE | . | 0.007 | 0.354 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1872 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1729 | 0.086259 | 1.1598 | 0.062705 | 0.046483
ATRAZINE | 2033 | 39632GCM35 | 2009-08-12 | 2005-03-04 | 2009-09-30 | ug/L | 1.1598 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.18969 | ATRAZINE | . | 0.007 | 0.22 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1598 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1729 | 0.086259 | 1.1598 | 0.062705 | 0.046483
ATRAZINE | 2033 | 39632GCM35 | 2009-12-01 | 2009-10-01 | 2010-09-30 | ug/L | 1.3104 | ChemService | 406-99B | ChemService 406-99B: 25 µl | 0.19307 | ATRAZINE | . | 0.007 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3104 | ChemService 406-99B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 1.1729 | 0.086259 | 1.1598 | 0.062705 | 0.046483
ATRAZINE | 2033 | 39632GCM35 | 2010-03-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.73607 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.049452 | ATRAZINE | E | 0.007 | 0.0364 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73607 | ChemService 430-36C | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2010-06-26 | 2009-10-01 | 2010-09-30 | ug/L | 0.99382 | ChemService | 430-36C | ChemService 430-36C: 40 µl | 0.050412 | ATRAZINE | . | 0.007 | 0.0501 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99382 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2010-09-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.073 | ChemService | 430-36C | ChemService 430-36C: 20 µl | 0.025815 | ATRAZINE | . | 0.007 | 0.0277 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.073 | ChemService 430-36C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.93431 | 0.17619 | 0.99382 | 0.33697 | 0.24979
ATRAZINE | 2033 | 39632GCM35 | 2008-02-28 | 2005-03-04 | 2009-09-30 | ug/L | 0.95599 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.18306 | ATRAZINE | . | 0.007 | 0.175 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95599 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2008-04-09 | 2005-03-04 | 2009-09-30 | ug/L | 0.87991 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.18184 | ATRAZINE | . | 0.007 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87991 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2008-05-07 | 2005-03-04 | 2009-09-30 | ug/L | 0.8436 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.18018 | ATRAZINE | . | 0.007 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.8436 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2008-07-08 | 2005-03-04 | 2009-09-30 | ug/L | 0.87161 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.18013 | ATRAZINE | . | 0.007 | 0.157 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87161 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2008-09-16 | 2005-03-04 | 2009-09-30 | ug/L | 1.0247 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.17664 | ATRAZINE | . | 0.007 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0247 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2008-11-14 | 2005-03-04 | 2009-09-30 | ug/L | 1.0531 | Crescent | 07GG004 | Crescent 07GG004: 50 µl | 0.17757 | ATRAZINE | . | 0.007 | 0.187 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0531 | Crescent 07GG004 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.93815 | 0.086925 | 0.91795 | 0.15305 | 0.11345
ATRAZINE | 2033 | 39632GCM35 | 2009-03-12 | 2005-03-04 | 2009-09-30 | ug/L | 1.1436 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.20287 | ATRAZINE | . | 0.007 | 0.232 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1436 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2009-06-18 | 2005-03-04 | 2009-09-30 | ug/L | 1.2459 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19182 | ATRAZINE | . | 0.007 | 0.239 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2459 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2009-09-16 | 2005-03-04 | 2009-09-30 | ug/L | 1.094 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19287 | ATRAZINE | . | 0.007 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.094 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2009-11-11 | 2009-10-01 | 2010-09-30 | ug/L | 1.2011 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.3064 | ATRAZINE | . | 0.007 | 0.368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2011 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2010-01-17 | 2009-10-01 | 2010-09-30 | ug/L | 1.1004 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 25 µl | 0.19175 | ATRAZINE | . | 0.007 | 0.211 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1004 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2010-01-21 | 2009-10-01 | 2010-09-30 | ug/L | 1.0461 | ERA | 0804-08-02PEST | ERA 0804-08-02PEST: 40 µl | 0.29538 | ATRAZINE | . | 0.007 | 0.309 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0461 | ERA 0804-08-02PEST | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 1.1385 | 0.074092 | 1.122 | 0.10706 | 0.079363
ATRAZINE | 2033 | 39632GCM35 | 2007-02-16 | 2005-03-04 | 2009-09-30 | ug/L | 0.97569 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | ATRAZINE | . | 0.007 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97569 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2007-04-09 | 2005-03-04 | 2009-09-30 | ug/L | 0.93707 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ATRAZINE | . | 0.007 | 0.07 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93707 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2007-05-29 | 2005-03-04 | 2009-09-30 | ug/L | 1.0272 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | ATRAZINE | . | 0.007 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0272 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2007-08-15 | 2005-03-04 | 2009-09-30 | ug/L | 1.024 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | ATRAZINE | . | 0.007 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.024 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2007-10-30 | 2005-03-04 | 2009-09-30 | ug/L | 0.99558 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | ATRAZINE | . | 0.007 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99558 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2007-12-14 | 2005-03-04 | 2009-09-30 | ug/L | 1.004 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | ATRAZINE | . | 0.007 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.99392 | 0.033707 | 0.99979 | 0.048286 | 0.035794
ATRAZINE | 2033 | 39632GCM35 | 2009-03-04 | 2005-03-04 | 2009-09-30 | ug/L | 1.0381 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | ATRAZINE | . | 0.007 | 0.077 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0381 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1748 | 0.19334 | 1.1748 | 0.27342 | 0.20269
ATRAZINE | 2033 | 39632GCM35 | 2009-03-10 | 2005-03-04 | 2009-09-30 | ug/L | 1.3115 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | ATRAZINE | . | 0.007 | 0.109 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.3115 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 1.1748 | 0.19334 | 1.1748 | 0.27342 | 0.20269
ATRAZINE | 2033 | 39632GCM35 | 2009-04-17 | 2005-03-04 | 2009-09-30 | ug/L | 1.2107 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | ATRAZINE | . | 0.007 | 0.091 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2107 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1718 | 0.12928 | 1.22 | 0.15191 | 0.11261
ATRAZINE | 2033 | 39632GCM35 | 2009-05-27 | 2005-03-04 | 2009-09-30 | ug/L | 1.266 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | ATRAZINE | . | 0.007 | 0.096 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.266 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1718 | 0.12928 | 1.22 | 0.15191 | 0.11261
ATRAZINE | 2033 | 39632GCM35 | 2009-07-13 | 2005-03-04 | 2009-09-30 | ug/L | 1.2294 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | ATRAZINE | . | 0.007 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2294 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1718 | 0.12928 | 1.22 | 0.15191 | 0.11261
ATRAZINE | 2033 | 39632GCM35 | 2009-09-03 | 2005-03-04 | 2009-09-30 | ug/L | 0.98093 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | ATRAZINE | . | 0.007 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.98093 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 1.1718 | 0.12928 | 1.22 | 0.15191 | 0.11261
ATRAZINE | 2033 | 39632GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.94889 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | ATRAZINE | . | 0.007 | 0.0368 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94889 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1098 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | ATRAZINE | . | 0.007 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1098 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.0735 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | ATRAZINE | . | 0.008 | 0.0434 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0735 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 1.0441 | 0.084403 | 1.0735 | 0.16092 | 0.11929
ATRAZINE | 2033 | 39632GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0526 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | ATRAZINE | . | 0.008 | 0.106 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0526 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 1.0526 |  | 1.0526 | 0 | 0
ATRAZINE | 2033 | 39632GCM35 | 2008-04-15 | 2005-03-04 | 2009-09-30 | ug/L | 0.89316 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | ATRAZINE | . | 0.007 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89316 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94003 | 0.078828 | 0.91026 | 0.10228 | 0.075823
ATRAZINE | 2033 | 39632GCM35 | 2008-06-23 | 2005-03-04 | 2009-09-30 | ug/L | 0.92736 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | ATRAZINE | . | 0.007 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92736 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94003 | 0.078828 | 0.91026 | 0.10228 | 0.075823
ATRAZINE | 2033 | 39632GCM35 | 2008-08-27 | 2005-03-04 | 2009-09-30 | ug/L | 1.055 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | ATRAZINE | . | 0.007 | 0.078 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.055 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94003 | 0.078828 | 0.91026 | 0.10228 | 0.075823
ATRAZINE | 2033 | 39632GCM35 | 2008-10-24 | 2005-03-04 | 2009-09-30 | ug/L | 0.88461 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | ATRAZINE | . | 0.007 | 0.065 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88461 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.94003 | 0.078828 | 0.91026 | 0.10228 | 0.075823
ATRAZINE | 2033 | 39632GCM35 | 2008-03-10 | 2005-03-04 | 2009-09-30 | ug/L | 0.96152 | Restek | A053526 | Restek A053526: 50 µl | 0.18408 | ATRAZINE | . | 0.007 | 0.177 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96152 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2008-04-28 | 2005-03-04 | 2009-09-30 | ug/L | 0.79007 | Restek | A053526 | Restek A053526: 50 µl | 0.18226 | ATRAZINE | . | 0.007 | 0.144 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79007 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2008-05-14 | 2005-03-04 | 2009-09-30 | ug/L | 0.94937 | Restek | A053526 | Restek A053526: 50 µl | 0.18223 | ATRAZINE | . | 0.007 | 0.173 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94937 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2008-06-23 | 2005-03-04 | 2009-09-30 | ug/L | 0.93691 | Restek | A053526 | Restek A053526: 50 µl | 0.18999 | ATRAZINE | . | 0.007 | 0.178 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93691 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2008-08-19 | 2005-03-04 | 2009-09-30 | ug/L | 0.88247 | Restek | A053526 | Restek A053526: 50 µl | 0.18018 | ATRAZINE | . | 0.007 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88247 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2008-10-09 | 2005-03-04 | 2009-09-30 | ug/L | 1.0474 | Restek | A053526 | Restek A053526: 50 µl | 0.18235 | ATRAZINE | . | 0.007 | 0.191 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0474 | Restek A053526 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.92796 | 0.086044 | 0.94314 | 0.07905 | 0.058599
ATRAZINE | 2033 | 39632GCM35 | 2010-02-02 | 2009-10-01 | 2010-09-30 | ug/L | 0.65052 | Restek | A069639 | Restek A069639: 20 µl | 0.024596 | ATRAZINE | . | 0.007 | 0.016 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65051 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-03-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.75427 | Restek | A069639 | Restek A069639: 20 µl | 0.024925 | ATRAZINE | . | 0.007 | 0.0188 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75427 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-07-29 | 2009-10-01 | 2010-09-30 | ug/L | 1.0869 | Restek | A069639 | Restek A069639: 100 µl | 0.1288 | ATRAZINE | . | 0.007 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0869 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2010-10-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.86208 | Restek | A069639 | Restek A069639: 40 µl | 0.049299 | ATRAZINE | . | 0.008 | 0.0425 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.86208 | Restek A069639 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.83845 | 0.18682 | 0.80818 | 0.27211 | 0.20171
ATRAZINE | 2033 | 39632GCM35 | 2007-04-19 | 2005-03-04 | 2009-09-30 | ug/L | 0.89598 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.043528 | ATRAZINE | . | 0.007 | 0.039 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89598 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99361 | 0.10385 | 0.97266 | 0.15378 | 0.11399
ATRAZINE | 2033 | 39632GCM35 | 2007-06-13 | 2005-03-04 | 2009-09-30 | ug/L | 1.1331 | Supelco | LB41176 | Supelco LB41176: 50 µl | 0.22063 | ATRAZINE | . | 0.007 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1331 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99361 | 0.10385 | 0.97266 | 0.15378 | 0.11399
ATRAZINE | 2033 | 39632GCM35 | 2007-08-31 | 2005-03-04 | 2009-09-30 | ug/L | 0.93746 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.043735 | ATRAZINE | . | 0.007 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93746 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99361 | 0.10385 | 0.97266 | 0.15378 | 0.11399
ATRAZINE | 2033 | 39632GCM35 | 2007-11-13 | 2005-03-04 | 2009-09-30 | ug/L | 1.0079 | Supelco | LB41176 | Supelco LB41176: 10 µl | 0.043657 | ATRAZINE | . | 0.007 | 0.044 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0079 | Supelco LB41176 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.99361 | 0.10385 | 0.97266 | 0.15378 | 0.11399