## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-02-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.50708 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12621 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.50708 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-04-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.58702 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12947 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.076 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58702 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-04-28 | 2006-04-01 | 2009-09-30 | ug/L | 0.42582 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12446 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.053 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.42582 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-07-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.24847 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12476 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.031 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.24847 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-09-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.36227 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12422 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.36227 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-11-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.40694 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.12533 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.40694 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.42294 | 0.11695 | 0.41638 | 0.14482 | 0.10735
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-01-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.79422 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.15991 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79422 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-02-11 | 2006-04-01 | 2009-09-30 | ug/L | 0.38866 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16467 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.38866 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-03-25 | 2006-04-01 | 2009-09-30 | ug/L | 0.68629 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.27539 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.189 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68629 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-06-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.31255 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16317 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.31255 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.56577 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.25982 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.147 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.56577 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.85579 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16242 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.139 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85579 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.60055 | 0.21866 | 0.62603 | 0.40556 | 0.30064
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-02-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.35989 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.17228 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.35989 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.39432 | 0.13126 | 0.36904 | 0.16563 | 0.12278
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-05-21 | 2006-04-01 | 2009-09-30 | ug/L | 0.3782 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.034374 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.013 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.3782 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.39432 | 0.13126 | 0.36904 | 0.16563 | 0.12278
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-08-08 | 2006-04-01 | 2009-09-30 | ug/L | 0.26312 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.17102 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.26312 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.39432 | 0.13126 | 0.36904 | 0.16563 | 0.12278
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-10-02 | 2006-04-01 | 2009-09-30 | ug/L | 0.57606 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.034718 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.02 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.57606 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.39432 | 0.13126 | 0.36904 | 0.16563 | 0.12278
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 0.57877 | Accu | 209081187 | Accu 209081187: 100 µl | 0.58573 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.339 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57877 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.59516 | Accu | 209081187 | Accu 209081187: 20 µl | 0.11812 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0703 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59516 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.59931 | Accu | 209081187 | Accu 209081187: 20 µl | 0.12381 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0742 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59931 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.72899 | Accu | 209081187 | Accu 209081187: 40 µl | 0.24143 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.176 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72899 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-12-14 | 2010-10-01 | 2011-09-30 | ug/L | 0.65822 | Accu | 209081187 | Accu 209081187: 40 µl | 0.24004 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65822 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.63209 | 0.061953 | 0.59931 | 0.06306 | 0.046746
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-04-05 | 2006-04-01 | 2009-09-30 | ug/L | 0.34978 | Accu | B6070194 | Accu B6070194: 10 µl | 0.034307 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.012 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34978 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.48351 | 0.17999 | 0.46389 | 0.30066 | 0.22288
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-07-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.68968 | Accu | B6070194 | Accu B6070194: 50 µl | 0.17109 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68968 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.48351 | 0.17999 | 0.46389 | 0.30066 | 0.22288
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-10-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.31657 | Accu | B6070194 | Accu B6070194: 10 µl | 0.034747 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.011 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.31657 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.48351 | 0.17999 | 0.46389 | 0.30066 | 0.22288
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-12-12 | 2006-04-01 | 2009-09-30 | ug/L | 0.578 | Accu | B6070194 | Accu B6070194: 50 µl | 0.17128 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.099 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.578 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.48351 | 0.17999 | 0.46389 | 0.30066 | 0.22288
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-01-28 | 2006-04-01 | 2009-09-30 | ug/L | 1.0724 | Accu | B8090098 | Accu B8090098: 40 µl | 0.26203 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.281 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0724 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87134 | 0.24088 | 0.80706 | 0.37408 | 0.2773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-03-03 | 2006-04-01 | 2009-09-30 | ug/L | 1.1696 | Accu | B8090098 | Accu B8090098: 25 µl | 0.17186 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1696 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87134 | 0.24088 | 0.80706 | 0.37408 | 0.2773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-05-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.80706 | Accu | B8090098 | Accu B8090098: 40 µl | 0.2602 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80706 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87134 | 0.24088 | 0.80706 | 0.37408 | 0.2773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.60932 | Accu | B8090098 | Accu B8090098: 25 µl | 0.15919 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.60932 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87134 | 0.24088 | 0.80706 | 0.37408 | 0.2773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.69834 | Accu | B8090098 | Accu B8090098: 25 µl | 0.16038 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69834 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87134 | 0.24088 | 0.80706 | 0.37408 | 0.2773
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.65571 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.12079 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0792 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65571 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.37396 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.23933 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0895 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37396 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-10-19 | 2010-10-01 | 2011-09-30 | ug/L | 0.69838 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.12042 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0841 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69838 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.57602 | 0.17628 | 0.65571 | 0.32442 | 0.24049
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-02-16 | 2006-04-01 | 2009-09-30 | ug/L | 0.47789 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.024 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.47789 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-04-09 | 2006-04-01 | 2009-09-30 | ug/L | 0.29451 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.022 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.29451 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-05-29 | 2006-04-01 | 2009-09-30 | ug/L | 0.68932 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68932 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-08-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.37725 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37725 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-10-30 | 2006-04-01 | 2009-09-30 | ug/L | 0.30477 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.015 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.30477 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2007-12-14 | 2006-04-01 | 2009-09-30 | ug/L | 0.49531 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.037 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.49531 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.43984 | 0.14835 | 0.42757 | 0.19054 | 0.14124
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-03-04 | 2006-04-01 | 2009-09-30 | ug/L | 1.1055 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1055 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.04 | 0.092545 | 1.04 | 0.13088 | 0.097018
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-03-10 | 2006-04-01 | 2009-09-30 | ug/L | 0.97459 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.081 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97459 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 1.04 | 0.092545 | 1.04 | 0.13088 | 0.097018
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-04-17 | 2006-04-01 | 2009-09-30 | ug/L | 1.0643 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.08 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0643 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.69519 | 0.28448 | 0.6701 | 0.38609 | 0.2862
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-05-27 | 2006-04-01 | 2009-09-30 | ug/L | 0.71215 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71215 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.69519 | 0.28448 | 0.6701 | 0.38609 | 0.2862
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-07-13 | 2006-04-01 | 2009-09-30 | ug/L | 0.62805 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.047 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62805 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.69519 | 0.28448 | 0.6701 | 0.38609 | 0.2862
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2009-09-03 | 2006-04-01 | 2009-09-30 | ug/L | 0.37625 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.37625 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.69519 | 0.28448 | 0.6701 | 0.38609 | 0.2862
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.34552 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0134 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.34552 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.8188 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0332 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.81879 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2010-12-16 | 2010-10-01 | 2011-09-30 | ug/L | 1.2664 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0512 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2664 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 0.81025 | 0.46052 | 0.81879 | 0.92091 | 0.68266
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2011-01-20 | 2010-10-01 | 2011-09-30 | ug/L | 0.88178 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.0888 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88178 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.88178 |  | 0.88178 | 0 | 0
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-04-15 | 2006-04-01 | 2009-09-30 | ug/L | 0.89316 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89316 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80057 | 0.32852 | 0.86847 | 0.41463 | 0.30736
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-06-23 | 2006-04-01 | 2009-09-30 | ug/L | 0.34272 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.017 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34272 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80057 | 0.32852 | 0.86847 | 0.41463 | 0.30736
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-08-27 | 2006-04-01 | 2009-09-30 | ug/L | 1.1226 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.083 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1226 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80057 | 0.32852 | 0.86847 | 0.41463 | 0.30736
AZINPHOS-METHYL-OXON | 2033 | 61635GCM39 | 2008-10-24 | 2006-04-01 | 2009-09-30 | ug/L | 0.84378 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | AZINPHOS-METHYL-OXON | E | 0.042 | 0.062 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84378 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.80057 | 0.32852 | 0.86847 | 0.41463 | 0.30736