## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-02-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.90036 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20547 | AZINPHOS-METHYL | E | 0.12 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90036 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-04-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.66423 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.21077 | AZINPHOS-METHYL | E | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.66423 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-04-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.61196 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20263 | AZINPHOS-METHYL | E | 0.12 | 0.124 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61196 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-07-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.51695 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20311 | AZINPHOS-METHYL | E | 0.12 | 0.105 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.51695 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-09-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.64285 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20223 | AZINPHOS-METHYL | E | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.64285 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-11-05 | 2007-10-01 | 2009-09-30 | ug/L | 0.68617 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.20403 | AZINPHOS-METHYL | E | 0.12 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68617 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.67042 | 0.12719 | 0.65354 | 0.074215 | 0.055015
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-01-08 | 2007-10-01 | 2009-09-30 | ug/L | 0.79013 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16706 | AZINPHOS-METHYL | E | 0.12 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79013 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-02-11 | 2007-10-01 | 2009-09-30 | ug/L | 0.90678 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.17204 | AZINPHOS-METHYL | E | 0.12 | 0.156 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90678 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-03-25 | 2007-10-01 | 2009-09-30 | ug/L | 0.95232 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.28772 | AZINPHOS-METHYL | E | 0.12 | 0.274 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.95232 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-06-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.68044 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.17048 | AZINPHOS-METHYL | E | 0.12 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68044 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.76625 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.27145 | AZINPHOS-METHYL | E | 0.12 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76625 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.83681 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.16969 | AZINPHOS-METHYL | E | 0.12 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83681 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.82212 | 0.098543 | 0.81347 | 0.14053 | 0.10417
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-02-21 | 2006-10-01 | 2007-09-30 | ug/L | 0.70901 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.22426 | AZINPHOS-METHYL | E | 0.08 | 0.159 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70901 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.89108 | 0.12578 | 0.92979 | 0.15685 | 0.11627
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-05-21 | 2006-10-01 | 2007-09-30 | ug/L | 0.9163 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.044745 | AZINPHOS-METHYL | E | 0.08 | 0.041 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9163 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.89108 | 0.12578 | 0.92979 | 0.15685 | 0.11627
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-08-08 | 2006-10-01 | 2007-09-30 | ug/L | 0.94328 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.22263 | AZINPHOS-METHYL | E | 0.08 | 0.21 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94328 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.89108 | 0.12578 | 0.92979 | 0.15685 | 0.11627
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-10-02 | 2007-10-01 | 2009-09-30 | ug/L | 0.99571 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.045194 | AZINPHOS-METHYL | E | 0.12 | 0.045 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.99571 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.89108 | 0.12578 | 0.92979 | 0.15685 | 0.11627
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.0759 | Accu | 209081187 | Accu 209081187: 100 µl | 0.76125 | AZINPHOS-METHYL | E | 0.12 | 0.819 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0759 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87636 | 0.11392 | 0.84682 | 0.040437 | 0.029976
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.84682 | Accu | 209081187 | Accu 209081187: 20 µl | 0.15352 | AZINPHOS-METHYL | E | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84682 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87636 | 0.11392 | 0.84682 | 0.040437 | 0.029976
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.85141 | Accu | 209081187 | Accu 209081187: 20 µl | 0.16091 | AZINPHOS-METHYL | E | 0.12 | 0.137 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85141 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87636 | 0.11392 | 0.84682 | 0.040437 | 0.029976
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.79674 | Accu | 209081187 | Accu 209081187: 40 µl | 0.31378 | AZINPHOS-METHYL | E | 0.12 | 0.25 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79674 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87636 | 0.11392 | 0.84682 | 0.040437 | 0.029976
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.81097 | Accu | 209081187 | Accu 209081187: 40 µl | 0.31197 | AZINPHOS-METHYL | E | 0.12 | 0.253 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81097 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.87636 | 0.11392 | 0.84682 | 0.040437 | 0.029976
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-04-05 | 2006-10-01 | 2007-09-30 | ug/L | 0.66417 | Accu | B6070194 | Accu B6070194: 10 µl | 0.043663 | AZINPHOS-METHYL | E | 0.08 | 0.029 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.66417 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.78315 | 0.13475 | 0.76351 | 0.22377 | 0.16587
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-07-30 | 2006-10-01 | 2007-09-30 | ug/L | 0.94142 | Accu | B6070194 | Accu B6070194: 50 µl | 0.21776 | AZINPHOS-METHYL | E | 0.08 | 0.205 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94142 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.78315 | 0.13475 | 0.76351 | 0.22377 | 0.16587
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-10-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.67837 | Accu | B6070194 | Accu B6070194: 10 µl | 0.044224 | AZINPHOS-METHYL | E | 0.12 | 0.03 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.67837 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.78315 | 0.13475 | 0.76351 | 0.22377 | 0.16587
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-12-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.84865 | Accu | B6070194 | Accu B6070194: 50 µl | 0.21799 | AZINPHOS-METHYL | E | 0.12 | 0.185 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84865 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 |  | 4 | 0.78315 | 0.13475 | 0.76351 | 0.22377 | 0.16587
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-01-28 | 2007-10-01 | 2009-09-30 | ug/L | 0.97651 | Accu | B8090098 | Accu B8090098: 40 µl | 0.27445 | AZINPHOS-METHYL | E | 0.12 | 0.268 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97651 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0384 | 0.070439 | 1.0076 | 0.069925 | 0.051834
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-03-03 | 2007-10-01 | 2009-09-30 | ug/L | 1.15 | Accu | B8090098 | Accu B8090098: 25 µl | 0.18001 | AZINPHOS-METHYL | E | 0.12 | 0.207 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.15 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0384 | 0.070439 | 1.0076 | 0.069925 | 0.051834
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-05-13 | 2007-10-01 | 2009-09-30 | ug/L | 1.0641 | Accu | B8090098 | Accu B8090098: 40 µl | 0.27254 | AZINPHOS-METHYL | E | 0.12 | 0.29 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0641 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0384 | 0.070439 | 1.0076 | 0.069925 | 0.051834
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 1.0076 | Accu | B8090098 | Accu B8090098: 25 µl | 0.16674 | AZINPHOS-METHYL | E | 0.12 | 0.168 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0076 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0384 | 0.070439 | 1.0076 | 0.069925 | 0.051834
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.99415 | Accu | B8090098 | Accu B8090098: 25 µl | 0.16798 | AZINPHOS-METHYL | E | 0.12 | 0.167 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.99415 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 1.0384 | 0.070439 | 1.0076 | 0.069925 | 0.051834
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.34584 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.15903 | AZINPHOS-METHYL | E | 0.12 | 0.055 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.34584 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.56947 | 0.23817 | 0.54265 | 0.47407 | 0.35142
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.54265 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.31512 | AZINPHOS-METHYL | E | 0.12 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.54265 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.56947 | 0.23817 | 0.54265 | 0.47407 | 0.35142
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.8199 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.15855 | AZINPHOS-METHYL | E | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81991 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.56947 | 0.23817 | 0.54265 | 0.47407 | 0.35142
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.89604 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | AZINPHOS-METHYL | E | 0.08 | 0.045 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.89604 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.78981 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | AZINPHOS-METHYL | E | 0.08 | 0.059 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.78981 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 1.0678 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | AZINPHOS-METHYL | E | 0.08 | 0.079 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0678 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.94313 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | AZINPHOS-METHYL | E | 0.08 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.94313 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-10-30 | 2007-10-01 | 2009-09-30 | ug/L | 0.73145 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | AZINPHOS-METHYL | E | 0.12 | 0.036 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.73145 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2007-12-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.97723 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | AZINPHOS-METHYL | E | 0.12 | 0.073 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.97723 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 |  | 6 | 0.9009 | 0.12372 | 0.91959 | 0.18741 | 0.13893
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 1.1459 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | AZINPHOS-METHYL | E | 0.12 | 0.085 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1459 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 1.0542 | 0.12965 | 1.0542 | 0.18335 | 0.13592
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-03-10 | 2007-10-01 | 2009-09-30 | ug/L | 0.96256 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | AZINPHOS-METHYL | E | 0.12 | 0.08 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96256 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 1 |  | 2 | 1.0542 | 0.12965 | 1.0542 | 0.18335 | 0.13592
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-04-17 | 2007-10-01 | 2009-09-30 | ug/L | 1.1974 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | AZINPHOS-METHYL | E | 0.12 | 0.09 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1974 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92517 | 0.21112 | 0.90229 | 0.30975 | 0.22961
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-05-27 | 2007-10-01 | 2009-09-30 | ug/L | 0.96272 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | AZINPHOS-METHYL | E | 0.12 | 0.073 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.96272 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92517 | 0.21112 | 0.90229 | 0.30975 | 0.22961
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-07-13 | 2007-10-01 | 2009-09-30 | ug/L | 0.84185 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | AZINPHOS-METHYL | E | 0.12 | 0.063 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.84185 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92517 | 0.21112 | 0.90229 | 0.30975 | 0.22961
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2009-09-03 | 2007-10-01 | 2009-09-30 | ug/L | 0.69874 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | AZINPHOS-METHYL | E | 0.12 | 0.052 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69874 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.92517 | 0.21112 | 0.90229 | 0.30975 | 0.22961
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.61884 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | AZINPHOS-METHYL | E | 0.12 | 0.024 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.61884 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0049 | 0.34034 | 1.1345 | 0.64265 | 0.47639
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.1345 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | AZINPHOS-METHYL | E | 0.12 | 0.046 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1345 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0049 | 0.34034 | 1.1345 | 0.64265 | 0.47639
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.2615 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | AZINPHOS-METHYL | E | 0.12 | 0.051 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2615 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 |  | 3 | 1.0049 | 0.34034 | 1.1345 | 0.64265 | 0.47639
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0327 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | AZINPHOS-METHYL | E | 0.12 | 0.104 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0327 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 1 |  | 1 | 1.0327 |  | 1.0327 | 0 | 0
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 1.0122 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | AZINPHOS-METHYL | E | 0.12 | 0.051 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0122 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.9231 | 0.31085 | 0.94843 | 0.43743 | 0.32426
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-06-23 | 2007-10-01 | 2009-09-30 | ug/L | 0.52416 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | AZINPHOS-METHYL | E | 0.12 | 0.026 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.52416 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.9231 | 0.31085 | 0.94843 | 0.43743 | 0.32426
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-08-27 | 2007-10-01 | 2009-09-30 | ug/L | 1.2714 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | AZINPHOS-METHYL | E | 0.12 | 0.094 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2714 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.9231 | 0.31085 | 0.94843 | 0.43743 | 0.32426
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-10-24 | 2007-10-01 | 2009-09-30 | ug/L | 0.88461 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | AZINPHOS-METHYL | E | 0.12 | 0.065 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.88461 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 |  | 4 | 0.9231 | 0.31085 | 0.94843 | 0.43743 | 0.32426
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.76316 | Restek | A075606 | Restek A075606: 40 µl | 0.15593 | AZINPHOS-METHYL | E | 0.12 | 0.119 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.76316 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.75043 | 0.017998 | 0.75043 | 0.025454 | 0.018869
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.7377 | Restek | A075606 | Restek A075606: 80 µl | 0.32262 | AZINPHOS-METHYL | E | 0.12 | 0.238 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7377 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 |  | 2 | 0.75043 | 0.017998 | 0.75043 | 0.025454 | 0.018869
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.88151 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.15995 | AZINPHOS-METHYL | E | 0.12 | 0.141 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88151 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 |  | 1 | 0.88151 |  | 0.88151 | 0 | 0
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-03-04 | 2007-10-01 | 2009-09-30 | ug/L | 0.57855 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.20396 | AZINPHOS-METHYL | E | 0.12 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57855 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59817 | 0.062931 | 0.57855 | 0.06786 | 0.050304
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-04-15 | 2007-10-01 | 2009-09-30 | ug/L | 0.68284 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.21235 | AZINPHOS-METHYL | E | 0.12 | 0.145 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68284 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59817 | 0.062931 | 0.57855 | 0.06786 | 0.050304
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-05-14 | 2007-10-01 | 2009-09-30 | ug/L | 0.63801 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.20376 | AZINPHOS-METHYL | E | 0.12 | 0.13 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63801 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59817 | 0.062931 | 0.57855 | 0.06786 | 0.050304
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-08-12 | 2007-10-01 | 2009-09-30 | ug/L | 0.57015 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.20345 | AZINPHOS-METHYL | E | 0.12 | 0.116 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57015 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59817 | 0.062931 | 0.57855 | 0.06786 | 0.050304
AZINPHOS-METHYL | 2033 | 82686GCM35 | 2008-10-06 | 2007-10-01 | 2009-09-30 | ug/L | 0.52127 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19951 | AZINPHOS-METHYL | E | 0.12 | 0.104 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.52127 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 |  | 5 | 0.59817 | 0.062931 | 0.57855 | 0.06786 | 0.050304