## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
BENFLURALIN | 2033 | 82673GCM35 | 2008-01-07 | 2007-10-01 | 2008-02-29 | ug/L | 0.91521 | Accu | B7070106 | Accu B7070106: 50 µl | 0.050262 | BENFLURALIN | . | 0.004 | 0.046 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.91521 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-01-22 | 2007-10-01 | 2008-02-29 | ug/L | 0.81244 | Accu | B7070106 | Accu B7070106: 50 µl | 0.050465 | BENFLURALIN | . | 0.004 | 0.041 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.81244 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-01-28 | 2007-10-01 | 2008-02-29 | ug/L | 0.96046 | Accu | B7070106 | Accu B7070106: 50 µl | 0.051017 | BENFLURALIN | . | 0.004 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96046 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-02-05 | 2007-10-01 | 2008-02-29 | ug/L | 0.89711 | Accu | B7070106 | Accu B7070106: 50 µl | 0.050161 | BENFLURALIN | . | 0.004 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.89711 | Accu B7070106 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-02-07 | 2007-10-01 | 2008-02-29 | ug/L | 0.68401 | Accu | B7070106 | Accu B7070106: 50 µl | 0.051169 | BENFLURALIN | E | 0.004 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68401 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-02-13 | 2007-10-01 | 2008-02-29 | ug/L | 1.0122 | Accu | B7070106 | Accu B7070106: 50 µl | 0.050384 | BENFLURALIN | E | 0.004 | 0.051 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0122 | Accu B7070106 | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.88024 | 0.11702 | 0.90616 | 0.14802 | 0.10972
BENFLURALIN | 2033 | 82673GCM35 | 2008-03-01 | 2008-03-01 | 2008-09-30 | ug/L | 0.82508 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.04848 | BENFLURALIN | . | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82508 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2008-04-10 | 2008-03-01 | 2008-09-30 | ug/L | 0.57966 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.048304 | BENFLURALIN | . | 0.01 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57966 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2008-05-12 | 2008-03-01 | 2008-09-30 | ug/L | 0.84358 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.047417 | BENFLURALIN | E | 0.01 | 0.04 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84358 | ERA 0709-07-01GC | [9 empty] | Y | Estimated Values | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2008-07-18 | 2008-03-01 | 2008-09-30 | ug/L | 0.72158 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.047119 | BENFLURALIN | . | 0.01 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72158 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2008-09-26 | 2008-03-01 | 2008-09-30 | ug/L | 0.80972 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.04693 | BENFLURALIN | . | 0.01 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80972 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2008-11-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.71159 | ERA | 0709-07-01GC | ERA 0709-07-01GC: 50 µl | 0.04778 | BENFLURALIN | . | 0.014 | 0.034 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71159 | ERA 0709-07-01GC | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.74854 | 0.099245 | 0.76565 | 0.11349 | 0.084129
BENFLURALIN | 2033 | 82673GCM35 | 2011-01-13 | 2010-10-01 | 2050-09-30 | ug/L | 0.85065 | ERA | 0818-10-05 LS 2033#2 | ERA 0818-10-05 LS 2033#2: 80 µl | 0.099453 | BENFLURALIN | . | 0.014 | 0.0846 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85065 | ERA 0818-10-05 LS 2033#2 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.85065 |  | 0.85065 | 0 | 0
BENFLURALIN | 2033 | 82673GCM35 | 2007-02-16 | 2006-10-01 | 2007-09-30 | ug/L | 0.69692 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | BENFLURALIN | . | 0.01 | 0.035 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69692 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2007-04-09 | 2006-10-01 | 2007-09-30 | ug/L | 0.57563 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | BENFLURALIN | . | 0.01 | 0.043 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57563 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2007-05-29 | 2006-10-01 | 2007-09-30 | ug/L | 0.79744 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | BENFLURALIN | . | 0.01 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79744 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2007-08-15 | 2006-10-01 | 2007-09-30 | ug/L | 0.78145 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | BENFLURALIN | . | 0.01 | 0.058 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.78145 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2007-10-30 | 2007-10-01 | 2008-02-29 | ug/L | 0.65018 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | BENFLURALIN | . | 0.004 | 0.032 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65018 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2007-12-14 | 2007-10-01 | 2008-02-29 | ug/L | 0.72288 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | BENFLURALIN | . | 0.004 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72288 | NWQL PSP2SP114B | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.70408 | 0.083083 | 0.7099 | 0.13128 | 0.097314
BENFLURALIN | 2033 | 82673GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 0.7954 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | BENFLURALIN | . | 0.014 | 0.059 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.7954 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95117 | 0.2203 | 0.95117 | 0.31154 | 0.23095
BENFLURALIN | 2033 | 82673GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.1069 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | BENFLURALIN | . | 0.014 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1069 | NWQL PSP2SP115A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.95117 | 0.2203 | 0.95117 | 0.31154 | 0.23095
BENFLURALIN | 2033 | 82673GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.97119 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | BENFLURALIN | . | 0.014 | 0.073 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.97119 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8487 | 0.13541 | 0.88259 | 0.18376 | 0.13622
BENFLURALIN | 2033 | 82673GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 0.90997 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | BENFLURALIN | . | 0.014 | 0.069 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90997 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8487 | 0.13541 | 0.88259 | 0.18376 | 0.13622
BENFLURALIN | 2033 | 82673GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 0.85521 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | BENFLURALIN | . | 0.014 | 0.064 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.85521 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8487 | 0.13541 | 0.88259 | 0.18376 | 0.13622
BENFLURALIN | 2033 | 82673GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.65843 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | BENFLURALIN | . | 0.014 | 0.049 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.65843 | NWQL PSP2SP115C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.8487 | 0.13541 | 0.88259 | 0.18376 | 0.13622
BENFLURALIN | 2033 | 82673GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.80449 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | BENFLURALIN | . | 0.014 | 0.0312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80449 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89304 | 0.076686 | 0.93717 | 0.13296 | 0.098565
BENFLURALIN | 2033 | 82673GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 0.93717 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | BENFLURALIN | . | 0.014 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93717 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89304 | 0.076686 | 0.93717 | 0.13296 | 0.098565
BENFLURALIN | 2033 | 82673GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 0.93746 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | BENFLURALIN | . | 0.014 | 0.0379 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93746 | NWQL PSP2SP116C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.89304 | 0.076686 | 0.93717 | 0.13296 | 0.098565
BENFLURALIN | 2033 | 82673GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 0.87185 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | BENFLURALIN | . | 0.014 | 0.0878 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87185 | NWQL PSP2SP117A | [9 empty] | Y | Recoverable Result | Y | 2 |  | 1 | 0.87185 |  | 0.87185 | 0 | 0
BENFLURALIN | 2033 | 82673GCM35 | 2008-04-15 | 2008-03-01 | 2008-09-30 | ug/L | 0.75422 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | BENFLURALIN | . | 0.01 | 0.038 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75422 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67545 | 0.077858 | 0.67139 | 0.13369 | 0.0991
BENFLURALIN | 2033 | 82673GCM35 | 2008-06-23 | 2008-03-01 | 2008-09-30 | ug/L | 0.6048 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | BENFLURALIN | . | 0.01 | 0.03 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.6048 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67545 | 0.077858 | 0.67139 | 0.13369 | 0.0991
BENFLURALIN | 2033 | 82673GCM35 | 2008-08-27 | 2008-03-01 | 2008-09-30 | ug/L | 0.73037 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | BENFLURALIN | . | 0.01 | 0.054 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73037 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67545 | 0.077858 | 0.67139 | 0.13369 | 0.0991
BENFLURALIN | 2033 | 82673GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 0.61242 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | BENFLURALIN | . | 0.014 | 0.045 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61242 | NWQL PSP3SP114C | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.67545 | 0.077858 | 0.67139 | 0.13369 | 0.0991
BENFLURALIN | 2033 | 82673GCM35 | 2007-04-27 | 2006-10-01 | 2007-09-30 | ug/L | 0.84372 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.15764 | BENFLURALIN | . | 0.01 | 0.133 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84372 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89441 | 0.043282 | 0.89268 | 0.059866 | 0.044378
BENFLURALIN | 2033 | 82673GCM35 | 2007-07-06 | 2006-10-01 | 2007-09-30 | ug/L | 0.90011 | Protocol | F1060908012 | Protocol F1060908012: 10 µl | 0.031107 | BENFLURALIN | . | 0.01 | 0.028 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90011 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89441 | 0.043282 | 0.89268 | 0.059866 | 0.044378
BENFLURALIN | 2033 | 82673GCM35 | 2007-09-12 | 2006-10-01 | 2007-09-30 | ug/L | 0.94857 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.16024 | BENFLURALIN | . | 0.01 | 0.152 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.94857 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89441 | 0.043282 | 0.89268 | 0.059866 | 0.044378
BENFLURALIN | 2033 | 82673GCM35 | 2007-11-19 | 2007-10-01 | 2008-02-29 | ug/L | 0.88524 | Protocol | F1060908012 | Protocol F1060908012: 50 µl | 0.15815 | BENFLURALIN | . | 0.004 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.88524 | Protocol F1060908012 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.89441 | 0.043282 | 0.89268 | 0.059866 | 0.044378
BENFLURALIN | 2033 | 82673GCM35 | 2009-02-02 | 2008-10-01 | 2009-09-30 | ug/L | 0.63492 | Restek | A063025 | Restek A063025: 40 µl | 0.2835 | BENFLURALIN | . | 0.014 | 0.18 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.63492 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71639 | 0.048122 | 0.72216 | 0.031784 | 0.023561
BENFLURALIN | 2033 | 82673GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.72031 | Restek | A063025 | Restek A063025: 25 µl | 0.18881 | BENFLURALIN | . | 0.014 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72031 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71639 | 0.048122 | 0.72216 | 0.031784 | 0.023561
BENFLURALIN | 2033 | 82673GCM35 | 2009-05-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.75248 | Restek | A063025 | Restek A063025: 25 µl | 0.18073 | BENFLURALIN | . | 0.014 | 0.136 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75248 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71639 | 0.048122 | 0.72216 | 0.031784 | 0.023561
BENFLURALIN | 2033 | 82673GCM35 | 2009-08-25 | 2008-10-01 | 2009-09-30 | ug/L | 0.75209 | Restek | A063025 | Restek A063025: 40 µl | 0.29518 | BENFLURALIN | . | 0.014 | 0.222 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75209 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71639 | 0.048122 | 0.72216 | 0.031784 | 0.023561
BENFLURALIN | 2033 | 82673GCM35 | 2009-12-11 | 2009-10-01 | 2010-09-30 | ug/L | 0.72216 | Restek | A063025 | Restek A063025: 25 µl | 0.18278 | BENFLURALIN | . | 0.014 | 0.132 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72216 | Restek A063025 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 5 | 0.71639 | 0.048122 | 0.72216 | 0.031784 | 0.023561
BENFLURALIN | 2033 | 82673GCM35 | 2010-06-16 | 2009-10-01 | 2010-09-30 | ug/L | 0.84867 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.048193 | BENFLURALIN | . | 0.014 | 0.0409 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.84867 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77926 | 0.094039 | 0.77702 | 0.16177 | 0.11992
BENFLURALIN | 2033 | 82673GCM35 | 2010-07-15 | 2009-10-01 | 2010-09-30 | ug/L | 0.70537 | Spex Organics | T1090901009 | Spex Organics T1090901009: 100 µl | 0.24242 | BENFLURALIN | . | 0.014 | 0.171 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.70538 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77926 | 0.094039 | 0.77702 | 0.16177 | 0.11992
BENFLURALIN | 2033 | 82673GCM35 | 2010-09-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.87161 | Spex Organics | T1090901009 | Spex Organics T1090901009: 20 µl | 0.04899 | BENFLURALIN | . | 0.014 | 0.0427 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87161 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77926 | 0.094039 | 0.77702 | 0.16177 | 0.11992
BENFLURALIN | 2033 | 82673GCM35 | 2010-12-22 | 2010-10-01 | 2050-09-30 | ug/L | 0.69138 | Spex Organics | T1090901009 | Spex Organics T1090901009: 40 µl | 0.098644 | BENFLURALIN | . | 0.014 | 0.0682 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.69138 | Spex Organics T1090901009 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.77926 | 0.094039 | 0.77702 | 0.16177 | 0.11992
BENFLURALIN | 2033 | 82673GCM35 | 2011-01-11 | 2010-10-01 | 2050-09-30 | ug/L | 0.92766 | Spex Organics | T1100628017 | Spex Organics T1100628017: 80 µl | 0.095078 | BENFLURALIN | . | 0.014 | 0.0882 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92766 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96592 | 0.054112 | 0.96592 | 0.076527 | 0.056728
BENFLURALIN | 2033 | 82673GCM35 | 2011-01-21 | 2010-10-01 | 2050-09-30 | ug/L | 1.0042 | Spex Organics | T1100628017 | Spex Organics T1100628017: 40 µl | 0.047899 | BENFLURALIN | . | 0.014 | 0.0481 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0042 | Spex Organics T1100628017 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 2 | 0.96592 | 0.054112 | 0.96592 | 0.076527 | 0.056728
BENFLURALIN | 2033 | 82673GCM35 | 2008-12-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.61496 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.1805 | BENFLURALIN | . | 0.014 | 0.111 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.61496 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2009-01-17 | 2008-10-01 | 2009-09-30 | ug/L | 0.59432 | Supelco | LB60731 | Supelco LB60731: 40 µl | 0.28941 | BENFLURALIN | . | 0.014 | 0.172 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59432 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2009-03-16 | 2008-10-01 | 2009-09-30 | ug/L | 0.83306 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.19566 | BENFLURALIN | . | 0.014 | 0.163 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83306 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2009-07-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.1571 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.17976 | BENFLURALIN | . | 0.014 | 0.208 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1571 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2009-09-29 | 2008-10-01 | 2009-09-30 | ug/L | 0.58983 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.18141 | BENFLURALIN | . | 0.014 | 0.107 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.58983 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2010-01-27 | 2009-10-01 | 2010-09-30 | ug/L | 0.79098 | Supelco | LB60731 | Supelco LB60731: 25 µl | 0.18079 | BENFLURALIN | . | 0.014 | 0.143 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79098 | Supelco LB60731 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 6 | 0.76337 | 0.2197 | 0.70297 | 0.23874 | 0.17698
BENFLURALIN | 2033 | 82673GCM35 | 2007-02-13 | 2006-10-01 | 2007-09-30 | ug/L | 0.80737 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.1573 | BENFLURALIN | . | 0.01 | 0.127 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80737 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81318 | 0.086164 | 0.80737 | 0.17203 | 0.12753
BENFLURALIN | 2033 | 82673GCM35 | 2007-02-27 | 2006-10-01 | 2007-09-30 | ug/L | 0.73007 | Ultra | CC-2376 | Ultra CC-2376: 10 µl | 0.031504 | BENFLURALIN | E | 0.01 | 0.023 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.73007 | Ultra CC-2376 | [9 empty] | Y | Estimated Values | Y | 2 |  | 3 | 0.81318 | 0.086164 | 0.80737 | 0.17203 | 0.12753
BENFLURALIN | 2033 | 82673GCM35 | 2007-03-08 | 2006-10-01 | 2007-09-30 | ug/L | 0.9021 | Ultra | CC-2376 | Ultra CC-2376: 50 µl | 0.15741 | BENFLURALIN | . | 0.01 | 0.142 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9021 | Ultra CC-2376 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 3 | 0.81318 | 0.086164 | 0.80737 | 0.17203 | 0.12753
BENFLURALIN | 2033 | 82673GCM35 | 2010-02-17 | 2009-10-01 | 2010-09-30 | ug/L | 0.57573 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.094488 | BENFLURALIN | . | 0.014 | 0.0544 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57573 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71888 | 0.10823 | 0.73212 | 0.14847 | 0.11006
BENFLURALIN | 2033 | 82673GCM35 | 2010-05-19 | 2009-10-01 | 2010-09-30 | ug/L | 0.75068 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.048756 | BENFLURALIN | . | 0.014 | 0.0366 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.75068 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71888 | 0.10823 | 0.73212 | 0.14847 | 0.11006
BENFLURALIN | 2033 | 82673GCM35 | 2010-08-10 | 2009-10-01 | 2010-09-30 | ug/L | 0.83555 | Ultra | CF-3558 | Ultra CF-3558: 40 µl | 0.098139 | BENFLURALIN | . | 0.014 | 0.082 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83555 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71888 | 0.10823 | 0.73212 | 0.14847 | 0.11006
BENFLURALIN | 2033 | 82673GCM35 | 2010-12-01 | 2010-10-01 | 2050-09-30 | ug/L | 0.71355 | Ultra | CF-3558 | Ultra CF-3558: 20 µl | 0.04849 | BENFLURALIN | . | 0.014 | 0.0346 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.71355 | Ultra CF-3558 | [9 empty] | Y | Recoverable Result | Y | 2 |  | 4 | 0.71888 | 0.10823 | 0.73212 | 0.14847 | 0.11006