## OBSP Data
AnalyteName | Schedulecode | TestIDCode | newdate | BEGINDATE | END DATE | ReportUnit | RECOVERY | ManufShortName | CALotNum | SpikeMix | EXPECTED | newanalyte | CENC_RMK | REPORTING LEVEL | CENC_VAL | UNITS | All | Comments | newlevel | Percent Recovery | newspike | manuf1 | manuf2 | manuf3 | lotnum1 | lotnum2 | lotnum3 | lotnum_1 | lotnum_2 | lotnum_3 | SPIKE | STATUS | PLOT | RANK | perm_e | N | Mean | Std-Dev. | Median | IQR | F_Pseudo | maxout
CARBARYL | 2033 | 82680GCM35 | 2008-02-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.92882 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19487 | CARBARYL | E | 0.06 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.92882 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2008-04-03 | 2006-10-01 | 2008-09-30 | ug/L | 0.59031 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.1999 | CARBARYL | E | 0.06 | 0.118 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59031 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2008-04-28 | 2006-10-01 | 2008-09-30 | ug/L | 0.62444 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19217 | CARBARYL | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.62444 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2008-07-02 | 2006-10-01 | 2008-09-30 | ug/L | 0.83059 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19263 | CARBARYL | E | 0.06 | 0.16 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.83059 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2008-09-11 | 2006-10-01 | 2008-09-30 | ug/L | 0.82381 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.19179 | CARBARYL | E | 0.06 | 0.158 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.82381 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2008-11-05 | 2008-10-01 | 2009-09-30 | ug/L | 1.0749 | Abs | 071007GC | Abs 071007GC: 50 µl | 0.1935 | CARBARYL | E | 0.2 | 0.208 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0749 | Abs 071007GC | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 0.81215 | 0.18308 | 0.8272 | 0.30439 | 0.22564
CARBARYL | 2033 | 82680GCM35 | 2009-01-08 | 2008-10-01 | 2009-09-30 | ug/L | 0.82702 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.084641 | CARBARYL | E | 0.2 | 0.07 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.82702 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2009-02-11 | 2008-10-01 | 2009-09-30 | ug/L | 0.9752 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.087162 | CARBARYL | E | 0.2 | 0.085 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.9752 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2009-03-25 | 2008-10-01 | 2009-09-30 | ug/L | 1.077 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.14577 | CARBARYL | E | 0.2 | 0.157 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.077 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2009-06-30 | 2008-10-01 | 2009-09-30 | ug/L | 1.2504 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.086372 | CARBARYL | E | 0.2 | 0.108 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2504 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2009-10-27 | 2009-10-01 | 2010-09-30 | ug/L | 1.0034 | Abs | 080408Pest | Abs 080408Pest: 40 µl | 0.13753 | CARBARYL | E | 0.06 | 0.138 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0034 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2010-01-10 | 2009-10-01 | 2010-09-30 | ug/L | 1.1283 | Abs | 080408Pest | Abs 080408Pest: 25 µl | 0.085973 | CARBARYL | E | 0.06 | 0.097 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1283 | Abs 080408Pest | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0436 | 0.1444 | 1.0402 | 0.15306 | 0.11346
CARBARYL | 2033 | 82680GCM35 | 2007-02-21 | 2006-10-01 | 2008-09-30 | ug/L | 0.87883 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.22871 | CARBARYL | E | 0.06 | 0.201 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87883 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.1093 | 0.17761 | 1.1438 | 0.27673 | 0.20513
CARBARYL | 2033 | 82680GCM35 | 2007-05-21 | 2006-10-01 | 2008-09-30 | ug/L | 1.271 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.045634 | CARBARYL | E | 0.06 | 0.058 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.271 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1093 | 0.17761 | 1.1438 | 0.27673 | 0.20513
CARBARYL | 2033 | 82680GCM35 | 2007-08-08 | 2006-10-01 | 2008-09-30 | ug/L | 1.2244 | Abs | 083006gc | Abs 083006gc: 50 µl | 0.22705 | CARBARYL | E | 0.06 | 0.278 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2244 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.1093 | 0.17761 | 1.1438 | 0.27673 | 0.20513
CARBARYL | 2033 | 82680GCM35 | 2007-10-02 | 2006-10-01 | 2008-09-30 | ug/L | 1.0631 | Abs | 083006gc | Abs 083006gc: 10 µl | 0.046092 | CARBARYL | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0631 | Abs 083006gc | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1093 | 0.17761 | 1.1438 | 0.27673 | 0.20513
CARBARYL | 2033 | 82680GCM35 | 2010-02-23 | 2009-10-01 | 2010-09-30 | ug/L | 1.1132 | Accu | 209081187 | Accu 209081187: 100 µl | 1.8057 | CARBARYL | E | 0.06 | 2.01 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1132 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-03-24 | 2009-10-01 | 2010-09-30 | ug/L | 0.68381 | Accu | 209081187 | Accu 209081187: 20 µl | 0.36413 | CARBARYL | E | 0.06 | 0.249 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68381 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-05-07 | 2009-10-01 | 2010-09-30 | ug/L | 0.93011 | Accu | 209081187 | Accu 209081187: 20 µl | 0.38167 | CARBARYL | E | 0.06 | 0.355 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.93011 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-09-09 | 2009-10-01 | 2010-09-30 | ug/L | 0.77793 | Accu | 209081187 | Accu 209081187: 40 µl | 0.74428 | CARBARYL | E | 0.06 | 0.579 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.77793 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2010-12-14 | 2010-10-01 | 2050-09-30 | ug/L | 0.9865 | Accu | 209081187 | Accu 209081187: 40 µl | 0.73999 | CARBARYL | E | 0.06 | 0.73 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9865 | Accu 209081187 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.8983 | 0.16989 | 0.93011 | 0.20857 | 0.15461
CARBARYL | 2033 | 82680GCM35 | 2007-04-05 | 2006-10-01 | 2008-09-30 | ug/L | 0.87941 | Accu | B6070194 | Accu B6070194: 10 µl | 0.045485 | CARBARYL | E | 0.06 | 0.04 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.87941 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.81098 | 0.086114 | 0.83495 | 0.1303 | 0.096593
CARBARYL | 2033 | 82680GCM35 | 2007-07-30 | 2006-10-01 | 2008-09-30 | ug/L | 0.87286 | Accu | B6070194 | Accu B6070194: 50 µl | 0.22684 | CARBARYL | E | 0.06 | 0.198 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87286 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81098 | 0.086114 | 0.83495 | 0.1303 | 0.096593
CARBARYL | 2033 | 82680GCM35 | 2007-10-23 | 2006-10-01 | 2008-09-30 | ug/L | 0.69461 | Accu | B6070194 | Accu B6070194: 10 µl | 0.046069 | CARBARYL | E | 0.06 | 0.032 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.69461 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 0.81098 | 0.086114 | 0.83495 | 0.1303 | 0.096593
CARBARYL | 2033 | 82680GCM35 | 2007-12-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.79705 | Accu | B6070194 | Accu B6070194: 50 µl | 0.22709 | CARBARYL | E | 0.06 | 0.181 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.79705 | Accu B6070194 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 0.81098 | 0.086114 | 0.83495 | 0.1303 | 0.096593
CARBARYL | 2033 | 82680GCM35 | 2009-01-28 | 2008-10-01 | 2009-09-30 | ug/L | 1.1 | Accu | B8090098 | Accu B8090098: 40 µl | 0.13818 | CARBARYL | E | 0.2 | 0.152 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1663 | 0.13994 | 1.1475 | 0.10599 | 0.078567
CARBARYL | 2033 | 82680GCM35 | 2009-03-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.1475 | Accu | B8090098 | Accu B8090098: 25 µl | 0.090628 | CARBARYL | E | 0.2 | 0.104 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1475 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1663 | 0.13994 | 1.1475 | 0.10599 | 0.078567
CARBARYL | 2033 | 82680GCM35 | 2009-05-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.3774 | Accu | B8090098 | Accu B8090098: 40 µl | 0.13722 | CARBARYL | E | 0.2 | 0.189 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3774 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1663 | 0.13994 | 1.1475 | 0.10599 | 0.078567
CARBARYL | 2033 | 82680GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 1.0006 | Accu | B8090098 | Accu B8090098: 25 µl | 0.08395 | CARBARYL | E | 0.2 | 0.084 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0006 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 1.1663 | 0.13994 | 1.1475 | 0.10599 | 0.078567
CARBARYL | 2033 | 82680GCM35 | 2009-12-30 | 2009-10-01 | 2010-09-30 | ug/L | 1.206 | Accu | B8090098 | Accu B8090098: 25 µl | 0.084576 | CARBARYL | E | 0.06 | 0.102 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.206 | Accu B8090098 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 1.1663 | 0.13994 | 1.1475 | 0.10599 | 0.078567
CARBARYL | 2033 | 82680GCM35 | 2010-06-03 | 2009-10-01 | 2010-09-30 | ug/L | 0.80722 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.37041 | CARBARYL | E | 0.06 | 0.299 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.80722 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2010-07-21 | 2009-10-01 | 2010-09-30 | ug/L | 0.9156 | Crescent | 08Ll064 | Crescent 08Ll064: 40 µl | 0.73394 | CARBARYL | E | 0.06 | 0.672 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.9156 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2010-10-19 | 2010-10-01 | 2050-09-30 | ug/L | 0.90714 | Crescent | 08Ll064 | Crescent 08Ll064: 20 µl | 0.36929 | CARBARYL | E | 0.06 | 0.335 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.90714 | Crescent 08Ll064 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 3 | 0.87665 | 0.06028 | 0.90714 | 0.10838 | 0.080342
CARBARYL | 2033 | 82680GCM35 | 2007-02-16 | 2006-10-01 | 2008-09-30 | ug/L | 1.0952 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.050221 | CARBARYL | E | 0.06 | 0.055 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0952 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2007-04-09 | 2006-10-01 | 2008-09-30 | ug/L | 1.004 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CARBARYL | E | 0.06 | 0.075 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.004 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2007-05-29 | 2006-10-01 | 2008-09-30 | ug/L | 1.2435 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.073986 | CARBARYL | E | 0.06 | 0.092 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2435 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2007-08-15 | 2006-10-01 | 2008-09-30 | ug/L | 1.1587 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074221 | CARBARYL | E | 0.06 | 0.086 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.1587 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2007-10-30 | 2006-10-01 | 2008-09-30 | ug/L | 1.0159 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 50 µl | 0.049217 | CARBARYL | E | 0.06 | 0.05 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0159 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 1 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2007-12-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.96384 | NWQL | PSP2SP114B | NWQL PSP2SP114B: 75 µl | 0.074701 | CARBARYL | E | 0.06 | 0.072 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.96384 | NWQL PSP2SP114B | [9 empty] | Y | Estimated Values | Y | 2 | Y | 6 | 1.0802 | 0.10633 | 1.0555 | 0.15471 | 0.11468
CARBARYL | 2033 | 82680GCM35 | 2009-03-04 | 2008-10-01 | 2009-09-30 | ug/L | 1.3212 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.074177 | CARBARYL | E | 0.2 | 0.098 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3212 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.3524 | 0.0442 | 1.3524 | 0.062509 | 0.046337
CARBARYL | 2033 | 82680GCM35 | 2009-03-10 | 2008-10-01 | 2009-09-30 | ug/L | 1.3837 | NWQL | PSP2SP115A | NWQL PSP2SP115A: 75 µl | 0.083112 | CARBARYL | E | 0.2 | 0.115 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3837 | NWQL PSP2SP115A | [9 empty] | Y | Estimated Values | Y | 1 | Y | 2 | 1.3524 | 0.0442 | 1.3524 | 0.062509 | 0.046337
CARBARYL | 2033 | 82680GCM35 | 2009-04-17 | 2008-10-01 | 2009-09-30 | ug/L | 1.5566 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075165 | CARBARYL | E | 0.2 | 0.117 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.5566 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1978 | 0.30424 | 1.1872 | 0.47986 | 0.35572
CARBARYL | 2033 | 82680GCM35 | 2009-05-27 | 2008-10-01 | 2009-09-30 | ug/L | 1.3188 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.075827 | CARBARYL | E | 0.2 | 0.1 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.3188 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1978 | 0.30424 | 1.1872 | 0.47986 | 0.35572
CARBARYL | 2033 | 82680GCM35 | 2009-07-13 | 2008-10-01 | 2009-09-30 | ug/L | 1.0557 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074835 | CARBARYL | E | 0.2 | 0.079 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.0557 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1978 | 0.30424 | 1.1872 | 0.47986 | 0.35572
CARBARYL | 2033 | 82680GCM35 | 2009-09-03 | 2008-10-01 | 2009-09-30 | ug/L | 0.85999 | NWQL | PSP2SP115C | NWQL PSP2SP115C: 75 µl | 0.074419 | CARBARYL | E | 0.2 | 0.064 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85999 | NWQL PSP2SP115C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1978 | 0.30424 | 1.1872 | 0.47986 | 0.35572
CARBARYL | 2033 | 82680GCM35 | 2010-06-30 | 2009-10-01 | 2010-09-30 | ug/L | 0.90248 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.038782 | CARBARYL | E | 0.06 | 0.035 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.90248 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2010-08-25 | 2009-10-01 | 2010-09-30 | ug/L | 1.2085 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040547 | CARBARYL | E | 0.06 | 0.049 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2085 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2010-12-16 | 2010-10-01 | 2050-09-30 | ug/L | 1.4841 | NWQL | PSP2SP116C | NWQL PSP2SP116C: 40 µl | 0.040428 | CARBARYL | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.4841 | NWQL PSP2SP116C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 3 | 1.1983 | 0.29094 | 1.2085 | 0.58163 | 0.43115
CARBARYL | 2033 | 82680GCM35 | 2011-01-20 | 2010-10-01 | 2050-09-30 | ug/L | 1.0923 | NWQL | PSP2SP117A | NWQL PSP2SP117A: 100 µl | 0.1007 | CARBARYL | E | 0.06 | 0.11 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.0923 | NWQL PSP2SP117A | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 1.0923 |  | 1.0923 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 1.1115 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.050383 | CARBARYL | E | 0.06 | 0.056 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.1115 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1737 | 0.072053 | 1.1628 | 0.12 | 0.088956
CARBARYL | 2033 | 82680GCM35 | 2008-06-23 | 2006-10-01 | 2008-09-30 | ug/L | 1.2096 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 50 µl | 0.049603 | CARBARYL | E | 0.06 | 0.06 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.2096 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1737 | 0.072053 | 1.1628 | 0.12 | 0.088956
CARBARYL | 2033 | 82680GCM35 | 2008-08-27 | 2006-10-01 | 2008-09-30 | ug/L | 1.2579 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073935 | CARBARYL | E | 0.06 | 0.093 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 1.2579 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 2 | Y | 4 | 1.1737 | 0.072053 | 1.1628 | 0.12 | 0.088956
CARBARYL | 2033 | 82680GCM35 | 2008-10-24 | 2008-10-01 | 2009-09-30 | ug/L | 1.116 | NWQL | PSP3SP114C | NWQL PSP3SP114C: 75 µl | 0.073479 | CARBARYL | E | 0.2 | 0.082 | MICROGRAMS PER LITER |  |  | < Reporting Level | 1.116 | NWQL PSP3SP114C | [9 empty] | Y | Estimated Values | Y | 1 | Y | 4 | 1.1737 | 0.072053 | 1.1628 | 0.12 | 0.088956
CARBARYL | 2033 | 82680GCM35 | 2011-01-09 | 2010-10-01 | 2050-09-30 | ug/L | 0.68168 | Restek | A075606 | Restek A075606: 40 µl | 0.28899 | CARBARYL | E | 0.06 | 0.197 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.68168 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.60174 | 0.11305 | 0.60174 | 0.15988 | 0.11851
CARBARYL | 2033 | 82680GCM35 | 2011-01-28 | 2010-10-01 | 2050-09-30 | ug/L | 0.5218 | Restek | A075606 | Restek A075606: 80 µl | 0.59793 | CARBARYL | E | 0.06 | 0.312 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.5218 | Restek A075606 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 2 | 0.60174 | 0.11305 | 0.60174 | 0.15988 | 0.11851
CARBARYL | 2033 | 82680GCM35 | 2011-01-18 | 2010-10-01 | 2050-09-30 | ug/L | 0.87799 | Supelco | LB77168 | Supelco LB77168: 40 µl | 0.29613 | CARBARYL | E | 0.06 | 0.26 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.87799 | Supelco LB77168 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 1 | 0.87799 |  | 0.87799 | 0 | 0
CARBARYL | 2033 | 82680GCM35 | 2008-03-04 | 2006-10-01 | 2008-09-30 | ug/L | 0.67522 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19401 | CARBARYL | E | 0.06 | 0.131 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.67522 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.6848 | 0.11122 | 0.67522 | 0.12824 | 0.09506
CARBARYL | 2033 | 82680GCM35 | 2008-04-15 | 2006-10-01 | 2008-09-30 | ug/L | 0.59409 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.20199 | CARBARYL | E | 0.06 | 0.12 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.59409 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.6848 | 0.11122 | 0.67522 | 0.12824 | 0.09506
CARBARYL | 2033 | 82680GCM35 | 2008-05-14 | 2006-10-01 | 2008-09-30 | ug/L | 0.72233 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19382 | CARBARYL | E | 0.06 | 0.14 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.72233 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.6848 | 0.11122 | 0.67522 | 0.12824 | 0.09506
CARBARYL | 2033 | 82680GCM35 | 2008-08-12 | 2006-10-01 | 2008-09-30 | ug/L | 0.57872 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.19353 | CARBARYL | E | 0.06 | 0.112 | MICROGRAMS PER LITER |  |  | >= Reporting Level | 0.57872 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 2 | Y | 5 | 0.6848 | 0.11122 | 0.67522 | 0.12824 | 0.09506
CARBARYL | 2033 | 82680GCM35 | 2008-10-06 | 2008-10-01 | 2009-09-30 | ug/L | 0.85362 | Ultra | CD-2142 | Ultra CD-2142: 50 µl | 0.18978 | CARBARYL | E | 0.2 | 0.162 | MICROGRAMS PER LITER |  |  | < Reporting Level | 0.85362 | Ultra CD-2142 | [9 empty] | Y | Estimated Values | Y | 1 | Y | 5 | 0.6848 | 0.11122 | 0.67522 | 0.12824 | 0.09506